## PVP Outfall Dry_flipped
|  |  | Analyte | Flow | Nitrate as nitrogen | Nitrite as nitrogen | Nitrate + nitrite as nitrogen | Nitrogen (Kjeldahl) | Nitrogen, total (calculated) | Monthly Average Nitrogen* | Above Machado Lake Nutrient TMDL Interim Effluent Limitation of 2.45 mg/L? | Phosphorus | Monthly Average Phosphorus* | Above Machado Lake Nutrient TMDL Interim Effluent Limitation of 1.25 mg/L?
|  |  | Unit | cubic feet /second | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L |  | mg/L | mg/L
|  |  | 2014 Interim WLA (mg/L) | -- | -- | -- | -- | -- | -- | 2.45 |  | -- | 1.25
Month | Location ID | Sample ID | Sample Date
July 2017 | RHE CITY HALL | RHECH-07-17-17 | 2017-07-17 | 0.095 | -- | -- | 0.38 | 2.3 | 2.68 | 2.6601 |  | 0.077 J | 0.080949
| VALMONTE | Valmonte-07-17-17 | 2017-07-17 | 0.00094 | -- | -- | 0.053 J | 0.6 | 0.653 J |  | Yes | 0.48 J
| LARIAT | No flow | 2017-07-17 | -- | -- | -- | -- | -- | -- |  |  | --
| SOLANO | No flow | 2017-07-17 | -- | -- | -- | -- | -- | -- |  |  | --
August 2017 | RHE CITY HALL | RHECH-08-03-17 | 2017-08-03 | 0.0055 | -- | -- | 0.16 | 0.65 | 0.81 | 0.69231 |  | 0.12 | 0.34688
| VALMONTE | Valmonte-08-03-17 | 2017-08-03 | 0.0134 | -- | -- | 0.044J | 0.6 | 0.644 J |  |  | 0.44
| LARIAT | No flow | 2017-08-03 | -- | -- | -- | -- | -- | -- |  |  | --
| SOLANO | No flow | 2017-08-03 | -- | -- | -- | -- | -- | -- |  |  | --
September 2017 | RHE CITY HALL | RHECH-09-06-17 | 2017-09-06 | 0.0116 | -- | -- | 0.19 | 1.5 | 1.69 | 1.1968 |  | 0.24 | 0.29735
| VALMONTE | Valmonte-09-06-17 | 2017-09-06 | 0.0156 | -- | -- | 0.12 | 0.71 | 0.83 |  |  | 0.34
| LARIAT | No flow | 2017-09-06 | -- | -- | -- | -- | -- | -- |  |  | --
| SOLANO | No flow | 2017-09-06 | -- | -- | -- | -- | -- | -- |  |  | --
October 2017 | RHE CITY HALL | RHECH-10-03-17 | 2017-10-03 | 0.0827 | -- | -- | 0.4 J | 0.49 | 0.89 J | 0.91841 |  | 0.14 J | 0.25919
| VALMONTE | Valmonte-10-03-17 | 2017-10-03 | 0.0205 | -- | -- | 0.033 J | 1 | 1.033 J |  |  | 0.74 J
| LARIAT | No flow | 2017-10-03 | -- | -- | -- | -- | -- | -- |  |  | --
| SOLANO | No flow | 2017-10-03 | -- | -- | -- | -- | -- | -- |  |  | --
November 2017 | RHE CITY HALL | RHECH-11-09-17 | 2017-11-09 | 0.0224 | -- | -- | 0.043 J | 0.32 | 0.363 J | 0.53011 |  | 0.025 J | 0.45961
| VALMONTE | Valmonte-11-09-17 | 2017-11-09 | 0.0286 | -- | -- | 0.031 J | 0.63 | 0.661 J |  |  | 0.8
| LARIAT | No flow | 2017-11-09 | -- | -- | -- | -- | -- | -- |  |  | --
| SOLANO | No flow | 2017-11-09 | -- | -- | -- | -- | -- | -- |  |  | --
December 2017 | RHE CITY HALL | RHECH-12-01-17 | 2017-12-01 | 0.0355 | -- | -- | 0.034 J | 1.1 | 1.134 J | 1.1479 |  | 0.22 | 0.35541
| VALMONTE | Valmonte-12-01-17 | 2017-12-01 | 0.0224 | -- | -- | 0.38 | 0.79 | 1.17 |  |  | 0.57
| LARIAT | No flow | 2017-12-01 | -- | -- | -- | -- | -- | -- |  |  | --
| SOLANO | No flow | 2017-12-01 | -- | -- | -- | -- | -- | -- |  |  | --
cfs = cubic feet per second
J = estimated value
mg/L = milligrams per liter
U = compound analyzed, but not detected above detection limit
WLA = waste load allocation
N/A = no data available
All non-detect results are reported at the method detection limit.
No flow observations are equivalent to a zero result for Total Nitrogen and Total Phosphorus.
Total Nitrogen is the sum of nitrate, nitrite, and Kjeldahl nitrogen.
USEPA Stage 2A data validation was completed by Anchor QEA.
* Monthly average calculation has been changed to flow-weighted average concentration, per request from RWQCB, starting with the 2017-2018 monitoring year. Non-detect results are reported in the equation as half the method detection limit.
FINAL VALIDATED DATA