## Notes_Information
CEDEN Online LookUp Lists
http://www.ceden.org/ceden_submitdata.shtml
CEDEN Online Data Checker
CV RDC
http://checker.cv.mpsl.mlml.calstate.edu/CVRDC/CVRDCUpload.php
SCCWRP Data Center
http://ftp.mpsl.mlml.calstate.edu/swampupload.php
SFEI Data Center
http://dataupload.sfei.org/
MPSL-MLML Data Center
http://checker.calducs.mpsl.mlml.calstate.edu/calducs
If you do not know what data center to utilize, use the following link: http://ceden.org/data_centers.shtml
CEDEN Toxicity Template Documentation
http://www.ceden.org/ceden_submitdata.shtml
Notes for all tabs
Station | This tab should be filled out for each station that has not already been submitted to the CEDEN RDC
Location | This tab should only be filled out if actual latitude and longitude measurements are being recorded.
If only one latidude and longitude are being recorded for each station they should be placed in the Station tab.
1. Bolded Green text indicates a Minimum/Required field necessary for loading data into CEDEN.
2. Black bolded text indicates a Desireable/Default Required field to help increase the usability of the data by CEDEN users. Desireable/Default Required fields cannot be left blank and must be populated with a default value if an actual value cannot be provided.
3. Grey highlighted cells indicate an Extra field used for additional information and completeness purposes. Although not required, it is desireable that you provide this information if available.
4. Grey highlighted cells with blue bolded text (located only in the stations tab) indicate an extra field used for additional information and completeness purposes unless your project is submitting bioassessment data for that particular station. These fields are required when utilizing the Bioassessment Reporting Module.
* | Please see the notation/comment box located in the top right corner of the column headers to view the name of the corresponding LookUp List, any associated Default Values, and/or proper formatting for each field.

## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## ToxNotes
Code | Note
Bold | Required
Red | Fill in rows before you run the transformer
Green | Double check or fill in after you run the transformer
Columns B-P | Fill in rows before you run the transformer - Most of this information will be provided in the Chain of Custody and/or Anaysis Authorization form
Toxicity Codes | ************
Lost | If a replicate spilled and was not counted put "Lost" in the appropriate cell. This will be transformed to -88 NR for Not Recorded with a Comment of "Lost Replicate".
M | If the test organism was Male put "M" in the appropriate neonate replicate cell. This will be transformed to -88 NR for Not Recorded with a ToxResultQACode of MAL and a Comment of "Male adult". Used with toxpoints where young are measured.
NS | If there was no survival for the primary toxpoint use "NS" for the growth (weight) toxpoint. This will be transformed to -88 NS for No Survival with a comment of "No Surviving individuals for measurement". Only used with Hyalella.
* | When these codes are used, the final RepCount decreases per code used and will not be included in the calculations.
Water Quality Codes | ************
ND | If the WaterQuality value is Not Detected write "ND" in the cell. This will be transformed to -88 ND for Not Detected.
NR | If the WaterQuality value is Not Recorded write "NR" in the cell. This will be transformed to -88 NR for Not Recorded with a comment of "Need Comment". Include a comment as to why the value was not recorded.

## ToxBatch
ToxBatch | LabSubmissionCode | StartDate | LabAgencyCode | BatchVerificationCode | RefToxBatch | OrganismAgeAtTestStart | SubmittingAgencyCode | OrganismSupplier | ToxBatchComments
PER_ESGV_23CD_C1_W_TOX | A | 2018-12-07 | PER | VAC | Not Applicable | <24 hrs | Stantec | In-House Culture

## ToxSummaryResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | LabCollectionComments | ToxBatch | MatrixName | MethodName | TestDuration | OrganismName | TestExposureType | QAControlID | SampleID | LabSampleID | ToxTestComments | Treatment | Concentration | UnitTreatment | Dilution | WQSource | ToxPointMethod | AnalyteName | FractionName | UnitAnalyte | TimePoint | RepCount | Mean | StdDev | StatisticalMethod | AlphaValue | bValue | CalcValueType | CalculatedValue | CriticalValue | PercentEffect | MSD | EvalThreshold | SigEffect | TestQACode | ComplianceCode | ToxPointSummaryComments | TIENarrative
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 10 | 100 | 0 | None | 0.2 | 0.75 | T value | -88 | -88 | 0 |  | 25 | NA | None | Com | TST Analysis not performed for survival endpoint.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 10 | 26.6 | 3.24 | TST Welch Test | 0.2 | 0.75 | T value | -88 | -88 | 0 |  | 25 | NA | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 10 | 100 | 0 | None | 0.2 | 0.75 | T value | -88 | -88 | 0 |  | 25 | NA | None | Com | TST Analysis not performed for survival endpoint.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 10 | 26.4 | 3.63 | TST Welch Test | 0.2 | 0.75 | T value | 4.67 | 0.866 | 0.75 |  | 25 | Pass | None | Com
ESGV-CIMP-LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 10 | 90 | 31.62 | None | 0.2 | 0.75 | T value | -88 | -88 | 10 |  | 25 | NA | None | Com | TST Analysis not performed for survival endpoint.
ESGV-CIMP-LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 10 | 23.3 | 11.9 | TST Welch Test | 0.2 | 0.75 | T value | 0.87 | 0.883 | 12.41 |  | 25 | Pass | None | Com

## ToxReplicateResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | LabCollectionComments | ToxBatch | MatrixName | MethodName | TestDuration | OrganismName | TestExposureType | QAControlID | SampleID | LabSampleID | ToxTestComments | Treatment | Concentration | UnitTreatment | Dilution | WQSource | ToxPointMethod | AnalyteName | FractionName | UnitAnalyte | TimePoint | LabReplicate | OrganismPerRep | Result | ResQualCode | ToxResultQACode | ComplianceCode | ToxResultComments
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Alkalinity as CaCO3 | Total | mg/L | initial | 0 | 0 | 73 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Ammonia as NH3 | Total | mg/L | initial | 0 | 0 | -88 | NR | None | Com | As per EPA methods, ammonia is not a required analysis for laboratory control water.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Ammonia as NH3, Unionized | Total | mg/L | initial | 0 | 0 | -88 | NR | None | Com | As per EPA methods, ammonia is not a required analysis for laboratory control water.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Hardness as CaCO3 | Total | mg/L | initial | 0 | 0 | 90 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Oxygen, Dissolved | Total | mg/L | final | 0 | 0 | 7.4 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Oxygen, Dissolved | Total | mg/L | initial | 0 | 0 | 8.1 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | final | 0 | 0 | 7.43 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | high | 0 | 0 | 7.96 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | initial | 0 | 0 | 7.7 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | low | 0 | 0 | 7.43 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | SpecificConductivity | Total | uS/cm | initial | 0 | 0 | 367 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 1 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 2 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 3 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 4 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 5 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 6 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 7 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 8 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 9 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 10 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 1 | 1 | 28 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 2 | 1 | 31 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 3 | 1 | 32 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 4 | 1 | 27 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 5 | 1 | 24 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 6 | 1 | 27 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 7 | 1 | 26 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 8 | 1 | 21 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 9 | 1 | 25 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | CNEG | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV_23CD_C1 | ESGV_23CD_C1 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 10 | 1 | 25 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | Alkalinity as CaCO3 | Total | mg/L | initial | 0 | 0 | -88 | NR | None | Com | As per EPA methods, alkalinity is not a required analysis for laboratory hardness control water.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | Ammonia as NH3 | Total | mg/L | initial | 0 | 0 | -88 | NR | None | Com | As per EPA methods, ammonia is not a required analysis for laboratory hardness control water.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | Ammonia as NH3, Unionized | Total | mg/L | initial | 0 | 0 | -88 | NR | None | Com | As per EPA methods, ammonia is not a required analysis for laboratory hardness control water.
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | Hardness as CaCO3 | Total | mg/L | initial | 0 | 0 | 32 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | Oxygen, Dissolved | Total | mg/L | final | 0 | 0 | 7.3 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | Oxygen, Dissolved | Total | mg/L | initial | 0 | 0 | 8.7 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | final | 0 | 0 | 7.25 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | high | 0 | 0 | 7.97 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | initial | 0 | 0 | 7.54 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | low | 0 | 0 | 7.25 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | overlyingwater | ToxWQMeasurement | SpecificConductivity | Total | uS/cm | initial | 0 | 0 | 135 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 1 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 2 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 3 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 4 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 5 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 6 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 7 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 8 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 9 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Survival | None | % | Day 6 | 10 | 1 | 100 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 1 | 1 | 22 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 2 | 1 | 26 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 3 | 1 | 32 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 4 | 1 | 31 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 5 | 1 | 22 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 6 | 1 | 24 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 7 | 1 | 29 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 8 | 1 | 28 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 9 | 1 | 23 | = | None | Com
LABQA | 2018-12-07 | Not Applicable | WQ | Not Applicable | PER |  | Not Applicable |  | 0:00 | Not Applicable | Not Recorded | 1 | None | -88 | m | Not Applicable |  | PER_ESGV_23CD_C1_W_TOX | labwater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23CD_HARD | ESGV-23CD_HARD | Hardness control | Hardness as CaCO3 | 32 | mg/L | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 10 | 1 | 27 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Alkalinity as CaCO3 | Total | mg/L | initial | 0 | 0 | 39 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Ammonia as NH3 | Total | mg/L | initial | 0 | 0 | -88 | ND | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Ammonia as NH3, Unionized | Total | mg/L | initial | 0 | 0 | -88 | ND | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Hardness as CaCO3 | Total | mg/L | initial | 0 | 0 | 32 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Oxygen, Dissolved | Total | mg/L | final | 0 | 0 | 7.3 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | Oxygen, Dissolved | Total | mg/L | initial | 0 | 0 | 9.8 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | final | 0 | 0 | 7.38 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | high | 0 | 0 | 8 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | initial | 0 | 0 | 7.75 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | pH | None | none | low | 0 | 0 | 7.38 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | overlyingwater | ToxWQMeasurement | SpecificConductivity | Total | uS/cm | initial | 0 | 0 | 143 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 1 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 2 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 3 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 4 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 5 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 6 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 7 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 8 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 9 | 1 | 0 | = | None | Com | Adult cerio died on Day 6.
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Survival | None | % | Day 6 | 10 | 1 | 100 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 1 | 1 | 16 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 2 | 1 | 34 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 3 | 1 | 35 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 4 | 1 | 31 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 5 | 1 | 18 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 6 | 1 | 31 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 7 | 1 | 6 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 8 | 1 | 34 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 9 | 1 | 3 | = | None | Com
ESGV-CIMP_LOW-4 | 2018-12-06 | E San Gabriel Valley CIMP | WQ | Not Recorded | Stantec |  | Bank | Point | 5:20 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.5 | m | Subsurface |  | PER_ESGV_23CD_C1_W_TOX | samplewater | EPA 821/R-02-013 | 6 days | Ceriodaphnia dubia | Chronic | ESGV_23CD_C1 | ESGV-23-LOW-4 | ESGV-23-LOW-4 |  | None | 0 | None | 100 | Not Applicable | None | Young/female | None | Num/Rep | Day 6 | 10 | 1 | 25 | = | None | Com