CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

NPDES PERMIT NO. CA0006165

ORDER NO. R2-2004-0042

WASTE DISCHARGE REQUIREMENTS FOR:

RHODIA INC.

MARTINEZ, CONTRA COSTA COUNTY

Adopted: June 16, 2004

Effective: September 1, 2004

table of Contents

FINDINGS	1

Facility Description	1

Purpose of Order	2

Discharge Description	2

Regional Monitoring Program	4

Applicable Plans, Policies and Regulations	4

Beneficial Uses of Receiving Waters	4

Bases for Effluent Limitations	5

General Basis	5

Specific Basis	12

Whole Effluent Acute Toxicity	22

Whole Effluent Chronic Toxicity	22

Pollution Prevention	23

Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy	23

Monitoring Requirements (Self-Monitoring Program)	24

Optional Studies	24

Storm Water Pollution Prevention Plan	24

Other Discharge Characteristics and Permit Conditions	25

A.   DISCHARGE PROHIBITIONS	25

B.   EFFLUENT LIMITATIONS	25

C.  RECEIVING WATER LIMITATIONS	29

D.  PROVISIONS	30

1.   Permit Compliance and Rescission of Previous Waste Discharge Requirements	30

Special Studies	30

2.   Effluent Characterization for Selected Constituents	30

3.   Ambient Background Receiving Water Study	31

4.   Pollution Prevention and Minimization Program (PMP)	31

5.   Storm Water Pollution Prevention Plan and Annual Report	33

6.   Best Management Practices Program	33

Toxicity Requirements	33

7.   Acute Toxicity	33

8.   Chronic Toxicity	34

Ongoing Programs	35

9.   Regional Monitoring Program	35

Optional Studies	35

10.  Optional Mass Offset	35

11.  Copper and Nickel Translator Study and Schedule	36

Facilities Status Reports and Permit Administration	36

12.  Operations and Maintenance Manual, Review and Status Reports	36

13.  Contingency Plan, Review and Status Reports	36

14.  Annual Status Reports	37

15.  303(d)-Listed Pollutants, Site-Specific Objective and TMDL Status Review	37

16.  New WQOs	37

17.  SMP	37

18.  Standard Provisions and Reporting Requirements	37

19.  Change in Control or Ownership	37

20.  Permit Reopener	38

21.  NPDES Permit	38

22.  Order Expiration and Reapplication	38

Standard Language And Other References Available Online	39

LIST OF TABLES

Table 1	Effluent Characteristics at E-001	3

Table 2	Discharge Outfalls	4

Table 3	Summary of Reasonable Potential Analysis Results	13

Table 4	Effluent Limitations for Conventional Constituents	26

Table 5	Effluent Limits for Toxic Pollutants	27

Table 6	MLs for Pollutants with Effluent Limits	28

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2004-0042

NPDES PERMIT NO. CA0006165

REISSUING WASTE DISCHARGE REQUIREMENTS FOR:

RHODIA INC.

100 MOCOCO ROAD

MARTINEZ, CONTRA COSTA COUNTY

# FINDINGS

The California Regional Water Quality Control Board, San Francisco Bay Region, hereinafter called the Board, finds that:

- Discharger and Permit Application. Rhodia Inc. (hereinafter called the Discharger) has applied to the Board for reissuance of waste discharge requirements and a permit to discharge treated wastewater to waters of the State and the United States under the National Pollutant Discharge Elimination System (NPDES).

## Facility Description

- Description of Facility. The Discharger owns and operates a sulfuric acid regeneration plant at 100 Mococo Road in Martinez, Contra Costa County (hereinafter the site).  The site has been operating since April 1970.  It consists of approximately 110-acres on three separate parcels.  To the immediate northeast of the site, the State of California owns 12 acres of vacant land that is administered through the State Lands Commission (SLC).  Shell Oil Martinez Refinery is west of the site, Peyton Slough is to the east, a large salt marsh is to the south, and Carquinez Strait is to the north. The Discharger has a 10 to 15 foot easement on the SLC property for the routing of outfall E-001 to Carquinez Strait.  Attachment A of this Order is the site location map.

- Description of Products Manufactured. Using primarily spent acids from the nearby petroleum refineries, and molten sulfur as raw material, the Discharger utilizes a regeneration process to manufacture approximately 300,000 tons per year of various strengths and grades of sulfuric acid.  The final scrubber in the system produces ammonia sulfate/bisulfite liquor, which is sold as a fertilizer product.

- Description of General Product Application or End-Use. Sulfuric acid is the largest volume industrial chemical manufactured in the United States. Common uses are for making fertilizers, rayon, film, explosives, car batteries, dyes and pigments. The major use of the sulfuric acid produced from the site is as an alkylation catalyst in gasoline manufacturing by local petroleum refineries.  Ammonia sulfate/bisulfite is used as a fertilizer in agricultural applications.

- Description of Production Process.  The production process begins with the decomposition of spent sulfuric acid and molten sulfur in a high temperature (1800F) industrial furnace.  The spent sulfuric acid is decomposed and sulfur is combusted to form a sulfur dioxide rich gas.  The hydrocarbon that is part of the spent acid is combusted to form water vapor and carbon dioxide. Excess air is introduced into the furnace to ensure complete combustion. The gas is cooled through a waste heat boiler and a quench tower, cleaned by multiple wet electrostatic precipitators, dried in a drying tower, and converted into sulfur trioxide in a converter unit.  The sulfur trioxide then combines with water in an absorption tower to form sulfuric acid.  Prior to releasing to the atmosphere through a stack, the gas containing unconverted sulfur dioxide is cleaned in an ammonia scrubber/mist eliminator where a fertilizer product, ammonium bisulfite, is formed.

- Groundwater Clean Up.  The plant was built in 1969-1970 by Stauffer Chemical Company on land where Mountain Copper Company used to operate a copper smelter.  Over the years, large piles of copper smelting slag and cinders accumulated in the north and south areas of the site.  Due to their heavy weight, these waste piles subsided into the soft Bay mud.  Under Board Order No. 91-166, the Discharger closed two evaporative ponds that used to hold metal-contaminated groundwater, in accordance with the requirements of the Toxic Pits Cleanup Act.  Additionally, Board Order No. 97-121 requires the Discharger to extract groundwater from the cinder/slag burial area to prevent leachate from entering the Carquinez Strait.  The Discharger constructed a Process Effluent Purification (PEP) plant in 1989 to treat groundwater, and identified nickel, zinc, copper, and cadmium to be the primary metals of concern in the PEP effluent.  The PEP plant uses sodium hydroxide to remove elevated levels of metals from the extracted groundwater.  In this process, the PEP Plant produces two filter cakes: one high in iron that is disposed of at a Class II landfill, and one high in zinc that is disposed of at a Class I landfill.

- The U.S. Environmental Protection Agency (U.S. EPA) and the Board have classified this Discharger as a major discharger.

## Purpose of Order

- This NPDES permit regulates the discharges of (i) treated effluent from the onsite treatment plant to Carquinez Strait, a water of the United States and the State, and (ii) stormwater runoff to Peyton Slough, a shallow water body tributary to Carquinez Strait.  Both Carquinez Strait and Peyton Slough and contiguous tributaries between these water bodies are considered the receiving waters for this Order.  These discharges are currently governed by Waste Discharge Requirements (NPDES Permit) specified in the Board Order No. 98-104, adopted by the Board on October 21, 1998 (the previous permit).

## Discharge Description

- The description of wastewater and stormwater discharged from the site is based on information contained in the Report of Waste Discharge, recent self-monitoring reports, stormwater pollution prevention plan, and other relevant information.  Attachment B is a water flow schematic for the plant.  All sanitary waste is piped to leach fields located on various portions of the site.

- Waste 001

- Waste 001 consists of an average of 0.127 million gallons per day (mgd) of wastewater, with a potential maximum daily rate of over 0.779 mgd during heavy rain periods.  The wastewater consists of cooling tower blowdown, acidic process water, boiler blowdown, various scrubber and washdown waters, stormwater runoff associated with industrial activities, and effluent from the PEP plant, which operates about six months out of the year, and has a long-term average flow rate of 0.032 mgd, and a maximum daily flow rate of 0.144 mgd.

The Discharger implemented in-plant recycle procedures to minimize acid releases to the wastewater treatment system.  With the exception of the PEP effluent, all wastewater streams are mixed in a 23,000-gallon fiberglass tank (T-28) where sodium hydroxide and aluminum sulfate are added for neutralization and flocculation.  Overflow from the T-28 is contained in a surge pond, from which the wastewater flows to a 13,000-gallon neutralizing tank (T-21) for further pH adjustment.  The Discharger routes PEP Plant effluent to T-21.  The combined effluent then enters a 630,000-gallon settling pond for final polishing.  This Order defines the final effluent from the settling pond as treated waste, which is discharged to Carquinez Strait, about 730 feet from the shoreline, via deep water outfall E-001 at the location depicted in Table 2.

- The wastewater comes from three major sources. (1) The majority of Rhodia’s wastewater effluent comes from non-contact cooling tower blowdown. The provider of the cooling water is the Contra Costa Water District (CCWD). Because of the evaporative cooling process, there will be increases in metal concentrations. (2) The next largest contribution to the Rhodia wastewater stream comes from the PEP plant that treats onsite groundwater. Historical site usages have resulted in the presence of iron pyrite cinders and slag on the site. As a result, the groundwater pumped to the PEP plant can have elevated concentrations of iron, zinc, and other metals. (3) The final major contribution to the wastewater treatment system comes from the Discharger’s sulfuric acid regeneration process. The extremely high temperature that the spent acid streams undergo in this process (in excess of 1800F) effectively degrades or otherwise eliminates almost all organic compounds.

- Table 1 below describes the quality of treated effluent (E-001).  For conventional and non-conventional pollutants, data are from the Report of Waste Discharge submitted in April 2003; while for priority pollutants, data are from self-monitoring reports from 2000 through 2003.

- Effluent Characteristics at E-001

| Constituents | Long-term Average | Maximum Daily |
| --- | --- | --- |
| Chemical Oxygen Demand (COD) | 17.9 mg/L 14.55 lb/day | 35 mg/L 48.16 lb/day |
| Total Suspended Solids (TSS) | 5.93 mg/L[1] 4.87 lb/day[1] | 18.8 mg/L 15.96 lb/day |
| Oil and Grease (O&G) | 1 mg/L[1] 0.59 kg/day[1] | - mg/L 0.86 kg/day |
| pH | 6.5 (minimum) | 8.8 (maximum) |
| Temperature (winter) C | 13.8 | 18.9 |
| Temperature (summer) C | 25.0 | 28.9 |
| Arsenic (g/L)[1] | 6.8 | 12 |
| Cadmium (g/L) [1] | 1.6 | 4 |
| Chromium VI (g/L) [1] | 5.7 | 14 |
| Copper (g/L) [1] | 11.8 | 31 |
| Lead (g/L) | All non detect (ND) | <2.0 |
| Mercury (g/L) [2] | 0.033 | 0.27 |
| Nickel (g/L) | 19.14 | 37 |
| Selenium (g/L) [1] | 11.3 | 29.2 |
| Silver (g/L) [1] | 1.3 | 3 |
| Zinc (g/L) [1] | 13.9 | 48 |
| Cyanide (g/L) | All ND | <10 |

[1] To calculate average values, nondetects were replaced with ½ of the detection limit.

[2] Mercury values do not include the February 2000 datum because it is not an ultra-clean point.

- Waste 002 consists of stormwater runoff from the western highlands drain collection system on the site, from the paved areas around the maintenance office and warehouse, and from the closed evaporation pond.  It has been discharged through outfall E-002 to Peyton Slough at the location depicted in Table 2.

- Discharge Locations. Table 2 lists the latitudes and longitudes of the two discharge outfalls.

- Discharge Outfalls

| Outfall | Description | Latitude | Longitude |
| --- | --- | --- | --- |
| E-001 | Wastewater | 3802’18” | 12207’01” |
| E-002 | Stormwater | 3801’57” | 12206’41”. |

## Regional Monitoring Program

- On April 15, 1992, the Board adopted Resolution No. 92-043 directing the Executive Officer to implement a Regional Monitoring Program for San Francisco Bay. Subsequent to a public hearing and various meetings, the Board requested major permit holders in this region, under authority of Section 13267 of the California Water Code, to report on the water quality of the San Francisco Bay Estuary. These permit holders, including the Discharger, responded to that request by participating in a collaborative effort, through the San Francisco Estuary Institute (formerly the Aquatic Habitat Institute). This effort is known as the San Francisco Bay Regional Monitoring Program for Trace Substances (the RMP). The Discharger has agreed to continue to participate in the RMP, which includes collection of data on pollutants and toxicity in water, sediment, and biota of the estuary.

## Applicable Plans, Policies and Regulations

- Water quality objectives (WQOs), water quality criteria (WQC), effluent limitations, and calculations contained in this Order are based on the statutes, documents, and guidance detailed in Section III of the attached Fact Sheet, which is incorporated here by reference.

## Beneficial Uses of Receiving Waters

- The beneficial uses of the Peyton Slough, Carquinez Strait and Suisun Bay receiving waters, as identified in the Board’s June 21, 1995 Water Quality Control Plan San Francisco Bay Basin (Region 2) (the Basin Plan) (Table 2-7 on pp. 2-25), and based on known uses of the receiving waters in the vicinity of the discharge, are:

- Industrial Service Supply

- Navigation

- Water Contact Recreation

- Non-Contact Recreation

- Ocean Commercial and Sport Fishing

- Wildlife Habitat

- Preservation of Rare and Endangered Species

- Fish Migration

- Fish Spawning

- Estuarine Habitat

## Bases for Effluent Limitations

### General Basis

### Applicable Water Quality Objectives

- The WQOs and WQC applicable to the receiving water of this discharge are from the Basin Plan, the U.S. EPA’s May 18, 2000 Water Quality Standards; Establishment of Numeric Criteria for Priority Toxic Pollutants for the State of California (the California Toxics Rule, or the CTR), and U.S. EPA’s National Toxics Rule (the NTR).

  - The Basin Plan specifies numeric WQOs for 10 priority toxic pollutants, as well as narrative WQOs for toxicity and bioaccumulation in order to protect beneficial uses. The pollutants for which the Basin Plan specifies numeric objectives are arsenic, cadmium, chromium (VI), copper in fresh water, lead, mercury, nickel, silver, zinc, and total polynuclear aromatic hydrocarbons (PAHs) in salt water. The narrative toxicity objective states in part, “[a]ll waters shall be maintained free of toxic substances in concentrations that are lethal to or that produce other detrimental responses in aquatic organisms.” The bioaccumulation objective states in part, “[c]ontrollable water quality factors shall not cause a detrimental increase in concentrations of toxic substances found in bottom sediments or aquatic life. Effects on aquatic organisms, wildlife, and human health will be considered.” Effluent limitations and provisions contained in this Order are designed to implement these objectives, based on available information.

  - The CTR specifies numeric aquatic life criteria for 23 priority toxic pollutants and numeric human health criteria for 57 priority toxic pollutants. These criteria apply to inland surface waters and enclosed bays and estuaries such as here, except where the Basin Plan’s Tables 3-3 and 3-4 specify numeric objectives for priority toxic pollutants.  In these cases, the Basin Plan’s numeric objectives apply over the CTR (except in the South Bay south of the Dumbarton Bridge).

  - The NTR established numeric aquatic life criteria for selenium, numeric aquatic life and human health criteria for cyanide, and numeric human health criteria for 34 toxic organic pollutants for waters of San Francisco Bay upstream to, and including, Suisun Bay and Carquinez Strait.  This includes the receiving water for this Discharger.

- Where numeric effluent limitations have not been established or updated in the Basin Plan, 40 CFR Part 122.44(d) specifies that water quality-based effluent limitations (WQBELs) may be set based on U.S. EPA criteria, supplemented where necessary by other relevant information, to attain and maintain narrative WQC to fully protect designated beneficial uses. The Fact Sheet for this Permit discusses the specific bases and rationales for effluent limitations, and is incorporated as part of this Order.

#### Basin Plan Receiving Water Salinity Policy

- The Basin Plan states that the salinity characteristics of the receiving water shall be considered in determining the applicable WQOs. Freshwater objectives apply to discharges to waters both outside the zone of tidal influence and with salinities lower than 5 parts per thousand (ppt) at least 75 percent in a normal water year. Marine water objectives shall apply to discharges to waters with salinities greater than 5 ppt at least 75 percent in a normal water year. For discharges to waters with salinities in between these two categories or tidally influenced fresh waters that support estuarine beneficial uses, the objectives shall be the lower of the marine water or freshwater objectives, based on ambient hardness, for each substance (BP, pp. 4–13). For constituents with WQOs specified in the Basin Plan, it is appropriate to use the Basin Plan definition for determining whether the receiving water is fresh, marine, or estuarine.

#### CTR Receiving Water Salinity Policy

- The CTR states that the salinity characteristics (i.e., freshwater versus saltwater) of the receiving water shall be considered in determining the applicable WQC.  Freshwater criteria shall apply to discharges to waters with salinities equal to or less than 1 ppt at least 95 percent of the time. Saltwater criteria shall apply to discharges to waters with salinities equal to or greater than 10 ppt at least 95 percent of the time in a normal water year.  For discharges to waters with salinities in between these two categories, or tidally influenced fresh waters that support estuarine beneficial uses, the criteria shall be the lower of the salt- or freshwater criteria (the freshwater criteria are calculated based on ambient hardness), for each substance. In applying CTR criteria, it is appropriate to use the CTR definition for determining whether the receiving water is fresh, marine, or estuarine.

#### Receiving Water Salinity

- The receiving waters for the subject discharge are the waters of Peyton Slough, Carquinez Strait and Suisun Bay, which are tidally influenced waterbodies, with significant fresh water inflows during the wet weather season.  Furthermore, Carquinez Strait and Suisun Bay are specifically defined as estuarine under both the Basin Plan and CTR definitions.  Therefore, the effluent limitations specified in this Order for discharges to Carquinez Strait and Suisun Bay are based on the lower of the marine and freshwater Basin Plan WQOs and CTR and NTR WQC.

#### Receiving Water Hardness

- Some WQOs and WQC are hardness dependent.  Hardness data collected through the RMP are available for waterbodies in the San Francisco Bay Region.  In determining the WQOs and WQC for this Order, the Board used a hardness value of 46 mg/L, which is the minimum hardness observed at the Pacheco River RMP Station during the period of 1993-2001.  This represents the best available information for hardness of the receiving water after it has mixed with the discharge.

#### Technology-Based Effluent Limitations

- Effluent limitation guidelines requiring the application of best available technology economically achievable (BAT) have not been promulgated by the U.S. EPA for the type of discharge authorized by this permit.  Effluent limitations of this Order are based on the Basin Plan, other State plans and policies, and best professional judgment (BPJ).

- The technology-based effluent limitations for the following conventional and non-conventional pollutants: total suspended solids (TSS), oil and grease (O&G), and settable matter are retained from the previous permit.  For chemical oxygen demand (COD), this permit increases the concentration-based limit from 46 to 52 mg/L to reflect the Discharger’s water conservation efforts.  This is because the Discharger documented that it has reduced the amount of freshwater it uses to produce a ton of acid by about 12% from the time the COD limit was developed.   This satisfies the backsliding exception in CWA 402(o)(2) that indicates a less stringent limit is justifiable if material and substantial alterations occur at the facility after permit issuance.

#### Water Quality-Based Effluent Limitations

- Toxic substances are regulated by WQBELs derived from the Basin Plan, Tables 3-3 and 3-4, the CTR, the NTR, and/or BPJ as defined in Section IV of the attached Fact Sheet.  WQBELs in this Order are revised and updated from the limits in the previous permit, and their presence in this Order is based on the evaluation of the Discharger’s data as described below under the Reasonable Potential Analysis (RPA). Numeric WQBELs are required for all constituents that have Reasonable Potential to cause or contribute to an excursion above any State water quality standard.  Reasonable Potential is determined and final WQBELs are developed using the methodology outlined in the Policy for Implementation of Toxics Standards for Inland Surface Waters, Enclosed Bays, and Estuaries of California (the State Implementation Plan or the SIP). If the Discharger demonstrates that the final limits will be infeasible to meet and provides justification for a compliance schedule, then interim limits are established, with a compliance schedule to achieve the final limits. Further details about the effluent limitations are given below and in the associated Fact Sheet.

  - Maximum Daily Effluent Limitations (MDELs) are used in this permit to protect against acute water quality effects. It is impracticable to use weekly average limitations to guard against acute effects. Although weekly averages are effective for monitoring the performance of biological wastewater treatment plants, the MDELs are necessary for preventing fish kills or mortality to aquatic organisms.

  - NPDES regulations, the SIP, and U.S. EPA’s Technical Support Document (TSD) provide the basis to establish MDELs.  NPDES regulations at 40 CFR 122.45(d) state:

“For continuous discharges all permit effluent limitations, standards, and prohibitions, including those necessary to achieve water quality standards, shall unless impracticable be stated as:

- Maximum daily and average monthly discharge limitations for all discharges other than publicly owned treatment works; ”

  - The SIP (p. 8, Section 1.4) requires that WQBELs be expressed as MDELs and average monthly effluent limitations (AMELs).

  - The TSD (p.96) states a maximum daily limitation is appropriate because the 7-day average, which could comprise up to seven or more daily samples, could average out peak toxic concentrations and therefore the discharge’s potential for causing acute toxic effects would be missed. A maximum daily limitation would be toxicologically protective of potential acute toxicity impacts.

#### Receiving Water Ambient Background Data used in Calculating WQBELs

- Ambient background values are used in the RPA and in the calculation of effluent limitations. For the RPA, ambient background concentrations are the observed maximum water column concentrations. The SIP states that for calculating WQBELs, ambient background concentrations are either the observed maximum ambient water column concentrations or, for criteria/objectives intended to protect human health from carcinogenic effects, the arithmetic mean of observed ambient water concentrations. The RMP station at Yerba Buena Island, located in the Central Bay, has been sampled for most of the inorganic (CTR constituent numbers 1–15) and some of the organic (CTR constituent numbers 16–126) toxic pollutants. Not all the constituents listed in the CTR were analyzed by the RMP during this time.

These data gaps are addressed by the Board’s August 6, 2001 Letter titled “Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy” (hereinafter referred to as the Board’s August 6, 2001 Letter—available online; see Standard Language and Other References Available Online, below). The Board’s August 6, 2001 Letter formally requires the Discharger (pursuant to Section 13267 of the California Water Code) to conduct ambient background monitoring and effluent monitoring for those constituents not currently sampled by the RMP and to provide this technical information to the Board. On May 15, 2003, a group of several San Francisco Bay Region dischargers (known as the Bay Area Clean Water Agencies, or BACWA) submitted a collaborative receiving water study, entitled the San Francisco Bay Ambient Water Monitoring Interim Report. This study includes monitoring results from sampling events in 2002 and 2003 for the remaining priority pollutants not monitored by the RMP. The RPA was conducted and the WQBELs were calculated using RMP data from 1993 through 2001 for inorganics and organics at the Yerba Buena Island RMP station, and additional data from the BACWA Ambient Water Monitoring Interim Report for the Yerba Buena Island RMP station.

#### Constituents Identified on the 303(d) List

- On June 6, 2003, U.S. EPA approved a revised list of impaired waterbodies prepared by the State. The list (hereinafter referred to as the 2002 303(d) list) was prepared in accordance with Section 303(d) of the Federal Clean Water Act to identify specific waterbodies where water quality standards are not expected to be met after implementation of technology-based effluent limitations on point sources. Carquinez Strait and Suisun Bay are listed as an impaired waterbodies. The pollutants impairing Carquinez Strait and Suisun Bay include mercury, nickel (Suisun Bay only), selenium, PCBs total, dioxins and furans, chlordane, DDT, dieldrin, diazinon, and dioxin-like PCBs.  Carquinez Strait and Suisun Bay are also impaired by exotic species.  Copper, which was previously identified as impairing Suisun Bay, was not included as impairing pollutants in the 2002 303(d) list and has been placed on the new Monitoring List.

#### Dilution and Assimilative Capacity

- In response to the State Board’s Order No. 2001-06, the Board evaluated the assimilative capacity of the receiving water for 303(d)-listed pollutants for which the Discharger has Reasonable Potential in its discharge. The evaluation included a review of RMP data (local and Central Bay stations), effluent data, and WQOs/WQC. From this evaluation, it is determined that the assimilative capacity is highly variable because of the complex hydrology of the receiving water. Therefore, there is uncertainty associated with the representative nature of the appropriate ambient background data to conclusively quantify the assimilative capacity of the receiving water. Pursuant to Section 1.4.2.1 of the SIP, “dilution credit may be limited or denied on a pollutant-by-pollutant basis….”

- a. 	For certain bioaccumulative pollutants, based on BPJ, dilution credit is not included in calculating the final WQBELs. This determination is based on available data on concentrations of these pollutants in aquatic organisms, sediment, and the water column. The Board placed selenium, mercury, and polychlorinated biphenyls (PCBs) on the CWA Section 303(d) list. U.S. EPA added dioxin and furan compounds, chlordane, dieldrin, and 4,4'-DDT to the CWA Section 303(d) list. Dilution credit is not included for the following pollutants: mercury, selenium, dieldrin, 4,4'-DDE, and dioxins and furans. The following factors suggest that there is no more assimilative capacity in the Bay for these pollutants.

i.	San Francisco Bay fish tissue data show that these pollutants, except for selenium, exceed screening levels. The fish tissue data are contained in Contaminant Concentrations in Fish from San Francisco Bay 1997 (May 1997). Denial of dilution credits for these pollutants is further justified by fish advisories to the San Francisco Bay. The Office of Environmental Health and Hazard Assessment (OEHHA) performed a preliminary review of the data from the 1994 San Francisco Bay pilot study, Contaminated Levels in Fish Tissue from San Francisco Bay. The results of the study showed elevated levels of chemical contaminants in the fish tissues. Based on these results, OEHHA issued an interim consumption advisory covering certain fish species from the Bay in December 1994. This interim consumption advice was issued and is still in effect owing to health concerns based on exposure to sport fish from the bay contaminated with mercury, PCBs, dioxins, and pesticides (e.g., DDT).

ii.	For selenium, the denial of dilution credits is based on Bay waterfowl tissue data presented in the California Department of Fish and Game’s Selenium Verification Study (1986–1990). These data show elevated levels of selenium in the livers of waterfowl that feed on bottom dwelling organisms such as clams. In addition, in 1987 OEHHA issued an advisory for the consumption of two species of diving ducks in the North Bay found to have high tissue levels of selenium. This advisory is still in effect.

- b. 	Furthermore, Section 2.1.1 of the SIP states that for bioaccumulative compounds on the 303(d) list, the Board should consider whether mass-loading limits should be limited to current levels. The Board finds that mass-loading limits are warranted for mercury for the receiving waters of this Discharger. This is to ensure that this Discharger does not contribute further to impairment of the narrative objective for bioaccumulation.

- c.  	As mentioned in an earlier finding, the discharge is through a deepwater diffuser to Carquinez Strait.  Based on a study dated March 1992, the Discharger reports that the diffuser achieves at least 20:1 initial dilution.  To address uncertainties with mixing (discussed below) and to protect beneficial uses of the Bay, this Order limits the dilution credit for nonbioaccumulative constituents to 10:1.  Limiting the dilution credit is based on SIP provisions in Section 1.4.2. The following outlines the basis for derivation of the dilution credit.

i.	A far-field background station is appropriate because the receiving waterbody (the Bay) is a very complex estuarine system with highly variable and seasonal upstream freshwater inflows and diurnal tidal saltwater inputs.

ii.	Because of the complex hydrology of the San Francisco Bay, a mixing zone cannot be accurately established.

iii.	Previous dilution studies do not fully account for the cumulative effects of other wastewater discharges to the system.

iv.	The SIP allows limiting a mixing zone and dilution credit for persistent pollutants (e.g., copper, silver, nickel, and lead).

The main justification for using a 10:1 dilution credit is the uncertainty in accurately determining both ambient background and the mixing zone in a complex estuarine system with multiple wastewater discharges. The detailed rationale is described in the Fact Sheet

#### Total Maximum Daily Loads (TMDLs) and Waste Load Allocations (WLAs)

- The Board plans to adopt Total Maximum Daily Loads (TMDLs) for pollutants on the 303(d) list in Carquinez Strait and Suisun Bay no later than 2010, with the exception of dioxin and furan compounds.  For dioxins and furans, the Board intends to consider this matter further after U.S. EPA completes its national health reassessment.  Future review of the 303(d) list for Carquinez Strait and Suisun Bay may result in revision of the schedules and/or provide schedules for other pollutants.

- The TMDLs will establish waste load allocations (WLAs) for point sources and load allocations (LAs) for nonpoint sources, and will result in achieving the water quality standards for the waterbodies. Final WQBELs for 303(d)-listed pollutants in this discharge will be based on WLAs contained in the respective TMDLs.

- The Board’s strategy to collect water quality data and to develop TMDLs is summarized below:

a.	Data collection—The Board has given the dischargers the option to collectively assist in developing and implementing analytical techniques capable of detecting 303(d)-listed pollutants to at least their respective levels of concern or WQOs. This collective effort may include development of sample concentration techniques for approval by U.S. EPA. The Board will require dischargers to characterize the pollutant loads from their facilities into the water quality-limited waterbodies. The results will be used in the development of TMDLs, and may be used to update or revise the 303(d) list and/or change the WQOs for the impaired waterbodies including Carquinez Strait.

b.	Funding mechanism—The Board has received, and anticipates continuing to receive, resources from Federal and State agencies for TMDL development.  To ensure timely development of TMDLs, the Board intends to supplement these resources by allocating development costs among dischargers through the RMP or other appropriate funding mechanisms.

#### Interim Limitations and Compliance Schedules

- Section 2.1.1 of the SIP states:

“the compliance schedule provisions for the development and adoption of a TMDL only apply when: …(b) the Discharger has made appropriate commitments to support and expedite the development of the TMDL. In determining appropriate commitments, the RWQCB should consider the discharge’s contribution to current loadings and the Discharger’s ability to participate in TMDL development.”

The Discharger agreed to assist the Board in TMDL development through active participation in the RMP.  The Board adopted Resolution No. 01-103, on September 19, 2001, authorizing the Executive Officer of the Board to enter into a Memorandum of Understanding with BACWA and other parties to accelerate the development of Water Quality Attainment Strategies (WQAS), including TMDLs, for San Francisco Bay.

- The SIP and the Basin Plan authorize compliance schedules in a permit if an existing discharger cannot immediately comply with a new and more stringent effluent limitation. Compliance schedules for limitations derived from CTR or the NTR WQCs are based on Section 2.2 of the SIP, and compliance schedules for limitations derived from Basin Plan WQOs are based on the Basin Plan. Both the SIP and the Basin Plan require the discharger to demonstrate the infeasibility of achieving immediate compliance with the new limitation to qualify for a compliance schedule. The SIP and Basin Plan require the following documentation to be submitted to the Board to support a finding of infeasibility:

- Descriptions of diligent efforts the discharger has made to quantify pollutant levels in the discharge, sources of the pollutant in the waste stream, and the results of those efforts.

- Descriptions of source control and/or pollution minimization efforts currently under way or completed.

- A proposed schedule for additional or future source control measures, pollutant minimization, or waste treatment.

- A demonstration that the proposed schedule is as short as practicable.

For limitations based on CTR or NTR criteria (i.e., copper, selenium, 4.4'-DDE, and dieldrin) this Order establishes a 5-year compliance schedule until September 1, 2009, as allowed by the CTR and SIP.  For limitations based on the Basin Plan numeric objectives (i.e., mercury and nickel), this Order establishes a compliance schedule until March 31, 2010 or until the Board adopts TMDLs for mercury and nickel. The Basin Plan provides for a 10-year compliance schedule to implement measures to comply with new standards as of the effective date of those standards. This provision has been construed as authorizing compliance schedules for new interpretations of existing standards (such as the numeric WQOs specified in the Basin Plan) resulting in more stringent limitations than in the previous permit. Because the SIP has been adopted, the Board has newly interpreted these objectives. As a result of applying the SIP methodologies, the effluent limitations for some pollutants are more stringent than the previous permit limits, and compliance schedules may be appropriate for the new limitations for those pollutants. The Board may take appropriate enforcement actions if interim limitations and requirements are not met.

- Until final WQBELs or WLAs are adopted for 303(d)-listed pollutants, state and federal anti-backsliding and antidegradation policies and the SIP, require that the Board include interim effluent limitations for them.  The interim effluent limitations will be the lower of the following:

  - current performance; or

  - the previous permit’s limitations

In addition to interim concentration limitations for copper, selenium, nickel, mercury, 4,4-DDE, and dieldrin, this Order establishes an interim performance-based mass limitation to maintain the Discharger’s current loading of mercury, a 303(d)-listed bioaccumulative pollutant that has Reasonable Potential. This interim performance-based mass limitation is based on recent discharge data.

- On February 25, 2004, the Discharger submitted a final feasibility study (the February 25, 2004 Feasibility Study), asserting it is infeasible to immediately comply with the WQBELs calculated according to SIP Section 1.4 for copper, nickel, mercury, and selenium.  Board staff conducted a statistical analysis of recent effluent data with respect to these pollutants (see the attached Fact Sheet for detailed results of this analysis).  Based on the results of the statistical analysis, the Board concurs with the February 25, 2004 Feasibility Study for the above pollutants.  There is also infeasibility for immediate compliance with the 4,4’-DDE and dieldrin WQBELs, as both pollutants were not detected in the effluent with method detection limits (MDLs) above the SIP specified minimum levels (MLs).  In addition, the MLs are above the WQC for 4,4’-DDE and dieldrin, therefore, compliance cannot be determined at this time.  Therefore, this Order establishes compliance schedules for copper, nickel, mercury, selenium, 4,4’-DDE, and dieldrin.  The SIP and 40 CFR Part 122.47 require that the Board establish interim numeric limitations and interim requirements to control these pollutants.  Specific bases for these interim limitations are described in the findings for each pollutant, below.  This Order also establishes interim requirements in a provision for development and/or improvement of Pollution Prevention and Best Management Practices programs for these pollutants, and for submittal of annual reports on these programs.

#### Antibacksliding and Antidegradation

- The limitations in this Order are in compliance with the Clean Water Act Section 402(o) prohibition against establishment of less stringent WQBELs for the following reasons:

- (1) 	For impairing pollutants, the revised final limitations will be in accordance with TMDLs and WLAs once they are established.

- (2)	For non-impairing pollutants, the final limitations are or will be consistent with current State WQOs/WQC.

### Specific Basis

### Reasonable Potential Analysis

- As specified in 40 CFR 122.44(d)(1)(i), permits are required to include WQBELs for all pollutants “which the Director determines are or may be discharged at a level which will cause, have the Reasonable Potential to cause, or contribute to an excursion above any State water quality standard.” Using the method prescribed in Section 1.3 of the SIP, the Board has analyzed the effluent data to determine whether the discharge, which is the subject of this Order, has a Reasonable Potential to cause or contribute to an excursion above a State water quality standard (RPA). For all parameters that have Reasonable Potential, numeric WQBELs are required. The RPA compares the effluent data with numeric and narrative WQOs in the Basin Plan and numeric WQC from the NTR, and CTR.

#### RPA Methodology

- The method for determining Reasonable Potential involves identifying the observed maximum pollutant concentration in the effluent (MEC) for each constituent, based on effluent concentration data. The RPA for all constituents is based on zero dilution, according to Section 1.3 of the SIP. There are three triggers in determining Reasonable Potential.

- (1)	The first trigger is activated when the MEC is greater than the lowest applicable WQO/WQC, which has been adjusted for pH, hardness (for freshwater WQO/WQC only), and translators, if appropriate. If the MEC is greater than the adjusted WQO/WQC, then that pollutant has Reasonable Potential and a WQBEL is required.

(2)	The second trigger is activated if the observed maximum ambient background concentration (B) is greater than the adjusted WQO/WQC (B>WQO/WQC):

i.    The MEC is less than the adjusted WQO/WQC (MEC<WQO/WQC), or

ii.   The pollutant was not detected in any of the effluent samples and all the detection levels      	 are greater than or equal to the adjusted WQO/WQC.

- (3)	The third trigger is activated if a review of other information determines that a WQBEL is required even though both MEC and B are less than the WQO/WQC, or effluent and background data are unavailable or insufficient (e.g., all nondetects). A limit is required only under certain circumstances to protect beneficial uses.

#### RPA Determinations

- The MECs, WQOs/WQC, bases for the WQOs/WQC, background concentrations used, and Reasonable Potential conclusions from the RPA are listed in Table 3 for all constituents analyzed. The RPA results for some of the constituents in the CTR were not determined because of the lack of objectives/criteria or effluent data.  Further details on the RPA can be found in the Fact Sheet.

- Summary of RPA Results.   The RPA was based on the effluent monitoring data from 2000 through 2003 for metals and cyanide, and from November 1999 through 2003 for organic pollutants.  Based on the RPA methodology described above and in the SIP, the following constituents have been found to have Reasonable Potential to cause or contribute to an excursion above WQOs/WQC:  cadmium, chromium VI, copper, mercury, nickel, selenium, silver, dioxins, bis(2-ethylhexyl)phthalate, 4,4’-DDE, and dieldrin. Based on the RPA, numeric water quality based effluent limits are required for these constituents (except for dioxins, as discussed further below).

- Summary of Reasonable Potential Analysis Results

| CTR #. | Constituent[1] | Applicable (Most Stringent) WQO (g/l) | Applicable (Most Stringent) WQO Basis[2] | MEC (g/l)[3] | Maximum Background Conc. (ug/L) Yerba Buena | RP (Trigger Type)[4] |
| --- | --- | --- | --- | --- | --- | --- |
| 2 | Arsenic | 36 | BP sw | 12 | 2.46 | No |
| 4 | Cadmium | 0.62 | BP fw H=46mg/L | 4 | 0.1268 | Yes (1) |
| 5b | Chromium (VI) | 11 | BP fw | 14 | 4.4 | Yes (1) |
| 6 | Copper | 3.73 | CTR sw | 31 | 2.45 | Yes (1) |
| 7 | Lead | 1.18 | BP fw, H=46 | <2.5 | 0.8 | No |
| 8 | Mercury* | 0.025 | BP sw/fw | 0.27 | 0.0064 | Yes (1) |
| 9 | Nickel* | 7.1 | BP sw | 37 | 3.7 | Yes (1) |
| 10 | Selenium* | 5.0 | NTR fw | 29.2 | 0.39 | Yes (1) |
| 11 | Silver | 1.07 | BP fw H=46 | 3 | 0.0516 | Yes (1) |
| 13 | Zinc | 55 | BP fw H=46 | 48 | 4.4 | No |
| 14 | Cyanide | 1.0 | CTR sw | <10 | <0.4 | No |
| 16 | TCDD-TEQ* | 1.4x10-8 | BP narrative | <4.8 x10-7 | 7.1x10-8 | Yes (2) |
| 68 | Bis(2-Ethylhexyl) Phthalate | 5.9 | CTR, hh | 6.4 | <0.5 | Yes (1) |
| 109 | 4,4’-DDE* | 0.00059 | CTR hh | All ND | 0.000693 | Yes (2) |
| 111 | Dieldrin* | 0.00014 | CTR hh | All ND | 0.000264 | Yes (2) |
| CTR #17-126 except 68, 109, and 111 | Others | Various or NA | CTR hh | ND, less than WQO, NA, or no WQO | NA or less than WQOs | No or Undeter-mined[5] |

[1] * Indicates constituents on 303(d) list, dioxin applies to 1998 Toxicity Equivalent Factors (TEQs) of 2,3,7,8-TCDD.

[2] RPA based on the following: Hardness (H) = 46 mg/L as CaCO3; BP = Basin Plan; CTR = California Toxics Rule; NTR=National Toxics Rule; fw = freshwater; sw = saltwater; hh = human health.

[3] NA- not available, ND- non-detect.

[4] See Finding 33 above for the definition of the three RPA triggers.

[5] Undetermined due to the lack of objectives/criteria and/or lack of effluent data (see Table B of the Fact Sheet for full RPA results).

#### RPA Results for Impairing Pollutants

- While TMDLs and WLAs are being developed, interim concentration limitations are established in this permit for 303(d)-listed pollutants that have a Reasonable Potential to cause or contribute to an excursion above the water quality standard. In addition, mass limitations are required for bioaccumulative 303(d)-listed pollutants that can be reliably detected. Constituents on the 303(d) list for which the RPA determined a need for effluent limitations are mercury, selenium, 4,4'-DDE (chemically linked to DDT), dieldrin, and dioxins. Final determination of Reasonable Potential for other constituents identified on the 303(d) list could not be performed because of a lack of an established WQO or WQC.

#### Specific Pollutants

- Polynuclear Aromatic Hydrocarbons (PAHs). This Order implements the policy and regulations of the CTR and SIP in regard to PAHs, that is, Reasonable Potential is determined for individual PAHs. The Basin Plan contains a WQO for total PAHs for the protection of saltwater aquatic life of 15 µg/L, as a 24-hour average; therefore, RPA is also performed on the total PAHs. Effluent data for individual PAHs are available for the period from November 1999 through August 2003.  None of the sixteen individual PAHs were detected.  Therefore, the total PAH concentration is assumed to be  “0”, and thus, no Reasonable Potential is identified. The nature of this discharge generally suggests that PAHs are unlikely to be found in the effluent  (see findings under “Discharge Description” above).

- Dioxin.

  - The CTR establishes a numeric human health WQC of 0.014 picogram per liter (pg/L) for 2,3,7,8-tetrachlorinated dibenzo-p-dioxin (2,3,7,8-TCDD) based on consumption of aquatic organisms. The preamble of the CTR states that California NPDES permits should use toxicity equivalents (TEQs) where dioxin-like compounds have a Reasonable Potential with respect to narrative criteria.  In U.S. EPA’s National Recommended WQOs, December 2002, U.S. EPA published the 1998 World Health Organization Toxicity Equivalence Factor (TEF) scheme. In addition, the CTR preamble states U.S. EPA’s intent to adopt revised WQC guidance subsequent to their health reassessment for dioxin-like compounds. The SIP applies to all toxic pollutants, including dioxins and furans.

  - The Basin Plan contains a narrative WQO for bioaccumulative substances:

- “Many pollutants can accumulate on particulates, in sediments, or bioaccumulate in fish and other aquatic organisms. Controllable water quality factors shall not cause a detrimental increase in concentrations of toxic substances found in bottom sediments or aquatic life. Effects on aquatic organisms, wildlife, and human health will be considered.”

This narrative WQO applies to dioxin and furan compounds, based in part on the consensus of the scientific community that these compounds associate with particulates, accumulate in sediments, and bioaccumulate in the fatty tissue of fish and other organisms.

c.	U.S. EPA’s 303(d) listing determined that the narrative objective for bioaccumulative pollutants was not met because of the levels of dioxins and furans in the fish tissue.

  - The Discharger has monitored for dioxins and furans. The limited data set is all nondetect, although all detection limits have been above the WQC. As shown in Table 3, 2002–2003 ambient receiving water quality data provided in the May 15, 2003 BACWA report show TCDD TEQ levels exceeding the WQC; therefore, there is Reasonable Potential for TCDD TEQ.

- 4,4’-DDE and Dieldrin.

  - Board staff could not determine MECs for 4,4'-DDE and dieldrin because the effluent data consisted of all nondetect values, and all the detection limits were higher than the WQC (Section 1.3 of the SIP). The Board conducted the RPA by comparing the WQC with RMP ambient background concentration data gathered using research-based sample collection, concentration, and analytical methods. This analysis concluded that the background concentrations are greater than the WQC and, therefore, that 4,4'-DDE and dieldrin have Reasonable Potential, and numeric WQBELs are required. Although 4,4'-DDE maximum background data are questionable owing to blank contamination, these data were used to evaluate Reasonable Potential for 4,4'-DDE, based on the following considerations: (1) other RMP monitoring data from stations close to the Discharger’s outfall show elevated 4,4'-DDE concentrations (such as Suisun Bay, Sacramento River stations, and the like); and (2) 4,4'-DDE in fish tissue in the Bay has exceeded the fish advisory level.

  - The current 303(d) list includes the Bay as impaired for dieldrin and DDT; 4,4'-DDE is chemically linked to the presence of DDT.  The Board intends to develop TMDLs that will lead to the overall reduction of dieldrin and 4,4'-DDE.  The WQBELs specified in this Order may be changed to reflect the WLAs from this TMDL.  Ongoing studies are investigating the feasibility and reliability of different methods of increasing sample volumes to lower the detection limits for pesticides. If analytical methodologies improve and the detection levels decrease to a point that show discharge concentrations above the limitations in this Order, the Board will reevaluate the Discharger’s feasibility to comply with the limitations and determine the need for a compliance schedule and interim performance-based limitations at that time.  Since dieldrin and 4,4'-DDE are both bioaccumulative and on the 303(d) list owing to fish tissue concentrations, there is no assimilative capacity, and no dilution credit was allowed in the final limitation calculations.

- Other Organics.  Self-monitoring data indicate that from 1999 to 2003, the Discharger sampled for all organic pollutants.  This data set was used to perform the RPA for organic pollutants.  The Discharger is required to continue monitoring its effluent for priority pollutants under the requirement of Provision D.2. Upon completion of the monitoring, the Board may re-evaluate the RPA and determine if WQBELs are required.

- Effluent Monitoring.  This Order does not include effluent limitations for constituents that do not show a Reasonable Potential, but continued monitoring for these pollutants is required as described in the August 6, 2001 Letter.  If concentrations of these constituents increase significantly or if constituents are detected in the effluent at levels above the applicable WQOs/WQC, the Discharger will be required to investigate the source of the increases and establish remedial measures.

- Permit Reopener. This Order includes a reopener provision to allow numeric effluent limitations to be added or deleted for any constituent that exhibits or does not exhibit, respectively, Reasonable Potential.  The Board will make this determination based on monitoring results.

#### Development of Specific Effluent Limitations

- Cadmium

a.	Cadmium WQOs.  The Basin Plan contains freshwater WQOs for cadmium of 0.62 g/L as a four-day average, and 1.6 g/L as a 1-hour average, as calculated using the receiving water hardness value of 46 mg/L, as CaCO3.

b.	RPA Results. This Order establishes effluent limitations for cadmium because the 4 g/L MEC exceeds the governing WQO of 0.62 g/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	WQBELs. The cadmium WQBELs calculated according to SIP procedures are 8.3 g/L as the MDEL and 4.1 g/L as the AMEL.

d.	Discharger’s Performance and Attainability. Effluent cadmium data from 2000 through 2003 ranged from <1 to 4 g/L (17 samples). Board staff conducted a statistical analysis on the effluent data collected from 2000 through 2003, and the results showed that the Discharger can comply with the WQBELs for cadmium.

e.	Antibacksliding/Antidegradation. The antibacksliding and antidegradation requirements do not apply since the previous permit did not contain effluent limitations for cadmium.

- Chromium

a.	Chromium WQOs.  The Basin Plan contains freshwater WQOs for hexavalent chromium (VI) of 11 g/L as a 4-day average, and 16 g/L as a 1-hour average. The WQOs for chromium (VI) can be met as total chromium as provided by the Basin Plan.

b.	RPA Results. This Order establishes effluent limitations for chromium because the 14 g/L MEC exceeds the governing WQO of 11 g/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	WQBELs. The chromium WQBELs calculated according to SIP procedures are 118 g/L as the MDEL and 57 g/L as the AMEL.

d.	Discharger’s Performance and Attainability. Effluent chromium (VI) data from 2000 through 2003 ranged from <1 to 14 g/L (17 samples). Board staff conducted a statistical analysis on the effluent data, and the results showed that the Discharger can comply with the WQBELs for chromium.

e.	Antibacksliding/Antidegradation. The antibacksliding and antidegradation requirements do not apply since the previous permit did not contain effluent limitations for chromium.

- Copper

a.	Copper WQC. The saltwater criteria for copper in the CTR are 3.1 µg/L for chronic protection and 4.8 µg/L for acute protection. Included in the CTR are translator values to convert the dissolved criteria to total criteria. The Discharger may also perform a translator study to determine a more site-specific translator. The SIP, Section 1.4.1, and the June 1996 U.S. EPA guidance document, entitled The Metals Translator: Guidance for Calculating a Total Recoverable Permit Limit from a Dissolved Criterion, describe this process and provide guidance on how to establish a site-specific translator. Using the CTR translator of 0.83, translated criteria of 3.7 µg/L for chronic protection and 5.8 µg/L for acute protection were used to determine Reasonable Potential and calculate effluent limitations

b.	RPA Results. This Order establishes effluent limitations for copper because the 31 µg/L MEC exceeds the governing WQC of 3.7 µg/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	Water Quality-based Effluent Limitations. The copper WQBELs calculated according to SIP procedures are 25 µg/L as the MDEL and 13 µg/L as the AMEL.

d.	Immediate Compliance Infeasible. The Discharger’s Infeasibility Study asserts the Discharger cannot immediately comply with these WQBELs. Board staff statistically analyzed the Discharger’s effluent data from 2000 through 2003 and determined that the assertion of infeasibility is substantiated for copper (see Section IV.A.6 and Table D of the attached Fact Sheet for detailed results of the statistical analysis).

e.	Interim Limitation. Because it is infeasible for the Discharger to immediately comply with the copper WQBELs, an interim limitation is required. Board staff conducted a statistical analysis of recent effluent data. Historically, interim performance-based effluent limitations (IPBELs) have been referenced to the 99.87th percentile value of recent effluent data. Statistical analysis indicates that the 99.87th percentile of the recent copper effluent data is 39 g/L. The previous permit included a WQBEL of 37 μg/L as a daily average, which is more stringent than the 99.87th percentile of the recent effluent data. Therefore, the previous permit limitation of 37 µg/L is established in this Order as the interim limitation, expressed as a daily maximum limitation.

f.	Discharger Performance and Attainability. During the period 2000 through 2003, all effluent copper concentrations were below the 37 µg/L interim limitation (range from <1 µg/L to 31 µg/L, 48 samples); therefore, it is expected that the Discharger can comply with the interim limitation for copper.

g.	Term of Interim Limitation. The copper interim limitation shall remain in force until September 1, 2009, or until the Board amends the limitations based on additional data or site-specific objectives (SSOs).

h.	Copper Source Control Strategy.  As a prerequisite to being granted the compliance schedule and interim limits described above, the Discharger must implement copper source control strategies, as required by Provision D.4 of this Order.

i.	Antibacksliding/Antidegradation. Antibacksliding and antidegradation requirements are satisfied, since the interim effluent limitation is based on the previous permit limitation, and the final limits are more stringent.

- Mercury

a.	Mercury WQOs/WQC. Both the Basin Plan and the CTR include objectives and criteria that govern mercury in the receiving water. The Basin Plan specifies objectives for the protection of aquatic life of 0.025 g/L as a 4-day average and 2.1 g/L as a 1-hour average. The CTR specifies a long-term average criterion for protection of human health of 0.051 g/L.

b.	RPA Results. This Order establishes effluent limitations for mercury because the 0.27 µg/L MEC exceeds the governing WQO of 0.025 µg/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	WQBELs. The mercury WQBELs calculated according to SIP procedures are 0.043 µg/L as the MDEL and 0.014 g/L as the AMEL.

d.	Immediate Compliance Infeasible. The Discharger’s Infeasibility Study asserts the Discharger cannot immediately comply with the mercury WQBELs. Board staff statistically analyzed the Discharger’s effluent data from 2000 through 2003 (ultra-clean data only, the February 2000 was excluded from the analysis since it was collected before the ultra-clean technique was applied) and determined that the assertion of infeasibility is substantiated for mercury (see Section IV.A.6 and Table D of the attached Fact Sheet for detailed results of the statistical analysis).

e.	IPBEL. Because it is infeasible for the Discharger to immediately comply with the mercury WQBELs, this Order establishes a mercury IPBEL of 0.32 μg/L, which is the 99.87th percentile of the effluent data collected from 2000 through 2003 (the February 2000 datum was excluded because the Discharger did not use the ultraclean method). The previous Order did not include a mercury effluent limitation.

f.	Interim Mercury Mass Emission Limitation. In addition to the concentration-based mercury IPBEL, this Order establishes an interim 12-month moving average mercury mass-based effluent limitation of 0.0024 kg/month. This is based on treatment plant performance at the 99.87 percentile value (or average + 3* standard deviation) determined from effluent data gathered from 2000 through 2003.  To calculate this mass limit for mercury, Board staff used the average quarterly flow and the mercury datum for that period (the Discharger only monitors for mercury on a quarterly basis).  This mass-based effluent limitation maintains current loadings until a TMDL is established.  The final mass-based effluent limitation will be based on the WLA derived from the mercury TMDL.

g.	Discharger’s Performance and Attainability. During the period May 2000 through 2003, the Discharger’s effluent concentrations ranged from 0.0043g/L to 0.27 g/L (15 samples). All samples were below the interim limitation of 0.32 g/L.  It is therefore expected that the Discharger can comply with the interim limitation for mercury.

h.	Term of IPBEL. The mercury IPBEL shall remain in effect until March 31, 2010, or until the Board amends the limitations based on additional data, SSOs, or the WLA in the TMDL.  During the next permit reissuance, Board staff may reevaluate the mercury IPBEL.

i.	Mercury Source Control Strategy. As a prerequisite to being granted the compliance schedule and interim limits described above, the Discharger must implement mercury source control strategies, as required by Provision D.4 of this Order.

j.	Expected Final Mercury Limitations. The final mercury WQBELs and the interim mass limitation will be revised to be consistent with the WLA assigned in the adopted mercury TMDL. In order to maintain current ambient receiving water conditions while the TMDL is being developed, the Discharger must comply with performance-based mercury concentration and mass-based limitations contained in this Order.

k.	Antibacksliding/Antidegradation. The antibacksliding and antidegradation requirements do not apply since the previous permit did not contain effluent limitations for mercury.

- Nickel

a.	Nickel WQOs.  The Basin Plan objectives for nickel of 7.1 μg/L as a 24-hour average and 140 μg/L as an instantaneous maximum are more stringent than those contained in the CTR.

b.	RPA Results. This Order establishes effluent limitations for nickel because the 37 μg/L MEC exceeds the governing WQO of 7.1 μg/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	WQBELs. The nickel WQBELs calculated according to SIP procedures are 57 μg/L as the MDEL and 32 μg/L as the AMEL.

d.	Immediate Compliance Infeasible. The Discharger’s Infeasibility Study asserts the Discharger cannot immediately comply with these WQBELs. Board staff statistically analyzed the Discharger’s effluent data from 2000 through 2003 and determined that the assertion of infeasibility is substantiated for nickel (see Section IV.A.6 and Table D of the attached Fact Sheet for detailed results of the statistical analysis).

e.	IPBEL. Because it is infeasible for the Discharger to immediately comply with the nickel WQBELs, an IPBEL is required. Board staff conducted a statistical analysis of recent effluent data. Statistical analysis indicates that the 99.87th percentile of the Discharger’s recent nickel effluent data is 46 g/L, and this is established as the IPBEL. The previous permit included a WQBEL of 53 μg/L as a daily average.

f.	Nickel Source Control Strategy. As a prerequisite to being granted the compliance schedule and interim limits described above, the Discharger must implement nickel source control strategies, as required by Provision D.4 of this Order.

g.	Expected Final Nickel Limitations. The final nickel WQBELs will be revised to be consistent with the WLA assigned in the adopted nickel TMDL. While the TMDL is being developed, the Discharger will comply with performance-based nickel concentration limitation to cooperate in maintaining current ambient receiving water conditions.

h.	Discharger’s Performance and Attainability. During the period 2000 through 2003, all effluent nickel concentrations were below the 46 µg/L interim limitation (range from 7.2 µg/L to 37 µg/L, 16 samples); therefore, it is expected that the Discharger can comply with the interim limitation for nickel.

i.	Term of Interim Limitation. The nickel interim limitation shall remain in effect until March 31, 2010, or until the Board amends the limitations based on additional data, SSOs, or the WLA in the TMDL for Suisan Bay.

j.	Antibacksliding/Antidegradation.  Antibacksliding and antidegradation requirements are satisfied because the calculated WQBELs are more stringent than the previous permit.  Though the previous limit of 53 g/L is numerically less stringent than the calculated MDEL of 57 g/L, the pair of AMEL/MDEL is statistically more stringent than the single daily average limit.  This conclusion is apparent in the Board’s determination of infeasibility to comply with the MDEL/AMEL, and the Discharger’s record of consistent compliance with previous permit limit in the past 5 years.

- Selenium

a.	Selenium WQC.  Selenium WQC were promulgated in the NTR for specific waters, which include Carquinez Strait.  The NTR established a Criterion Chronic Concentration (CCC) for the protection of aquatic life of 5 g/L and a Criterion Maximum Concentration (CMC) for the protection of aquatic life of 20 g/L.

b.	RPA Results.  The 29.2 μg/L MEC exceeds the governing WQC of 5 μg/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	Concentration-based WQBELs.  The WQBELs calculated according to SIP procedures are 8.2 μg/L as the MDEL and 4.1 μg/L as the AMEL.

d.	Immediate Compliance Infeasible. The Discharger’s Infeasibility Study asserts the Discharger cannot immediately comply with these WQBELs. Board staff statistically analyzed the Discharger’s effluent data from 2000 through 2003 and determined that the assertion of infeasibility is substantiated for selenium (see Section IV.A.6 and Table D of the attached Fact Sheet for detailed results of the statistical analysis).

e.	IPBEL. Because it is infeasible for the Discharger to immediately comply with the selenium WQBELs, an IPBEL is required. Board staff conducted a statistical analysis of recent effluent data. Statistical analysis indicates that the 99.87th percentile of the Discharger’s selenium effluent data is 46 g/L, and this is established as the IPBEL.  The previous permit included a WQBEL of 50 μg/L as a daily average.

f.	Discharger’s Performance and Attainability. During the period 2000 through 2003, all effluent selenium concentrations were below the 46 µg/L interim limitation (range from <7 µg/L to 29.2 µg/L, 16 samples); therefore, it is expected that the Discharger can comply with the interim limitation for selenium.

g.	Term of IPBEL. The selenium interim limitation shall remain in effect until September 1, 2009, or until the Board amends the limitations based on additional data, SSOs, or the WLA in the TMDL.

h.	Selenium Source Control Strategy. As a prerequisite to being granted the compliance schedule and interim limits described above, the Discharger must implement selenium source control strategies, as required by Provision D.4 of this Order.

i.	Expected Final Selenium Limitations. The final selenium WQBELs will be revised to be consistent with the WLA assigned in the adopted selenium TMDL. While the TMDL is being developed, the Discharger will comply with the performance-based selenium concentration limitation to cooperate in maintaining current ambient receiving water conditions.

j.	Antibacksliding/Antidegradation.  Antibacksliding and antidegradation requirements are satisfied, since the interim and final effluent limitations are more stringent than the previous permit limit.

- Silver

a.	Silver WQOs.  The Basin Plan contains a freshwater WQO for silver of 1.1 g/L as an instantaneous maximum, calculated based on the receiving water hardness value of 46 mg/L, as CaCO3.

b.	RPA Results. This Order establishes effluent limitations for silver because the 3 g/L MEC exceeds the governing WQO of 1.1 g/L, demonstrating Reasonable Potential by Trigger 1, above.

c.	WQBELs. The silver WQBELs calculated according to SIP procedures are 10.4 g/L as the MDEL and 4.6 g/L as the AMEL.

d.	Discharger’s Performance and Attainability. Board staff conducted a statistical analysis on the Discharger’s effluent data collected from 2000 through 2003, and the results showed that the Discharger can comply with the WQBELs for silver (see the Fact Sheet for detailed results of this analysis).

e.	Antibacksliding/Antidegradation. The antibacksliding and antidegradation requirements do not apply since the previous permit did not contain effluent limitations for silver.

- Bis(2-Ethylhexyl)Phthalate

- a. 	Bis(2-Ethylhexyl)Phthalate WQC.  The CTR establishes a human health value of 5.9 g/L for bis(2-ethylhexyl)phthalate, based on consumption of organisms.

- b.	RPA Result. This Order establishes effluent limitations for bis(2-ethylhexyl)phthalate because the 6.4 g/L MEC exceeds the governing WQC of 5.9 g/L, demonstrating Reasonable Potential by Trigger 1, above.  The Discharger indicates that it does not believe this sample is representative of its effluent because bis(2-ethylhexyl) phthalate is not used in onsite processes, and is a common laboratory contaminant.  However, there is no conclusive evidence to substantiate the Discharger’s position.  The Discharger should eliminate any potential causes of contamination in sampling/analysis, and implement proper QA/QC to ensure the validity of future data.  If the Discharger implements such measures, it should have no problem with compliance, and future data will be used in determining Reasonable Potential in the next permit reissuance.

- c.	WQBELs. The final WQBELs calculated for bis(2-ethylhexyl)phthalate are: AMEL of 53 g/L and MDEL of 106 g/L.

- d.	Discharger’s Performance and Attainability. Effluent data from 2000 through 2003 ranged from <3.3 to 6.4 g/L (6 samples with one detected value only). The limited data preclude any meaningful statistical analysis of feasibility to comply. Since the MEC is much lower than the WQBELs, it is expected that the Discharger is able to comply with the WQBELs.

  - Antibacksliding/Antidegradation. There were no WQBELs in the previous permit; therefore, anti-backsliding and anti-degradation provisions do not apply.

- 4,4’-DDE and Dieldrin

a.	WQC. In the CTR, the lowest criteria for 4,4'-DDE and dieldrin are the human health values based on the consumption of organisms of 0.00059 μg/L and 0.00014 μg/L, respectively.

b.	RPA Results. This Order establishes limitations for 4,4'-DDE and dieldrin because the ambient background concentrations (0.000693 μg/L and 0.000264 μg/L, respectively) exceed the governing WQC, demonstrating a Reasonable Potential by Trigger 2, above.

c.	WQBELs. The 4,4'-DDE and dieldrin WQBELs calculated according to SIP procedures are 0.00059 μg/L as the AMEL and 0.00118 μg/L as the MDEL for 4,4'-DDE, and 0.00014 μg/L as the AMEL and 0.00028 μg/L as the MDEL for dieldrin.

d.	Immediate Compliance Infeasible. Compliance with the final WQBELs cannot be determined at this time as the MLs, 0.05 μg/L for 4,4'-DDE and 0.01 μg/L for dieldrin identified in Appendix 4 of the SIP, are higher than the final calculated WQBELs.

e.	Interim Effluent Limitations. Interim limitations are established at the respective MLs. The interim limitations are as follows:  0.05 μg/L for 4,4'-DDE and 0.01 μg/L for dieldrin as the MDELs.

f.	Discharger’s Performance and Attainability. Self-monitoring effluent data are available from 1999 through 2003. Neither pollutant was detected in the effluent in any of the samples.

g.	Term of Interim Effluent Limitations. The 4,4'-DDE and dieldrin interim effluent limitations shall remain in effect until September 1, 2009, or until the Board amends the limitations based on additional data, SSOs, or the WLA in the TMDL.

- Dioxin TEQ

- a.	Dioxin WQC. The CTR establishes a numeric human health WQC of 0.014 pg/L for 2,3,7,8-TCDD based on consumption of organisms. The preamble of the CTR states that California NPDES permits should use TEQs where dioxin-like compounds have Reasonable Potential with respect to narrative criteria. The preamble further states that U.S. EPA intends to use the 1998 World Health Organization TEF scheme in the future and encourages California to use this scheme in State programs. In addition, the CTR preamble states U.S. EPA’s intent to adopt revised WQC guidance subsequent to their health reassessment for dioxin-like compounds. Staff used TEQs to translate the narrative WQOs to numeric WQOs for the other 16 congeners.

- b.	RPA Results. The dioxin TEQ maximum background concentration is above the governing WQC, which triggers RP using Trigger 2, above. All effluent data are non-detects, although the detection limits are higher than the WQC.

- c.	Dioxin Effluent Limits. The final limits for dioxin TEQ will be based on the WLA assigned to the Discharger in the TMDL. As noted above, all effluent data were non-detects. The detection limits historically used by the Discharger, however, are insufficient to accurately determine the concentrations of the dioxin congeners in the discharge. The SIP does not specify an ML for dioxin analysis. It is, therefore, not possible to determine an IPBEL for dioxin and the previous permit did not include a dioxin limit.  As a result, no interim limitation is established for dioxin at this time. This permit requires additional dioxin monitoring to complement a special dioxin project being conducted by the Clean Estuary Partnership (CEP). The special dioxin project will consist of impairment assessment and a conceptual model for dioxin loading into the Bay. The report will be submitted to the Board by mid-2004. The permit will be reopened, as appropriate, to include interim dioxin limitations when additional data become available.

### Whole Effluent Acute Toxicity

- This Order includes effluent limits for whole-effluent acute toxicity that are unchanged from the previous permit. Compliance evaluation is based on 96-hour static renewal bioassays because this is an intermittent discharge.  All bioassays shall be performed according to the U.S. EPA-approved method in 40 CFR Part 136, currently “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water, 5th Edition.” Dischargers have identified several practical and technical issues that need to be resolved before implementing the new procedures. The primary unresolved issue is the use of younger, possibly more sensitive fish, which may necessitate a reevaluation of permit limits.  SWRCB staff recommended to the Boards that new or renewed permit holders be allowed a time period in which laboratories can become proficient in conducting the new tests. A provision is included in this Order granting the Discharger up to 2 months to implement the new test method. In the interim, the Discharger may continue using the current test protocols. The Discharger monitors two species for effluent acute toxicity: rainbow trout and three-spine stickleback.  The monitoring data from 2000 through 2003 indicate that the Discharger has been in compliance with the effluent limits.

### Whole Effluent Chronic Toxicity

- a.	Permit Requirements. In accordance with U.S. EPA and SWRCB Task Force guidance, Section 4 of the SIP, and based on BPJ, this permit includes requirements for chronic toxicity monitoring based on the Basin Plan narrative toxicity objective. This permit includes the Basin Plan narrative toxicity objective as the applicable effluent limit, implemented via monitoring with numeric values as “triggers” to initiate both accelerated monitoring and a chronic toxicity reduction evaluation (TRE). The permit requirements for chronic toxicity are also consistent with the CTR and SIP requirements.

b. 	Discharge Monitoring. The Discharger monitors effluent chronic toxicity with mussels (Mytilus sp.) twice per year. Monitoring data from 2000 through 2003 showed that the survival TUc was always less than 1.0.

The Discharger conducted a new screening phase study during August and September 2003, with three testing species: giant kelp (Macrocystis pyrifera), mussel (Mytilus sp.), and inland silversides (Menidia beryllina).  During the first round of testing in August, no toxicity was observed (survival and/or growth TUc <1.0) for all three species. However, during the second round of the testing, the giant kelp exhibited higher sensitivity to the effluent (survival TUc=1.5 and growth TUc=4.1). Therefore, the giant kelp was determined to be the most sensitive species, and will be used in future routine monitoring.

c.	Permit Reopener.  The Board will consider amending this permit to include numeric toxicity limitations if the Discharger fails to aggressively implement all reasonable control measures included in its approved TRE workplan, following detection of consistent, significant, non-artifactual toxicity.

### Pollution Prevention

- The Discharger implements Pollution Prevention in conjunction with its Best Management Practices Program.

- a.	Section 2.4.5 of the SIP specifies under what situations and for which priority pollutant(s) (i.e., reportable priority pollutants) the Discharger shall be required to conduct a Pollutant Minimization Program in accordance with Section 2.4.5.1.

- b.	There may be some redundancy between the Pollution Prevention Program and the Pollutant Minimization Program requirements.

- c.	Where the two programs’ requirements overlap, the Discharger is allowed to continue/modify/expand its existing Pollution Prevention Program to satisfy the Pollutant Minimization Program requirements.

- d.	For constituents identified under Effluent Limitations, Section B, the Discharger will conduct appropriate source control or pollutant minimization measures that are consistent with its approved Pollution Prevention Program.  For constituents with compliance schedules under this permit, the applicable source control/pollutant minimization requirements of Section 2.1 of the SIP will also apply.

### Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy

- SIP- Required Dioxin study.  The SIP states that each Board shall require major and minor POTWs and industrial dischargers in its region to conduct effluent monitoring for the 2,3,7,8-TCDD congeners whether or not an effluent limitation is required for 2,3,7,8-TCDD.  The monitoring is intended to assess the presence and amounts of the congeners being discharged to inland surface waters, enclosed bays, and estuaries.  The Boards will use these monitoring data to establish strategies for a future multi-media approach to control these chemicals.

- On August 6, 2001, the Board sent a letter to all the permitted dischargers pursuant to Section 13267 of the California Water Code requiring the submittal of effluent and receiving water data on priority pollutants.  This formal request for technical information addresses the insufficient effluent and ambient background data, and the dioxin study.  The letter (described above) is referenced throughout the permit as the “August 6, 2001 Letter”.

- Pursuant to the August 6, 2001 Letter from Board Staff, the Discharger is required to submit workplans and sampling results for characterizing the levels of selected constituents in the effluent and ambient receiving water.  Provisions D.2 and D.3 of this Order incorporate these requirements.

### Monitoring Requirements (Self-Monitoring Program)

- The SMP includes monitoring at the outfall for conventional, non-conventional, and toxic pollutants, and acute and chronic toxicity.  This Order requires monthly monitoring for cadmium, chromium, copper, nickel, mercury, selenium, and silver to demonstrate compliance with effluent limitations.  For bis(2-ethylhexyl)phthalate, 4,4’-DDE, and dieldrin, annual monitoring is required to demonstrate compliance with effluent limitations.  In lieu of near field discharge specific ambient monitoring, it is generally acceptable that the Discharger participate in collaborative receiving water monitoring with other dischargers under the provisions of the August 6, 2001 Letter and the RMP.

### Optional Studies

- Optional Mass Offset. This Order contains requirements to prevent further degradation of the impaired waterbody.  Such requirements include the adoption of interim mass limitations that are based on treatment plant performance, provisions for aggressive source control, and treatment plant optimization.  After implementing these efforts, the Discharger may find that further net reductions of the total mass loadings of the 303(d)-listed pollutants to the receiving water can only be achieved through a mass offset program.  This Order includes an optional provision for a mass offset program.

- Copper Translator Study.  The Basin Plan does not establish a saltwater WQO for copper.  Therefore, the CTR WQC for copper, 3.1 g/L dissolved, is the applicable standard.  Since NPDES permit limitations must be expressed as a total recoverable metal value, a translator is required to convert the dissolved objective into a total recoverable objective.  Per Appendix 3 of the SIP, the default translator used in this permit is 0.83, which converts the 3.1 g/L dissolved criterion to a 3.7 g/L total criterion.  An optional copper translator study is included in this permit to encourage the Discharger to develop a local translator value for copper in place of the default translator value of 0.83 established in the SIP.

### Storm Water Pollution Prevention Plan

- Storm water self-monitoring data (outfall E-002) from 2000 through 2003 indicates that pH ranged from 6.7 to 8.6, and the median and maximum oil and grease concentrations were <2 mg/L and 3.7 mg/L, respectively.

- The Discharger is required to continue to update and maintain its storm water pollution prevention plan (SWPPP) for the entire facility as required by Provision D.5 of this Order.

- Both the CTR and Basin Plan indicate that storm water discharges are best controlled through the design and implementation of technologically and economically feasible best management practices (BMPs) rather than establishing numeric effluent limitations.  The Discharger shall update its BMP plan as required by Provision D.6 of this Order.

### Other Discharge Characteristics and Permit Conditions

### O & M Manual

- The Discharger maintains an Operations and Maintenance Manual to provide treatment facilities and regulatory personnel with a source of information describing all equipment, recommended operational strategies, process control monitoring, and maintenance activities.  In order to remain a useful and relevant document, the manual shall be kept updated to reflect significant changes in treatment facility equipment and operation practices.

#### NPDES Permit and CEQA

- This Order serves as an NPDES Permit, adoption of which is exempt from the provisions of Chapter 3 (commencing with Section 21100) of Division 13 of the Public Resources Code (California Environmental Quality Act - CEQA) pursuant to Section 13389 of the California Water Code.

#### Notification

- The Discharger and interested agencies and persons have been notified of the Board's intent to reissue requirements for the existing discharge and have been provided an opportunity to submit their written views and recommendations.  Board staff prepared a Response to Comments, which is hereby incorporated by reference as part of this Order.

#### Public Hearing

- The Board, in a public meeting, heard and considered all comments pertaining to the discharge.

IT IS HEREBY ORDERED, pursuant to the provisions of Division 7 of the California Water Code, regulations, and plans and policies adopted thereunder, and to the provisions of the Clean Water Act and regulations and guidelines adopted thereunder, that the Discharger shall comply with the following:

# A.     DISCHARGE PROHIBITIONS

- Discharge of treated wastewater at a location or in a manner different from that described in this Order is prohibited.

- The discharge of treated Waste 001 to Carquinez Strait at any point at which the wastewater does not receive a minimum initial dilution of at least 10:1 is prohibited.

- The discharge of all toxic and deleterious substances, above those levels which can be achieved by a program acceptable to the Board, is prohibited.

- Discharge of treated wastewater (Waste 001) at flows greater than 0.8 mgd, is prohibited.

# B.   EFFLUENT LIMITATIONS

The following effluent limitations apply to effluent discharged to Carquinez Strait and Suisun Bay through the Outfall E-001 as defined in the Self-Monitoring Program.

- Conventional Pollutants:

The effluent limits for conventional pollutants are listed in Table 4.

- Effluent Limitations for Conventional Constituents

| Constituent | Units | Monthly Average | Daily Maximum |
| --- | --- | --- | --- |
| a. Chemical Oxygen Demand | mg/L kg/day | -- | 52 42.5 |
| b. Total Suspended Solids (TSS) | mg/L kg/day | 20 9.46 | 30 27.7 |
| c. Oil & Grease | mg/L kg/day | -- | 5 4.6 |
| d. Settleable Matter | ml/L-hr | 0.1 | 0.2 |

- pH

The pH of the effluent shall not exceed 9.0 s.u. nor be less than 6.0 s.u. The Discharger may elect to use a continuous on-line monitoring system(s) for measuring pH. If the discharger employs continuous monitoring, then the Discharger shall be in compliance with the pH limitation specified herein, provided that both of the following conditions are satisfied:

a. 	The total time during which the pH values are outside the required range of pH values shall not exceed 7 hours and 26 minutes in any calendar month; and

- b.	No individual excursion from the required range of pH values shall exceed 60 minutes.

- Whole Effluent Acute Toxicity

Representative samples of the effluent shall meet the following limitations for acute toxicity. Compliance with these limitations shall be achieved in accordance with Provision D.7 of this Order.

a.	The survival of bioassay test organisms in 96-hour bioassays of undiluted effluent shall be as follows:

i.   	11-sample median value of not less than 90 percent survival.

ii.	11-sample 90th percentile value of not less than 70 percent survival.

b.	Acute toxicity limitations are further defined as follows:

i. 	11-sample median limitation:

Any bioassay test showing survival of 90 percent or greater is not a violation of this limitation. A bioassay test showing survival of less than 90 percent represents a violation of this effluent limitation, if 5 or more of the past 10 or fewer bioassay tests also show less than 90 percent survival.

ii.	90th percentile limitation:

Any bioassay test showing survival of 70 percent or greater is not a violation of this limitation. A bioassay test showing survival of less than 70 percent represents a violation of this effluent limitation, if 1 or more of the past 10 or fewer bioassay tests also show less than 70 percent survival.

c.	Bioassays shall be performed using the most up-to-date U.S. EPA protocol and the most sensitive species as specified in writing by the Executive Officer based on the most recent screening test results. Bioassays shall be conducted in compliance with “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water to Freshwater and Marine Organisms,” currently 5th Edition, as required by Provision D.7 of this Order, with exceptions granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP) upon the Discharger’s request with justification.

- Whole Effluent Chronic Toxicity

a.	Representative samples of the effluent shall meet the following requirements for chronic toxicity.  Compliance with the Basin Plan narrative chronic toxicity objective shall be achieved in accordance with Provision D.8 of this Order and shall be demonstrated according to the following tiered requirements based on results from representative samples of the treated final effluent meeting test acceptability criteria:

i.	Perform routine monitoring.

ii.	Perform accelerated monitoring after exceeding a one sample maximum value of 10 chronic toxicity units (TUc).  Accelerated monitoring shall consist of monthly monitoring.

iii.	Return to routine monitoring if accelerated monitoring does not exceed the “trigger” in “2,” above.

iv.	Initiate an approved toxicity identification evaluation/toxicity reduction evaluation (TIE/TRE) workplan if accelerated monitoring confirms consistent toxicity above the “trigger” in “2,” above.

v.	Return to routine monitoring after the appropriate elements of the TRE workplan are implemented and either the toxicity drops below the “trigger” level in “2,” above or, based on the results of the TRE, the Executive Officer authorizes a return to routine monitoring.

b.	Test Species and Methods: The Discharger shall conduct routine monitoring with giant kelp (Macrocystis pyrifera). Bioassays shall be conducted in compliance with the most recently promulgated test methods, currently “Short-Term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Water to Marine and Estuarine Organisms,” 3rd edition, unless the Executive Officer and ELAP grant an exception to the Discharger.

- Toxic Substances

- The effluent shall not exceed the limitations shown in Table 5.

- Effluent Limits for Toxic Pollutants [1][2]

| Constituents |  | WQBELs |  | Interim Limits |
| --- | --- | --- | --- | --- |
| CTR no. | Pollutants | Daily Maximum (MDEL) μg/L | Monthly Average (AMEL) μg/L | Daily Maximum μg/L |
| 4 | Cadmium | 8.3 | 4.1 |  |
| 5b | Chromium (VI) | 118 | 57 |  |
| 7 | Copper[3] |  |  | 37 |
| 8 | Mercury[4,5] |  |  | 0.32 |
| 9 | Nickel[5] |  |  | 46 |
| 10 | Selenium[3] |  |  | 46 |
| 11 | Silver | 10.4 | 4.6 |  |
| 68 | Bis(2-Ethylhexyl)Phthalate | 106 | 53 |  |
| 109 | 4,4,'-DDE[6] |  |  | 0.05 |
| 111 | Dieldrin[6] |  |  | 0.01 |

[1]	a.	Compliance with these limitations is intended to be achieved through treatment and, as necessary, pretreatment and source control.

b.	All analyses shall be performed using current U.S. EPA methods, or equivalent methods approved in writing by the Executive Officer.

c.	Limitations apply to the average concentration of all samples collected during the averaging period (daily = 24-hour period; monthly = calendar month).

[2]	A daily maximum or average monthly value for a given constituent shall be considered noncompliant with the effluent limits only if it exceeds the effluent limitation and the reported ML for that constituent. Table 6 below indicates the lowest ML that the Discharger’s laboratory must achieve for compliance determination purposes.

[3]	Interim limitations for copper and selenium shall remain in effect until September 1, 2009, or until the Board amends the limitations based on additional data, SSOs, or WLAs in TMDLs.  However, during the next permit reissuance, the Board may reevaluate the interim limitations.

[4] 	Effluent mercury monitoring shall be performed by using ultra-clean sampling and analysis techniques, with a method detection limit of 0.002 g/L or lower.

[5]	Interim limitations for mercury and nickel shall remain in effect until March 31, 2010, or until the Board amends the limitation based on a WLA in the TMDL for mercury and nickel. However, during the next permit reissuance, the Board may reevaluate the interim limitations.

[6]	Interim limitations for 4,4-DDE and dieldrin shall remain in effect until September 1, 2009, or until the Board amends the limitation based on additional data, SSOs, or the WLAs in respective TMDLs.  However, during the next permit reissuance, the Board may reevaluate the interim limitations.

- MLs for Pollutants with Effluent Limits

| Constituent | ML (g/L) |
| --- | --- |
| Cadmium | 0.25 |
| Chromium | 0.5 |
| Copper | 0.5 |
| Mercury | 0.002 |
| Nickel | 1 |
| Selenium | 1 |
| Silver | 0.25 |
| Bis(2-Ethylhexyl)Phthalate | 5 |
| 4,4'-DDE | 0.05 |
| Dieldrin | 0.01 |

- Interim Mass Emission Limitation for Mercury

Until the mercury TMDL and WLAs are adopted, the Discharger shall demonstrate that the total mercury mass loading from its discharges to Carquinez Strait and Suisun Bay has not increased by complying with the following conditions:

a.	The total mercury mass load shall not exceed the mercury mass emission limitation of 0.0024 kilograms per month (kg/month), as computed in b, below.

b.	Compliance with this limitation shall be evaluated using monthly moving averages of total mass load, computed as described below:

12−Month Moving Average,kgmonth = Last 12 months' Monthly Total Mass Loads, kgmonth12

where

Monthly Total Mass Load, kgmonth= Q ∗C ∗0.1151

where

Q  = monthly average effluent flow, MGD, as reported

C =  monthly average effluent concentration, μg/L, corresponding to each month’s flow.

If more than one concentration measurement is obtained in a calendar month, the average of these measurements is used as the monthly concentration value for that month. If test results are less than the method detection limit used, the concentration value shall be assumed to be equal to the method detection limit.

0.1151 =  unit conversion factor to obtain kg/month using monthly average flow in MGD and concentration in μg/L.

c.	The Discharger shall submit a cumulative total of mass loadings for the previous 12 months with each monthly self-monitoring report. Compliance each month will be determined based on the 12-month moving averages over the previous 12 months of monitoring. The Discharger may use monitoring data collected under accelerated schedules (i.e., special studies) to determine compliance.

d.	The mercury TMDL and WLAs will supersede this mass emission limitation upon their completion. The Clean Water Act’s antibacksliding rule, Section 402(o), indicates that this Order may be modified to include a less stringent requirement following completion of the TMDL and WLA, if the requirements for an exception to the rule are met.

# C.  RECEIVING WATER LIMITATIONS

1.	The discharge of waste shall not cause the following conditions to exist in waters of the State at any place:

- a.	Floating, suspended, or deposited macroscopic particulate matter or foam.

b.	Bottom deposits or aquatic growths to the extent that such deposits or growths cause nuisance or adversely affect beneficial uses.

c.	Alteration of temperature, turbidity, or apparent color beyond present natural background levels.

d.	Visible, floating, suspended, or deposited oil or other products of petroleum origin.

e.	Toxic or other deleterious substances to be present in concentrations or quantities that will cause deleterious effects on wildlife, waterfowl, or other aquatic biota, or which render any of these unfit for human consumption, either at levels created in the receiving waters or as a result of biological concentration.

2.	The discharge of waste shall not cause the following limitations to be exceeded in waters of the State at any one place within 1 foot of the water surface:

a.	Dissolved Oxygen:	7.0 mg/L, minimum

The median dissolved oxygen concentration for any three consecutive months shall not be less than 80 percent of the dissolved oxygen content at saturation. When natural factors cause concentrations less than that specified above, then the discharge shall not cause further reduction in ambient dissolved oxygen concentrations.

b.	Dissolved Sulfide:	0.1 mg/L, maximum.

c.    pH:	The pH shall not be depressed below 6.5 nor raised above 8.5, nor caused to vary from normal ambient pH levels by more than 0.5 units.

d.	Un-ionized Ammonia:	0.025 mg/L as N, annual median,

0.16 mg/L as N, maximum.

e.   Nutrients:	Waters shall not contain biostimulatory substances in concentrations that promote aquatic growths to the extent that such growths cause nuisance or adversely affect beneficial uses.

3.	The discharge shall not cause a violation of any particular water quality standard for receiving waters adopted by the Board or the State Board as required by the Clean Water Act and regulations adopted thereunder. If more stringent applicable water quality standards are promulgated or approved pursuant to Section 303 of the Clean Water Act, or amendments thereto, the Board will revise and modify this Order in accordance with such more stringent standards.

# D.  PROVISIONS

### 1.   Permit Compliance and Rescission of Previous Waste Discharge Requirements

The Discharger shall comply with all sections of this Order beginning on September 1, 2004. Requirements prescribed by this Order supersede the requirements prescribed by Order No. 98-104. Order No. 98-104 is hereby rescinded upon the effective date of this Order.

## Special Studies

### 2.   Effluent Characterization for Selected Constituents

The Discharger shall monitor and evaluate the discharge from Outfall E-001 for the constituents listed in Enclosure A of the Board’s August 6, 2001 Letter. Compliance with this requirement shall be achieved in accordance with the specifications stated in the Board’s August 6, 2001 Letter under Effluent Monitoring for Major Dischargers.   This information shall be included with the annual report required by Part A of the Self-Monitoring Program.  The first annual report under this Order is due January 30, 2005. The report shall summarize the data collected to date and describe future monitoring to take place. A final report that presents all the data shall be submitted to the Board no later than 180 days prior to the permit expiration date. This final report shall be submitted with the application for permit reissuance.

### 3.   Ambient Background Receiving Water Study

The Discharger shall continue to collect or participate in collecting background ambient receiving water data with other Dischargers and/or through the RMP. This information is required to perform RPAs and to calculate effluent limitations. To fulfill this requirement, the Discharger shall submit data sufficient to characterize the concentration of each toxic pollutant listed in the CTR in the ambient receiving water. The data on the conventional water quality parameters (pH, salinity, and hardness) shall also be sufficient to characterize these parameters in the ambient receiving water at a point after the discharge has mixed with the receiving waters.

The sampling frequency and sampling station locations shall be specified in the sampling plan. The frequency of the monitoring shall consider the seasonal variability of the receiving water. It would be acceptable to select stations representative of incoming ocean waters because the combined effluent discharges to the Bay through deepwater diffusers.

Final Report: The Discharger shall submit a final report that presents all the data to the Board 180 days prior to permit expiration. This final report shall be submitted with the application for permit reissuance.

### 4.   Pollution Prevention and Minimization Program (PMP)

a. 	The Discharger shall conduct a Pollution Prevention Program to reduce pollutant loadings to the treatment plant and therefore to the receiving waters.

b.	The Discharger shall submit an annual report, acceptable to the Executive Officer, no later than February 28th of each year. Annual reports shall cover January through December of the preceding year. Annual reports shall include at least the following information:

- A brief description of its treatment facilities and treatment processes.

- A discussion of the current pollutants of concern. Periodically, the Discharger shall analyze its own situation to determine which pollutants are currently a problem and/or which pollutants may be potential future problems. This discussion shall include the reasons why the pollutants were chosen.

- Identification of sources for the pollutants of concern. This discussion shall include how the Discharger intends to estimate and identify sources of the pollutants. The Discharger shall also identify sources or potential sources not directly within the ability or authority of the Discharger to control, such as pollutants in the potable water supply and air deposition.

- Identification of tasks to reduce the sources of the pollutants of concern. This discussion shall identify and prioritize tasks to address the Discharger’s pollutants of concern. The Discharger may implement tasks itself or participate in group, regional, or national tasks that will address its pollutants of concern. The Discharger is strongly encouraged to participate in group, regional, or national tasks that will address its pollutants of concern whenever it is efficient and appropriate to do so. A time-line shall be included for the implementation of each task.

- Outreach to employees. The Discharger shall inform employees about the pollutants of concern, potential sources, and how they might be able to help reduce the discharge of these pollutants of concern into the treatment facilities. The Discharger may provide a forum for employees to provide input to the Program.

- Discussion of criteria used to measure the program’s and tasks’ effectiveness. The Discharger shall establish criteria to evaluate the effectiveness of its Pollution Prevention Program. This shall also include a discussion of the specific criteria used to measure the effectiveness of each of the tasks in item b. (iii), b. (iv), and b. (v).

- Documentation of efforts and progress. This discussion shall detail all the Discharger’s activities in the Pollution Prevention Program during the reporting year.

- Evaluation of program’s and tasks’ effectiveness. The Discharger shall use the criteria established in b. (vi) to evaluate the Program’s and tasks’ effectiveness.

- Identification of Specific Tasks and Time Schedules for Future Efforts. Based on the evaluation, the Discharger shall detail how it intends to continue or change its tasks to more effectively reduce the amount of pollutants to the treatment facilities, and subsequently in its effluent.

c.	According to Section 2.4.5 of the SIP, when there is evidence that a priority pollutant is present in the effluent above an effluent limitation and either:

  - A sample result is reported as detected, but not quantified (less than the ML) and the effluent limitation is less than the reported ML;

  - A sample result is reported as not detected (less than the MDL) and the effluent limitation is less than the MDL; or

  - The dioxin TEQ exceeds the WQO (0.014 pg/L).

The Discharger shall expand its existing Pollution Prevention Program to include the reportable priority pollutant. A priority pollutant becomes a reportable priority pollutant (1) when there is evidence that it is present in the effluent above an effluent limitation and either (c)(i), c(ii), or (c) (iii) is triggered or (2) if the concentration of the priority pollutant in the monitoring sample is greater than the effluent limitation and greater than or equal to the reported ML.

d.	If triggered by the reasons in c. above and notified by the Executive Officer, the Discharger’s Pollution Prevention Program shall, within 6 months, also include the following:

  - An annual review and semiannual monitoring of potential sources of the reportable priority pollutant(s), which may include fish tissue monitoring and other bio-uptake sampling, or alternative measures approved by the Executive Officer when it is demonstrated that source monitoring is unlikely to produce useful analytical data.

  - Quarterly monitoring for the reportable priority pollutant(s) in the influent to the wastewater treatment system, or alternative measures approved by the Executive Officer when it is demonstrated that influent monitoring is unlikely to produce useful analytical data.

  - Submittal of a control strategy designed to proceed toward the goal of maintaining concentrations of the reportable priority pollutant(s) in the effluent at or below the effluent limitation.

  - Development of appropriate cost-effective control measures for the reportable priority pollutant(s), consistent with the control strategy.

  - An annual status report that shall be sent to the Board including the following:

(1)	All Pollution Prevention monitoring results for the previous year

(2)	A list of potential sources of the reportable priority pollutant(s)

(3)	A summary of all actions undertaken pursuant to the control strategy

(4)	A description of actions to be taken in the following year.

e.	To the extent that the requirements of the Pollution Prevention Program and the Pollutant Minimization Program overlap, the Discharger is allowed to continue, modify, or expand its Pollution Prevention Program to satisfy the Pollutant Minimization Program requirements.

f.	These Pollution Prevention/Pollutant Minimization Program requirements are not intended to fulfill the requirements in the Clean Water Enforcement and Pollution Prevention Act of 1999 (Senate Bill 709).

### 5.   Storm Water Pollution Prevention Plan and Annual Report

The Discharger shall update and submit an updated Storm Water Pollution Prevention Plan (SWPPP) acceptable to the Executive Officer by October 1st of each year.  If the Discharger determines that it does not need to update its SWPPP, it shall submit a letter to the Executive Officer that indicates no revisions are necessary and the last year it updated its SWPPP.  The Discharger shall implement the SWPPP and the SWPPP shall comply with the requirements contained in the attached Standard provisions.

The Discharger shall submit an annual storm water report by July 1 of each year covering data for the previous wet weather season for the identified storm water discharge points.  The annual storm water report shall, at a minimum, include:  (a) a tabulated summary of all sampling results and a summary of visual observations taken during the inspections; (b) a comprehensive discussion of the compliance record and any corrective actions taken or planned to ensure compliance with waste discharge requirements; and (c) a comprehensive discussion of source identification and control programs for constituents that do not have effluent limitations (e.g., total suspended solids).

### 6.   Best Management Practices Program

The Discharger shall submit an updated Best Management Practices (BMP) program to the Executive Officer for approval by February 28 of each year.  The BMP program shall be consistent with the requirements of U.S. EPA regulation 40 CFR 125, Subpart K and the general guidance contained in the "NPDES Best Management Guidance Document", U.S.EPA Report No. 600/9-79-045, December 1979 (revised June 1981).

## Toxicity Requirements

### 7.   Acute Toxicity

Compliance with acute toxicity requirements of this Order shall be achieved in accordance with the following:

a.     From permit adoption until no later than October 31, 2004:

i.	Compliance with the acute toxicity effluent limits of this Order shall be evaluated by measuring survival of test organisms exposed to 96-hour static renewal bioassays.

ii.	Test organisms shall be three-spine stickleback and rainbow trout in parallel arrangement unless specified otherwise in writing by the Executive Officer.

iii.	All bioassays may be performed according to the “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water to Freshwater and Marine Organisms,” 3rd Edition, with exceptions granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP).

- b.   From no later than November 1, 2004 on:

i.	Compliance with the acute toxicity effluent limits of this Order shall be evaluated by measuring survival of test organisms exposed to 96-hour static renewal bioassays.

ii.	Test organisms shall be rainbow trout and fathead minnow in parallel arrangement unless specified otherwise in writing by the Executive Officer.

iii. 	All bioassays shall be performed according to the “Methods for Measuring the Acute Toxicity of Effluents and Receiving Water to Freshwater and Marine Organisms,”(currently 5th Edition), with exceptions granted to the Discharger by the Executive Officer and the Environmental Laboratory Accreditation Program (ELAP).

### 8.   Chronic Toxicity

The Discharger shall monitor and evaluate the effluent from the treatment plant for chronic toxicity to demonstrate compliance with the Basin Plan narrative toxicity objective. Compliance with this requirement shall be achieved in accordance with the following:

a.	The Discharger shall conduct routine chronic toxicity monitoring in accordance with the SMP of this Order.

- b.	If data from routine monitoring exceeds the evaluation parameter below, then the Discharger shall conduct accelerated chronic toxicity monitoring. Accelerated monitoring shall consist of monthly monitoring.

c.	Chronic toxicity evaluation parameters are as follows:

i.	A single sample maximum value of 10 TUc.

ii.	This parameter is defined as follows:

(1)	TUc (chronic toxicity unit): A TUc equals 100/NOEL (e.g., if NOEL = 100, then toxicity = 1 TUc). NOEL is the no-observed effect level determined from IC, EC, or NOEC values.

(2)	The terms IC, EC, NOEL and NOEC and their use are defined in Attachment A of the SMP.

d.	If data from accelerated monitoring tests are found to be in compliance with the evaluation parameters, then routine monitoring shall be resumed.

e.	If accelerated monitoring tests continue to exceed either evaluation parameter, then the Discharger shall initiate a chronic TRE.

f.	The TRE shall be conducted in accordance with the following:

i.	The Discharger shall prepare and submit to the Board for Executive Officer approval a TRE workplan. An initial generic workplan shall be submitted within 120 days of the date of adoption of this Order. The workplan shall be reviewed and updated as necessary in order to remain current and applicable to the discharge and discharge facilities.

ii.	The TRE shall be initiated within 30 days of the date of completion of the accelerated monitoring test observed to exceed either evaluation parameter.

iii.	The TRE shall be conducted in accordance with an approved workplan.

iv.	The TRE needs to be specific to the discharge and Discharger facility, and may be in accordance with current technical guidance and reference materials including U.S. EPA guidance materials. The TRE should be conducted as a tiered evaluation process, such as summarized below:

(1) 	Tier 1 consists of basic data collection (routine and accelerated monitoring).

(2)	Tier 2 consists of evaluation of optimization of the treatment process including operation practices, and in-plant process chemicals.

(3)	Tier 3 consists of a toxicity identification evaluation (TIE).

(4)	Tier 4 consists of an evaluation of options for additional effluent treatment processes.

(5)	Tier 5 consists of an evaluation of options for modifications of in-plant treatment processes.

(6)	Tier 6 consists of implementation of selected toxicity control measures, as well as follow-up monitoring and confirmation of implementation success.

v.	The TRE may be ended at any stage if monitoring finds there is no longer consistent toxicity.

vi.	The objective of the TIE shall be to identify the substance or combination of substances causing the observed toxicity. All reasonable efforts using currently available TIE methodologies should be employed.

vii.	As toxic substances are identified or characterized, the Discharger shall continue the TRE by determining the source(s) and evaluating alternative strategies for reducing or eliminating the substances from the discharge. All reasonable steps shall be taken to reduce toxicity to levels consistent with chronic toxicity evaluation parameters.

viii.	Many recommended TRE elements parallel required or recommended efforts of source control, pollution prevention, and storm water control programs. TRE efforts should be coordinated with such efforts. To prevent duplication of efforts, evidence of compliance with requirements or recommended efforts of such programs may be acceptable to comply with TRE requirements.

ix.	The Board recognizes that chronic toxicity may be episodic and identification of the causes and reduction of sources of chronic toxicity may not be successful in all cases. Consideration of enforcement action by the Board will be based in part on the Discharger’s actions and efforts to identify and control or reduce sources of consistent toxicity.

g.	Chronic Toxicity Monitoring Screening Phase Requirements, Critical Life Stage Toxicity Tests, and definitions of terms used in the chronic toxicity monitoring are identified in Attachment A of the SMP. The Discharger shall comply with these requirements as applicable to the discharge.

## Ongoing Programs

### 9.   Regional Monitoring Program

The Discharger shall continue to participate in the RMP for trace substances in San Francisco Bay in lieu of more extensive effluent and receiving water self-monitoring requirements that may be imposed.

## Optional Studies

### 10.  Optional Mass Offset

The Discharger may submit to the Board for approval a mass offset plan to reduce 303(d)-listed pollutants to the same watershed or drainage basin. The Board may modify this Order to allow an approved mass offset program.

### 11. Copper and Nickel Translator Study and Schedule

The purpose of this study is to develop information that may be used to establish WQBELs based on dissolved criteria for copper and nickel. Optionally, the Discharger may implement a sampling plan to collect data for development of dissolved-to-total translators for copper and nickel. If the Discharger chooses to proceed with the study, which may be conducted in cooperation with other Dischargers, the work shall be performed in accordance with the following tasks:

| Tasks | Schedule |
| --- | --- |
| a. Copper and nickel translator study plan: the study plan shall be acceptable to the Executive Officer and shall outline data collection for establishment of dissolved-to-total copper and nickel translators, as discussed in the findings. The study plan shall provide for development of translators in accordance with the State Board’s SIP, U.S. EPA guidelines, and any relevant portions of the Basin Plan, as amended. | At the Discharger’s discretion during the permit term. |
| b. Implementation of the plan: if the Discharger conducts a translator study, it will use field sampling data approximate to the discharge point and in the vicinity of the discharge point, or as otherwise provided for in the approved workplan. | As specified in the study plan. |
| c. Final report: A final report, acceptable to the Executive Officer, should be submitted, documenting the results of the copper and nickel translator study. | As specified in the study plan. |

## Facilities Status Reports and Permit Administration

### 12.  Operations and Maintenance Manual, Review and Status Reports

a.	The Discharger shall maintain an O&M Manual as described in the findings of this Order for the Discharger's wastewater facilities. The O&M Manual shall be maintained in usable condition, and available for reference and use by all applicable personnel.

b.	The Discharger shall regularly review, revise, or update, as necessary, the O&M Manual(s) so that the document(s) may remain useful and relevant to current equipment and operation practices. Reviews shall be conducted annually, and revisions or updates shall be completed as necessary. For any significant changes in treatment facility equipment or operation practices, applicable revisions shall be completed within 90 days of completion of such changes.

c.	Annually, the Discharger shall submit to the Board a report describing the current status of its O&M Manual. This report shall include an estimated time schedule for completion of any revisions determined necessary, a description of any completed revisions, or a statement that no revisions are needed. This report shall be submitted in accordance with the Annual Status Report Provision below.

### 13.  Contingency Plan, Review and Status Reports

a.	The Discharger shall maintain a Contingency Plan as required by Board Resolution 74-10 (available online—see Standard Language and Other References Available Online, below), and as prudent in accordance with current facility emergency planning. The discharge of pollutants in violation of this Order where the Discharger has failed to develop and/or adequately implement a contingency plan will be the basis for considering such discharge a willful and negligent violation of this Order pursuant to Section 13387 of the California Water Code.

b.	The Discharger shall regularly review, and update as necessary, the Contingency Plan so that the plan may remain useful and relevant to current equipment and operation practices. Reviews shall be conducted annually, and updates shall be completed as necessary.

c.	Annually, the Discharger shall submit to the Board a report describing the current status of its Contingency Plan review and update. This report shall include a description or copy of any completed revisions, or a statement that no changes are needed. This report shall be submitted in accordance with the Annual Status Report Provision below.

### 14.  Annual Status Reports

The annual reports identified in Provisions 12.c and 13.c, above, shall be submitted to the Board by February 28 of each year. Modification of report submittal dates may be authorized, in writing, by the Executive Officer.

### 15.  303(d)-Listed Pollutants, Site-Specific Objective and TMDL Status Review

The Discharger shall participate in the development of a TMDL or an SSO for mercury, copper, nickel, selenium, 4,4'-DDE, and dieldrin. By January 31 of each year, the Discharger shall submit an update to the Board to document its participation efforts toward development of the TMDL(s) or SSO(s). Board staff shall review the status of TMDL development. This Order may be reopened in the future to reflect any changes required by TMDL development.

### 16.  New WQOs

As new or revised WQOs come into effect for the Bay and contiguous waterbodies (whether statewide, regional, or site specific), effluent limitations in this Order will be modified as necessary to reflect updated WQOs. Adoption of effluent limitations contained in this Order are not intended to restrict in any way future modifications based on legally adopted WQOs.

### 17.  SMP

The Discharger shall comply with the SMP for this Order as adopted by the Board. The SMPs may be amended by the Executive Officer pursuant to U.S. EPA regulation 40 CFR122.62, 122.63, and 124.5.

### 18.  Standard Provisions and Reporting Requirements

The Discharger shall comply with all applicable items of the attached Standard Provisions and Reporting Requirements for NPDES Surface Water Discharge Permits, August 1993 (the Standard Provisions), or any amendments thereafter.  Where provisions or reporting requirements specified in this Order are different from equivalent or related provisions or reporting requirements given in the Standard Provisions, the specifications of this Order shall apply.

### 19.  Change in Control or Ownership

In the event of any change in control or ownership of land or waste discharge facilities presently owned or controlled by the Discharger, the Discharger shall notify the succeeding owner or operator of the existence of this Order by letter, a copy of which shall be immediately forwarded to the Board. To assume responsibility for and operations under this Order, the succeeding owner or operator must apply in writing to the Executive Officer requesting transfer of the Order (see Standard Provisions and Reporting Requirements, August 1993, Section E.4.). Failure to submit the request shall be considered a discharge without requirements, a violation of the California Water Code.

### 20.  Permit Reopener

The Board may modify or reopen this Order and Permit prior to its expiration date in any of the following circumstances:

- a.	If present or future investigations demonstrate that the discharge(s) governed by this Order and permit will or have a Reasonable Potential to cause or contribute to adverse impacts on water quality and/or beneficial uses of the receiving waters;

b.	If new or revised WQOs come into effect for the San Francisco Bay estuary and contiguous waterbodies (whether statewide, regional, or site specific). In such cases, effluent limitations in this Permit will be modified as necessary to reflect updated WQOs. Adoption of effluent limitations contained in this Order are not intended to restrict in any way future modifications based on legally adopted WQOs or as otherwise permitted under Federal regulations governing NPDES permit modifications;

c.	If translator or other water quality studies provide a basis for determining that a permit condition(s) should be modified.

### 21.  NPDES Permit

This Order shall serve as an NPDES permit pursuant to Section 402 of the Clean Water Act or amendments thereto, and shall become effective on September 1, 2004, provided the U.S. EPA Regional Administrator has no objection. If the Regional Administrator objects to its issuance, the permit shall not become effective until such objection is withdrawn.

### 22.  Order Expiration and Reapplication

a.	This Order expires July 31, 2009.

b.	In accordance with Title 23, Chapter 3, Subchapter 9 of the California Administrative Code, the Discharger must file a report of waste discharge no later than 180 days before the expiration date of this Order as application for reissue of this permit and waste discharge requirements.  The application shall be accompanied by screening phase monitoring for chronic toxicity, and a summary of all available water quality data, including conventional pollutant data from no less than the most recent three years, and of toxic pollutant data from no less than the most recent five years, in the discharge and receiving water.

I, Bruce H. Wolfe, Executive Officer, do hereby certify that the foregoing is a full, true, and correct copy of an order adopted by the California Regional Water Quality Control Board, San Francisco Bay Region, on June 16, 2004.

____________________________

BRUCE H. WOLFE

Executive Officer

Attachments

A.	Discharge Facility Location Map

B.		Discharge Facility Treatment Process Diagram

C.	Self-Monitoring Program, Part B

  - Fact Sheet

E.	The following documents are part of this Order, but are not physically attached due to volume.  They are available on the internet at:

HREF="http://www.swrcb.ca.gov/rwqcb2/Download.htm":

●	Self-Monitoring Program, Part A (August 1993)

●	Standard Provisions and Reporting Requirements, August 1993

●	Board Resolution No. 74-10

●	August 6, 2001 Regional Board staff letter, “Requirement for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy”

Attachment A

Facility Location Map

Attachment B

Facility Treatment Process Diagram

Attachment C

Self-Monitoring Program

Attachment D

Fact Sheet

A TUc equals 100 divided by the no observable effect level (NOEL). The NOEL is determined from IC, EC, or NOEC values. These terms are explained in Attachment A. Monitoring and TRE requirements may be modified by the Executive Officer in response to the degree of toxicity detected in the effluent or in ambient waters related to the discharge. Failure to conduct the required toxicity tests or a TRE within a designated period shall result in the establishment of effluent limitations for chronic toxicity.