CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

1515 CLAY STREET, SUITE 1400

OAKLAND, CA  94612

(510) 622 – 2300     Fax: (510) 622 - 2460

FACT SHEET

FOR

NPDES PERMIT AND WASTE DISCHARGE REQUIREMENTS FOR

RHODIA INC.

100 MOCOCO ROAD

MARTINEZ, CONTRA COSTA COUNTY

NPDES PERMIT NO. CA0006165

ORDER NO. R2-2004-0042

# PUBLIC NOTICE:

# Written Comments

- Interested persons are invited to submit written comments concerning this draft permit.

- Comments must be submitted to the Regional Board no later than 5:00 p.m. on May 21, 2004.

- Send comments to the Attention of Robert Schlipf.

# Public Hearing

- The draft permit will be considered for adoption by the Board at a public hearing during the Board’s regular monthly meeting at: Elihu Harris State Office Building, 1515 Clay Street, Oakland, CA; 1st floor Auditorium.

- This meeting will be held on:		June 16, 2004, starting at 9:00 am.

# Additional Information

- For additional information about this matter, interested persons should contact Regional Board staff member:	Mr. Robert Schlipf, Phone: (510) 622-2478; email: rs@rb2.swrcb.ca.gov

This Fact Sheet contains information regarding a reissuance of waste discharge requirements and National Pollutant Discharge Elimination System (NPDES) permit for industrial wastewater discharges from Rhodia, Inc. (hereinafter the Discharger) sulfuric acid regeneration facility.  The Fact Sheet describes the factual, legal, and methodological basis for the sections addressed in the proposed permit and provides supporting documentation to explain the rationale and assumptions used in deriving the effluent limitations.

- INTRODUCTION

The Discharger applied to the Board for reissuance of waste discharge requirements and a permit to discharge industrial wastewater to waters of the State and the United States under the NPDES.  The application and Report of Waste Discharge is dated April 23, 2003, and was amended on June 23, 2003.

1.  Facility Description

The Discharger owns and operates a sulfuric acid regeneration plant (hereinafter the site or plant). The business was formerly owned and operated by Rhone-Poulenc Basic Chemicals. Rhodia was spun off from Rhone-Poulenc Inc., the mother company of Rhone-Poulenc Basic Chemicals, in late 1997, and took over the sulfuric acid manufacturing business on January 1, 1998.

Stauffer Chemical Company built the plant in 1969-1970 on land formerly occupied by Mountain Copper Company.  The plant has been operating since April 1970, and consists of approximately 110 acres on three separate parcels.  To the immediate northeast of the site, the State of California owns 12 acres of vacant land that is administered through the State Lands Commission (SLC).  Shell Oil Martinez Refinery is west of the site, Peyton Slough is to the east, a large salt marsh is to the south, and Carquinez Strait is to the north. The Discharger has a 10 to 15 foot easement on the SLC property for the routing of outfall E-001 to Carquinez Strait.

Rhodia uses primarily spent acids from the nearby petroleum refineries, and molten sulfur as raw material to manufacture approximately 300,000 tons per year of various strengths and grades of sulfuric acid.  Additionally, Rhodia produces an ammonia sulfate/bisulfate liquor from its final scrubber, which it sells as a fertilizer product.

There is some groundwater contamination at the site, as over the years large piles of copper smelting slag and cinders accumulated in the north and south areas.  Due to their heavy weight, these waste piles subsided into the soft Bay mud.  Under Board Order No. 91-166, the Discharger closed two evaporative ponds that used to hold metal-contaminated groundwater, in accordance with the requirements of the Toxic Pits Cleanup Act.  Additionally, Board Order No. 97-121 requires the Discharger to extract groundwater from the cinder/slag burial area to prevent leachate from entering the Carquinez Strait.

2.  Discharge Description

The proposed NPDES permit regulates the discharge of treated wastewater, stormwater runoff, and treated groundwater to Carquinez Strait, a water of the State and the United States. The U.S. Environmental Protection Agency (U.S. EPA) and the Board have classified the Discharger as a major discharger.

Two existing outfalls are located on the site.  Outfall E-001 (located at latitude 3802’18”, longitude 12207’01”) is for the deepwater discharge of treated process wastewater and groundwater to Carquinez Strait. Outfall E-002 (located at latitude 3801’57” and longitude 12206’41”) is for the discharge of untreated stormwater runoff from the western highland portion of the site to Peyton Slough, a tributary to Carquinez Strait.

Waste 001 consists of an average of 0.127 million gallons per day (MGD) of wastewater, with a maximum daily rate of 0.78 MGD during the rainy season.  Waste influent to the onsite treatment plant consists of cooling tower blowdown, acidic process water, boiler blowdown, various scrubber and washdown waters, stormwater runoff associated with industrial activities, and effluent from an onsite groundwater treatment system known as the Process Effluent Purification (PEP) plant.  The PEP is operated six months per year, and has a long term average flow rate of 0.032 MGD and a maximum daily flow rate of 0.144 MGD. Wastewater treatment includes neutralization, flocculation, pH adjustment, and settling.  The generation of process wastewater is continuous, and the PEP effluent is seasonal.  Rhodia has the capability of discharging continuously with the use of a 630,000-gallon settling pond to meet the existing permit limitations.

3.  Receiving Water Beneficial Uses

The beneficial uses of the Peyton Slough, Carquinez Strait and Suisun Bay receiving waters, as identified in the Board’s June 21, 1995 Water Quality Control Plan San Francisco Bay Basin (Region 2) (the Basin Plan) (Table 2-7 on pp. 2-25), and based on known uses of the receiving waters in the vicinity of the discharge, are:

- Industrial Service Supply

- Navigation

- Water Contact Recreation

- Non-Contact Recreation

- Ocean Commercial and Sport Fishing

- Wildlife Habitat

- Preservation of Rare and Endangered Species

- Fish Migration

- Fish Spawning

- Estuarine Habitat

4.  Receiving Water Salinity

The receiving waters for the subject discharge are the waters of Peyton Slough and Carquinez Strait, which are tidally influenced waterbodies, with significant fresh water inflows during the wet weather season.  Furthermore, Carquinez Strait is specifically defined as estuarine under both the Basin Plan and California Toxics Rule (CTR) definitions.  Therefore, the effluent limitations specified in this Order for discharges to Carquinez Strait are based on the lower of the marine and freshwater Basin Plan water quality objectives (WQOs) and saltwater CTR and National Toxics Rule (NTR) water quality criteria (WQC).

5.  Receiving Water Hardness

Some WQOs and WQC are hardness dependent.  Hardness data collected through the RMP are available for waterbodies in the San Francisco Bay Region.  In determining the WQOs and WQC for this Order, the Board used a hardness value of 46 mg/L, which is the minimum hardness observed at the Pacheco River RMP Station during the period of 1993-2001.  This represents the best available information for hardness of the receiving water after it has mixed with the discharge.

- DESCRIPTION OF EFFLUENT

Table A below describes the quality of treated effluent (E-001).  For conventional and non-conventional pollutants, data are from the Report of Waste Discharge submitted in April 2003; while for priority pollutants, data are from self-monitoring reports from 2000 through 2003

- Table A. Effluent Characteristics at E-001

| Constituents | Long-term Average | Maximum Daily |
| --- | --- | --- |
| Chemical Oxygen Demand (COD) | 17.9 mg/L 14.55 lb/day | 35 mg/L 48.16 lb/day |
| Total Suspended Solids (TSS) | 5.93 mg/L[1] 4.87 lb/day[1] | 18.8 mg/L 15.96 lb/day |
| Oil and Grease (O&G) | 1 mg/L[1] 0.59 kg/day[1] | - mg/L 0.86 kg/day |
| pH | 6.5 (minimum) | 8.8 (maximum) |
| Temperature (winter) C | 13.8 | 18.9 |
| Temperature (summer) C | 25.0 | 28.9 |
| Arsenic (g/L) | 6.8[2] | 12 |
| Cadmium (g/L) | 1.6[2] | 4 |
| Chromium VI (g/L) | 5.7[2] | 14 |
| Copper (g/L) | 11.8[2] | 31 |
| Lead (g/L) | All non detect (ND) | <2.0 |
| Mercury (g/L) | 0.033[3] | 0.27 |
| Nickel (g/L) | 19.14 | 37 |
| Selenium (g/L) | 11.3[2] | 29.2 |
| Silver (g/L) | 1.3[2] | 3 |
| Zinc (g/L) | 13.9[2] | 48 |
| Cyanide (g/L) | All ND | <10 |

[1] To calculate average values, nondetects were replaced with ½ of the detection limit.

[2] Mercury values do not include the February 2000 datum because it is not an ultra-clean point.

Storm water self-monitoring data (outfall E-002) from 2000 through 2003 indicates that pH ranged from 6.7 to 8.6, and the median and maximum oil and grease concentrations were <2 mg/L and 3.7 mg/L, respectively.

- GENERAL RATIONALE AND REGULATORY BASES

Water quality objectives, criteria, effluent limitations, and calculations contained in the proposed Order are based on:

- Sections 301 through 305, and 307 of the Federal Water Pollution Control Act, and amendments thereto, as applicable;

- The Regional Board’s June 21, 1995 Water Quality Control Plan San Francisco Bay Basin (Region 2) (the Basin Plan);

- The State Board’s March 2, 2000 Policy for Implementation of Toxics Standards for Inland Surface Waters, Enclosed Bays, and Estuaries of California (the State Implementation Plan or SIP), and as subsequently approved by the Office of Administrative Law and the U.S. EPA;

- The U.S. EPA’s May 18, 2000 Water Quality Standards; Establishment of Numeric Criteria for Priority Toxic Pollutants for the State of California (the California Toxics Rule – the CTR);

- The U.S. EPA’s National Toxics Rule as promulgated [Federal Register Volume 57, 22 December 1992, page 60848] and subsequently amended (the NTR);

- The U.S. EPA’s Quality Criteria for Water [EPA 440/5-86-001, 1986], and subsequent amendments, (the U.S. EPA Gold Book);

- Applicable Federal Regulations [40 CFR Parts 122 and 131];

- 40 CFR Part 131.36(b) and amended [Federal Register Volume 60, Number 86, 4 May 1995, pages 22229-22237];

- U.S. EPA’s December 10, 1998 National Recommended Water Quality Criteria compilation [Federal Register Vol. 63, No. 237, pp. 68354-68364];

- U.S. EPA’s December 27, 2002 Revision of National Recommended Water Quality Criteria compilation [Federal Register Vol. 67, No. 249, pp. 79091-79095]; and

- Regional Board staff's Best Professional Judgment (BPJ), as defined by the Basin Plan, involves consideration of many factors, including the following:

- the Basin Plan;

- U.S. EPA Region 9’s February 1994 Guidance For NPDES Permit Issuance;

- U.S. EPA’s March 1991 Technical Support Document for Water Quality-Based Toxics Control (the TSD);

- U.S. EPA’s October 1, 1993 Policy and Technical Guidance on Interpretation and Implementation of Aquatic Life Metals Criteria;

- U.S. EPA’s July 1994 Whole Effluent Toxicity (WET) Control Policy;

- U.S. EPA’s August 14, 1995 National Policy Regarding Whole Effluent Toxicity Enforcement;

- U.S. EPA’s April 10, 1996 Clarifications Regarding Flexibility in 40 CFR Part 136 Whole Effluent Toxicity (WET) Test Methods;

- U.S. EPA Regions 9 & 10’s May 31, 1996 Guidance for Implementing Whole Effluent Toxicity Programs Final;

- U.S. EPA’s February 19, 1997 Draft Whole Effluent Toxicity (WET) Implementation Strategy.

- SPECIFIC RATIONALE

Several specific factors affecting the development of limitations and requirements in the proposed Order are discussed as follows:

1.  Recent Plant Performance

Section 402(o) of the Clean Water Act (CWA) and 40 CFR § 122.44(l) require that water quality-based effluent limitations (WQBELs) in re-issued permits be at least as stringent as in the previous permit.  The SIP specifies that interim effluent limitations, if required, must be based on current treatment facility performance or on previous permit limitations whichever is more stringent (unless anti-backsliding requirements are met).  In determining what constitutes “recent plant performance”, BPJ was used.  Effluent monitoring data collected from 2000 through 2003 for inorganic priority pollutants, and from November 1999 through November 2003 for organic pollutants, are considered representative of recent plant performance.

2.  Impaired Water Bodies on 303(d) List

On June 6, 2003, U.S. EPA approved a revised list of impaired waterbodies prepared by the State. The list (hereinafter referred to as the 2002 303(d) list) was prepared in accordance with Section 303(d) of the Federal Clean Water Act to identify specific waterbodies where water quality standards are not expected to be met after implementation of technology-based effluent limitations on point sources. Carquinez Strait and Suisun Bay are listed as an impaired waterbodies. The pollutants impairing Carquinez Strait and Suisun Bay include mercury, nickel (Suisun Bay only), selenium, PCBs total, dioxins and furans, chlordane, DDT, dieldrin, diazinon, and dioxin-like PCBs.  Carquinez Strait and Suisun Bay are also impaired by exotic species. Copper, which was previously identified as impairing Suisun Bay, was not included as an impairing pollutant in the 2002 303(d) list and has been placed on the new Monitoring List.

3.  Effluent Limitations

The SIP requires final effluent limitations for all 303(d)-listed pollutants to be based on total maximum daily loads (TMDLs) and associated wasteload allocations (WLAs).  The SIP and U.S. EPA regulations also require that final concentration-based WQBELs be included for all pollutants having Reasonable Potential to cause or contribute to an exceedence of applicable water quality standards (having Reasonable Potential or RP).  The SIP requires that where the discharger has demonstrated infeasibility to meet the final WQBELs, interim performance-based limitations (IPBLs) or previous permit limitations (whichever is more stringent) be established in the permit, together with a compliance schedule in effect until final effluent limitations are adopted.  The SIP also requires the inclusion of appropriate provisions for waste minimization and source control where interim limitations are established.

4.Dilution

The Board believes a conservative 10:1 dilution credit for discharges of non-bioaccumulative pollutants to San Francisco Bay is necessary for protection of beneficial uses.  The basis for limiting the dilution credit is based on SIP provisions in Section 1.4.2.  The following outlines the basis for derivation of the dilution credit:

(1) A far-field background station is appropriate because the San Francisco Bay watershed, including the receiving waters, is a very complex estuarine system with highly variable and seasonal upstream freshwater inflows and diurnal tidal saltwater inputs.

(2) Due to the complex hydrology of the San Francisco Bay watershed, a mixing zone cannot be accurately established.

(3) Previous dilution studies do not fully account for the cumulative effects of other wastewater discharges to the system.

(4) The SIP allows limiting a mixing zone and dilution credit for persistent pollutants (e.g., copper and nickel).

The main justification for using a 10:1 dilution credit is uncertainty in accurately determining ambient background and uncertainty in accurately determining the mixing zone in a complex estuarine system with multiple wastewater discharges. The following gives more detailed rational.

- (1) Complex Estuarine System Necessitates Far-Field Background - The SIP allows background to be determined on a discharge-by-discharge or water body-by-water body basis (SIP section 1.4.3).  Consistent with the SIP, Board staff has chosen to use a water body-by-water body basis because of the uncertainties inherent in accurately characterizing ambient background in a complex estuarine system on a discharge-by-discharge basis.

- With this in mind, the Yerba Buena Island Station fits the guidance for ambient background in the SIP compared to other stations in the RMP.  The SIP states that background data are applicable if they are “representative of the ambient receiving water column that will mix with the discharge.”  Board Staff believe that data from this station are representative of water that will mix with the discharge from Outfall E-001.  Although this station is located near the Golden Gate, it would represent the typical water flushing in and out in the Bay Area each tidal cycle.  For most of the Bay Area, the waters represented by this station make up a large part of the receiving water that will mix with the discharge.

- (2) Uncertainties Prevent Accurate Mixing Zones in Complex Estuarine Systems - There are uncertainties in accurately determining the mixing zones for each discharge.  The models that have been used by dischargers to predict dilution have not considered the three-dimensional nature of the currents in the estuary resulting from the interaction of tidal flushes and seasonal fresh water outflows.  Saltwater is heavier than fresh water.  Colder saltwater from the ocean flushes in twice a day generally under the warmer fresh river waters that flow out annually.  When these waters mix and interact, complex circulation patterns occur due to the different densities of these waters.  These complex patterns occur throughout the estuary but are most prevalent in the San Pablo Bay, Carquinez Strait, and Suisun Bay areas.  The locations change depending on the strength of each tide and the variable rate of delta outflow.  Additionally, sediment loads to the Bay from the Central Valley also change on a longer-term basis.  These changes can result in changes to the depths of different parts of the Bay making some areas more shallow and/or other areas more deep.  These changes affect flow patterns that in turn can affect the initial dilution achieved by a discharger’s diffuser.

- (3)	Dye studies do not account for cumulative effects from other discharges - The tracer and dye studies conducted are often not long enough in duration to fully assess the long residence time of a portion of the discharge that is not flushed out of the system.  In other words, some of the discharge, albeit a small portion, makes up part of the dilution water.  So unless the dye studies are of long enough duration, the diluting effect on the dye measures only the initial dilution with “clean” dilution water rather than the actual dilution with “clean” dilution water plus some amount of original discharge that resides in the system.  Furthermore, both models and dye studies that have been conducted have not considered the effects of discharges from other nearby discharge sources, nor the cumulative effect of discharges from over 20 other major dischargers to San Francisco Bay system.  While it can be argued the effects from other discharges are accounted for by factoring in the local background concentration in calculating the limitations, accurate characterization of local background levels are also subject to uncertainties resulting from the interaction of tidal flushing and seasonal fresh water outflows described above.

- (4)	Mixing Zone Is Further Limited for Persistent Pollutants - Discharges to the Bay Area waters are not completely-mixed discharges as defined by the SIP.  Thus, the dilution credit should be determined using site-specific information for incompletely-mixed discharges.  The SIP in section 1.4.2.2 specifies that the Regional Board “significantly limit a mixing zone and dilution credit as necessary…  For example, in determining the extent of a mixing zone or dilution credit, the RWQCB shall consider the presence of pollutants in the discharge that are … persistent.”  The SIP defines persistent pollutants to be “substances for which degradation or decomposition in the environment is nonexistent or very slow.”  The pollutants at issue here are persistent pollutants (e.g., copper, lead, nickel, silver, and zinc).  The dilution studies that estimate actual dilution do not address the effects of these persistent pollutants in the Bay environment, such as their long-term effects on sediment concentrations.”

5.  Basis for Prohibitions

- Prohibition A.1 (no discharges other than as described in the permit): This prohibition is based on the Basin Plan, previous Order, and BPJ.

- Prohibitions A.2 (10:1 dilution): These prohibitions are based on the Basin Plan.  The Basin Plan prohibits discharges not receiving a minimum initial dilution of 10:1 (Chapter 4, Discharge Prohibition No. 1).

- Prohibition A.3 (no discharge of toxic and deleterious substances): This prohibition is from Basin Plan.

- Prohibition A.4 (no discharge of treated wastewater in excess of 0.8 mgd): This prohibition is based on past treatment flows, and BPJ.

6.  Basis for Effluent Limitations

Effluent guidelines requiring the application of best available technology economically achievable (BAT) for this facility have not been promulgated by the U.S. EPA.  Technology-based limitations were therefore developed on a case-by-case basis using BPJ and treatment plant performance.  For toxic and priority pollutants consisting of metals and organic chemicals, the Clean Water Act requires that NPDES permits include, where appropriate, WQBELs for those having Reasonable Potential of exceeding the WQOs/WQC in the receiving water body.

- For the following conventional and non-conventional pollutants: total suspended solids (TSS), oil and grease (O&G), and settleable matter effluent limitations are from the previous permit.  These effluent limits were developed using BPJ.  For chemical oxygen demand (COD), this permit increases the concentration-based limit from 46 to 52 mg/L to reflect the Discharger’s water conservation efforts.  This is because the Discharger documented that it has reduced the amount of freshwater it uses to produce a ton of acid from 510 gallons in 1984 (the time the COD limit was developed) to about 450 gallons in 2002 and 2003.  Since this represents about a 12% reduction in water use relative to production, this permit increases the concentration limit for COD by this factor.  The mass limitation for COD remains unchanged from the previous permit.

a.    Effluent Limitations B.1 (COD, TSS, O&G, and Settleable Matter):  The U.S. EPA assisted the Regional Board in developing site-specific BPJ based, BAT level, effluent limitations for the plant based on a September 12, 1984 report, titled “Final development of BAT and BCT permit limitations for Stauffer Chemical Company” (the operating company prior to Rhodia).  The methodology for developing the BPJ BAT effluent limitations was to match an industry with similar wastewater constituents and treatment processes to the plant.  The report found the plant’s wastewater composition to be similar to the metal finishing industry, and that the typical treatment for wastewater from this industry of precipitation and settling is the process in place at the site.  Additionally, the report concluded that the wastewater treatment process used at the site is equivalent to BAT.  Thus, current treatment plant performance should be considered in developing BPJ-based effluent limitations.

As mentioned above, the existing permit limitations for TSS, O&G, and settleable matter remained unchanged from the previous permit.  However, to account for water conservation efforts, this permit increases the concentration-based COD limitation from 46 to 52 mg/L, as shown below:

Constituents		Units		30-day Average			Daily Maximum

COD			mg/l			--				52

TSS			mg/l			20				30

O&G			mg/l			--				5

Settleable Matter*	ml/l-hr			0.1				0.2

* effluent limitations for settleable matter are based on Table 4.2 of the Basin Plan.

Mass emission limits, 30-day average and maximum daily, were retained from the previous permit, which are based on the long-term average and maximum daily average dry-weather discharge flows, respectively.

30-day average

TSS: 	(20 mg/l) x (0.125 MGD) x (3.785 l/gal) x (10-6 kg/mg) = 9.46 kg/d

Daily Maximum

TSS:	(30 mg/l) x (0.244 MGD) x (3.785 l/gal) x (10-6 kg/mg) = 27.7 kg/d

COD:	(46 mg/l) x (0.244 MGD) x (3.785 l/gal) x (10-6 kg/mg) = 42.5 kg/d

O&G:	(5 mg/l) x (0.244 MGD) x (3.785 l/gal) x (10-6 kg/mg) = 4.6 kg/d

b.   Effluent Limitation B.2 (pH): This effluent limitation is in the previous permit, and is based on Chapter 4 of the Basin Plan (Effluent Limitation 3a).

c.   Effluent Limitation B.3 (Whole Effluent Acute Toxicity):  The Basin Plan specifies a narrative objective for toxicity, requiring that all waters shall be maintained free of toxic substances in concentrations that are lethal to or produce other detrimental response on aquatic organisms.  Detrimental response includes but is not limited to decreased growth rate, decreased reproductive success of resident or indicator species, and/or significant alternations in population, community ecology, or receiving water biota.  These effluent toxicity limitations are necessary to ensure that this objective is protected.  The whole effluent acute toxicity limitations for an eleven-sample median and an eleven-sample 90th percentile value are consistent with the previous permit and are based on the Basin Plan (Table 4-4, pg. 4–70).  The previous Order required testing of two species (rainbow trout and three-spine stickleback).  This Order requires the Discharger to switch to the U.S. EPA most recently promulgated testing method, currently the 5th edition by no later than September 1, 2005.  The Discharger shall also test rainbow trout and fathead minnow concurrently to identify a more sensitive species, and use that single species for compliance monitoring if approved by the Executive Officer.

d.   Effluent Limitation B.4 (Whole Effluent Chronic Toxicity):  The chronic toxicity objective/limitation is based on the Basin Plan’s narrative toxicity objective on page 3-4.

e.   Effluent Limitation B.5 (Toxic Substances):

(1) Reasonable Potential Analysis

- Code of Federal Regulations Title 40, Part 122.44(d)(1)(i) (40 CFR 122.44(d)(1)(i)) specifies that permits must include WQBELs for all pollutants “which the Director determines are or may be discharged at a level which will cause, have the Reasonable Potential to cause, or contribute to an excursion above any State water quality standard” (have Reasonable Potential or RP).  Thus, assessing whether a pollutant has RP is the fundamental step in determining whether or not a WQBEL is required.  The following sections describe the RPA, and the results of such an analysis for the pollutants identified in the Basin Plan and the CTR.

- i.	WQOs and WQC:  The RPA uses Basin Plan WQOs, including narrative toxicity objectives in the Basin Plan, and applicable WQC in the CTR/NTR, or site-specific objectives (SSOs) if available, after adjusting for site-specific hardness and translators, if applicable.  The governing WQOs/WQC are shown in Attachment 1 of this Fact Sheet.

- ii.	Methodology:  The RPA uses the methods and procedures prescribed in Section 1.3 of the SIP.  Board staff has analyzed the effluent and background data and the nature of facility operations to determine if the discharge shows Reasonable Potential with respect to the governing WQOs or WQC.  Attachment 1 of this Fact Sheet shows the step-wise process described in Section 1.3 of the SIP.

- iii.	Effluent and background data:  The RPA is based on effluent data collected by the Discharger from January 2000 through December 2003 for inorganic priority pollutants and from November 1999 through November 2003 for organic priority pollutants.  Water quality data collected from San Francisco Bay at the Yerba Buena Island monitoring station through the RMP in 1993 to 2001 were reviewed to determine the maximum observed background values.  The RMP station at Yerba Buena Island located in the Central Bay has been sampled for most of the inorganic and some of the organic toxic pollutants; however, not all the constituents listed in the CTR were analyzed by the RMP during this time.  On May 15, 2003, a group of several San Francisco Bay Region dischargers (known as the Bay Area Clean Water Agencies, or BACWA) submitted a collaborative receiving water study, entitled the San Francisco Bay Ambient Water Monitoring Interim Report.  This study summarizes the monitoring results from sampling events in 2002 and 2003 for the remaining priority pollutants not monitored by the RMP.  The RPA was conducted and the WQBELs were calculated using RMP data from 1993 through 2001 for inorganics and organics at the Yerba Buena Island, and additional data from the BACWA Ambient Water Monitoring Interim Report for the Yerba Buena Island RMP station.

- iv.	RPA determination: The RPA results are shown below in Table B and Attachment 1 of this Fact Sheet.  The pollutants that exhibit RP are cadmium, chromium (VI), copper, mercury, nickel, selenium, silver, bis(2-ethylhexyl)phthalate, 4,4’-DDE, dieldrin, and dioxin.

#### Table B.  Summary of Reasonable Potential Results

| - # in CTR | - PRIORITY POLLUTANTS | - MEC or Minimum DL1 - (g/L) | - Governing WQO/WQC (g/L) | - Maximum Background or Minimum DL1 - (g/L) | - RPA Results2 |
| --- | --- | --- | --- | --- | --- |
| - 1 | - Antimony | 2 | 4300 | 1.8 | N |
| - 2 | - Arsenic | 12 | 36 | 2.46 | N |
| - 3 | - Beryllium | 1 | NA | 0.215 | N |
| - 4 | - Cadmium | 4 | 9.3 | 0.1268 | Y |
| - 5a | - Chromium (III) | NA | NA | NA | Uo,Ud, Ub |
| - 5b | - Chromium (VI) | 14 | 50 | 4.4 | Y |
| - 6 | - Copper | 31 | 3.73 | 2.45 | Y |
| - 7 | - Lead | 2.5 | 5.6 | 0.8 | N |
| - 8 | ###### Mercury | 0.27 | 0.025 | 0.0086 | Y |
| - 9 | - Nickel | 37 | 7.1 | 3.7 | Y |
| - 10 | - Selenium | 29.2 | 5.0 | 0.39 | Y |
| - 11 | ###### Silver | 3 | 2.3 | 0.0516 | Y |
| - 12 | - Thallium | 2 | 6.3 | 0.21 | N |
| - 13 | - Zinc | 48 | 58 | 4.4 | N |
| - 14 | ###### Cyanide | 10 | 1 | 0.4 | N |
| - 15 | - Asbestos | NA | NA | NA | Uo, Ud, Ub |
| - 16 | - 2,3,7,8-TCDD (Dioxin) | 4.80E-07 | 0.000000014 | 0.000000009 | N |
|  | - TCDD TEQ | 4.80E-07 | 0.000000014 | 0.000000071 | Y |
| - 17 | - Acrolein | 18.17 | 780 | 0.5 | N |
| - 18 | - Acrylonitrile | 14.93 | 0.66 | 0.03 | N |
| - 19 | - Benzene | 0.3 | 71 | 0.05 | N |
| - 20 | ###### Bromoform | 0.38 | 360 | 0.5 | N |
| - 21 | - Carbon Tetrachloride | 0.18 | 4.4 | 0.06 | N |
| - 22 | - Chlorobenzene | 0.28 | 21000 | 0.5 | N |
| - 23 | - Chlorodibromomethane | 0.19 | 34 | 0.05 | N |
| - 24 | - Chloroethane | 0.32 | NA | 0.5 | Uo |
| - 25 | - 2-Chloroethylvinyl Ether | 0.47 | NA | 0.5 | Uo |
| - 26 | - Chloroform | 0.52 | NA | 0.5 | Uo |
| - 27 | - Dichlorobromomethane | 0.15 | 46 | 0.05 | N |
| - 28 | - 1,1-Dichloroethane | 0.25 | NA | 0.05 | Uo |
| - 29 | - 1,2-Dichloroethane | 0.21 | 99 | 0.04 | N |
| - 30 | - 1,1-Dichloroethylene | 0.3 | 3.2 | 0.5 | N |
| - 31 | - 1,2-Dichloropropane | 0.12 | 39 | 0.05 | N |
| - 32 | - 1,3-Dichloropropylene | 0.14 | 1700 | NA | N |
| - 33 | - Ethylbenzene | 0.12 | 29000 | 0.5 | N |
| - 34 | - Methyl Bromide | 0.67 | 4000 | 0.5 | N |
| - 35 | - Methyl Chloride | 0.37 | NA | 0.5 | Uo |
| - 36 | - Methylene Chloride | 1.1 | 1600 | 0.5 | N |
| - 37 | - 1,1,2,2-Tetrachloroethane | 0.36 | 11 | 0.05 | N |
| - 38 | - Tetrachloroethylene | 0.5 | 8.85 | 0.05 | N |
| - 39 | - Toluene | 0.3 | 200000 | 0.3 | N |
| - 40 | - 1,2-Trans-Dichloroethylene | 0.2 | 140000 | 0.5 | N |
| - 41 | - 1,1,1-Trichloroethane | 0.18 | NA | 0.5 | Uo |
| - 42 | - 1,1,2-Trichloroethane | 0.13 | 42 | 0.05 | N |
| - 43 | - Trichloroethylene | 0.36 | 81 | 0.5 | N |
| - 44 | - Vinyl Chloride | 0.25 | 525 | 0.5 | N |
| - 45 | - Chlorophenol | 0.36 | 400 | 1.2 | N |
| - 46 | - 2,4-Dichlorophenol | 0.42 | 790 | 1.3 | N |
| - 47 | - 2,4-Dimethylphenol | 0.34 | 2300 | 1.3 | N |
| - 48 | - 2-Methyl-4,6-Dinitrophenol | 0.59 | 765 | 1.2 | N |
| - 49 | - 2,4-Dinitrophenol | 0.78 | 14000 | 0.7 | N |
| - 50 | - 2-Nitrophenol | 0.4 | NA | 1.3 | Uo |
| - 51 | - 4-Nitrophenol | 0.9 | NA | 1.6 | Uo |
| - 52 | - 3-Methyl-4-Chlorophenol | 0.34 | NA | 1.1 | Uo |
| - 53 | - Pentachlorophenol | 0.55 | 7.9 | 1 | N |
| - 54 | - Phenol | 0.28 | 4,600,000 | 1.3 | N |
| - 55 | - 2,4,6-Trichlorophenol | 1.1 | 6.5 | 1.3 | N |
| - 56 | - Acenaphthene | 0.63 | 2700 | 0.0015 | N |
| - 57 | - Acenaphthylene | 0.57 | NA | 0.00053 | Uo |
| - 58 | - Anthracene | 0.5 | 110000 | 0.0005 | N |
| - 59 | - Benzidine | 3.79 | 0.00054 | 0.0015 | N |
| - 60 | - Benzo(a)Anthracene | 2 | 0.049 | 0.0053 | N |
| - 61 | - Benzo(a)Pyrene | 0.25 | 0.049 | 0.00029 | N |
| - 62 | - Benzo(b)Fluoranthene | 0.77 | 0.049 | 0.0046 | N |
| - 63 | - Benzo(ghi)Perylene | 2 | NA | 0.0027 | Uo |
| - 64 | - Benzo(k)Fluoranthene | 0.71 | 0.049 | 0.0015 | N |
| - 65 | - Bis(2-Chloroethoxy)Methane | 1 | NA | 0.3 | Uo |
| - 66 | - Bis(2-Chloroethyl)Ether | 0.64 | 1.4 | 0.3 | N |
| - 67 | - Bis(2-Chloroisopropyl)Ether | 2 | 170000 | NA | N |
| - 68 | - Bis(2-Ethylhexyl)Phthalate | 6.4 | 5.9 | 0.5 | Y |
| - 69 | - 4-Bromophenyl Phenyl Ether | 0.62 | NA | 0.23 | Uo |
| - 70 | - Butylbenzyl Phthalate | 0.96 | 5200 | 0.52 | N |
| - 71 | - 2-Chloronaphthalene | 0.87 | 4300 | 0.3 | N |
| - 72 | - 4-Chlorophenyl Phenyl Ether | 0.97 | NA | 0.3 | Uo |
| - 73 | - Chrysene | 0.23 | 0.049 | 0.0024 | N |
| - 74 | - Dibenzo(a,h)Anthracene | 0.99 | 0.049 | 0.00064 | N |
| - 75 | - 1,2 Dichlorobenzene | 0.5 | 17000 | 0.8 | N |
| - 76 | - 1,3 Dichlorobenzene | 0.5 | 2600 | 0.8 | N |
| - 77 | - 1,4 Dichlorobenzene | 0.5 | 2600 | 0.8 | N |
| - 78 | - 3,3-Dichlorobenzidine | 0.81 | 0.077 | 0.001 | N |
| - 79 | - Diethyl Phthalate | 1.1 | 120000 | 0.24 | N |
| - 80 | - Dimethyl Phthalate | 0.75 | 2900000 | 0.24 | N |
| - 81 | - Di-n-Butyl Phthalate | 1 | 12000 | 0.5 | N |
| - 82 | - 2,4-Dinitrotoluene | 0.8 | 9.1 | 0.27 | N |
| - 83 | - 2,6-Dinitrotoluene | 1.1 | NA | 0.29 | Uo |
| - 84 | - Di-n-Octyl Phthalate | 0.88 | NA | 0.38 | Uo |
| - 85 | - 1,2-Diphenylhydrazine | 2 | 0.54 | 0.0037 | N |
| - 86 | - Fluoranthene | 0.4 | 370 | 0.011 | N |
| - 87 | - Fluorene | 0.57 | 14000 | 0.00208 | N |
| - 88 | - Hexachlorobenzene | 0.84 | 0.00077 | 0.0000202 | N |
| - 89 | - Hexachlorobutadiene | 0.63 | 50 | 0.3 | N |
| - 90 | - Hexachlorocyclopentadiene | 0.38 | 17000 | 0.31 | N |
| - 91 | - Hexachloroethane | 0.62 | 8.9 | 0.2 | N |
| - 92 | ###### Indeno(1,2,3-cd) Pyrene | 0.55 | 0.049 | 0.004 | N |
| - 93 | - Isophorone | 0.54 | 600 | 0.3 | N |
| - 94 | - Naphthalene | 0.57 | NA | 0.0023 | Uo |
| - 95 | - Nitrobenzene | 0.6 | 1900 | 0.25 | N |
| - 96 | - N-Nitrosodimethylamine | 5 | 8.1 | 0.3 | N |
| - 97 | - N-Nitrosodi-n-Propylamine | 0.86 | 1.4 | 0.001 | N |
| - 98 | - N-Nitrosodiphenylamine | 0.67 | 16 | 0.001 | N |
| - 99 | - Phenanthrene | 2 | NA | 0.0061 | Uo |
| - 100 | - Pyrene | 2 | 11000 | 0.0051 | N |
| - 101 | - 1,2,4-Trichlorobenzene | 0.78 | NA | 0.3 | Uo |
| - 102 | - Aldrin | 0.011 | 0.00014 | NA | N |
| - 103 | - alpha-BHC | 0.011 | 0.013 | 0.000496 | N |
| - 104 | - beta-BHC | 0.016 | 0.046 | 0.000413 | N |
| - 105 | - gamma-BHC | 0.011 | 0.063 | 0.0007034 | N |
| - 106 | - delta-BHC | 0.012 | NA | 0.000042 | N |
| - 107 | - Chlordane | 0.2 | 0.00059 | 0.00018 | N |
| - 108 | - 4,4’-DDT | 0.01 | 0.00059 | 0.000066 | N |
| - 109 | - 4,4’-DDE | 0.012 | 0.00059 | 0.00069 | Y |
| - 110 | - 4,4’-DDD | 0.011 | 0.00084 | 0.000313 | N |
| - 111 | - Dieldrin | 0.011 | 0.00014 | 0.000264 | Y |
| - 112 | - alpha-Endosulfan | 0.01 | 0.0087 | 0.000031 | N |
| - 113 | - beta-Endosulfan | 0.011 | 0.0087 | 0.000069 | N |
| - 114 | - Endosulfan Sulfate | 0.012 | 240 | 0.0000819 | N |
| - 115 | - Endrin | 0.011 | 0.0023 | 0.000036 | N |
| - 116 | - Endrin Aldehyde | 0.012 | 0.81 | NA | N |
| - 117 | - Heptachlor | 0.011 | 0.00021 | 0.000019 | N |
| - 118 | - Heptachlor Epoxide | 0.011 | 0.00011 | 0.000094 | N |
| - 119-125 | - PCBs | 0.02 | 0.00017 | NA | N |
| - 126 | - Toxaphene | 0.39 | 0.0002 | NA | N |
|  | - Tributyltin | NA | 0.01 | 0.001 | Ud |
|  | - Total PAHs | NA | 15 | 0.052 | Ud |

- 1)	Values for MEC or maximum background in bold are the actual detected concentrations, otherwise the values shown are the minimum detection levels.

- NA = Not Available (there is not monitoring data for this constituent).

- 2)	RP =Yes, if either MEC or Background > WQO/WQC.

- RP = No, if both MEC or background < WQO/WQC or all effluent concentrations non-detect and background <WQO/WQC or no background available.

- RP = Ud (undetermined due to lack of effluent monitoring data).

- RP = Uo (undetermined if no objective promulgated).

- RP = Ub (undetermined if no background data is available).

v.	Pollutants with no Reasonable Potential:  WQBELs are not included in the Order for constituents that do not have Reasonable Potential to cause or contribute to exceedance of applicable WQOs or WQC.  However, monitoring for those pollutants is still required, under the provisions of the Board’s August 6, 2001 Letter.  If concentrations of these constituents are found to have increased significantly, the Discharger will be required to investigate the source(s) of the increase(s).  Remedial measures are required if the increases pose a threat to water quality in the receiving water.

vi.	Permit reopener:  The permit includes a reopener provision to allow numeric effluent limitations to be added for any constituent that in the future exhibits Reasonable Potential to cause or contribute to exceedance of a WQO or WQC.  This determination, based on monitoring results, will be made by the Board.

(2) WQOs/WQC

- The final WQBELs were developed for the toxic and priority pollutants that were determined to have Reasonable Potential to cause or contribute to exceedances of the WQOs or WQC.  Final effluent limitations were calculated based on appropriate WQOs/WQC and the appropriate procedures specified in Section 1.4 of the SIP (See Attachment 2 of this Fact Sheet).  For the purpose of the Proposed Order, final WQBELs refer to all non-interim effluent limitations.  Table C below shows the WQOs or WQC used for each pollutant with Reasonable Potential.

#### Table C. WQOs/WQC for Pollutants with RP

| Pollutant | Chronic WQO/WQC (μg/L) | Acute WQO/WQC (μg/L) | Human Health WQC (μg/L) | Basis of Lowest WQO /WQC Used in RP |
| --- | --- | --- | --- | --- |
| Cadmium | 0.62 | 1.6 | -- | BP |
| Chromium (VI) | 11 | 16 | -- | BP |
| Copper | 3.7 | 5.8 | -- | CTR |
| Mercury | 0.025 | 2.1 | 0.051 | BP |
| Nickel | 7.1 | 140 | 4,600 | BP |
| Selenium | 5 | 20 | -- | NTR |
| Silver | -- | 1.1 | -- | BP |
| Bis(2-Ethylhexyl)Phthalate | -- | -- | 5.9 | CTR |
| 4,4’-DDE | -- | -- | 0.00059 | CTR |
| Dieldrin | 0.0019 | 0.71 | 0.00014 | CTR |
| TCDD TEQ | -- | -- | 1.410-8 | CTR |

(3) Feasibility Evaluation

The Discharger submitted an infeasibility to comply report on February 25, 2004, for copper, mercury, nickel, selenium, 4,4’-DDE, and dieldrin.  For constituents that Board staff could perform a meaningful statistical analysis (i.e., copper, mercury, nickel, and selenium), it used self-monitoring data from 2000-2003 to compare the mean, 95th percentile, and 99th percentile with the long-term average (LTA), AMEL, and MDEL to confirm if it is feasible for the Discharger to comply with WQBELs.  If the LTA, AMEL, and MDEL all exceed the mean, 95th percentile, and 99th percentile, it is feasible for the Discharger to comply with WQBELs.  Table D below shows these comparisons in g/L:

- Table D.  Summary of Feasibility Analysis

| Constituent | - Mean / LTA | - 95th / AMEL | - 99th / MDEL | - Feasible to Comply |
| --- | --- | --- | --- | --- |
| - Copper | - 11.8 > 8.32 | - 24.7 > 12.6 | - 31.5 > 24.6 | - No |
| - Mercury | - 0.0327 > 0.0049 | - 0.08 > 0.014 | - 0.16 > 0.043 | - No |
| - Nickel | - 19.14<22.7 | - 33.7>32.2 | - 40.05<57.6 | No |
| - Selenium | - 9.87>2.67 | - 21.41>4.1 | - 31.5>8.2 | No |

- For 4,4’-DDE and dieldrin, compliance with the final WQBELs cannot be determined at this time as the minimum levels (MLs) are higher than the final calculated WQBELs.

- For dioxin compounds, all effluent data were non-detects.  The detection limits are higher than the WQC of 0.014 pg/L.  The SIP does not specify an ML for dioxin analysis.  It is, therefore, not possible to determine an IPBEL for dioxin and the previous permit did not include a dioxin limit.  As a result, this permit does not contain an interim limitation for dioxin.  The final limitations for dioxins will be based on the WLA assigned to the Discharger in the TMDL.

- Table E below summarizes the calculated WQBELs, and the feasibility to comply analysis for all pollutants with effluent limitations. The WQBELs calculation is attached as Attachment 2 of this Fact Sheet.

- Table E.  Final WQBELs and Feasibility to Comply

| - Pollutant | MDEL g/L | AMEL g/L | - Feasible to Comply? |
| --- | --- | --- | --- |
| - Cadmium | - 8.3 | - 4.1 | - Yes |
| - Chromium (VI) | - 118 | - 57 | - Yes |
| - Copper | - 24.7 | - 12.6 | - No |
| - Mercury | - 0.043 | - 0.014 | - No |
| - Nickel | - 57.6 | - 32.2 | - No |
| - Selenium | - 8.2 | - 4.1 | No |
| - Silver | - 10.4 | - 4.6 | Yes |
| - Bis(2-Ethylhexyl)Phthalate | - 106 | - 53 | Yes |
| - 4,4’-DDE | - 0.00118 | - 0.00059 | No |
| - Dieldrin | - 0.00028 | - 0.00014 | No |
| - TCDD TEQ | - 0.000000028 | - 0.000000014 | No |

(4) Interim Concentration Limitations and Compliance Schedules

- Interim effluent limitations were derived for those constituents (copper, mercury, nickel, selenium, 4,4’-DDE, and dieldrin) for which the Discharger has shown infeasibility of complying with the respective final limitations and has demonstrated that compliance schedules are justified based on the Discharger’s source control and pollution minimization efforts in the past, and continued efforts in the present and future.  The interim effluent concentration limitation for copper is based on the previous permit effluent limitation.  The interim limitations for mercury, nickel, and selenium are based on recent treatment plant performance.  Interim limitations were established for 4,4’-DDE and dieldrin based on their respective MLs specified in the SIP.  These interim limitations are discussed in more detail below.

- This permit establishes compliance schedules until September 1, 2009, for copper, selenium, 4,4’-DDE, and dieldrin; and until March 31, 2010 for mercury and nickel.  These compliance schedules exceed the length of the permit.  Therefore, in accordance with the SIP, the calculated final limitations are intended as a point of reference for the feasibility demonstration.

During the compliance schedules, interim limitations are included based on current treatment facility performance or on previous permit limitations, whichever is more stringent to maintain existing water quality.  The Board may take appropriate enforcement actions if interim limitations and requirements are not met.

i. 	Copper – Further Discussion and Rationale for Interim Effluent Limitation:  An interim effluent limitation is required for copper since the Discharger has demonstrated, and the Board has verified that the final effluent limitations calculated according to the SIP (AMEL of 13 μg/L and MDEL of 25 μg/L) will be infeasible to meet.  The SIP requires the interim numeric effluent limitation for the pollutant be based on either current treatment facility performance, or on the previous Order’s limitation, whichever is more stringent.  Self-monitoring data from 2000-2003 indicate that effluent copper concentrations ranged from <1 μg/L to 31 μg/L (48 samples).  Board staff calculated an interim performance based limitation (IPBL) of 38.8 g/L (99.87th percentile of the effluent data, based on a Weibull distribution), which is less stringent than the daily average limitation of 37 μg/L contained in the previous permit.  Therefore, the previous permit limitation of 37 µg/L is established in this Order as the interim limitation, and will remain in effect until September 1, 2009, or until the Board amends the limitation based on additional data or SSOs.

ii.	Mercury – Further Discussion and Rationale for Interim Effluent Limitation:  An interim effluent limitation is required for mercury since the Discharger has demonstrated, and the Board has verified that the final effluent limitations calculated according to the SIP (AMEL of 0.014 μg/L and MDEL of 0.043 μg/L) will be infeasible to meet.  Self-monitoring data from 2000 through 2003 indicate that effluent mercury concentrations ranged from 0.0043 μg/L to 0.27 μg/L (15 ultra-clean samples).  Board staff calculated an IPBL of 0.32 g/L (99.87th percentile of the effluent data, based on a lognormal distribution).  This IPBL shall remain in effect until March 31, 2010, or until the Board amends the limitation based on a WLA in the TMDL for mercury. However, during the next permit reissuance, the Board may reevaluate the interim mercury limitation.

iii.	Nickel - Further Discussion and Rationale for Interim Effluent Limitation:  An interim effluent limitation is required for nickel since the Discharger has demonstrated, and the Board has verified that the final effluent limitations calculated according to the SIP (AMEL of 32 μg/L and MDEL of 58 μg/L) will be infeasible to meet.  Self-monitoring data from 2000-2003 indicate that effluent nickel concentrations ranged from 7.2 μg/L to 37 μg/L (16 samples).  Board staff calculated an IPBL of 46 g/L (99.87th percentile of the effluent data, based on a Weibull distribution), which is more stringent than the daily average limitation of 53 μg/L contained in the previous permit.  Therefore, 46 μg/L is established as the interim limitation.  This IPBL shall remain in effect until March 31, 2010, or until the Board amends the limitation based on a WLA in the TMDL for nickel. However, during the next permit reissuance, the Board may reevaluate the interim nickel limitation.

iv.	Selenium - Further Discussion and Rationale for Interim Effluent Limitation:  An interim effluent limitation is required for selenium since the Discharger has demonstrated, and the Board has verified that the final effluent limitations calculated according to the SIP (AMEL of 4.1 μg/L and MDEL of 8.2 μg/L) will be infeasible to meet.  Self-monitoring data from 2000-2003 indicate that effluent selenium concentrations ranged from <5 μg/L to 29.2 μg/L (16 samples).  Board staff calculated an IPBL of 46 g/L (99.87th percentile of the effluent data, based on a lognormal distribution), which is more stringent than the daily average limitation of 50 μg/L contained in the previous permit.  Therefore, 46 μg/L is established as the interim limitation, and will remain in effect until September 1, 2009, or until the Board amends the limitation based on a WLA in the TMDL for selenium.

v.	4,4’-DDE and Dieldrin – Further Discussion and Rationale for Interim Effluent Limitations:  Interim effluent limitations are required for these pollutants because compliance with the final WQBELs (AMEL of 0.00059 μg/L and MDEL of 0.00118 μg/L for 4,4’-DDE and AMEL of 0.00014 μg/L and MDEL of 0.00028 μg/L for dieldrin) cannot be determined at this time as the MLs are higher than the final calculated WQBELs.  Interim limitations are established at the respective MLs.  The interim limitations are as follows; 4,4’-DDE is 0.05 μg/L and dieldrin is 0.01 μg/L. These interim limits shall remain in effect until September 1, 2009, or until the Board amends the limitation based on WLAs in the TMDL for 4,4’-DDE or dieldrin.

(5)  Interim Performance-Based Mercury Mass Emission Limitation

This Order contains a mass emission limitation for mercury because the Regional Board has determined that there is no additional assimilative capacity for mercury in the San Francisco Bay.  This determination is consistent with SIP Section 2.1.1 requirements that the Regional Board consider whether additional assimilative capacity exists for 303(d)-listed bioaccumulative pollutants.  That determination also considered the fact that a fish consumption advisory currently exists to protect human health from elevated mercury concentrations in fish taken from San Francisco Bay.

The interim mercury mass-based effluent limitation is 0.0024 kilograms per month.  This mass-based effluent limitation is based on facility flow and mercury concentration data collected for the period from May 2000 to November 2003, and is calculated as the 99.87th percentile of the 12-month moving average mass loading during this period (see Attachment 3 of this Fact Sheet for detailed calculation).  It will maintain current loadings until a TMDL is established.  The final mass-based effluent limitation will likely be based on the WLA derived from the mercury TMDL.

f.  Comparison to Previous Permit Effluent Limitations

        - The effluent limitations for conventional and nonconventional pollutants are unchanged from the previous permit.

        - There were no effluent limitations prescribed for cadmium, chromium (VI), mercury, silver, bis(2-ethylhexyl)phthalate, 4,4’-DDE, or dieldrin in the previous permit.

        - The effluent limitations for lead and zinc have been discontinued because there is no demonstration of RP, and therefore, no WQBELs are required.

7.	Basis for Receiving Water Limitations

  - Receiving water limitations C.1 and C.2 (conditions to be avoided): These limitations are based on the previous permit and the narrative/numerical objectives contained in Chapter 3 of the Basin Plan, pages 3-2 – 3-5.

  - Receiving water limitation C.3 (compliance with State Law): This requirement is in the previous permit, requires compliance with Federal and State law, and is self-explanatory.

8.	Basis for Self-Monitoring Requirements

The SMP includes monitoring at outfall E-001 for conventional, non-conventional, and toxic pollutants, and acute and chronic toxicity.  This Order requires monthly monitoring for cadmium, chromium (VI or total), and silver to demonstrate compliance with final effluent limitations.  For copper, mercury, nickel, and selenium, the Discharger will also perform monthly monitoring to demonstrate compliance with interim limitations.  For bis(2-ethylhexyl)phthalate, 4,4’-DDE, and dieldrin, annual monitoring is required to demonstrate compliance with the interim limits.  Twice per year monitoring for dioxin and furan compounds is required to provide information for TMDL and future effluent limitation development.  In lieu of near field discharge specific ambient monitoring, it is generally acceptable that the Discharger participate in collaborative receiving water monitoring with other dischargers under the provisions of the Board’s August 6, 2001 Letter and the RMP.

9.	Basis for Provisions

- Provision E.1. (Permit Compliance and Rescission of Previous Waste Discharge Requirements): Time of compliance is based on 40 CFR 122.  The basis of this Order superceding and rescinding the previous permit is on 40 CFR 122.46.

- Provision E.2 (Effluent Characterization Study):  This provision is based on the Basin Plan and the SIP.

- Provision E.3 (Ambient Background Receiving Water Study):  This provision is based on the Basin Plan and the SIP.

- Provision E.4 (Pollutant Prevention and Minimization Program):  This provision is based on the Basin Plan, pages 4-25 – 4-28, and the SIP, Section 2.1.

- Provision E.5 (Storm Water Pollution Prevention Plan and Annual Report): This is based on the Basin Plan objectives, 40 CFR Part 122, Regional Board Resolution No. 74-10, and statewide storm water requirements for industrial facilities.

- Provision E.6 (Best Management Practices Program): This provision is based on the Clean Water Act, Section 304(e), and 40 CFR Part 122.44(k).

- Provision E.7 (Whole Effluent Acute Toxicity):  This provision establishes conditions by which compliance with permit effluent limitations for acute toxicity will be demonstrated.  Conditions initially include the use of 96-hour static renewal bioassays, the use of rainbow trout and three-spine stickleback tested concurrently, and the use of approved test methods as specified.  By November 1, 2004, the Discharger shall switch from the 3rd Edition to the 5th Edition U.S. EPA protocol, unless it demonstrates that such a switch is not feasible.

- Provision E.8 (Whole Effluent Chronic Toxicity):  This provision establishes conditions and protocol by which compliance with the Basin Plan narrative WQO for toxicity will be demonstrated.  Conditions include required monitoring and evaluation of the effluent for chronic toxicity and numerical values for chronic toxicity evaluation to be used as 'triggers' for initiating accelerated monitoring and toxicity reduction evaluation(s).  These conditions apply to the discharges to San Francisco Bay and the numerical values for chronic toxicity evaluation are based on a minimum initial dilution ratio of 10:1.  This provision also requires the Discharger to conduct a screening phase monitoring requirement and implement toxicity identification and reduction evaluations when there is consistent chronic toxicity in the discharge.  New testing species and/or test methodology may be available before the next permit renewal.  Characteristics, and thus toxicity, of the process wastewater may also have been changed during the life of the permit.  This screening phase monitoring is important to help determine which test species is most sensitive to the toxicity of the effluent for future compliance monitoring.  The proposed conditions in the draft permit for chronic toxicity are based on the Basin Plan narrative WQO for toxicity, Basin Plan effluent limitations for chronic toxicity (Basin Plan, Chapter 4), U.S. EPA and SWRCB Task Force guidance, applicable federal regulations [40 CFR 122.44(d)(1)(v)], and BPJ.

- Provision E.9 (Regional Monitoring Program):  This provision, which requires the Discharger to continue to participate in the RMP, is based on the previous permit and the Basin Plan.

- Provision E.10 (Optional Mass Offset):  This option is provided to encourage the Discharger to further implement aggressive reduction of mass loads to San Francisco Bay.

- Provision E.11 (Copper and Nickel Translator Study and Schedule):  This provision allows the Discharger to conduct an optional copper and nickel translator study, based on BPJ and the SIP.  This provision is based on the need to gather site-specific information in order to apply a different translator from the default translator specified in the CTR and SIP.  Without site-specific data, the default translator of 0.83 has been used with the CTR chronic criterion to obtain a translated total copper criterion of 3.7 μg/L.

- Provisions E.12 (Operations and Maintenance Manual and Reliability Report), E.13 (Contingency Plan Update), and E.14 (Annual Status Reports):  These provisions are based on the Basin Plan, the requirements of 40 CFR 122, and the previous permit.

- Provision E.15 (303(d)-listed Pollutants Site-Specific Objective and TMDL Status Review):  Consistent with the SIP, the Discharger shall participate in the development of a TMDL or SSO for mercury, copper, nickel, selenium, 4,4’-DDE, and dieldrin.  By January 31 of each year, the Discharger shall submit an update to the Board to document progress made on source control and pollutant minimization measures and development of TMDL or SSO.  Regional Board staff shall review the status of TMDL development.  This Order may be reopened in the future to reflect any changes required by TMDL development.

- Provision E.16 (New Water Quality Objectives):  This provision allows future modification of the permit and permit effluent limitations as necessary in response to updated WQOs that may be established in the future.  This provision is based on 40 CFR 123.

- Provision E.17 (Self-Monitoring Program):  The Discharger is required to conduct monitoring of the permitted discharges in order to evaluate compliance with permit conditions.  Monitoring requirements are contained in the Self Monitoring Program (SMP) of the Permit.  This provision requires compliance with the SMP, and is based on 40 CFR 122.44(i), 122.62, 122.63 and 124.5.  The SMP is a standard requirement in almost all NPDES permits issued by the Board, including this Order.  It contains definitions of terms, specifies general sampling and analytical protocols, and sets out requirements for reporting of spills, violations, and routine monitoring data in accordance with NPDES regulations, the California Water Code, and Board’s policies.  The SMP also contains a sampling program specific for the facility.  It defines the sampling stations and frequency, the pollutants to be monitored, and additional reporting requirements.  Pollutants to be monitored include all parameters for which effluent limitations are specified.  Monitoring for additional constituents, for which no effluent limitations are established, is also required to provide data for future completion of RPAs for them.

- Provision E.18 (Standard Provisions and Reporting Requirements):  The purpose of this provision is to require compliance with the standard provisions and reporting requirements given in this Board's document titled Standard Provisions and Reporting Requirements for NPDES Surface Water Discharge Permits, August 1993 (the Standard Provisions), or any amendments thereafter.  That document is incorporated in the permit as an attachment to it. Where provisions or reporting requirements specified in the permit are different from equivalent or related provisions or reporting requirements given in the Standard Provisions, the permit specifications shall apply.  The standard provisions and reporting requirements given in the above document are based on various state and federal regulations with specific references cited therein.

- Provision E.19 (Change in Control or Ownership):  This provision is based on 40 CFR 122.61.

- Provision E.20 (Permit Reopener): This provision is based on 40 CFR 123.

- Provision E.21 (NPDES Permit): This provision is based on 40 CFR 123.

- Provision E.22 (Order Expiration and Reapplication):  This provision is based on 40 CFR 122.46(a).

V.    WASTE DISCHARGE REQUIREMENT APPEALS

Any person may petition the State Water Resources Control Board to review the decision of the Board regarding the Waste Discharge Requirements.  A petition must be made within 30 days of the Board public hearing.

VI. ATTACHMENTS

Attachment 1:  RPA Results for Priority Pollutants

Attachment 2:  Calculation of Final WQBELs

Attachment 3:  Calculation of Mercury Mass Limitation