Table 11 Infeasibility Determination and Calculation of Interim Limits for San Antonio Wet Weather Treatment Facility

Copper

Mean = 3.518; SD = 0.342;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(3.518+3x0.342) = 94.1 µg/L

Lead

Mean = 3.041; SD = 0.3596;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(3.041+3x0.3596) = 60.0 µg/L

Mercury

Mean = -1.630; SD = 0.5445;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(-1.630+3x0.5445) = 1.0 µg/L

Nickel

Mean = 17.53; SD = 4.397;

MDEL (Daily Maximum Limit)= 99.87th percentile = mean+ 3*SD = 17.53+3x4.397 = 30.78 µg/L

Zn

Mean = 4.80; SD = 0.209;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(4.80+3x0.209) = 227 µg/L