Table 10 Infeasibility Determination and Calculation of Interim Limits for Pt. Isabel Wet Weather Treatment Facility

Copper

Mean =3.34; SD = 0.334;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(3.34+3x0.334) = 76.9 µg/L

Lead

Mean = 1.588; SD = 0.473;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(1.588+3x0.473) =20.23 µg/L

Mercury

Mean = -2.381; SD = 0.490;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(-2.381+3x0.49) = 0.402 µg/L

Nickel

Mean = 2.864; SD = 0.204;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(2.864+3x0.204) = 32.3 µg/L

Zinc

Mean = 4.156; SD = 0.3756;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(4.156+3x0.3756) = 196.9 µg/L