Table 12 Infeasibility Determination and Calculation of Interim Limits for Oakport Wet Weather Treatment Facility

Copper

Mean = 3.385; SD = 0.4078;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(3.385+3x0.4078) = 100.32 µg/L

Mercury

Mean = -2.569; SD = 0.389;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp (mean+ 3*SD)^(-2) = exp(-2.569+3x0.389) = 0.2461 µg/L

Nickel

Mean = 13.38; SD = 3.85;  MDEL = 99.87th percentile = mean + 3x SD = 13.38+3x3.85 = 24.93 µg/L

Zinc

Mean = 4.469; SD = 0.375;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(4.469+3x0.375) = 268.801 µg/L

Lead

Mean = 2.621; SD = 0.4489;

MDEL (Daily Maximum Limit)= 99.87th percentile = exp(mean+ 3*SD) = exp(2.621+3x0.4489)