CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2026-XXXX

TERMINATION OF SITE CLEANUP REQUIREMENTS (ORDER NO. R2-2014-0021):

CHEVRON U.S.A., INC.,

ALCATEL-LUCENT USA, INC.,

B.F. SAUL REAL ESTATE INVESTMENT TRUST, and

6400 SIERRA COURT INVESTORS, LLC

For the property located at:

6400 SIERRA COURT

DUBLIN, ALAMEDA COUNTY

The California Regional Water Quality Control Board, San Francisco Bay Region (hereinafter the Regional Water Board), finds that:

- Regional Water Board Order: The Regional Water Board adopted Site Cleanup Requirements Order R2-2014-0021 (Order) for the property located at 6400 Sierra Court in Dublin (Property) on May 14, 2014. The Order named Chevron U.S.A., Inc., Alcatel-Lucent USA, Inc., B.F. Saul Real Estate Investment Trust, and 6400 Sierra Court Investors, LLC, as the dischargers. The Order was issued in response to the release(s) of trichloroethene (TCE) from an above ground storage tank (AST) at the Property.

- Compliance with Board Order: Order No. R2-2014-0021 required the dischargers to conduct the following tasks:

  - Submit and implement an amended remedial action plan.

  - Submit status reports to evaluate general groundwater and soil vapor quality and evaluate the effectiveness of the soil vapor extraction system.

  - Submit and implement a risk management plan to establish protocols for protecting engineering controls/mitigation and handling contaminated soil and groundwater.

  - Curtail soil vapor and groundwater remediation, monitoring, and reporting after achieving remedial action objectives.

  - Submit a technical report evaluating the effectiveness of the approved remediation plan.

The dischargers have completed these tasks.

- Basis for Termination: Termination of the Order is appropriate for the reasons discussed below:

  - The nature and extent of the chemicals of concern (COCs) in soil, groundwater, and soil vapor have been adequately characterized through investigations beginning in 2007. The COCs are TCE and its breakdown products, cis-1,2-dichloroethene (DCE), trans-1,2-DCE, and vinyl chloride.

  - The following remedial actions have successfully addressed COCs in groundwater, soil, and soil vapor:

    - The removal of the former AST in 1996 followed by excavation of the soil in the former AST area in 2008.

    - The injection of 162 gallons of lactate amendment to promote biodegradation at 12 locations in 2015.

    - The injection of 9,195 gallons of emulsified vegetable oil (EVO) amendment solution at 11 locations in 2015.

    - The installation of a 250-foot long, 35-foot-deep permeable reactive barrier (PRB) in 2015 that used biological processes to treat contaminated groundwater along the western boundary parallel to the Alamo Canal.

    - The injection of 19,178 gallons of EVO amendment solution at 13 canal barrier wells in 2015.

    - The injection of 180 gallons of lactate solution into the PRB in 2018.

    - The operation of a soil vapor extraction system from 2012-2015 which was converted into an active sub-slab depressurization system (SSDS) operating from 2017 to 2021.

## Following the shutdown of the SSDS in 2021, subslab vapor samples were collected at 10 locations and indoor air samples were collected at 5 locations on a quarterly schedule for one year. The results for these samples indicate that vapor intrusion is not occurring at the Property.

## Post remediation groundwater monitoring conducted until 2025 indicates that the Property has been fully assessed, and residual concentrations of COCs in subsurface media do not pose an unacceptable health risk to construction workers, site operators, maintenance workers and the environment. Concentrations of COCs in groundwater samples collected at the Property are less than cleanup goals, except for two areas near the former AST, where concentrations of TCE remain slightly above cleanup levels. The results for these samples indicate that the remediation at the Property has significantly reduced the groundwater contamination, which is expected to continue to decrease by natural attenuation to reach cleanup goals.

## The August 2014 Risk Management Plan (Plan) that was approved by the Regional Water Board in December 2014 identified protective measures to be taken during the remediation of soil, soil vapor, and groundwater. The Plan also prohibits sensitive uses until site cleanup goals are met, or with Water Board approval.

## Human Right to Water: Under Water Code §106.3, the State of California’s policy is that every human being has the right to safe, clean, affordable, and accessible water adequate for human consumption, cooking, and sanitary purposes. (Wat. Code, § 106.3; see also State Water Board Resolution No. 2016- 0010.) The termination of this order does not affect the human right to water that extends to all Californians, including disadvantaged individuals and groups and communities in rural and urban areas.

## CEQA: This action terminates an order to enforce the laws and regulations administered by the Regional Water Board. Termination of the order is not a project as defined in the California Environmental Quality Act (CEQA). There is no possibility that the activity in question may have a significant effect on the environment (California Code of Regulations., title 14, §§ 15378 and 15061, subdivision (b) (3).

- Notification: The Regional Water Board has notified the dischargers and all interested parties of its intent under Water Code section 13304 to terminate site cleanup requirements for the discharge and has provided them with an opportunity to submit their written comments.

IT IS HEREBY ORDERED that Order No. 92-139 is terminated.

I, Eileen M. White, Executive Officer, do hereby certify that the foregoing is a full, true, and correct copy of an Order adopted by the California Regional Water Quality Control Board, San Francisco Bay Region, on ____________, 2026.

________________________

Eileen M. White, PE

Executive Officer