





	Notice of Intent Contents�PRIVATE ��


�









The notice of intent (NOI) must include the following materials for each point of proposed discharge to a storm sewer or storm channel.


�



�seq level0 \h \r0 ��seq level1 \h \r0 ��seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 ��seq level5 \h \r0 ��seq level6 \h \r0 ��seq level7 \h \r0 ��seq level0 \*arabic�1�.	Reclamation: An effluent reclamation feasibility study for demonstration of compliance with Regional Board Resolution No. 88-160.  This resolution requires an effluent reuse or reclamation evaluation to assess the practicality of reclaiming all or a portion of the treated effluent from the site.  Reclamation alternatives may include irrigation of landscaping or agriculture, dust control or soil compaction on construction sites, decorative pond or fountain supply, or industrial water supply.  If a portion of the extracted and treated groundwater is to be reclaimed, describe the proposed reuse, including:





	*	The volume of water planned for reuse;





	*	The type of reuse;





	*	The reuse location and areal extent;





	*	The method of transport and application (e.g. fixed piping and spray application);





	*	Schedule of operation (e.g. time of day, days of week, seasonal changes);





	*	Precautions planned to minimize runoff and human contact;





	*	Duration of reuse activity - temporary or permanent project;





	*	Proposed method(s) of monitoring reused groundwater; and





	*	Name, address, and telephone number of user(s), if different than supplier.





	The reclamation evaluation must demonstrate that an effort was made to notify potential users in the area of the availability of reclaimed water, and that all alternatives were explored. The evaluation must include name, address, and type of businesses contacted and their response.





	Note: Reclamation involving engineered recharge or reinjection of treated groundwater will require a separate application to the Regional Board. 





	If reuse or reclamation is demonstrated to be technically or economically infeasible, then discharge to a Publicly Owned Treatment Works (POTW) is encouraged.  If access to the local POTW is denied or is infeasible, you must provide documentation of this fact (i.e. a letter from the POTW or a written summary of your discussions with POTW officials).





�seq level0 \*arabic�2�.	NPDES Application Forms:





	*	Completed U.S.EPA application form 1 (General Information) and


	*	Completed U.S.EPA application form 2D (New Sources and New Dischargers).  Existing dischargers should use form 2C instead of Form 2D.  





	All forms must be signed by an appropriate corporate officer, general partner, principal executive officer, or ranking elected official (see page I-4 of form 2D for more information).  In no case should the consultant sign the forms.





�seq level0 \*arabic�3�.	Analytical Results: The NOI shall include analytical results, including the date the samples were taken, for influent, effluent, background groundwater, and receiving water as indicated in the following table:





�PRIVATE ��Analyses�
Method of Analysis�
Influent1�
Effluent2�
Groundwater3�
Receiving Water4�
�
Volatile Organic Compounds�
US EPA Method 8260 or its equivalent�
	X�
	X�
�
�
�
Petroleum Hydrocarbons5�
Modified US EPA Method 8015 or its equivalent�
	X�
	X�
�
�
�
Ethylene Dibromide5�
US EPA Method 504 or its equivalent�
	X�
	X�
�
�
�
PAHs5�
US EPA Method 610 or its equivalent�
	X�
	X�
�
�
�
Semi-Volatile Organic Compounds6�
US EPA Method 625 or its equivalent�
	X�
	X�
�
�
�
Metals7�
�
	X�
	X�
	X�
	X�
�
Hardness as CaCO3�
�
	X�
	�
�
	X�
�
Notes:


1.	May be a weighted average of individual extraction wells, if not operating yet.


2.	Not required for proposed discharges with no prior operating experience.


3.	From up-gradient or cross-gradient wells; need not be repeated if previously performed as part of a site investigation.


4.	To be taken 50 feet downstream from point of discharge to surface waters, or if access is limited, at the first point downstream which is accessible.


5.	Not required if no evidence of a fuels release.


6.	Not required if no evidence of a semi-volatile organic compounds release.


7.	Analyze for total (vs. dissolved) metals, with maximum detection limits as follows: cadmium 2 ug/l, mercury 0.2 ug/l, zinc 10 ug/l, other metals 5 ug/l.





All chemical analyses shall be performed according to the appropriate U.S. EPA Methods by a certified laboratory and copies of laboratory analytical reports must be submitted.�
�
�
�
�
�
�



�seq level0 \*arabic�4�.	Filing Fee: California Regulations has established an annual fee schedule dated May 18, 1995 based on the discharges' Threat To Water Quality and Complexity.  The dischargers to be regulated under this General Permit are classified as category 2-B.  The fee for category 2-B is currently $2,000.  This fee may change in future.  New dischargers should submit a check for $2,000, which is the fee for processing the application and operation during the remainder of the fiscal year (July 1st through June 30th).  The check would be made payable to the State Water Resources Control Board and submitted with the application package.





�seq level0 \*arabic�5�.	Operation and Maintenance (O & M) Manual: Each discharger shall submit, as part of the application for proposed discharge, a report, to the satisfaction of Executive Officer, certifying the adequacy of each component of the proposed treatment facilities along with the associated O & M Manual. This certification report shall contain a requirement�by�requirement analysis, based on accepted engineering practice, of how the process and physical design of the treatment facilities will ensure compliance with this Order. Each report shall also certify that (a) all treatment facility startup and operation instruction manuals are adequate and available to operating personnel, (b) adequate treatment facility maintenance and testing schedules are included in the treatment facility O & M Manual, and (c) influent and effluent sampling locations or ports are located in areas where samples representative of the waste stream to be monitored can be obtained. The design engineer shall affix his/her signature and engineering license number to this certification report.





	Proper Operation and Maintenance includes effective performance, adequate funding, adequate operator staffing and training, and adequate laboratory and process controls and appropriate quality assurance procedures.  All systems, both those in service and reserve, shall be inspected and maintained on a regular basis. Records shall be kept of the inspection results and maintenance performed and made available to the Board. All of the above procedures shall be described in an O & M Manual. The O & M Manual shall also contain a description of the safeguards to assure that, should there be reduction, loss, or failure of electric power, the dischargers will be able to comply with the terms and conditions of this Order and the authorization letters from the Executive Officer. The O & M Manual shall describe preventive (fail�safe) and contingency (cleanup) plans for controlling accidental discharges, and for minimizing the effect of such events. These plans shall identify the possible sources of accidental loss, untreated or partially treated waste bypass, and polluted drainage. Loading and storage areas, power outage, waste treatment unit outage, and failure of process equipment, tanks and pipes shall be considered.  If the O & M Manual would be finalized after start-up of the treatment system, it should be stated so in the NOI cover letter, the final O & M Manual should be submitted no later than 60 days after initiation of this discharge.





�seq level0 \*arabic�6�.	Other Information: The NOI shall include the following items:





$	A brief discussion of the cleanup project, including a description and schematics of the extraction system design;





$	The estimated average and maximum daily flow rates, and the maximum capacity of the treatment system;





$	Maps indicating extraction well locations, treatment facilities, the point(s) of initial discharge, and the path to the ultimate location of the discharge;





Documentation that local storm water management agency has been notified of the proposed discharge (new discharge only); and


 


Chemical Additives: If use of any chemical in the treatment, operation, and/or maintenance of the treatment units is needed, name(s) of the chemical, method of chemical application and disposal of any chemicals in the treatment, or operation and maintenance of the treatment units, and toxicity data of the chemical should be provided. 








�











 





 





�Order No. 99-051 (NPDES Permit No. CAG912003) NOI Contents dated July 21, 1999					Page  














		�page \* arabic�3�











