	CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD�PRIVATE ��

	SAN FRANCISCO BAY REGION





	SELF-MONITORING PROGRAM



	FOR



	DISCHARGES OF EXTRACTED AND TREATED GROUNDWATER

	RESULTING FROM THE CLEANUP OF GROUNDWATER POLLUTED BY

	VOLATILE ORGANIC COMPOUNDS



	NPDES NO. CAG912003

	ORDER NO. 99-051



�

�



�seq level0 \h \r0 ��seq level1 \h \r0 ��seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 ��seq level5 \h \r0 ��seq level6 \h \r0 ��seq level7 \h \r0 ��seq level0 \*ALPHABETIC�A�.	GENERAL



Reporting responsibilities of waste dischargers are specified in Sections 13225(a), 13267(b), 13268, 13383 and 13387(b) of the California Water Code and this Regional Board's Resolution No. 73�16 and the Environmental Protection Agency's Discharge Monitoring Report (Form 3320�1).



The principal purposes of a monitoring program by a waste discharger, also referred to as self�monitoring program, are: (1) to document compliance with waste discharge requirements and prohibitions established by this Regional Board, (2) to facilitate self�policing by the waste discharger in the prevention and abatement of pollution arising from waste discharge, (3) to develop or assist in the development of effluent or other limitations, discharge prohibitions, national standards of performance, pretreatment and toxicity standards, and other standards, and (4) to prepare water and wastewater quality inventories.



�seq level0 \*ALPHABETIC�B�.	SAMPLING AND ANALYTICAL METHODS



Sample collection, storage, and analyses shall be performed according to the 40 CFR 136 or other methods approved and specified by the Executive Officer of this Regional Board.



Water and waste analyses shall be performed by a laboratory approved for these analyses by the State Department of Health Services (DOHS) or a laboratory waived by the Executive Officer from obtaining a certification for these analyses by the DOHS.  The director of the laboratory whose name appears on the certification or his/her laboratory supervisor who is directly responsible for analytical work performed shall supervise all analytical work including appropriate quality assurance/quality control procedures in his or her laboratory and shall sign all reports of such work submitted to the Regional Board.



All monitoring instruments and equipment shall be properly calibrated and maintained to ensure accuracy of measurements.



�seq level0 \*ALPHABETIC�C�.	DEFINITION OF TERMS



	�seq level1 \*arabic�1�.	A grab sample is defined as an individual sample collected in a short period of time not exceeding 15 minutes.  Grab samples shall be collected during normal peak loading conditions for the parameter of interest, which may or may not be during hydraulic peaks.  It is used primarily in determining compliance with daily maximum limits and instantaneous maximum limits.  Grab samples represent only the condition that exists at the time the wastewater is collected.



	�seq level1 \*arabic�2�.	A flow sample is defined as the accurate measurement of the average daily flow volume using a properly calibrated and maintained flow measuring device.



	�seq level1 \*arabic�3�.	Duly authorized representative is one whose:



		�seq level2 \*alphabetic�a�.	Authorization is made in writing by a principal executive officer or ranking elected official;



		�seq level2 \*alphabetic�b�.	Authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility or activity, such as general partner in a partnership, sole proprietor in a sole proprietorship, the position of plant manager, operator of a well or a well field, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters for the company. (A duly authorized representative may thus be either a named individual or any individual occupying a named position.)



	�seq level1 \*arabic�4�.�seq level2 \h \r0 �	Instantaneous maximum is defined as the highest measurement obtained for the calendar day.



	�seq level1 \*arabic�5�.	Median of an ordered set of values is that value below and above which there is an equal number of values, or which is the arithmetic mean of the two middle levels, if there is no one middle value



�seq level0 \*ALPHABETIC�D�.�seq level1 \h \r0 �	SPECIFICATIONS FOR SAMPLING AND ANALYSES



	The discharger is required to perform sampling and analyses according to the schedule in Table A in accordance with the following conditions:



	�seq level1 \*arabic�1�.	Effluent



		�seq level2 \*alphabetic�a�.	Samples of effluent and receiving waters shall be collected on days coincident with influent sampling unless otherwise stipulated.  The Board or Executive Officer may approve an alternative sampling plan if it is demonstrated to the Board's satisfaction that expected operating conditions for the facility warrant a deviation from the standard sampling plan.



		�seq level2 \*alphabetic�b�.	Grab samples of effluent shall be collected during periods of maximum peak flows and shall coincide with influent sample days. 



		�seq level2 \*alphabetic�c�.	Fish bioassay samples shall be collected on days coincident with effluent sampling. The fish species to be used for compliance in the 96-hour percent survival static or static renewal fish toxicity bioassay shall be rainbow trout.



		�seq level2 \*alphabetic�d�.	Verification of analytical results:



			�seq level3 \*arabic�1�)	If analytical results are received showing any instantaneous maximum limit is exceeded for any organic constituent, a confirmation sample shall be taken within 24 hours and results known within 24 hours of the sampling. 



			�seq level3 \*arabic�2�)	If analytical results indicate any instantaneous maximum limit is exceeded for any inorganic constituent, actions shall be taken and reported as stipulated in Provision E.8. of the permit.



		�seq level2 \*alphabetic�e�.�seq level3 \h \r0 �	If the final or intermediate results of any single bioassay test indicate a threatened violation (i.e., the percentage of surviving test organisms is less than the required survival percentage), a new test will begin and the discharger shall investigate the cause of the mortalities and report the finding in the next self�monitoring report.



		f.	When any type of bypass occurs, grab samples shall be collected on a daily basis for all constituents at all affected discharge points which have effluent limits for the duration of the bypass.



	�seq level1 \*arabic�2�.�seq level2 \h \r0 �	Receiving Waters



		�seq level2 \*alphabetic�a�.	Receiving water sampling shall be conducted on days coincident with sampling of effluent.



		�seq level2 \*alphabetic�b�.	In tidally-influenced receiving waters, samples shall be collected at each station on each sampling day during the period within 1 hour following low slack water.  Where sampling  at lower slack water period is not practical, sampling shall be performed during higher slack water period.  Samples shall be collected within the discharge plume and downcurrent of the discharge point so as to be representative, unless otherwise stipulated.



		�seq level2 \*alphabetic�c�.	Samples shall be collected within one foot below the surface of the receiving water body, unless water depth is less than one foot, in which case a mid-depth sample shall be taken.



�seq level0 \*ALPHABETIC�E�.�seq level1 \h \r0 ��seq level2 \h \r0 �	DESCRIPTION OF SAMPLING STATIONS



		Stations				Description



	�seq level1 \*arabic�1�.	Influent



		I-1				At a point in the extraction system immediately prior to inflow to the treatment unit.

	�seq level1 \*arabic�2�.	Effluent



		E-1				At a point in the discharge line immediately following treatment and before it joins or is diluted by any other waste stream, body of water, or substance.



	�seq level1 \*arabic�3�.	Receiving Waters



		RU-1				At a point 50 feet upstream from the point of discharge into the receiving water, or if access is limited, at the first point upstream which is accessible.



		RD-1				At a point 50 feet downstream from the point of discharge into the receiving water, or if access is limited, at the first point downstream which is accessible.



�seq level0 \*ALPHABETIC�F�.�seq level1 \h \r0 �	START UP PHASE MONITORING AND REPORTING



	�seq level1 \*arabic�1�.	Notification: The Board's Executive Officer shall be notified in writing of the date of start up within 7 to 14 days before start up begins.



	�seq level1 \*arabic�2�.	Monitoring: During the original start up for the treatment system, sampling of the effluent must occur on the first and fifth day.



		�seq level2 \*alphabetic�a�.	On the first day of the original start up, the system shall be allowed to run until at least three to five well volumes are removed and until three consecutive readings for pH, conductivity, and temperature are within five percent of each other; then, the influent and effluent shall  be sampled and submitted for analyses.  Prior to receipt of the results of the initial samples, all effluent shall be discharged into a holding tank  (that is contained, not discharged to the receiving water) or discharged to the sanitary sewer until the results of the analyses show the discharge to be within the effluent limits established in this Order and/or in the authorization letter.  The treatment system may be shut down after the first day's sampling to await the analyses results and, thereby, reduce the amount of storage needed. For the stored effluent, if the results of the analyses show the discharge to be in violation, the effluent shall: (1) be retreated until the retreated effluent is in compliance, or (2) be disposed in accord with the provisions of Chapter 15, Title 23, California Code of Regulations.



		�seq level2 \*alphabetic�b�.	If the first day's sampling shows compliance, the treatment system shall be operated for a total of five days with the discharge to the storm sewer or other conveyance system leading to the receiving water, and be sampled again. While the fifth day's samples are being analyzed, the effluent may be discharged to the receiving water as long as the analyses are received within 48 hours of sampling, and then, continue to be discharged to the receiving water if the analyses show compliance.  If the treatment system is shut down more than 48 hours during the original start up (awaiting analyses results, etc.), the original start up procedures and sampling must be repeated. 



	�seq level1 \*arabic�3�.�seq level2 \h \r0 �	Reporting: The discharger shall present the results of the laboratory analyses, flow rates, chain of custody forms, and descriptions of any changes or modifications to the treatment system in the start-up report.



�seq level0 \*ALPHABETIC�G�.�seq level1 \h \r0 �	STANDARD OBSERVATIONS



	�seq level1 \*arabic�1�.	Receiving Water



		�seq level2 \*alphabetic�a�.	Floating and suspended materials of waste origin (to include oil, grease, algae, and other macroscopic particulate matter):  presence or absence, source, and size of affected area.



		�seq level2 \*alphabetic�b�.	Discoloration and turbidity:  description of color, source, and size of affected area.



		�seq level2 \*alphabetic�c�.	Odor:  presence or absence, characterization, source, distance of travel, and wind direction.



		�seq level2 \*alphabetic�d�.	Evidence of beneficial water use:  presence of waterfowl or wildlife, fishermen, and other recreational activities in the vicinity of the sampling stations.



		�seq level2 \*alphabetic�e�.	Hydrographic condition, if relevant:



			�seq level3 \*arabic�1�)	Time and height of corrected high and low tides (corrected to nearest NOAA location for the sampling date and time of sample and collection).



			�seq level3 \*arabic�2�)	Depth of water columns and sampling depths.



		�seq level2 \*alphabetic�f�.�seq level3 \h \r0 �	Weather condition:



			�seq level3 \*arabic�1�)	Air temperature.



			�seq level3 \*arabic�2�)	Wind � direction and estimated velocity.



			�seq level3 \*arabic�3�)	Precipitation � total precipitation during the previous  five days and on the day of observation.



	�seq level1 \*arabic�2�.�seq level2 \h \r0 ��seq level3 \h \r0 �	Reclaimed Water



		�seq level2 \*alphabetic�a�.	Floating and suspended materials of waste origin (to include oil, grease, algae, and other macroscopic particulate matter):  presence or absence, source, and size of affected area.



		�seq level2 \*alphabetic�b�.	Discoloration and turbidity:  description of color, source, and size of affected area.



		�seq level2 \*alphabetic�c�.	Odor:  presence or absence, characterization, source, distance of travel, and wind direction.



		�seq level2 \*alphabetic�d�.	Weather condition:



			�seq level3 \*arabic�1�)	Air temperature.

			�seq level3 \*arabic�2�)	Wind � direction and estimated velocity.

			�seq level3 \*arabic�3�)	Precipitation � total precipitation during the previous  five days and on the day of observation.



		�seq level2 \*alphabetic�e�.�seq level3 \h \r0 �	Deposits, discolorations, and/or plugging in the conveyance system which could adversely affect the system reliability and performance.



		�seq level2 \*alphabetic�f�.	Operation of the valves, outlets, sprinkler heads, and/or pressure shutoff valves in conveyance system.



	�seq level1 \*arabic�3�.�seq level2 \h \r0 �	Waste Treatment Facilities



		�seq level2 \*alphabetic�a�.	Odor:  presence or absence, characterization, source, and distance of travel.



		�seq level2 \*alphabetic�b�.	Weather condition:  wind direction and estimated velocity.



		�seq level2 \*alphabetic�c�.	Deposits, discolorations, and/or plugging in the treatment system (stripping tower, carbon filters, etc.) which could adversely affect the system reliability and performance.



		�seq level2 \*alphabetic�d�.	Operation of the float and/or pressure shutoff valves installed to prevent system overflow or bypass.





�seq level0 \*ALPHABETIC�H�.�seq level1 \h \r0 ��seq level2 \h \r0 �	REPORTS TO BE FILED WITH THE REGIONAL BOARD



	�seq level1 \*arabic�1�.	Start-up Report: A report on the start up phase shall be submitted to the Regional Board no more than fifteen days after the end of the start up phase.



	�seq level1 \*arabic�2�.	Self�Monitoring Reports



		Written reports shall be submitted on a calendar quarter basis, not later than 30 days following the last day of the quarter. The reports shall be comprised of the following:



		�seq level2 \*alphabetic�a�.	Letter of Transmittal:



			A letter transmitting self�monitoring reports should accompany each report.  Such a letter shall include:



			�seq level3 \*arabic�1�)	Identification of all violations of waste discharge requirements found during the reporting period,



			�seq level3 \*arabic�2�)	Details of the magnitude, frequency, and dates of all violations,



			�seq level3 \*arabic�3�)	The cause of the violations, and



			�seq level3 \*arabic�4�)	Discussion of the corrective actions taken or planned and the time schedule for completion.  If the discharger has previously submitted a detailed time schedule for correcting requirement violations, a reference to the correspondence transmitting such schedule will be satisfactory.



			Monitoring reports and the letter transmitting reports shall be signed by a principal executive officer or ranking elected official of the discharger, or by a duly authorized representative of that person.



			The letter shall contain the following certification:



				"I certify under penalty of law that this document and all attachments are prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted.  Based on my inquiry of the person or persons who managed the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations."



		�seq level2 \*alphabetic�b�.�seq level3 \h \r0 �	Compliance Evaluation Summary

			The report format shall be a format that is acceptable to the Executive Officer.



		�seq level2 \*alphabetic�c�.	Map or Aerial Photograph  A map or aerial photograph shall accompany the report showing sampling and observation station locations.



		�seq level2 \*alphabetic�d�.	Results of Analyses and Observations  The report format shall be a format that is acceptable to the Executive Officer.



			�seq level3 \*arabic�1�)	If the discharger monitors any pollutant more frequently than required by this permit using test procedures approved under 40 CFR Part 136 or as specified in this permit, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the Self�Monitoring Report.



			�seq level3 \*arabic�2�)	Calculations for all limitations that require averaging of measurements shall utilize an arithmetic mean unless otherwise specified in this permit.



			�seq level3 \*arabic�3�)	The report shall also include a table identifying by method number the analytical procedures used for analyses.  Any special methods shall be identified and should have prior approval of the Board's Executive Officer.



			�seq level3 \*arabic�4�)	Lab results shall be summarized in tabular form but do not need to be included in the report.



		�seq level2 \*alphabetic�e�.�seq level3 \h \r0 �	List of Approved Analyses



			�seq level3 \*arabic�1�)	Listing of analyses for which the discharger is approved by the State Department of Health Services.



			�seq level3 \*arabic�2�)	List of analyses performed for the discharger by  another approved laboratory (and copies of reports signed by the laboratory director of that laboratory shall also be submitted as part of the report).



			�seq level3 \*arabic�3�)	List of "waived" analyses, as approved by the Executive Officer.



		�seq level2 \*alphabetic�f�.�seq level3 \h \r0 �	Flow and Mass Removed Data



			�seq level3 \*arabic�1�)	The tabulation pursuant to Section I.2.



			�seq level3 \*arabic�2�)	An estimate of the VOC mass removal in pounds.





		�seq level2 \*alphabetic�g�.�seq level3 \h \r0 �	Operation Status Summary of treatment system status during the reporting period (e.g. in operation/on standby) and reason(s) for non-routine treatment system shut down.







	�seq level1 \*arabic�3�.�seq level2 \h \r0 �	Annual Reporting



		By January 30 of each year, the discharger shall submit an annual report to the Regional Board covering the previous calendar year. The annual report shall contain all data required for the fourth quarter in addition to summary data required for annual reporting.  This report may be submitted in lieu of the report for the fourth quarter of a calendar year.  



		The report shall contain tabular summary of the monitoring data obtained during the previous year.  In addition, the report shall contain a comprehensive discussion of the compliance record and the corrective actions taken or planned which may be needed to bring the discharger into full compliance with the waste discharge requirements.



	�seq level1 \*arabic�4�.	Spill Reports



		If any hazardous substance is discharged in or on any waters of the state, or discharged and deposited where it is, or probably will be discharged in or on any waters of the state, the discharger shall report such a discharge to this Regional Board, at (510) 622-2300 on weekdays during office hours from 8 a.m. to 5 p.m., and to the Office of Emergency Services at (800) 852�7550 during non�office hours.  A written report shall be filed with the Regional Board within five (5) working days and shall contain information relative to:



		�seq level2 \*alphabetic�a�.	nature of waste or pollutant,

		�seq level2 \*alphabetic�b�.	quantity involved,

		�seq level2 \*alphabetic�c�.	duration of incident,

		�seq level2 \*alphabetic�d�.	cause of spilling,

		�seq level2 \*alphabetic�e�.	Spill Prevention, Control, and Countermeasure Plan (SPCC) in effect, if any,

		�seq level2 \*alphabetic�f�.	estimated size of affected area,

		�seq level2 \*alphabetic�g�.	nature of effects (i.e., fish kill, discoloration of receiving water, etc.),

		�seq level2 \*alphabetic�h�.	corrective measures that have been taken or planned, and a schedule of these activities, and

		�seq level2 \*alphabetic�i�.	persons/agencies notified.



	�seq level1 \*arabic�5�.�seq level2 \h \r0 �	Reports of Treatment Unit Bypass and Permit Violation



		In the event the discharger violates or threatens to violate the conditions of the waste discharge requirements and prohibitions or intends to permit a treatment unit bypass due to:



		�seq level2 \*alphabetic�a�.	Maintenance work, power failures, or breakdown of waste treatment equipment,



		�seq level2 \*alphabetic�b�.	accidents caused by human error or negligence,



		�seq level2 \*alphabetic�c�.	the self�monitoring program results exceed effluent limitations,



		�seq level2 \*alphabetic�d�.	any activity that would result in a frequent or routine discharge of any toxic pollutant not limited by this Order, or



		�seq level2 \*alphabetic�e�.	other causes, such as acts of nature;



		Dischargers shall notify the Board within one day as soon as the dischargers or their agents have knowledge of the incident and confirm this notification in writing within 5 working days of the initial notification. The written report shall include time, date, duration and estimated volume of waste bypassed, method used in estimating volume and person notified of the incident.  The report shall include pertinent information explaining reasons for the noncompliance and shall indicate what steps were taken to prevent the problem from recurring. 



		If a violation of INSTANTANEOUS MAXIMUM LIMITS should occur (and be confirmed), the discharge shall be directed to a holding tank and contained,  or the extraction and treatment system shall be shut  down. The content of the holding tank shall be retreated until the retreated effluent is in compliance, or be disposed in accord with the provisions of Chapter 15, Title 23, California Code of Regulations. 



		If the treatment system is shut down for more than 120 consecutive hours after the start up period (maintenance, repair, violations, etc.) the reason(s) for shut down, proposed corrective action(s) and estimated start up date shall be orally reported to the Board within five days of shut down and a written submission shall also be provided within 15 days of shut down. 



		If feasible, the corrective action(s) taken and the proposed start up procedures shall be reported to the Board at least 15 days before start up.



	�seq level1 \*arabic�6�.�seq level2 \h \r0 �	Construction Projects: The discharger shall file a written technical report to be received at least 30 days prior to advertising for bid (or 60 days prior to construction) on any construction project which would cause or aggravate the discharge of waste in violation of requirements; said report shall describe the nature, cost, and scheduling of all action necessary to preclude such discharge.  In no case will any discharge of wastes in violation of permit and order be permitted unless notification is made to the Executive Officer and approval obtained from the Regional Board.



	�seq level1 \*arabic�7�.	Chemical Additives: A report describing the need, method of chemical application and disposal shall be submitted to the Board at least 30 days before the use of any chemicals in the treatment, or operation and maintenance of the treatment units, is to begin. This report shall include toxicity data. The Executive Officer must approve the use of any chemicals prior to the usage of any chemicals in the treatment, operation, and/or maintenance of the treatment units.





�seq level0 \*ALPHABETIC�I�.�seq level1 \h \r0 �	RECORDS TO BE MAINTAINED



	�seq level1 \*arabic�1�.	Written reports, strip charts, calibration and maintenance records, and other records shall be maintained by the discharger and accessible (at the waste treatment plant), and retained for a minimum of five years.  This period of retention shall be extended during the course of any unresolved litigation regarding this discharge or when requested by the Regional Board or Regional Administrator of the U.S. Environmental Protection Agency, Region IX.  Such records shall show the following for each sample:



		�seq level2 \*alphabetic�a�.	Identity of sampling and observation stations by number.



		�seq level2 \*alphabetic�b�.	Date and time of sampling and/or observations.



		�seq level2 \*alphabetic�c�.	Method of sampling (See Section C � Definition of Terms).



		�seq level2 \*alphabetic�d�.	Type of fish bioassay test (96 hour static or flow�through .bioassay)



		�seq level2 \*alphabetic�e�.	Date and time that analyses are started and completed, and name of personnel performing the analyses.



		�seq level2 \*alphabetic�f�.	Complete procedure used, including method of preserving sample and identity and volumes of reagents used.  A reference to a specific section of Standard Methods is satisfactory.



		�seq level2 \*alphabetic�g�.	Calculations of results.



		�seq level2 \*alphabetic�h�.	Results of analyses and/or observations.



	�seq level1 \*arabic�2�.�seq level2 \h \r0 �	Weekly discharge flow volume shall be recorded, as well as totalized quarterly and annual flow.



	�seq level1 \*arabic�3�.	A tabulation reflecting bypassing and accidental waste spills shall be maintained.





I, Loretta K. Barsamian, Executive Officer do hereby certify the foregoing Self�Monitoring Program:

�

�seq level0 \h \r0 ��seq level1 \h \r0 ��seq level2 \h \r0 ��seq level3 \h \r0 ��seq level4 \h \r0 ��seq level5 \h \r0 ��seq level6 \h \r0 ��seq level7 \h \r0 ��seq level0 \*arabic�1�.�seq level1 \h \r0 �	Has been developed in accordance with the procedure set forth in the Regional Board's Resolution No. 73-16 in order to obtain data and document compliance with waste discharge requirements established in Regional Board Order No. 99-051.



�seq level0 \*arabic�2�.	Was adopted by the Board on July 21, 1999.



�seq level0 \*arabic�3�.	May be revised by the Executive Officer pursuant to U.S. EPA regulations (40 CFR 122.36); other revisions may be ordered by the Board.









    							Loretta K. Barsamian

							Executive Officer







Attachment:  Table A

�

	TABLE A - SCHEDULE FOR SAMPLING, MEASUREMENTS, AND ANALYSIS





�PRIVATE ��Sampling Station�	I-1�	E-1�RD-1/RU-1��TYPE OF SAMPLE�	Grab�	Grab�Grab��Flow Rate (gpm)��Continuous 1���Bioassay 96-hr  % survival��	Q/Y���Turbidity (NTUs)��	Q/Y���pH (units)�	M/Q/Y�	M/Q/Y�Q/Y-V��Dissolved Oxygen (mg/l and % saturation)���Y��All Applicable Standard Observations2 & 3��	M�Q/Y��Temperature (oC)��	M/Q/Y���hardness = mg/l CaCO3��	Y�Y��Arsenic (Fg/l)��	Y4���Cadmium (Fg/l)��	Y4���Chromium VI (Fg/l)5��	Y4���Copper (Fg/l)��	Y4���Lead (Fg/l) ��	Y4���Mercury (Fg/l)��	Y4���Nickel (Fg/l)��	Y4���Selenium (Fg/l)��	Y4���Silver (Fg/l)��	Y4���Zinc (Fg/l)��	Y4���VOC Method 8260 or equivalent�	2/Y�	D/M�V��Semi-VOC Method 6256 or equivalent�	2/Y�	Y�V���ADVANCE \D 4.50�Total Polynuclear Aromatic Hydrocarbons

�ADVANCE \D 4.50�Method 6106 or equivalent�	2/Y�	Y�V���ADVANCE \D 9.0�Ethylene Dibromide Method 5046 or equivalent�	2/Y�	Y�V��Total Petroleum Hydrocarbons Method 80156 or equivalent (Modified TPH gasoline and diesel)�	2/Y�	D/M�V��LEGEND

TYPES OF STATIONS  I=influent,  E=effluent,  RU-1 & RD-1 = receiving water



FREQUENCY OF SAMPLING



M = once each month,

Y = once each year,

2/Y = twice each year, 

Q/Y = quarterly for first year of operation, once each year thereafter,

M/Q/Y = Monthly for first year of operation, quarterly for the second year, and once a year thereafter.  In case of pH analysis, only for facilities not performing pH-adjusting chemical addition. 

D/M = If a new treatment system or a new discharge, once during the first and fifth day of start up; weekly during first month of operation, and monthly thereafter

Q-V = Once each quarter and whenever there is a violation

V = Sampling should be performed within 24 hours after an exceedance is confirmed in E-1







Footnotes



1	Dischargers may report weekly flow volume (from flow-totalizers) in lieu of reporting instantaneous flow, provided that the instantaneous flow rate does not exceed the permitted maximum flow rate. If a portion of the effluent is being reclaimed, report the total flow and the volume diverted to reclamation



2	See Section G Standard Observations



3	Also for reclaimed water, if applicable



4	Metal samples shall be analyzed for total (unfiltered) constituents and the maximum method detection limits shall be: cadmium 2 ug/l, mercury 0.2 ug/l, zinc 10 ug/l, and other metals 5 ug/l.



5	Or optional total chromium analysis



6	If known to be present in the influent�����

�







 



 



Self-Monitoring Program (NPDES No. CAG912003) - �date \@ "MMMM d, yyyy"�July 26, 1999�						       Page





�Self-Monitoring Program  for Order No. 99-051 (NPDES No. CAG912003) –July  21, 1999				       Page









		�page \* arabic�4�








