## Read me
Please read the notes/instructions before you proceed!
Please find more instrucitons on individual worksheets.
How to name Excel spreadsheet
Please name this spreadsheet as
"XXXX nutrient 13267 study data_updated Month-/Day-Year"
(XXXX - Facility/Discharger name)
Agency Name, contact information; sampling dates
Revise the "Inf Con," "Inf load," worksheet names to be specific to individual influent source.
Enter agency name and contact information in the "Inf Conc (X)" worksheets; they will be automatically populated in the 'Inf load (X)" worksheets.
Enter agency name/contact information in the "Eff Conc" worksheet.
Only enter season/quarter/sampling dates in "Inf Conc", "Eff Conc" worksheets; they will be automatically populated in load/QA/QC worksheets.
How to report non-detected (ND) results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
(Select the cell, right click the mouse, choose "insert comment", put "ND, report MDL" in the comment box)
How to report DNQ or J flagged results
Report the DNQ value in the cell, insert a comment
(Select the cell, right click the mouse, choose " insert comment", put "DNQ" in the comment box)
Do not put any text like "ND", "MDL", "DNQ" in front of the number.
How to report a missed result
If a required sampling result is missing (failed to sample, sampling error, lab error, etc.), add a note at the end of that worksheet.
Report this missed sample incident in the transmittal email/letter.
Do not put "NA" or any text in the cell for that parameter.
How to save as CSV (comma separated values) files:
In addition to submitting this MS Excel Worksheet file, please also submit CSV (comma deliminted) files of each worksheet (multiple files).
To generate CSV files from the Excel Worksheet file, open one worksheet at a time, go to "File" - "save as" - name the CSV file
such as "XXXX Inf conc", "XXXX eff conc", etc. where XXXX is the Facility/Discharger name.
choose "CSV" (comma delimited) in the "save as type" drop down menu, and click save.
You will need to save each worksheet as a separate CSV file.
How to copy data from another Excel Spreadsheet
If copying data from another worksheet, only paste the values to this worksheet; do not copy the format.
Glossary of Abbreviations
TDN | Total Dissolved Nitrogen
TKN | Total Kjedahl Nitrogen
SKN | Soluble Kjedahl Nitrogen
NH3 | Ammonia
NO3 | Nitrate
NO2 | Nitrite
TP | Total Phosphorous
TDP | Total Dissolved Phosphorous
DRP | Dissolved Reactive Phosphorous/Dissolved Ortho-PO4
TRP | Total Reactive Phosphorus or Total Ortho-PO4
TSS | Total Suspended Solids

## Requirement Summary
Phillip F. Meads Water Treatment Plant
Minimum Moniotring Requirements
Influent | Once during wet season, once during dry season.
Routine Effluent | Once per month
Effluent Peak flow monitoring | Two times each wet season
Study duraiton | Two Years
Report Due Dates
Reporting Period | Report Due Date
July - September 2012 | 2012-10-30
October - December 2012 | 2013-01-30
January - March 2013 | 2013-04-30
April - June 2013 | 7/30/2013, may combine with the interim report
Interim Report | 2013-07-31
July - September 2013 | 2013-10-30
October - December 2013 | 2014-01-30
January - March 2014 | 2014-04-30
April - June 2014 | 7/30/2014, may combine with the final report
Final Report | 2014-07-31

## C&H Inf Conc
Influent Concentrations (mg/l)
C&H Sugar Company Influent
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Season | Date | Flow (MGD) |  | TN (mg/L) | TKN (mg/L) | NO3** (mg/L) | NO2** (mg/L) | Total NH3 (mg/L) | TP (mg/L) | DRP (mg/L) | TSS (mg/L) | TRP (mg/L)
| (mm/dd/yyyy) | Ave Daily | Instantaneous (grab sample) | TKN+NO3+NO2 | [5 empty] | Grab or composite |  | Grab or composite
Dry 2012 | 2012-09-06 | 0.576 | 1.31 | 2.2 | 2.1 | 0.1 |  | 0.35 | 0.38 |  | 289 | 7
Wet 2012/13 | 2012-11-09 | 0.503 | 1.396 | 13.1 | 13 | 0.1 |  | 0.77 | 3.6 |  | 32 | 0.67
Dry 2013 | 2013-07-18 | 0.372 | 1.26 | 16.043 | 16 | 0.043 |  | 1.2 | 2.5 |  | 137 | 3.9
Wet 2013/14 | 2013-11-21 | 0.59 | 1.06 | 9.3 | 9.2 | 0.1 |  | 3.1 | 1.2 |  | 99 | 2.6
THINGS TO DO
Enter agency name, contact information.
Only enter numbers in the cells for concentrations; or leave blank if no data (do not enter "NA")
Delete red striked-through numbers under TN/TKN after all the data for that date are entered; leave the cell blank.
THINGS NOT TO DO
Do not report zero for non-detected values or DNQ(J) values;
Do not put text before the number to indicate it is ND or DNQ.
Do not report combined result for NO3+ NO2 under both parameters (see footnote ** below)
Seasons are defined as followed:
Dry 2012: July - October 2012
Wet 2012/13 - November 2012 - April 2013
Dry 2013: May - October 2013
Wet 2013/14 - November 2013 - April 2014
Dry 2014: May - June 2014. Influent sampling is optional during this period for those who have complete required influent sampling;
For those who missed a prior dry weather influent sampling, sampling is required to make up the missed sample during this period.
Cells are conditionally formatted as explained below:
1. when a date is entered, the cells that need input are highlighted in orange;
2. When a text is entered, the cell is shaded in blue; remove the text ("ND", "DNQ", etc.), report a number.
3. If TKN or both NO3/NO2 conc. is missing, the calculated TN result is shown in red strike-through number.
That means this TN result is not complete, deleted that TN, leave the cell blank.
Footnotes for Table
** Dischargers may analzye NO3+NO2 combined for influent.
Report the combined result under NO3, and add a comment in the NO3 or NO2 cell, indicating the result is for both parameters.
*** *Collect TRP/DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
How to report non-detected (ND) /DNQ results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
For DNQ or J flagged value, report the estimated value, insert a comment
(Select the cell, right click the mouse, choose " insert comment", type "ND" or "DNQ" in the comment box)
Note on G7: ND, <0.1 NO3+NO2 combined
Note on G8: ND, <0.1 NO3+NO2 combined
Note on G9: C&H Sugar Company, Inc.: NO3 is ND, <0.1 NO3+NO2 combined
Note on G10: C&H Sugar Company, Inc.: ND value

## C&H Inf Load
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
C&H Sugar Company Influent
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Season | Date | Flow (MGD) |  | TN (kg/d) | TKN (kg/d) | NO3 (kg/d) | NO2 (kg/d) | Total NH3 (kg/d) | TP (kg/d) | DRP (kg/d) | TSS (kg/d) | TRP (kg/d)
| (mm/dd/yyyy) | Ave Daily | Instantaneous (grab sample) | [6 empty] | Use Max Flow if sample type is grab |  | Use Max Flow if sample type is grab
Dry 2012 | 2012-09-06 | 0.576 | 1.31 | 4.79 | 4.5723 | 0.21773 |  | 0.76205 | 0.82737 |  | 629.2339 | 15.241
Wet 2012/13 | 2012-11-09 | 0.503 | 1.396 | 24.9076 | 24.7174 | 0.19013 |  | 1.464 | 6.8448 |  | 60.8429 | 1.2739
Dry 2013 | 2013-07-18 | 0.372 | 1.26 | 22.559 | 22.4986 | 0.060465 |  | 1.6874 | 3.5154 |  | 192.6439 | 5.484
Wet 2013/14 | 2013-11-21 | 0.59 | 1.06 | 20.7409 | 20.5178 | 0.22302 |  | 6.9136 | 2.6762 |  | 220.7898 | 5.7985
THINGS TO DO
Correct bright yellow highlighted load calulations (0, #VALUE!") by correcting the "Conc" worksheet
Use correct flow for load calculation: for grab sample, use peak flow; for composit sample, use average flow.
Cells are conditionally formatted as explained below:
1. Cells are shaded purple if there is no load calculated for that parameter due to lack of concentration data. No need to do anything if that sampling is not required.
2. Cells are shaded bright yellow if the load is calculated as "0" due to concentration reported as "0", go to 'Conc" worksheet to correct the concentration reported.
3. Cells are shaded bright yellow if concentration is reporetd as a text (such as ND, <MDL, J value), go to "Conc" worksheet to correct the concentration reported.
How to choose correct flow for load calcultion.
Load calculation formulas provided use "avg daily flow" for all parameters.
If TRP/DRP is collected as a grab, replace "avg flow" with "peak flow" in the formula for load calculation.
If other parameters are grabs according to your sampling plan; replace "avg daily flow" with "peak flow" in load calculation for that parameter.
Note on G7: C&H Sugar Company, Inc.: ND, <0.1 NO3+NO2 combined
Note on G8: C&H Sugar Company, Inc.: ND, <0.1 NO3+NO2 combined
Note on G9: C&H Sugar Company, Inc.: NO3 is ND, <0.1 NO3+NO2 combined
Note on G10: C&H Sugar Company, Inc.: ND value

## CSD Inf Conc
Influent Concentrations (mg/l)
CSD Influent
Dale McDonald, General Manager, 510-787-2992, manager@town.crockett.ca.us
Season | Date | Flow (MGD) |  | TN (mg/L) | TKN (mg/L) | NO3** (mg/L) | NO2** (mg/L) | Total NH3 (mg/L) | TP (mg/L) | DRP (mg/L) | TSS (mg/L) | TRP (mg/L)
| (mm/dd/yyyy) | Ave Daily | Instantaneous (grab sample) | TKN+NO3+NO2 | [5 empty] | Grab or composite |  | Grab or composite
Dry 2012 | 2012-09-06 | 0.2208 | 0.303 | 66.04 | 66 | 0.04 |  | 47 | 7.7 |  | 15 | 0.35
Wet 2012/13 | 2012-11-09 | 0.272 | 0.763 | 34.32 | 34 | 0.32 |  | 20 | 3.4 |  | 272 | 2.4
Dry 2013 | 2013-07-18 | 0.267 | 0.323 | 42.26 | 42 | 0.26 |  | 23 | 5.5 |  | 236 | 2.7
Wet 2013/14 | 2013-11-21 | 0.275 | 0.7 | 33.38 | 33 | 0.38 |  | 21 | 3.8 |  | 255 | 2.4
THINGS TO DO
Enter agency name, contact information.
Only enter numbers in the cells for concentrations; or leave blank if no data (do not enter "NA")
Delete red striked-through numbers under TN/TKN after all the data for that date are entered; leave the cell blank.
THINGS NOT TO DO
Do not report zero for non-detected values or DNQ(J) values;
Do not put text before the number to indicate it is ND or DNQ.
Do not report combined result for NO3+ NO2 under both parameters (see footnote ** below)
Seasons are defined as followed:
Dry 2012: July - October 2012
Wet 2012/13 - November 2012 - April 2013
Dry 2013: May - October 2013
Wet 2013/14 - November 2013 - April 2014
Dry 2014: May - June 2014. Influent sampling is optional during this period for those who have complete required influent sampling;
For those who missed a prior dry weather influent sampling, sampling is required to make up the missed sample during this period.
Cells are conditionally formatted as explained below:
1. when a date is entered, the cells that need inputs are highlighted in orange;
2. When a text is entered, the cell is shaded in blue; remove the text ("ND", "DNQ", etc.), report a number.
3. If TKN or both NO3/NO2 conc. is missing, the calculated TN result is shown in red strike-through number.
That means this TN result is not complete, deleted that TN, leave the cell blank.
Footnotes for Table
** Dischargers may analzye NO3+NO2 combined for influent.
Report the combined result under NO3, and add a comment in the NO3 or NO2 cell, indicating the result is for both parameters.
*** *Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
How to report non-detected (ND) /DNQ results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
For DNQ or J flagged value, report the estimated value, insert a comment
(Select the cell, right click the mouse, choose " insert comment", type "ND" or "DNQ" in the comment box)
Note on G7: J flagged value, NO3+NO2 combined
Note on G8: NO3+NO2 combined
Note on G9: C&H Sugar Company, Inc.: NO3+NO2 combined NO2 is J0.016

## CSD Inf Load
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
CSD Influent
Dale McDonald, General Manager, 510-787-2992, manager@town.crockett.ca.us
Season | Date | Flow (MGD) |  | TN (kg/d) | TKN (kg/d) | NO3 (kg/d) | NO2 (kg/d) | Total NH3 (kg/d) | TP (kg/d) | DRP (kg/d) | TSS (kg/d) | TRP (kg/d)
| (mm/dd/yyyy) | Ave Daily | Instantaneous (grab sample) | [6 empty] | Use Max Flow if sample type is grab |  | Use Max Flow if sample type is grab
Dry 2012 | 2012-09-06 | 0.2208 | 0.303 | 55.1186 | 55.0852 | 0.033385 |  | 39.2273 | 6.4266 |  | 12.5194 | 0.29212
Wet 2012/13 | 2012-11-09 | 0.272 | 0.763 | 35.2865 | 34.9574 | 0.32901 |  | 20.5632 | 3.4957 |  | 279.6595 | 2.4676
Dry 2013 | 2013-07-18 | 0.267 | 0.323 | 42.6513 | 42.3889 | 0.26241 |  | 23.213 | 5.5509 |  | 238.1854 | 2.725
Wet 2013/14 | 2013-11-21 | 0.275 | 0.7 | 34.6985 | 34.3035 | 0.39501 |  | 21.8295 | 3.9501 |  | 265.0725 | 2.4948
THINGS TO DO
Correct bright yellow highlighted load calulations (0, #VALUE!") by correcting the "Conc" worksheet
Use correct flow for load calculation: for grab sample, use peak flow; for composit sample, use average flow.
Cells are conditionally formatted as explained below:
1. Cells are shaded purple if there is no load calculated for that parameter due to lack of concentration data. No need to do anything if that sampling is not required.
2. Cells are shaded bright yellow if the load is calculated as "0" due to concentration reported as "0", go to 'Conc" worksheet to correct the concentration reported.
3. Cells are shaded bright yellow if concentration is reporetd as a text (such as ND, <MDL, J value), go to "Conc" worksheet to correct the concentration reported.
How to choose correct flow for load calcultion.
Load calculation formulas provided use "avg daily flow" for all parameters.
If DRP/TRP is collected as grab, replace "avg daily flow" with "peak flow" in the formula for load calculation.
If other parameters are grabs according to your sampling plan; replace "avg daily flow" with "peak flow" in load calculation for that parameter.
Note on G7: C&H Sugar Company, Inc.: J flagged value, NO3+NO2 combined

## flow-weighted Inf Conc
Flow Weighted Influent Concentrations
Phillip F. Meads Water Treatment Plant
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Season | Date | Flow (MGD) |  | TN (mg/L) | TKN (mg/L) | NO3** (mg/L) | NO2** (mg/L) | Total NH3 (mg/L) | TP (mg/L) | DRP (mg/L) | TSS (mg/L) | TRP (mg/L)
| (mm/dd/yyyy) | Ave Daily | Peak
Dry 2012 | 2012-09-06 | 0.7968 |  | 19.8906 | 19.8072 | 0.083373 |  | 13.2771 | 2.4084 |  | 213.0723 | 5.1572
Wet 2012/13 | 2012-11-09 | 0.775 |  | 20.5475 | 20.3703 | 0.17721 |  | 7.5191 | 3.5298 |  | 116.2323 | 1.2772
Dry 2013 | 2013-07-18 | 0.639 |  | 26.9975 | 26.8638 | 0.13367 |  | 10.3089 | 3.7535 |  | 178.3662 | 3.3986
Wet 2013/14 | 2013-11-21 | 0.865 |  | 16.9555 | 16.7665 | 0.18902 |  | 8.7908 | 2.0266 |  | 148.5954 | 2.5364
The flow-weighted concentrations are calculated using total loads/total flows/3.78.
Only copy the equations in the cell above, and all data/concentrations will be filled automatically.

## Total Inf Load
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Phillip F. Meads Water Treatment Plant
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Season | Date | Flow (MGD) |  | TN (kg/d) | TKN (kg/d) | NO3 (kg/d) | NO2 (kg/d) | Total NH3 (kg/d) | TP (kg/d) | DRP (kg/d) | TSS (kg/d) | TRP (kg/d)
| (mm/dd/yyyy) | Ave Daily | Peak | [6 empty] | Use Max Flow if sample type is grab |  | Use Max Flow if sample type is grab
Dry 2012 | 2012-09-06 | 0.7968 |  | 59.9086 | 59.6575 | 0.25111 |  | 39.9894 | 7.254 |  | 641.7533 | 15.5331
Wet 2012/13 | 2012-11-09 | 0.775 |  | 60.194 | 59.6749 | 0.51915 |  | 22.0272 | 10.3406 |  | 340.5024 | 3.7415
Dry 2013 | 2013-07-18 | 0.639 |  | 65.2104 | 64.8875 | 0.32287 |  | 24.9004 | 9.0663 |  | 430.8293 | 8.209
Wet 2013/14 | 2013-11-21 | 0.865 |  | 55.4394 | 54.8213 | 0.61803 |  | 28.7431 | 6.6263 |  | 485.8623 | 8.2933
The total flows/loads in this worksheet are calculated by summing the two influent flows/loads together.
Copy the equations in the last rows with data and the flows/loads will be calculated automatically.

## Eff Conc.
Effluent Concentrations (mg/l)
Phillip F. Meads Water Treatment Plant
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Quarter of Year (Q1, Q2, Q3, Q4 YYYY) | Date | Peak Flow Event (Y/N) | Flow (MGD) |  | TN (mg/L) | TDN (mg/L) | TKN (mg/L) | SKN (mg/L) | NO3 (mg/L) | NO2 (mg/L) | Total NH3 (mg/L) | Urea* (mg/L) | TP (mg/L) | TDP (mg/L) | DRP** (mg/L) | pH (s.u.) |  | Temp (oC) |  | TSS (mg/L) | TRP** (mg/L)
| (mm/dd/yyyy) |  | Ave Daily | Instantaneous (grab sample) | TKN+NO3+NO2 | SKN+NO3+NO2 | [8 empty] | Grab or composite | Min | Instantaneous (grab sample) | Min | Instantaneous (grab sample) |  | Grab or composite
Q3 2012 | 2012-07-17 | N | 1.055 | 1.46 | 19.707 | 18.907 | 3.7 | 2.9 | 16 | 0.007 | 0.31 |  | 3.3 | 3.3 | 3.1 |  | 7.55 |  | 28.5 | 14 | 2.8
Q3 2012 | 2012-08-08 | N | 0.948 | 1.39 | 1.854 | 1.254 | 1.7 | 1.1 | 0.15 | 0.004 | 0.099 |  | 2.8 | 2.6 | 2.6 |  | 7.65 |  | 30 | 16 | 2.7
Q3 2012 | 2012-09-05 | N | 0.97896 | 1.33 | 5.402 | 4.062 | 2.3 | 0.96 | 3.1 | 0.002 | 0.34 |  | 2.4 | 2 | 1.9 |  | 7.46 |  | 27 | 9 | 2
Q4 2012 | 2012-10-11 | N | 0.874 | 0.96 | 5.154 | 3.354 | 4.5 | 2.7 | 0.64 | 0.014 | 1.8 |  | 2.3 | 1.9 | 2.3 |  | 7.04 |  | 29.4 | 59 | 2.2
Q4 2012 | 2012-11-08 | N | 0.878 | 1.23 | 1.788 | 1.018 | 1.7 | 0.93 | 0.058 | 0.03 | 0.37 |  | 0.11 | 0.092 | 0.044 |  | 7.46 |  | 28.5 | 8 | 0.05
Q4 2012 | 2012-11-14 | Y | 1.221 | 1.14 | 1.414 | 1.004 | 1.3 | 0.89 | 0.084 | 0.03 | 0.72 |  | 0.088 | 0.085 | 0.028 |  | 7.5 |  | 25.5 | 3 | 0.037
Q4 2012 | 2012-12-09 | N | 0.545 | 0.86 | 0.834 | 1.044 | 0.79 | 1 | 0.041 | 0.003 | 0.24 |  | 0.12 | 0.05 | 0.032 |  | 7.24 |  | 23.9 | 3 | 0.053
Q1 2013 | 2013-01-09 | N | 1.13 | 1.62 | 0.912 | 0.822 | 0.86 | 0.77 | 0.022 | 0.03 | 0.2 |  | 0.051 | 0.1 | 0.015 |  | 7.34 |  | 22.6 | 3 | 0.016
Q1 2013 | 2013-02-19 | N | 0.867 | 1.25 | 5.705 | 5.305 | 3.3 | 2.9 | 2.4 | 0.005 | 0.29 |  | 1.7 | 1.6 | 0.17 |  | 7.61 |  | 21 | 4 | 1.9
Q1 2013 | 2013-03-14 | N | 1.042 | 1.37 | 0.939 | 0.759 | 0.83 | 0.65 | 0.079 | 0.03 | 0.23 |  | 2.2 | 2.2 | 2.1 |  | 7.59 |  | 26 | 4 | 0.15
Q2 2013 | 2013-04-04 | Y | 0.876 | 1.4 | 2.04 | 1.14 | 2 | 1.1 | 0.038 | 0.002 | 0.21 |  | 0.5 | 0.41 | 0.33 |  | 7.21 |  | 27 | 10 | 0.35
Q2 2013 | 2013-04-11 | N | 1.013 | 1.3 | 2.912 | 1.712 | 2.8 | 1.6 | 0.11 | 0.002 | 0.43 |  | 0.29 | 0.17 | 0.037 |  | 7.55 |  | 26 | 11 | 0.064
Q2 2013 | 2013-05-06 | N | 0.778 | 1.27 | 12.883 | 13.083 | 3.1 | 3.3 | 9.7 | 0.083 | 0.36 |  | 2.3 | 2.3 | 2.3 |  | 7.9 |  | 26.5 | 3 | 2.3
Q2 2013 | 2013-06-11 | N | 0.934 | 1.47 | 17.409 | 16.509 | 5.4 | 4.5 | 12 | 0.009 | 0.24 |  | 1.1 | 1.1 | 1.3 |  | 7.38 |  | 28 | 3 | 1
Q3 2013 | 2013-07-17 | N | 0.914 | 1.64 | 4.704 | 4.304 | 4.6 | 4.2 | 0.097 | 0.007 | 0.41 |  | 2.3 | 2.1 | 2.1 |  | 7.36 |  | 29 | 11 | 2.1
Q3 2013 | 2013-08-14 | N | 1.063 | 1.52 | 6.146 | 4.846 | 6 | 4.7 | 0.14 | 0.006 | 0.22 |  | 0.84 | 0.78 | 0.69 |  | 7.51 |  | 29.5 | 2 | 0.7
Q3 2013 | 2013-09-12 | N | 0.769 | 1.2 | 2.452 | 1.952 | 2.4 | 1.9 | 0.05 | 0.002 | 0.2 |  | 0.85 | 0.033 | 0.017 |  | 7.53 |  | 29.6 | 4 | 0.02
Q4 2013 | 2013-10-16 | N | 0.889 | 1.27 | 12.214 | 12.214 | 6.1 | 6.1 | 6.1 | 0.014 | 0.18 |  | 0.88 | 0.88 | 0.88 |  | 7.31 |  | 24.9 | 4 | 0.83
Q4 2013 | 2013-11-11 | N | 1.005 | 1.52 | 6.53 | 6.53 | 4.8 | 4.8 | 1.7 | 0.03 | 0.099 |  | 0.033 | 0.02 | 0.015 |  | 7.28 |  | 25.6 | 3 | 0.015
Q4 2013 | 2013-11-19 | Y | 1.043 | 1.2 | 4.24 | 4.64 | 3.7 | 4.1 | 0.51 | 0.03 | 0.14 |  | 0.034 | 0.02 | 0.012 |  | 7.27 |  | 21.3 | 3 | 0.014
Q4 2013 | 2013-12-04 | N | 0.75 | 1.1 | 3.176 | 3.206 | 0.97 | 1 | 2.2 | 0.006 | 0.2 |  | 1.2 | 1.2 | 1.2 |  | 7.59 |  | 22 | 3 | 1.1
Q1 2014 | 2014-01-08 | N | 1.121 | 1.11 | 1.938 | 1.838 | 1.9 | 1.8 | 0.036 | 0.002 | 0.33 |  | 6.3 | 6.1 | 5.7 |  | 7.52 |  | 22 | 5 | 5.6
Q1 2014 | 2014-02-06 | Y | 0.898 | 0.95 | 0.872 | 1.052 | 0.82 | 1 | 0.05 | 0.002 | 0.21 |  | 0.041 | 0.1 | 0.013 |  | 7.41 |  | 20 | 2 | 0.014
Q1 2014 | 2014-02-13 | N | 1.722 | 1.56 | 1.156 | 1.256 | 1.1 | 1.2 | 0.05 | 0.006 | 0.2 |  | 0.12 | 0.029 | 0.014 |  | 7.38 |  | 24 | 8 | 0.022
Q1 2014 | 2014-03-12 | N | 0.85 | 1 | 0.606 | 0.736 | 0.53 | 0.66 | 0.046 | 0.03 | 0.18 |  | 0.05 | 0.036 | 0.018 |  | 7.15 |  | 20.4 | 3 | 0.024
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
THINGS TO DO
Enter agency name, contact information.
Only enter numbers in the cells for concentrations; or leave blank if no data (do not enter "NA")
Delete red striked-through numbers under TN/TKN after all the data for that date are entered; leave the cell blank.
THINGS NOT TO DO
Do not report zero for non-detected values or DNQ(J) values;
Do not put text before the number to indicate it is ND or DNQ.
Do not report combined result for NO3+ NO2 under both parameters (see footnote ** below)
Quarter of Year definition
Q3 2012 - July - September 2012
Q4 2012: October - December 2012
Q1 2013: January - March 2013
Q2 2013: April - June 2013
Q3 2013: July - September 2013
Q4 2013: October - December 2013
Q1 2014: January - March 2014
Q2 2014: April - June 2014
For seasonal dischargers, effluent sampling is not required in May/June 2014. However, if a prior dry weather sampling event is not conducted,
then the discharger shall make up the missed sampling event during May-June 2014; unless other arrangements have been made.
Cells are conditionally formatted as explained below:
1. when a date is entered, the row is highlighted in orange;
2. When a text is entered, the cell is shaded in blue; remove the text ("ND", "DNQ", etc.), report a number.
3. If TKN or both NO3/NO2 conc. is missing, the calculated TN result is shown in red strike-through number.
That means this TN result is not complete, deleted that TN, leave the cell blank.
Footnotes for Table
* Urea monitoring is only required for the five largest POTWs: CCCSD, EBDA, EBMUD, SF Southeast, SJSC
**Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
How to report non-detected (ND) /DNQ results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
For DNQ or J flagged value, report the estimated value, insert a comment
(Select the cell, right click the mouse, choose " insert comment", type "ND" or "DNQ" in the comment box)
Note on K8: J value
Note on L8: C&H Sugar Company, Inc.: J value
Note on K9: J value
Note on K10: J value
Note on J11: J flagged value
Note on K11: ND
Note on O11: J
Note on P11: J value
Note on V11: J value
Note on J12: J flagged value
Note on K12: ND
Note on N12: J value
Note on O12: J
Note on P12: J value
Note on U12: ND
Note on V12: J value
Note on J13: J flagged value
Note on K13: J value
Note on U13: ND
Note on J14: J flagged value
Note on K14: ND
Note on N14: J value
Note on O14: ND
Note on P14: J value
Note on U14: ND
Note on V14: J value
Note on K15: J value
Note on K16: ND
Note on J17: C&H Sugar Company, Inc.: J value
Note on K17: Windows User: J Value
Note on K18: Windows User: J Value
Note on U19: C&H Sugar Company, Inc.: ND value
Note on K20: Windows User: J Value
Note on U20: C&H Sugar Company, Inc.: ND value
Note on K21: C&H Sugar Company, Inc.: J value
Note on K22: C&H Sugar Company, Inc.: J value
Note on U22: C&H Sugar Company, Inc.: J value
Note on J23: C&H Sugar Company, Inc.: ND value
Note on K23: C&H Sugar Company, Inc.: J value
Note on K24: C&H Sugar Company, Inc.: J value
Note on K25: C&H Sugar Company, Inc.: ND value
Note on L25: C&H Sugar Company, Inc.: J value
Note on U25: C&H Sugar Company, Inc.: ND value
Note on K26: C&H Sugar Company, Inc.: ND value
Note on U26: C&H Sugar Company, Inc.: ND value
Note on K27: C&H Sugar Company, Inc.: J value
Note on U27: C&H Sugar Company, Inc.: ND value
Note on J28: C&H Sugar Company, Inc.: J value
Note on K28: C&H Sugar Company, Inc.: J Value
Note on J29: C&H Sugar Company, Inc.: ND Value
Note on K29: C&H Sugar Company, Inc.: J Value
Note on N29: C&H Sugar Company, Inc.: J Value
Note on O29: C&H Sugar Company, Inc.: ND Value
Note on P29: C&H Sugar Company, Inc.: J Value
Note on U29: C&H Sugar Company, Inc.: J Value
Note on V29: C&H Sugar Company, Inc.: J Value
Note on J30: C&H Sugar Company, Inc.: ND Value
Note on K30: C&H Sugar Company, Inc.: J Value
Note on J31: C&H Sugar Company, Inc.: J Value
Note on K31: C&H Sugar Company, Inc.: ND Value
Note on N31: C&H Sugar Company, Inc.: J Value
Note on O31: C&H Sugar Company, Inc.: J Value
Note on P31: C&H Sugar Company, Inc.: J Value
Note on U31: C&H Sugar Company, Inc.: ND Value
Note on V31: C&H Sugar Company, Inc.: J Value

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Phillip F. Meads Water Treatment Plant
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Quarter of Year | Date | Peak Flow Event (Y/N) | Flow (MGD) |  | TN (kg/d) | TDN (kg/d) | TKN (kg/d) | SKN (kg/d) | NO3 (kg/d) | NO2 (kg/d) | Total NH3 (kg/d) | Urea (kg/d) | TP (kg/d) | TDP (kg/d) | DRP (kg/d) | TSS (kg/d) | TRP (kg/d)
| (mm/dd/yyyy) |  | Ave Daily | Instantaneous (grab sample) | [10 empty] | Use Max Flow if sample type is Grab |  | Use Max Flow if sample type is Grab
Q3 2012 | 2012-07-17 | N | 1.055 | 1.46 | 78.5895 | 75.3992 | 14.7552 | 11.5649 | 63.8064 | 0.027915 | 1.2362 |  | 13.1601 | 13.1601 | 12.3625 | 55.8306 | 11.1661
Q3 2012 | 2012-08-08 | N | 0.948 | 1.39 | 6.6437 | 4.4936 | 6.0918 | 3.9418 | 0.53752 | 0.014334 | 0.35476 |  | 10.0336 | 9.3169 | 9.3169 | 57.335 | 9.6753
Q3 2012 | 2012-09-05 | N | 0.97896 | 1.33 | 19.9899 | 15.0313 | 8.5111 | 3.5525 | 11.4715 | 0.0074009 | 1.2582 |  | 8.8811 | 7.4009 | 7.0309 | 33.3042 | 7.4009
Q4 2012 | 2012-10-11 | N | 0.874 | 0.96 | 17.0274 | 11.0807 | 14.8667 | 8.92 | 2.1144 | 0.046252 | 5.9467 |  | 7.5986 | 6.2771 | 7.5986 | 194.9195 | 7.2682
Q4 2012 | 2012-11-08 | N | 0.878 | 1.23 | 5.9341 | 3.3786 | 5.642 | 3.0865 | 0.19249 | 0.099565 | 1.228 |  | 0.36507 | 0.30533 | 0.14603 | 26.5507 | 0.16594
Q4 2012 | 2012-11-14 | Y | 1.221 | 1.14 | 6.5261 | 4.6338 | 6 | 4.1077 | 0.38769 | 0.13846 | 3.3231 |  | 0.40615 | 0.39231 | 0.12923 | 13.8461 | 0.17077
Q4 2012 | 2012-12-09 | N | 0.545 | 0.86 | 1.7181 | 2.1507 | 1.6275 | 2.0601 | 0.084464 | 0.0061803 | 0.49442 |  | 0.24721 | 0.10301 | 0.065923 | 6.1803 | 0.10919
Q1 2013 | 2013-01-09 | N | 1.13 | 1.62 | 3.8955 | 3.5111 | 3.6734 | 3.289 | 0.093971 | 0.12814 | 0.85428 |  | 0.21784 | 0.42714 | 0.064071 | 12.8142 | 0.068342
Q1 2013 | 2013-02-19 | N | 0.867 | 1.25 | 18.6968 | 17.3859 | 10.815 | 9.5041 | 7.8654 | 0.016386 | 0.95041 |  | 5.5713 | 5.2436 | 0.55713 | 13.109 | 6.2268
Q1 2013 | 2013-03-14 | N | 1.042 | 1.37 | 3.6985 | 2.9895 | 3.2692 | 2.5602 | 0.31116 | 0.11816 | 0.90591 |  | 8.6653 | 8.6653 | 8.2714 | 15.755 | 0.59081
Q2 2013 | 2013-04-04 | Y | 0.876 | 1.4 | 6.755 | 3.7749 | 6.6226 | 3.6424 | 0.12583 | 0.0066226 | 0.69537 |  | 1.6556 | 1.3576 | 1.0927 | 33.1128 | 1.1589
Q2 2013 | 2013-04-11 | N | 1.013 | 1.3 | 11.1505 | 6.5555 | 10.7216 | 6.1266 | 0.42121 | 0.0076583 | 1.6465 |  | 1.1105 | 0.65095 | 0.14168 | 42.1205 | 0.24506
Q2 2013 | 2013-05-06 | N | 0.778 | 1.27 | 37.8868 | 38.475 | 9.1166 | 9.7048 | 28.5261 | 0.24409 | 1.0587 |  | 6.7639 | 6.7639 | 6.7639 | 8.8225 | 6.7639
Q2 2013 | 2013-06-11 | N | 0.934 | 1.47 | 61.4628 | 58.2854 | 19.0648 | 15.8873 | 42.3662 | 0.031775 | 0.84732 |  | 3.8836 | 3.8836 | 4.5897 | 10.5916 | 3.5305
Q3 2013 | 2013-07-17 | N | 0.914 | 1.64 | 16.2519 | 14.87 | 15.8926 | 14.5107 | 0.33513 | 0.024184 | 1.4165 |  | 7.9463 | 7.2553 | 7.2553 | 38.0041 | 7.2553
Q3 2013 | 2013-08-14 | N | 1.063 | 1.52 | 24.6955 | 19.4719 | 24.1088 | 18.8853 | 0.56254 | 0.024109 | 0.88399 |  | 3.3752 | 3.1341 | 2.7725 | 8.0363 | 2.8127
Q3 2013 | 2013-09-12 | N | 0.769 | 1.2 | 7.1275 | 5.6741 | 6.9764 | 5.523 | 0.14534 | 0.0058136 | 0.58136 |  | 2.4708 | 0.095925 | 0.049416 | 11.6273 | 0.058136
Q4 2013 | 2013-10-16 | N | 0.889 | 1.27 | 41.0442 | 41.0442 | 20.4986 | 20.4986 | 20.4986 | 0.047046 | 0.60488 |  | 2.9572 | 2.9572 | 2.9572 | 13.4417 | 2.7891
Q4 2013 | 2013-11-11 | N | 1.005 | 1.52 | 24.8068 | 24.8068 | 18.2347 | 18.2347 | 6.4581 | 0.11397 | 0.37609 |  | 0.12536 | 0.075978 | 0.056983 | 11.3967 | 0.056983
Q4 2013 | 2013-11-19 | Y | 1.043 | 1.2 | 16.7164 | 18.2934 | 14.5874 | 16.1644 | 2.0107 | 0.11828 | 0.55196 |  | 0.13405 | 0.078851 | 0.04731 | 11.8276 | 0.055196
Q4 2013 | 2013-12-04 | N | 0.75 | 1.1 | 9.004 | 9.089 | 2.75 | 2.835 | 6.237 | 0.01701 | 0.567 |  | 3.402 | 3.402 | 3.402 | 8.505 | 3.1185
Q1 2014 | 2014-01-08 | N | 1.121 | 1.11 | 8.212 | 7.7883 | 8.051 | 7.6273 | 0.15255 | 0.0084748 | 1.3983 |  | 26.6955 | 25.848 | 24.1531 | 21.1869 | 23.7293
Q1 2014 | 2014-02-06 | Y | 0.898 | 0.95 | 2.96 | 3.571 | 2.7834 | 3.3944 | 0.16972 | 0.0067889 | 0.71283 |  | 0.13917 | 0.33944 | 0.044128 | 6.7889 | 0.047522
Q1 2014 | 2014-02-13 | N | 1.722 | 1.56 | 7.5246 | 8.1755 | 7.1601 | 7.811 | 0.32546 | 0.039055 | 1.3018 |  | 0.7811 | 0.18877 | 0.091128 | 52.0733 | 0.1432
Q1 2014 | 2014-03-12 | N | 0.85 | 1 | 1.9471 | 2.3648 | 1.7029 | 2.1206 | 0.1478 | 0.09639 | 0.57834 |  | 0.16065 | 0.11567 | 0.057834 | 9.639 | 0.077112
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
THINGS TO DO
Correct bright yellow highlighted load calulations (0, #VALUE!") by correcting the "Conc" worksheet
Use correct flow for load calculation: for grab sample, use peak flow; for composit sample, use average flow.
Cells are conditionally formatted as explained below:
1. Cells are shaded purple if there is no load calculated for that parameter due to lack of concentration data. No need to do anything if that sampling is not required.
2. Cells are shaded bright yellow if the load is calculated as "0" due to concentration reported as "0", go to 'Conc" worksheet to correct the concentration reported.
3. Cells are shaded bright yellow if concentration is reporetd as a text (such as ND, <MDL, J value), go to "Conc" worksheet to correct the concentration reported.
How to choose correct flow for load calcultion.
Load calculation formulas provided use "avg daily flow" for all parameters.
If TRP/DRP is collected as grab, replace "avg daily flow" with "peak flow" in the formula for load calculation.
If other parameters are grabs according to your sampling plan; replace "avg daily flow" with "peak flow" in load calculation for that parameter.
Note on K8: C&H Sugar Company, Inc.: J Value
Note on L8: C&H Sugar Company, Inc.: J value
Note on K9: C&H Sugar Company, Inc.: J Value
Note on K10: C&H Sugar Company, Inc.: J Value
Note on J11: C&H Sugar Company, Inc.: J Value
Note on K11: C&H Sugar Company, Inc.: ND
Note on O11: C&H Sugar Company, Inc.: J Value
Note on P11: C&H Sugar Company, Inc.: J Value
Note on R11: C&H Sugar Company, Inc.: J Value
Note on J12: C&H Sugar Company, Inc.: J Value
Note on K12: C&H Sugar Company, Inc.: ND
Note on O12: C&H Sugar Company, Inc.: J Value
Note on P12: C&H Sugar Company, Inc.: J Value
Note on Q12: C&H Sugar Company, Inc.: ND
Note on R12: C&H Sugar Company, Inc.: J Value
Note on J13: C&H Sugar Company, Inc.: J Value
Note on K13: C&H Sugar Company, Inc.: J Value
Note on N13: C&H Sugar Company, Inc.: J Value
Note on Q13: C&H Sugar Company, Inc.: ND
Note on J14: C&H Sugar Company, Inc.: J Value
Note on K14: C&H Sugar Company, Inc.: ND
Note on N14: C&H Sugar Company, Inc.: J Value
Note on O14: C&H Sugar Company, Inc.: ND
Note on P14: C&H Sugar Company, Inc.: J Value
Note on Q14: C&H Sugar Company, Inc.: ND
Note on R14: C&H Sugar Company, Inc.: J Value
Note on K15: C&H Sugar Company, Inc.: J Value
Note on K16: C&H Sugar Company, Inc.: ND
Note on J17: C&H Sugar Company, Inc.: J value
Note on K17: C&H Sugar Company, Inc.: J value
Note on K18: C&H Sugar Company, Inc.: J value
Note on Q19: C&H Sugar Company, Inc.: ND value
Note on K20: C&H Sugar Company, Inc.: J value
Note on Q20: C&H Sugar Company, Inc.: ND value
Note on K21: C&H Sugar Company, Inc.: J value
Note on K22: C&H Sugar Company, Inc.: J value
Note on Q22: C&H Sugar Company, Inc.: J value
Note on J23: C&H Sugar Company, Inc.: ND value
Note on K23: C&H Sugar Company, Inc.: J value
Note on K24: C&H Sugar Company, Inc.: J value
Note on K25: C&H Sugar Company, Inc.: ND value
Note on L25: C&H Sugar Company, Inc.: J value
Note on Q25: C&H Sugar Company, Inc.: ND value
Note on K27: C&H Sugar Company, Inc.: J value
Note on Q27: C&H Sugar Company, Inc.: ND value
Note on J28: C&H Sugar Company, Inc.: J Value
Note on K28: C&H Sugar Company, Inc.: J Value
Note on J29: C&H Sugar Company, Inc.: ND Value
Note on K29: C&H Sugar Company, Inc.: J Value
Note on N29: C&H Sugar Company, Inc.: J Value
Note on O29: C&H Sugar Company, Inc.: ND Value
Note on P29: C&H Sugar Company, Inc.: J Value
Note on Q29: C&H Sugar Company, Inc.: J Value
Note on R29: C&H Sugar Company, Inc.: J Value
Note on J30: C&H Sugar Company, Inc.: ND Value
Note on K30: C&H Sugar Company, Inc.: J Value
Note on J31: C&H Sugar Company, Inc.: J Value
Note on K31: C&H Sugar Company, Inc.: ND Value
Note on N31: C&H Sugar Company, Inc.: J Value
Note on O31: C&H Sugar Company, Inc.: J Value
Note on P31: C&H Sugar Company, Inc.: J Value
Note on Q31: C&H Sugar Company, Inc.: ND Value
Note on R31: C&H Sugar Company, Inc.: J Value

## C&H Inf QAQC MLs
Influent MDL / ML (mg/l)
C&H Sugar Company Influent
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS |  | NO3+NO2 |  | TRP
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-09-06 | 0.07 | 0.1 |  |  |  |  | 0.04 | 0.1 | 0.015 | 0.1 |  |  | 4 | 6 | 0.02 | 0.1 | 0.03 | 0.1
Wet 2012/13 | 2012-11-09 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 | 0.006 | 0.1 | 2 | 3 |  |  | 0.06 | 0.1
Dry 2013 | 2013-07-18 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.02 | 0.04 | 0.1 | 0.075 | 0.1 |  |  | 2 | 3 |  |  | 0.06 | 0.1
Wet 2013/14 | 2013-11-21 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.015 | 0.1 |  |  | 2 | 3 |  |  | 0.15 | 0.2
Do not enter "Season" or "Date" information on this worksheet. Make changes to the "Inf Conc." worksheet.
This sheet will be automatically updated with the new information.

## CSD Inf QAQC MLs
Influent MDL / ML (mg/l)
CSD Influent
Dale McDonald, General Manager, 510-787-2992, manager@town.crockett.ca.us
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS |  | NO3+NO2 |  | TrP
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-09-06 | 0.07 | 0.1 |  |  |  |  | 0.04 | 0.1 | 0.015 | 0.1 |  |  | 4 | 6 | 0.02 | 0.1 | 0.06 | 0.1
Wet 2012/13 | 2012-11-09 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 | 0.006 | 0.1 | 2 | 3 |  |  | 0.06 | 0.1
Dry 2013 | 2013-07-18 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.075 | 0.1 |  |  | 2 | 3 |  |  | 0.06 | 0.1
Wet 2013/14 | 2013-11-21 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 | 0.15 | 0.2 |  |  | 2 | 3 |  |  | 0.15 | 0.2
Do not enter "Season" or "Date" information on this worksheet. Make changes to the "Inf Conc." worksheet.
This sheet will be automatically updated with the new information.

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
Phillip F. Meads Water Treatment Plant
Tanya Akkerman, Environmental Manager, 510-787-4352, tanya.akkerman@asr-group.com
Quarter of Year | Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS |  | TRP
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Q3 2012 | 2012-07-17 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 |  |  | 0.04 | 0.1 |  |  | 0.15 | 0.2 | 0.075 | 0.1 | 0.15 | 0.2 | 2 | 3 | 0.15 | 0.2
Q3 2012 | 2012-08-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.15 | 0.2 | 0.15 | 0.2 | 0.15 | 0.2 | 1 | 3 | 0.15 | 0.2
Q3 2012 | 2012-09-05 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.015 | 0.1 | 0.06 | 0.1 | 2 | 3 | 0.015 | 0.1
Q4 2012 | 2012-10-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.014 | 0.02 | 0.007 | 0.01 | 0.06 | 0.1 | 1 | 3 | 0.06 | 0.1
Q4 2012 | 2012-11-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 | 3 | 0.006 | 0.1
Q4 2012 | 2012-11-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 | 3 | 0.006 | 0.01
Q4 2012 | 2012-12-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q1 2013 | 2013-01-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.075 | 0.1 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.1
Q1 2013 | 2013-02-19 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.006 | 0.1 | 2 | 3 | 0.06 | 0.1
Q1 2013 | 2013-03-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.06 | 0.1 | 2 | 3 | 0.006 | 0.1
Q2 2013 | 2013-04-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q2 2013 | 2013-04-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q2 2013 | 2013-05-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.035 | 0.05 | 0.035 | 0.05 | 0.06 | 0.1 | 2 | 3 | 0.06 | 0.1
Q2 2013 | 2013-06-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.06 | 0.1 | 2 | 3 | 0.06 | 0.1
Q3 2013 | 2013-07-17 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.075 | 0.1 | 0.075 | 0.1 | 0.06 | 0.1 | 2 | 3 | 0.06 | 0.1
Q3 2013 | 2013-08-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.03 | 0.1 | 2 | 3 | 0.03 | 0.1
Q3 2013 | 2013-09-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q4 2013 | 2013-10-16 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.012 | 0.1 | 2 | 3 | 0.012 | 0.1
Q4 2013 | 2013-11-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q4 2013 | 2013-11-19 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q4 2013 | 2013-12-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.06 | 0.1 | 2 | 3 | 0.03 | 0.1
Q1 2014 | 2014-01-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.07 | 0.1 | 0.07 | 0.1 | 0.15 | 0.2 | 2 | 3 | 0.15 | 0.2
Q1 2014 | 2014-02-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 | 3 | 0.006 | 0.1
Q1 2014 | 2014-02-13 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 3 | 0.006 | 0.01
Q1 2014 | 2014-03-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.005 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 | 3 | 0.006 | 0.1
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Do not enter "Season" or "Date" information on this worksheet. Make changes to the "Eff Conc." worksheet.
This sheet will be automatically updated with the new information.