## Read me
Please read the notes/instructions before you proceed!
Please find more instrucitons on individual worksheets.
How to name Excel spreadsheet
Please name this spreadsheet as
"XXXX nutrient 13267 study data_updated Month-/Day-Year"
(XXXX - Facility/Discharger name)
Agency Name, contact information; sampling dates
Only enter agency name and contact information in the worksheet "Eff Conc."; they will be automatically populated in other worksheets.
Only enter season/quarter/sampling dates in "Eff Conc." worksheets; they will be automatically populated in load/QA/QC worksheets.
How to report non-detected (ND) results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
(Select the cell, right click the mouse, choose "insert comment", put "ND, report MDL" in the comment box)
How to report DNQ or J flagged results
Report the DNQ value in the cell, insert a comment
(Select the cell, right click the mouse, choose " insert comment", put "DNQ" in the comment box)
Do not put any text like "ND", "MDL", "DNQ" in front of the number.
How to report a missed result
If a required sampling result is missing (failed to sample, sampling error, lab error, etc.), add a note at the end of that worksheet.
Report this missed sample incident in the transmittal email/letter.
Do not put "NA" or any text in the cell for that parameter.
How to save as CSV (comma separated values) files:
In addition to submitting this MS Excel Worksheet file, please also submit CSV (comma deliminted) files of each worksheet (multiple files).
To generate CSV files from the Excel Worksheet file, open one worksheet at a time, go to "File" - "save as" - name the CSV file
such as "XXXX Inf conc", "XXXX eff conc", etc. where XXXX is the Facility/Discharger name.
choose "CSV" (comma delimited) in the "save as type" drop down menu, and click save.
You will need to save each worksheet as a separate CSV file.
How to copy data from another Excel Spreadsheet
If copying data from another worksheet, only paste the values to this worksheet; do not copy the format.
Glossary of Abbreviations
TDN | Total Dissolved Nitrogen
TKN | Total Kjedahl Nitrogen
SKN | Soluble Kjedahl Nitrogen
NH3 | Ammonia
NO3 | Nitrate
NO2 | Nitrite
TP | Total Phosphorous
TDP | Total Dissolved Phosphorous
DRP | Dissolved Reactive Phosphorous or dissolved ortho-PO4
TSS | Total Suspended Solids
TRP | Total Reactive Phosphorus or total ortho-PO4

## Requirement Summary
Shell Martinez Refinery
Report Due Dates
Reporting Period | Report Due Date
July - September 2012 | 2012-10-30
October - December 2012 | 2013-01-30
January - March 2013 | 2013-04-30
April - June 2013 | 7/30/2013, may combine with the interim report
Interim Report | 2013-07-31
July - September 2013 | 2013-10-30
October - December 2013 | 2014-01-30
January - March 2014 | 2014-04-30
April - June 2014 | 7/30/2014, may combine with the final report
Final Report | 2014-07-31
Minimum Effluent Moniotring Requirements
Routine Effluent | Once per month
Effluent Peak flow monitoring | Two times each wet season
Study duraiton | Two years

## Eff Conc.
Effluent Concentrations (mg/l)
Shell Martinez Refinery
Michael Armour, Senior Engineer, 925.313.3886, michael.armour@shell.com
Quarter of Year (Q1, Q2, Q3, Q4 YYYY) | Date | Peak Flow Event (Y/N) | Flow (MGD) |  | TN (mg/L) | TDN (mg/L) | TKN (mg/L) | SKN (mg/L) | NO3 (mg/L) | NO2 (mg/L) | Total NH3 (mg/L) | Urea* (mg/L) | TP (mg/L) | TDP (mg/L) | DRP** (mg/L) | pH (s.u.) |  | Temp (oC) |  | TSS (mg/L) | TRP** (mg/L)
| (mm/dd/yyyy) |  | Ave Daily | Peak | TKN+NO3+NO2 | SKN+NO3+NO2 | [8 empty] | Grab or composite | Min | Max | Min | Max |  | Grab or composite
Q3 2012 | 2012-07-06 | N | 6.78 | 7.15 | 8.16 | 8.36 | 1.8 | 2 | 6.1 | 0.26 | 0.51 |  | 0.15 | 0.18 | 0.015 | 7.4 | 7.8 | 28.6 | 33 | 3.2 | 0.031 | Note: The 3rd party analytical laboratory ran the grab sample for nitrite instead of the composite sample. By the time this was identified, the composite sample was past the hold time.
Q3 2012 | 2012-08-09 | N | 6.29 |  | 6.036 | 5.636 | 5.2 | 4.8 | 0.77 | 0.066 | 3.1 |  | 0.13 | 0.11 |  | 7.2 | 7.8 | 28 | 33.3 | 3.1
Q3 2012 | 2012-08-17 | N |  | 7.22 | [10 empty] | 0.006 | 7.4 | 7.9 | 26.5 | 31.2 |  | 0.008
Q3 2012 | 2012-09-12 | N | 5.23 | 3.65 | 4.872 | 4.672 | 3 | 2.8 | 1.8 | 0.072 | 2 |  | 0.082 | 0.053 | 0.006 | 7.2 | 7.6 | 24.5 | 30 | 2.9 | 0.01
Q4 2012 | 2012-10-12 | N | 3.25 |  | 6.64 | 6.54 | 6.5 | 6.4 | 0.083 | 0.057 | 5.4 |  | 0.22 | 0.085 |  | 7.2 | 8.1 | 16.4 | 23 | 10.5
Q4 2012 | 2012-10-13 | N |  | 4.5 | [10 empty] | 0.021 | 7 | 7.3 | 22.6 | 24.4 |  | 0.075
Q4 2012 | 2012-11-16 | N | 7.2 | 6.92 | 8.65 | 8.15 | 3.4 | 2.9 | 4.8 | 0.45 | 1.5 |  | 0.16 | 0.072 | 0.006 | 7.1 | 7.3 | 23.9 | 26.2 | 14 | 0.14
Q4 2012 | 2012-12-05 | Y | 8.91 | 8.48 | 5.47 | 4.47 | 3.9 | 2.9 | 1.2 | 0.37 | 2.1 |  | 0.28 | 0.1 | 0.015 | 7.3 | 7.5 | 22.4 | 24.3 | 15.1 | 0.11
Q4 2012 | 2012-12-07 | N | 5.5 | [12 empty] | 7.2 | 7.6 | 22.1 | 24.1 | 15.1
Q4 2012 | 2012-12-14 | N | 7.26 | 5.32 | 6 | 5.7 | 3.8 | 3.5 | 1.7 | 0.5 | 2.7 |  | 0.17 | 0.041 | 0.02 | 6.9 | 7.5 | 20.4 | 23.2 | 15.1 | 0.028
Q1 2013 | 2013-01-03 | N | 6.07 | 5.54 | 7.13 | 6.93 | 2.5 | 2.3 | 4.1 | 0.53 | 1.3 |  | 0.12 | 0.022 | 0.008 | 7.1 | 7.3 | 19.4 | 22.3 | 9.8 | 0.08
Q1 2013 | 2013-02-12 | N | 7.2 | 6.67 | 8.19 | 7.69 | 3.2 | 2.7 | 4.6 | 0.39 | 1.9 |  | 0.054 | 0.044 | 0.0099 | 7.3 | 7.6 | 22.2 | 25.9 | 3.6 | 0.011
Q1 2013 | 2013-02-20 | Y | 6.29 |  | 6.24 | 6.74 | 2.7 | 3.2 | 3.2 | 0.34 | 1.9 |  | 0.06 | 0.033 |  | 7.4 | 7.7 | 20 | 23 | 6.2 |  | Note: The ammonia sample was run outside of hold time.
Q1 2013 | 2012-02-21 | Y |  | 5.29 | [10 empty] | 0.028 | 7.3 | 7.6 | 19.9 | 23.9 |  | 0.0063
Q1 2013 | 2013-03-07 | N | 6.96 | 6.65 | 6.48 | 6.18 | 3.8 | 3.5 | 2.2 | 0.48 | 2.7 |  | 0.18 | 0.093 | 0.054 | 7.2 | 7.6 | 22 | 25.1 | 9.4 | 0.016 | Note: The nitrite sample was run outside of hold time.
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
THINGS TO DO
Only enter numbers in the cells for concentrations; or leave blank if no data (do not enter "NA")
Delete red striked-through numbers under TN/TKN after all the data for that date are entered; leave the cell blank.
THINGS NOT TO DO
Do not report zero for non-detected values or DNQ(J) values;
Do not put text before the number to indicate it is ND or DNQ.
Do not report combined result for NO3+ NO2 under both parameters (see footnote ** below)
Quarter of Year definition
Q3 2012 - July - September 2012
Q4 2012: October - December 2012
Q1 2013: January - March 2013
Q2 2013: April - June 2013
Q3 2013: July - September 2013
Q4 2013: October - December 2013
Q1 2014: January - March 2014
Q2 2014: April - June 2014
Cells are conditionally formatted as explained below:
1. when a date is entered, the row is highlighted in orange;
2. When a text is entered, the cell is shaded in blue; remove the text ("ND", "DNQ", etc.), report a number.
3. If TKN or both NO3/NO2 conc. is missing, the calculated TN result is shown in red strike-through number.
That means this TN result is not complete, deleted that TN, leave the cell blank.
Footnotes for Table
* Urea monitoring is only required for the five largest POTWs: CCCSD, EBDA, EBMUD, SF Southeast, SJSC
**Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
How to report non-detected (ND) /DNQ results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
For DNQ or J flagged value, report the estimated value, insert a comment
(Select the cell, right click the mouse, choose " insert comment", type "ND" or "DNQ" in the comment box)
Note on E6: Michael.Armour: instantaneous flow used
Note on P7: Michael.Armour: J, DNQ
Note on V7: Michael.Armour: J, DNQ
Note on P9: Michael.Armour: ND
Note on V9: Michael.Armour: J, DNQ
Note on N10: Michael.Armour: J, DNQ
Note on O10: Michael.Armour: J, DNQ
Note on P10: Michael.Armour: ND
Note on J11: Michael.Armour: J, DNQ
Note on O13: Michael.Armour: J, DNQ
Note on P13: Michael.Armour: ND
Note on P14: Michael.Armour: J,DNQ
Note on U14: Michael.Armour: TSS data from 12/7/12 used here
Note on U16: Michael.Armour: TSS data from 12/7/12 used here
Note on P17: Michael.Armour: J, DNQ
Note on N18: Michael.Armour: J,DNQ
Note on O18: Michael.Armour: J,DNQ
Note on P18: Michael.Armour: J, DNQ
Note on V18: Michael.Armour: J,DNQ
Note on P20: Michael.Armour: J,DNQ
Note on V20: Michael.Armour: J,DNQ
Note on O21: Michael.Armour: J,DNQ
Note on P21: Michael.Armour: J,DNQ
Note on V21: Michael.Armour: J,DNQ

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Shell Martinez Refinery
Michael Armour, Senior Engineer, 925.313.3886, michael.armour@shell.com
Quarter of Year | Date | Peak Flow Event (Y/N) | Flow (MGD) |  | TN (kg/d) | TDN (kg/d) | TKN (kg/d) | SKN (kg/d) | NO3 (kg/d) | NO2 (kg/d) | Total NH3 (kg/d) | Urea (kg/d) | TP (kg/d) | TDP (kg/d) | DRP (kg/d) | TSS (kg/d) | TRP (kg/d)
| (mm/dd/yyyy) |  | Ave Daily | Peak | [10 empty] | Use Max Flow if sample type is Grab |  | Use Max Flow if sample type is Grab
Q3 2012 | 2012-07-06 | N | 6.78 | 7.15 | 209.1277 | 214.2534 | 46.1311 | 51.2568 | 156.3332 | 7.027 | 13.0705 |  | 3.8443 | 4.6131 | 0.4054 | 82.0109 | 0.83784
Q3 2012 | 2012-08-09 | N | 6.29 | 0 | 143.5131 | 134.0027 | 123.6362 | 114.1258 | 18.3077 | 1.5692 | 73.7062 |  | 3.0909 | 2.6154 |  | 73.7062
Q3 2012 | 2012-08-17 | N | 0 | 7.22 | [10 empty] | 0.16375 |  | 0.21833
Q3 2012 | 2012-09-12 | N | 5.23 | 3.65 | 96.3165 | 92.3626 | 59.3082 | 55.3543 | 35.5849 | 1.4234 | 39.5388 |  | 1.6211 | 1.0478 | 0.082782 | 57.3313 | 0.13797
Q4 2012 | 2012-10-12 | N | 3.25 | 0 | 81.5724 | 80.3439 | 79.8525 | 78.624 | 1.0197 | 0.70025 | 66.339 |  | 2.7027 | 1.0442 |  | 128.9925
Q4 2012 | 2012-10-13 | N | 0 | 4.5 | [10 empty] | 0.35721 |  | 1.2757
Q4 2012 | 2012-11-16 | N | 7.2 | 6.92 | 235.4184 | 221.8104 | 92.5344 | 78.9264 | 130.6368 | 12.2472 | 40.824 |  | 4.3546 | 1.9596 | 0.15695 | 381.024 | 3.6621
Q4 2012 | 2012-12-05 | Y | 8.91 | 8.48 | 184.2285 | 150.5487 | 131.3512 | 97.6714 | 40.4158 | 12.4615 | 70.7276 |  | 9.4303 | 3.368 | 0.48082 | 508.565 | 3.526
Q4 2012 | 2012-12-07 | N | 5.5 | 0 | [11 empty] | 313.929
Q4 2012 | 2012-12-14 | N | 7.26 | 5.32 | 164.6568 | 156.424 | 104.2826 | 96.0498 | 46.6528 | 13.7214 | 74.0956 |  | 4.6653 | 1.1252 | 0.40219 | 414.3863 | 0.56307
Q1 2013 | 2013-01-03 | N | 6.07 | 5.54 | 163.595 | 159.0061 | 57.3615 | 52.7726 | 94.0729 | 12.1606 | 29.828 |  | 2.7534 | 0.50478 | 0.16753 | 224.8571 | 1.6753
Q1 2013 | 2013-02-12 | N | 7.2 | 6.67 | 222.899 | 209.291 | 87.0912 | 73.4832 | 125.1936 | 10.6142 | 51.7104 |  | 1.4697 | 1.1975 | 0.2496 | 97.9776 | 0.27734
Q1 2013 | 2013-02-20 | Y | 6.29 | 0 | 148.3635 | 160.2516 | 64.1957 | 76.0838 | 76.0838 | 8.0839 | 45.1748 |  | 1.4266 | 0.78461 |  | 147.4124
Q1 2013 | 2012-02-21 | Y | 0 | 5.29 | [10 empty] | 0.55989 |  | 0.12598
Q1 2013 | 2013-03-07 | N | 6.96 | 6.65 | 170.481 | 162.5884 | 99.9734 | 92.0808 | 57.8794 | 12.6282 | 71.0338 |  | 4.7356 | 2.4467 | 1.3574 | 247.3027 | 0.40219
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
THINGS TO DO
Correct bright yellow highlighted load calulations (0, #VALUE!") by correcting the "Conc" worksheet
Use correct flow for load calculation: for grab sample, use peak flow; for composit sample, use average flow.
Cells are conditionally formatted as explained below:
1. Cells are shaded purple if there is no load calculated for that parameter due to lack of concentration data. No need to do anything if that sampling is not required.
2. Cells are shaded bright yellow if the load is calculated as "0" due to concentration reported as "0", go to 'Conc" worksheet to correct the concentration reported.
3. Cells are shaded bright yellow if concentration is reporetd as a text (such as ND, <MDL, J value), go to "Conc" worksheet to correct the concentration reported.
How to choose correct flow for load calcultion.
Load calculation formulas provided use "avg daily flow" for all parameters, except for "DRP", where peak flow is used.
If DRP/TRP is collected as composite, replace "peak flow" with "avg daily flow" in the formula for load calculation.
If other parameters are grabs according to your sampling plan; replace "avg daily flow" with "peak flow" in load calculation for that parameter.
Note on K7: Michael.Armour: Changed formula to instantanoues flow since this nitrite was a grab sample.
Note on R7: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R8: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R9: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R10: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R11: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R12: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R13: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R14: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R15: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R16: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R17: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R18: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R19: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R20: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R21: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R22: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R23: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R24: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R25: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R26: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R27: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R28: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R29: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R30: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R31: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R32: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R33: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R34: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R35: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R36: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R37: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R38: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R39: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R40: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R41: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R42: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R43: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R44: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R45: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R46: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R47: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R48: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R49: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R50: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R51: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R52: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R53: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R54: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R55: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R56: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R57: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R58: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R59: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R60: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R61: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R62: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R63: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R64: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R65: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet
Note on R66: Michael.Armour: Cell formula was incorrect - it was pointing to cell R7 instead of V7 for TRP concentration from tab EFF Conc and was also pointing to cell R7 instead of V7 to determine if it was blank; copied the corrected formula down the rest of the spreadsheet

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
Shell Martinez Refinery
Michael Armour, Senior Engineer, 925.313.3886, michael.armour@shell.com
Quarter of Year | Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS |  | TRP
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Q3 2012 | 2012-07-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 |  | 0.006 | 0.1
Q3 2012 | 2012-08-09 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 |  |  | 2
Q3 2012 | 2012-08-17 | [16 empty] | 0.006 | 0.1 |  |  | 0.006 | 0.1
Q3 2012 | 2012-09-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 |  | 0.006 | 0.1
Q4 2012 | 2012-10-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 |  |  | 2
Q4 2012 | 2012-10-13 | [16 empty] | 0.006 | 0.01 |  |  | 0.006 | 0.01
Q4 2012 | 2012-11-16 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 |  | 0.006 | 0.1
Q4 2012 | 2012-12-05 | 0.07 | 0.1 | 0.14 | 0.2 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 |  |  | 0.006 | 0.1
Q4 2012 | 2012-12-07 | [18 empty] | 2
Q4 2012 | 2012-12-14 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 |  |  | 0.006 | 0.01
Q1 2013 | 2013-01-03 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 |  | 0.006 | 0.01
Q1 2013 | 2013-02-12 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 |  | 0.006 | 0.1
Q1 2013 | 2013-02-20 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 |  | 0.006 | 0.1
Q1 2013 | 2012-02-21 | [16 empty] | 0.006 | 0.1 |  |  | 0.006 | 0.1
Q1 2013 | 2013-03-07 | 0.07 | 0.1 | 0.07 | 0.1 | 0.02 | 0.05 | 0.02 | 0.3 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.1 | 2 |  | 0.006 | 0.1
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Do not enter "Season" or "Date" information on this worksheet. Make changes to the "Eff Conc." worksheet.
This sheet will be automatically updated with the new information.