## Inf Conc.
Influent Concentrations (mg/l)
Sanitary District No.5 of Marin County Paradise Cove
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
2012-07-31 | 0.0146 | 0.0218 | 0.32 | 61 |  | 0.16 | 0.16 | 48 |  | 8.9 |  | 6.1 | [6 empty] | 149 | Quarterly report due by 30 Oct.
Wet 2012/3 | [19 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [19 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [19 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Glossary of Abbreviations
| TDN | Total Dissolved Nitrogen
| TKN | Total Kjedahl Nitrogen
| SKN | Soluble Kjedahl Nitrogen
| NH3 | Ammonia
| NO3 | Nitrate
| NO2 | Nitrite
| TP | Total Phosphorous
| TDP | Total Dissolved Phosphorous
| DRP | Dissolved Reactive Phosphorous
| TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Sanitary District No.5 of Marin County Paradise Cove
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
| Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 0.0146 | 0.0218 | 0.01766 | 3.3665 | 0 | 0.0088301 | 0.0088301 | 2.649 | 0 | 0.49117 | 0 | 0.50266 | 8.223 | Quarterly report due by 30 Oct.
Wet 2012/3 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff Conc.
Effluent Concentrations (mg/l)
Sanitary District No.5 of Marin County Paradise Cove
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total P mg/l removal
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP
2012-07-31 | 0.0128 | 0.0183 | 26.74 | 26 | 25 | 1.5 | 0.24 | 23 |  | 3.7 | 3.8 | 3.4 | 6.23 | 7.05 | 6.61 | 20.6 | 23.3 | 21.8 | 4 | 33.58 | 5.2
0
2012-08-20 | 0.0127 | 0.0183 | 42.317 | 4.2 | 1.3 | 41 | 0.017 | 0.59 |  | 6.2 | 6.1 | 5.5 | 6.13 | 7.16 | 6.56 | 20.5 | 23 | 21.6 | 10
0
2012-09-05 | 0.013 | 0.0172 | 43.47 | 2.1 | 0.94 | 42 | 0.53 | 0.35 |  | 6.6 | 6.5 | 5.8 | 6.16 | 7.28 | 6.57 | 19.3 | 21.3 | 20.4 | 3
|  |  | 0 | [18 empty] | Quarterly report due by 30 Oct.
2012-10-09 | 0.0144 | 0.0181 | 40.322 | 0.077 | 0.31 | 40 | 0.012 | 0.13 |  | 6 | 6.1 | 5.9 | 6.33 | 7.01 | 6.59 | 18.3 | 21.8 | 20 | 9
0
2012-11-20 | 0.0156 | 0.0248 | 23.192 | 24 | 23 | 0.12 | 0.072 | 21 |  | 3.3 | 3.3 | 2.6 | 6.38 | 7.34 | 6.64 | 16.1 | 19.8 | 17.8 | 3
0
2012-12-18 | 0.0199 | 0.0449 | 42.455 | 1 | 0.45 | 42 | 0.005 | 0.29 |  | 3.5 | 5.2 | 3.1 | 6.4 | 7.14 | 6.76 | 13.2 | 17.9 | 15.5 | 10
|  |  | 0 | [18 empty] | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Sanitary District No.5 of Marin County Paradise Cove
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total P kg/d removal
| Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP
2012-07-01 | 0.0128 | 0.0183 | 1.2938 | 1.258 | 1.2096 | 0.072576 | 0.011612 | 1.1128 | 0 | 0.17902 | 0.18386 | 0.23519 | 0.19354 | 2.042 | 0.31215
2012-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-08-01 | 0.0127 | 0.0183 | 2.0315 | 0.20163 | 0.062408 | 1.9682 | 0.0008161 | 0.028324 | 0 | 0.29764 | 0.29284 | 0.38046 | 0.48006
2012-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-09-01 | 0.013 | 0.0172 | 2.1361 | 0.10319 | 0.046192 | 2.0639 | 0.026044 | 0.017199 | 0 | 0.32432 | 0.31941 | 0.37709 | 0.14742
2012-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Oct.
2012-10-01 | 0.0144 | 0.0181 | 2.1948 | 0.0041913 | 0.016874 | 2.1773 | 0.00065318 | 0.0070762 | 0 | 0.32659 | 0.33204 | 0.40367 | 0.48989
2012-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-11-01 | 0.0156 | 0.0248 | 1.3676 | 1.4152 | 1.3563 | 0.0070762 | 0.0042457 | 1.2383 | 0 | 0.19459 | 0.19459 | 0.24373 | 0.1769
2012-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012-12-01 | 0.0199 | 0.0449 | 3.1936 | 0.075222 | 0.03385 | 3.1593 | 0.00037611 | 0.021814 | 0 | 0.26328 | 0.39115 | 0.52614 | 0.75222
2012-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
Sanitary District No.5 of Marin County Paradise Cove
Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  | 0.2 |  | 0.1 |  | 3 | Quarterly report due by 30 Oct.
Wet 2012/3 | [14 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [14 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
Sanitary District No.5 of Marin County Paradise Cove
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-01 |  | 0.1 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  |  |  | 0.2 |  | 0.1 |  | 0.1 |  | 3
2012-07-15
2012-08-01 |  | 0.1 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  |  |  | 0.2 |  | 0.1 |  | 0.1 |  | 3
2012-08-15
2012-09-01 |  | 0.1 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  |  |  | 0.2 |  | 0.1 |  | 0.1 |  | 3
2012-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2012-10-01 |  | 0.1 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  |  |  | 0.2 |  | 0.1 |  | 0.1 |  | 3
2012-10-15
2012-11-01 |  | 0.1 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  |  |  | 0.2 |  | 0.1 |  | 0.1 |  | 3
2012-11-15
2012-12-01 |  | 0.1 |  | 0.1 |  | 0.1 |  | 2 |  | 0.1 |  |  |  | 0.2 |  | 0.1 |  | 0.1 |  | 3
2012-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers