## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
[City of Palo Alto RWQCP]
[Jamie Allen (650) 329-2243]
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-07-10 | 21.14 | 26.28 | 0.18 | 52 |  | 0.164 | 0.016 | 36 |  | 6.6 |  | 4.19 | [6 empty] | 292
Wet 2012/3 | 2012-11-05 | 20.24 | 24.96 |  | 39 |  | 0.206 | 0.014 | 36 |  | 6.1 |  | 4.32 | [6 empty] | 352
Dry 2013 |  |  |  | 0
Wet 2013/4
Dry 2014
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
PLEASE SAVE AND SUBMIT THIS FILE IN BOTH EXCEL AND "MS-DOS .csv" FORMATS
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen | [6 empty] | Quarterly report due by 30 Oct.
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate | [6 empty] | Quarterly report due by 30 Apr.
|  | NO2 | Nitrite | [6 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
|  | TP | Total Phosphorous | [6 empty] | Quarterly report due by 30 Oct.
|  | TDP | Total Dissolved Phosphorous | [6 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
[City of Palo Alto RWQCP]
[Jamie Allen (650) 329-2243]
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-07-10 | 21.14 | 26.28 | 14.3837 | 4155.2784 | 0 | 13.1051 | 1.2785 | 2876.7312 | 0 | 527.4007 | 0 | 416.2279 | 23333.4864
Wet 2012/3 | 2012-11-05 | 20.24 | 24.96 |  | 2983.7808 |  | 15.7605 | 1.0711 | 2754.2592 |  | 466.6939 |  | 407.5868 | 26930.5344
Dry 2012 |  | 0 | 0 | 0 |  | 0 |  |  |  | 0 |  | 0
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Quarterly report due by 30 Oct.
Quarterly report due by 30 Apr.
Quarterly report due by 30 Oct.
Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Quarterly report due by 30 Oct.
Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
[City of Palo Alto RWQCP]
| [James Allen (650 329-2243] | [18 empty] | f
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-10 | 21.87 | 32.125 | 24.7 | 1.1 | 0.74 | 23.9 | 0.072 | 0 |  | 4.5 | 4.4 | 4.3 |  | 7 |  |  | 25.3 |  | 1.3 | 27.108 | 51.95% | 2.1 | 31.82%
2012-07-25 | 21.49 | 28.71 | 25.9 | 0.97 | 0.91 | 24.4 | 0.57 | 0.24 |  | 4.5 | 4.4 | 4.3 |  | 6.9 |  |  | 25.7 |  | 1.6 | 26.24 | 50.29% | 2.1 | 31.82%
2012-08-07 | 22.1 | 29.74 | 27.8 | 0.82 | 0.79 | 27 | 0.027 | 0 |  | 4.3 | 4.3 | 4.2 |  | 6.9 |  |  | 25.7 |  | 1.3 | 24.333 | 46.63% | 2.3 | 34.85%
2012-08-21 | 22.65 | 32.34 | 29.4 | 0.69 | 0.36 | 28.9 | 0.033 | 0 |  | 4.4 | 4.36 | 4.3 |  | 6.8 |  |  | 26.9 |  | 1 | 22.557 | 43.23% | 2.2 | 33.33%
2012-09-06 | 22.35 | 28.9 | 27.9 | 0.76 | 0.83 | 27 | 0.025 | 0 |  | 4.64 | 4.61 | 4.4 |  | 6.9 |  |  | 25.5 |  | 0.6 | 24.395 | 46.75% | 1.96 | 29.7%
2012-09-19 | 20.73 | 26.66 | 30.7 | 0.65 | 0.62 | 30 | 0.048 | 0 |  | 4.8 | 4.79 | 4.55 |  | 6.8 |  |  | 25.2 |  | 0.6 | 21.482 | 41.17% | 1.8 | 27.27%
2012-10-11 | 21.37 | 27.18 | 29.1 | 0.68 | 0.099 | 28.949 | 0.051 | 0 |  | 4.61 | 4.6 | 4.66 |  | 6.8 |  |  | 25.9 |  | 0 | 22.5 | 43.12% | 1.99 | 30.15% | Quarterly report due by 30 Oct.
2012-10-24 | 21.48 | 31.39 | 27 | 0.98 | 1 | 25.874 | 0.126 | 0 |  | 4.66 | 4.63 | 4.63 |  | 6.8 |  |  | 24.5 |  | 1.7 | 25.2 | 48.29% | 1.94 | 29.39%
2012-11-05 | 20.51 | 24.37 | 27.3 | 1.7 | 1.3 | 25.558 | 0.442 | 0 |  | 4.63 | 4.5 | 4.33 |  | 6.9 |  |  | 25.9 |  | 3.4 | 11.52 | 29.37% | 1.47 | 24.1%
2012-11-20 | 19.36 | 26.08 | 30.1 | 1.4 | 1.1 | 28.78 | 0.22 | 0 |  | 4.36 | 4.28 | 4.25 |  | 6.9 |  |  | 23.7 |  | 2.2 | 8.82 | 22.49% | 1.74 | 28.52%
2012-12-03 | 25.99 | 32.72 | 22.6 | 1.8 | 1.6 | 20.46 | 0.54 | 0.4 |  | 2.64 | 2.63 | 2.28 |  | 7.1 |  |  | 21.7 |  | 2.3 | 16.42 | 41.87% | 3.46 | 56.72%
2012-12-18 | 20.22 | 28.14 | 27.1 | 0.89 | 1.1 | 25.953 | 0.047 | 0 |  | 3.73 | 3.64 | 3.62 |  | 6.9 |  |  | 22 |  | 0 | 12.33 | 31.44% | 2.37 | 38.85%
|  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
[City of Palo Alto RWQCP]
[James Allen (650 329-2243]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-10 | 21.87 | 32.125 | 2041.9144 | 90.9355 | 61.1748 | 1975.7795 | 5.9521 | 0 | 0 | 372.0087 | 363.7418 | 522.1598 | 107.4692 | 2096.9949 | 50.29% | 155.392 | 29.46%
2012-07-25 | 21.49 | 28.71 | 2103.914 | 78.7952 | 73.9213 | 1982.0657 | 46.3024 | 19.4957 | 0 | 365.5449 | 357.4217 | 466.6523 | 129.9715 | 2062.4988 | 49.46% | 161.8558 | 30.69%
2012-08-07 | 22.1 | 29.74 | 2322.3564 | 68.5012 | 65.995 | 2255.526 | 2.2555 | 0 | 0 | 359.2134 | 359.2134 | 472.1522 | 108.5994 | 1843.3794 | 44.21% | 168.1873 | 31.89%
2012-08-21 | 22.65 | 32.34 | 2517.1398 | 59.0757 | 30.8221 | 2474.3313 | 2.8254 | 0 | 0 | 376.7148 | 373.2901 | 525.6544 | 85.617 | 1633.4297 | 39.17% | 150.6859 | 28.57%
2012-09-06 | 22.35 | 28.9 | 2357.0757 | 64.2071 | 70.1209 | 2281.041 | 2.1121 | 0 | 0 | 392.0011 | 389.4666 | 480.6648 | 50.6898 | 1822.3019 | 43.7% | 135.3996 | 25.67%
2012-09-19 | 20.73 | 26.66 | 2405.6336 | 50.9336 | 48.5828 | 2350.782 | 3.7613 | 0 | 0 | 376.1251 | 375.3415 | 458.5253 | 47.0156 | 1764.1852 | 42.31% | 151.2756 | 28.68% | Quarterly report due by 30 Oct.
2012-10-11 | 21.37 | 27.18 | 2350.6573 | 54.9294 | 7.9971 | 2338.4597 | 4.1197 | 0 | 0 | 372.3893 | 371.5816 | 478.7703 | 0 | 1772.1532 | 42.5% | 155.0114 | 29.39%
2012-10-24 | 21.48 | 31.39 | 2192.2488 | 79.5705 | 81.1944 | 2100.8239 | 10.2305 | 0 | 0 | 378.3659 | 375.9301 | 549.3689 | 138.0305 | 1979.0371 | 47.46% | 149.0348 | 28.26%
2012-11-05 | 20.51 | 24.37 | 2116.5089 | 131.7973 | 100.7861 | 1981.4555 | 34.2673 | 0 | 0 | 358.9537 | 348.8751 | 398.8735 | 263.5945 | 853.0923 | 28.43% | 107.7402 | 23.09%
2012-11-20 | 19.36 | 26.08 | 2202.7421 | 102.4531 | 80.4989 | 2106.1434 | 16.0998 | 0 | 0 | 319.0683 | 313.2138 | 418.9752 | 160.9978 | 775.9161 | 25.86% | 147.6256 | 31.63%
2012-12-03 | 25.99 | 32.72 | 2220.2737 | 176.836 | 157.1875 | 2010.0354 | 53.0508 | 39.2969 | 0 | 259.3594 | 258.377 | 281.994 | 225.9571 | 760.6902 | 25.35% | 207.3345 | 44.43%
2012-12-18 | 20.22 | 28.14 | 2071.2964 | 68.0241 | 84.0748 | 1983.6293 | 3.5923 | 0 | 0 | 285.0899 | 278.211 | 385.0565 | 0 | 945.3667 | 31.51% | 181.6041 | 38.91% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
[City of Palo Alto RWQCP]
[James Allen (650) 329-2334]
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-07-10 | 0.07 | 0.1 | 0.05 | 0.1 | 0.001 | 0.01 | 0.4 | 0.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.47 | 1
Wet 2012/3 | 2012-11-05 | 0.07 | 0.1 | 0.05 | 0.1 | 0.001 | 0.01 | 0.4 | 0.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
Dry 2013
Wet 2013/4
Dry 2014
Quarterly report due by 30 Oct.
Quarterly report due by 30 Apr.
Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Quarterly report due by 30 Oct.
Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
[City of Palo Alto RWQCP]
[James Allen (650) 329-2243]
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-10 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.47 | 1
2012-07-25 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-08-07 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-08-21 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-09-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-09-19 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1 | Quarterly report due by 30 Oct.
2012-10-11 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.47 | 1
2012-10-24 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-11-05 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-11-20 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-12-03 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1
2012-12-18 | 0.07 | 0.1 | 0.07 | 0.1 | 0.05 | 1 | 0.001 | 0.01 | 0.1 | 0.2 |  |  | 0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.5 | 1 | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers