## Inf Conc.
Influent Concentrations (mg/l)
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | 24HR-C *** | Min | Max | Ave | Min | Max | Ave
2012-10-10 | 35.05 | 46.98 | 0.77 | 47.6 |  | 0.65 | 0.12 | 32.7 |  | 5.9 |  | 2.73 | N/A | N/A | N/A | N/A | N/A | N/A | 270
2012-10-23 | 40.49 | 53.99 |  | 43.9 |  |  |  | 29.3 |  | 5.4 |  | 2.44 | N/A | N/A | N/A | N/A | N/A | N/A | 250
2012-11-13 | 36.58 | 52.56 | [5 empty] | 31.2 |  | 4.5 |  | 2.82 | N/A | N/A | N/A | N/A | N/A | N/A | 272
2012-11-27 | 36.99 | 51.88 | [5 empty] | 31.2 |  | 5.9 |  | 2.8 | N/A | N/A | N/A | N/A | N/A | N/A | 243
2012-12-11 | 40.01 | 55.5 | [5 empty] | 27.6 |  | 5.4 |  | 2.41 | N/A | N/A | N/A | N/A | N/A | N/A | 222
2012-12-20 | 39.56 | 52.33 | [5 empty] | 27.6 |  | 4.3 |  | 2.4 | N/A | N/A | N/A | N/A | N/A | N/A | 231
2012-12-26 | 65.26 | 89.09 | [5 empty] | 17.2 |  | 3.7 |  | 1.5 | N/A | N/A | N/A | N/A | N/A | N/A | 162
Glossary of Abbreviations
| TDN | Total Dissolved Nitrogen
| TKN | Total Kjedahl Nitrogen
| SKN | Soluble Kjedahl Nitrogen
| NH3 | Ammonia
| NO3 | Nitrate
| NO2 | Nitrite
| TP | Total Phosphorous
| TDP | Total Dissolved Phosphorous
| DRP | Dissolved Reactive Phosphorous
| TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
| Ave Daily | Peak | [9 empty] | Use Avg Flow *
2012-10-10 | 35.05 | 46.98 | 102.0165 | 6306.4764 | 0 | 86.1179 | 15.8987 | 4332.3903 | 0 | 781.6851 | 0 | 361.695 | 35772.03
2012-10-23 | 40.49 | 53.99 | 0 | 6718.9916 | 0 |  |  | 4484.4295 | 0 | 826.4819 | 0 | 373.4474 | 38263.05
2012-11-13 | 36.58 | 52.56 | 0 |  | 0 |  |  | 4314.0989 | 0 | 622.2258 | 0 | 389.9282 | 37610.0928
2012-11-27 | 36.99 | 51.88 | 0 |  | 0 |  |  | 4362.4526 | 0 | 824.951 | 0 | 391.5022 | 33976.7946
2012-12-11 | 40.01 | 55.5 | 0 |  | 0 |  |  | 4174.1633 | 0 | 816.6841 | 0 | 364.4831 | 33574.7916
2012-12-20 | 39.56 | 52.33 | 0 |  | 0 |  |  | 4127.2157 | 0 | 643.0082 | 0 | 358.8883 | 34543.0008
2012-12-26 | 65.26 | 89.09 | 0 |  | 0 |  |  | 4242.9442 | 0 | 912.7264 | 0 | 370.0242 | 39962.6136

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total P mg/l removal
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | 24-Hr comp *** | Min | Max | Ave | Min | Max | Ave |  | Inf N (Avg_TKN + Avg_NO3 + Avg_NO2) - Eff N | Inf TP - Eff TP
2012-10-10 | 31.77 | 43.74 | 32.12 | 31.6 | 30.6 | 0.77 | 0.75 | 29.2 | 0.195 | 0.79 | 0.56 | 0.43 | N/A | N/A | 7.01 | N/A | N/A | 24.6 | 6.1 | 13.4 | 5.11
2012-10-23 | 34.4 | 48.1 | 28.15 | 26 | 25.1 | 2.2 | 0.85 | 23.8 | N/A | 0.84 | 0.59 | 0.48 | N/A | N/A | 7.28 | N/A | N/A | 23.1 | 6.5 | 17.47 | 4.56
2012-11-13 | 34.86 | 50.56 | 30.06 | 27.7 | 27 | 2.6 | 0.46 | 25.9 | 0.191 | 0.56 | 0.44 | 0.26 | N/A | N/A | 7.28 | N/A | N/A | 22.5 | 5.1 | 15.76 | 3.94
2012-11-27 | 35.73 | 48.81 | 28.88 | 29.2 | 27.9 | 0.68 | 0.3 | 27 | N/A | 0.72 | 0.55 | 0.4 | N/A | N/A | 7.29 | N/A | N/A | 22.3 | 8 | 16.34 | 5.18
2012-12-11 | 43.12 | 58.89 | 25.47 | 25.7 | 24 | 1.2 | 0.27 | 23.4 | 0.167 | 0.83 | 0.63 | 0.49 | N/A | N/A | 7.26 | N/A | N/A | 20.6 | 9 | 19.35 | 4.57
2012-12-20 | 41.7 | 51.29 | 27.18 | 25.8 | 24.9 | 1.9 | 0.38 | 23.4 | N/A | 0.83 | N/A | 0.51 | N/A | N/A | 7.33 | N/A | N/A | 20.5 | 9 | 18.44 | 3.47
2012-12-26 | 68.45 | 89.5 | 18.92 | 18.2 | 17.1 | 1.6 | 0.22 | 15.7 | N/A | 0.81 | 0.5 | 0.41 | N/A | N/A | 7.06 | N/A | N/A | 18.5 | 11 | 26.5 | 2.89

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total P kg/d removal
| Ave Daily | Peak | [6 empty] | Use max flow |  |  | Use 24-hr Comp Flow* |  | Inf N (Avg_TKN + Avg_NO3 + Avg_NO2) - Eff N | Inf TP - Eff TP
2012-10-10 | 31.77 | 43.74 | 3857.3101 | 3794.863 | 3674.7724 | 92.4698 | 90.0679 | 3506.6455 | 32.2408 | 94.8716 | 67.2507 | 51.639 | 732.5527 | 2637.3498 | 686.8135
2012-10-23 | 34.4 | 48.1 | 3660.4008 | 3380.832 | 3263.8032 | 286.0704 | 110.5272 | 3094.7616 | N/A | 109.2269 | 76.7189 | 62.4154 | 845.208 | 2837.3209 | 717.255
2012-11-13 | 34.86 | 50.56 | 3961.0302 | 3650.0512 | 3557.8116 | 342.6041 | 60.6146 | 3412.8637 | 36.5033 | 73.7916 | 57.9792 | 34.2604 | 672.0311 | 2561.4807 | 548.4342
2012-11-27 | 35.73 | 48.81 | 3900.5155 | 3943.7345 | 3768.1573 | 91.8404 | 40.5178 | 3646.6038 | N/A | 97.2428 | 74.2827 | 54.0238 | 1080.4752 | 2538.6578 | 727.7082
2012-12-11 | 43.12 | 58.89 | 4151.447 | 4188.9355 | 3911.8464 | 195.5923 | 44.0083 | 3814.0502 | 37.1749 | 135.2847 | 102.686 | 79.8669 | 1466.9424 | 2186.2144 | 681.3994
2012-12-20 | 41.7 | 51.29 | 4284.2747 | 4066.7508 | 3924.8874 | 299.4894 | 59.8979 | 3688.4484 | N/A | 130.8296 | N/A | 80.3893 | 1418.634 | 2188.6124 | 512.1787
2012-12-26 | 68.45 | 89.5 | 4895.3797 | 4709.0862 | 4424.4711 | 413.9856 | 56.923 | 4062.2337 | N/A | 209.5802 | 129.3705 | 106.0838 | 2846.151 | 1434.7557 | 703.1462

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-10-10 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-10-23 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-11-13 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-11-27 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-12-11 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-12-20 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-12-26 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-10-10 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-10-23 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-11-13 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-11-27 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-12-11 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-12-20 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-12-26 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A