## Inf Conc.
Burlingame WWTF Influent Concentrations (mg/l)
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2.964 | 9.669 | 0.06 | 52 |  | 0.04 | 0.02 | 35.1 |  | 5.8 |  | 3.77 | [6 empty] | 370
Wet 2012/3 | 4.104 | 12.534 |  | 33.6 |  | 0.65 | 0.08 | 20.65 |  | 14.88 |  | 7.18 | [6 empty] | 218 | Quarterly report due by 30 Apr.
Dry 2013 |  |  | 11.7 |  | 11.7 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [19 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [19 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
| Glossary of Abbreviations | [7 empty] | Sample Dates
| TDN | Total Dissolved Nitrogen | [6 empty] | Dry 2012 |  | 2012-07-12
| TKN | Total Kjedahl Nitrogen | [6 empty] | Wet 2012/13 |  | 2012-12-06
| SKN | Soluble Kjedahl Nitrogen | [6 empty] | Wet 2012/13
| NH3 | Ammonia | [6 empty] | Wet 2012/13
| NO3 | Nitrate
| NO2 | Nitrite | [6 empty] | Dry 2013
| TP | Total Phosphorous
| TDP | Total Dissolved Phosphorous
| DRP | Dissolved Reactive Phosphorous
| TSS | Total Suspended Solids

## Inf Loads
Burlingame WWTF Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
| Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2.964 | 9.669 | 0.67224 | 582.6038 | 0 | 0.44816 | 0.22408 | 393.2576 | 0 | 64.9827 | 0 | 137.7891 | 4145.4504
Wet 2012/3 | 4.104 | 12.534 |  | 521.2408 |  | 10.0835 | 1.241 | 320.3459 |  | 230.8352 |  | 340.1778 | 3381.8602 | Quarterly report due by 30 Apr.
Dry 2013 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff Conc.
Burlingame WWTF Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total P mg/l removal
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP
2012-07-12 | 2.832 | 5.79 | 19.394 | 9.4 | 8.9 | 10 | 0.494 | 7.67 |  | 3.9 | 3.77 | 2.25 | 6.9 | 6.9 | 6.9 | 24.3 | 24.3 | 24.3 | 7.6 | 32.166 | 1.9
2012-08-09 | 2.46 | 6.47 | 28.08 | 25.28 | 28 | 0.05 | 0.03 | 32.8 |  | 5.14 | 2.74 | 1.29 |  |  | 7.4 |  |  | 24.4 | 8.8
2012-09-13 | 2.783 | 5.42 | 33.094 | 35 | 32.8 | 0.15 | 0.144 | 26.5 |  | 6.77 | 4.36 | 2.18 |  |  | 7.37 |  |  | 24 | 3.6
2012-10-04 | 2.658 | 5.67 | 28.84 | 26.32 | 23.52 | 3.5 | 1.82 | 18.48 |  | 5.44 | 3.98 | 0.79 |  |  | 7.2 |  |  | 23.3 | 8.2
2012-11-08 | 2.86 | 5.67 | 37.8 | 33.88 | 30.8 | 5.9 | 1.1 | 22.68 |  | 5 | 2.75 | 4.05 |  |  | 7.28 |  |  | 22.4 | 6.4
2012-12-06 | 3.997 | 7.94 | 22.689 | 28 | 18.48 | 4.1 | 0.109 | 19.74 |  | 6.5 | 6.25 | 3.98 |  |  | 7.2 |  |  | 19.8 | 4 | 2.121 | 8.38
2013-01-10 | 3.528 | 7 | 40.2018 | 46.4 | 32.2 | 7.9722 | 0.029565 | 31 |  | 5.5 | 4.25 | 2.85 |  |  | 7.4 |  |  | 18 | 8.4
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [18 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0

## Eff Loads
Burlingame WWTF Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total P kg/d removal
| Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP
2012-07-12 | 2.832 | 5.79 | 207.612 | 100.6266 | 95.2741 | 107.0496 | 5.2883 | 82.107 | 0 | 41.7493 | 40.3577 | 49.2439 | 81.3577 | 370.3116 | 23.2334
2012-08-09 | 2.464 | 6.47 | 180.6342 | 87.5508 | 82.8939 | 93.1392 | 4.6011 | 71.4378 | 0 | 36.3243 | 35.1135 | 55.0273 | 70.7858 |  |  | Quarterly report due by 30 Oct.
2012-09-13 | 2.783 | 5.42 | 348.1403 | 368.1909 | 345.0475 | 1.578 | 1.5148 | 278.7731 | 0 | 71.2186 | 45.8661 | 26.429 | 37.8711
2012-10-04 | 2.658 | 5.67 | 289.7624 | 264.4434 | 236.3111 | 35.1653 | 18.286 | 185.673 | 0 | 54.657 | 39.988 | 46.7231 | 82.3874
2012-11-08 | 2.86 | 5.67 | 408.6482 | 366.2699 | 332.9726 | 63.7837 | 11.8919 | 245.1889 | 0 | 54.054 | 29.7297 | 16.9318 | 69.1891
2012-12-06 | 3.997 | 7.94 | 342.8004 | 423.0425 | 279.208 | 61.9455 | 1.6468 | 298.2449 | 0 | 98.2063 | 94.4291 | 121.5535 | 60.4346 | 45.9306 | 132.6289
2013-01-10 | 3.528 | 7 | 536.1243 | 618.783 | 429.414 | 106.316 | 0.39427 | 413.411 | 0 | 73.3471 | 56.6773 | 105.3108 | 112.0211
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0

## Inf QAQC MLs
Burlingame WWTF Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 0.0373 | 0.1 | 0.05 | 0.01 | 0.05 | 0.002 | 0.0351 | 0.1 | 0.037 | 0.02 | 0.0371 | 0.02 | 1 | 1 | Quarterly report due by 30 Oct.
Wet 2012/3 | 0.0333 | 0.1 | 0.03 | 0.01 | 0.03 | 0.01 | 0.057 | 0.1 | 0.037 | 0.06 | 0.03 | 0.02 | 1 | 1
Dry 2013 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [14 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [14 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Burlingame WWTF Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-12 | 0.07 | 0.01 | 0.07 | 0.1 | 0.05 | 0.01 | 0.05 | 0.02 | 0.05 | 0.1 |  |  | 0.035 | 0.05 | 0.0371 | 0.02 | 0.0371 | 0.02 | 1 | 1
2012-08-09 | 0.0373 | 0.1 | 0.0373 | 0.1 | 0.0351 | 0.01 | 0.0351 | 0.02 | 0.057 | 0.1 |  |  | 0.037 | 0.06 | 0.037 | 0.06 | 0.037 | 0.06 | 1 | 1
2012-09-13 | 0.0373 | 0.1 | 0.0373 | 0.1 | 0.0351 | 0.01 | 0.0351 | 0.02 | 0.057 | 0.1 |  |  | 0.037 | 0.06 | 0.037 | 0.06 | 0.037 | 0.06 | 1 | 1
2012-10-04 | 0.0373 | 0.1 | 0.0331 | 0.1 | 0.0351 | 0.01 | 0.0351 | 0.02 | 0.057 | 0.1 |  |  | 0.037 | 0.06 | 0.037 | 0.06 | 0.037 | 0.06 | 1 | 1
2012-11-08 | 0.0333 | 0.1 | 0.0333 | 0.1 | 0.0351 | 0.01 | 0.0351 | 0.02 | 0.057 | 0.1 |  |  | 0.037 | 0.06 | 0.037 | 0.06 | 0.037 | 0.06 | 1 | 1
2012-12-06 | 0.0333 | 0.1 | 0.0333 | 0.1 | 0.03 | 0.01 | 0.03 | 0.002 | 0.057 | 0.1 |  |  | 0.037 | 0.06 | 0.037 | 0.06 | 0.037 | 0.06 | 1 | 1
2013-01-10 | 0.0333 | 0.1 | 0.0333 | 0.1 | 0.03 | 0.01 | 0.03 | 0.002 | 0.057 | 0.1 |  |  | 0.213 | 0.06 | 0.037 | 0.06 | 0.072 | 0.06 | 1 | 1
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers