## Inf Conc.
Influent Concentrations (mg/l)
(wet season / dry season sampling: major dischargers for 2 years, minor dischargers for one year)
South Bayside System Authority
Bob Wandro (650)832-6238
Season | Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| (mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave
Dry 2012 | 2012-09-20 | 11.3 | 20.4 | 0.55 | 60 |  | 0.25 | 0.3 | 42 |  | 6.2 |  | 10 | 7.4 | 7.4 | 7.4 |  |  |  | 290 | Quarterly report due by 30 Oct.
Wet 2012/3 | [20 empty] | Quarterly report due by 30 Apr.
Dry 2013 |  |  |  | 0 | [16 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [20 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Glossary of Abbreviations
|  | TDN | Total Dissolved Nitrogen
|  | TKN | Total Kjedahl Nitrogen
|  | SKN | Soluble Kjedahl Nitrogen
|  | NH3 | Ammonia
|  | NO3 | Nitrate
|  | NO2 | Nitrite
|  | TP | Total Phosphorous
|  | TDP | Total Dissolved Phosphorous
|  | DRP | Dissolved Reactive Phosphorous
|  | TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
South Bayside System Authority
Bob Wandro (650)832-6238
Season | Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
(mm/dd/yyyy) | (mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow
Dry 2012 | 2012-09-20 | 11.3 | 20.4 | 23.4927 | 2562.84 | 0 | 10.6785 | 12.8142 | 1793.988 | 0 | 264.8268 | 0 | 771.12 | 12387.06 | Quarterly report due by 30 Oct.
Wet 2012/3 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 Apr.
Dry 2013 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Quarterly report due by 30 Oct.
Dry 2014 |  | 0 | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 | 0 | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
South Bayside System Authority
| Bob Wandro (650)832-6238 | [18 empty] | f
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total N % removal | Total P mg/l removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | Grab*** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | ((Inf N (TKN + NO3 + NO2) - Eff N))/(Inf N) | Inf TP - Eff TP | ((Inf TP - Eff TP))/(Inf TP)
2012-07-13 | 12.85 | 20.35 | 40.55 | 41 | 40 | 0.4 | 0.15 |  |  | 3.1 | 3.3 | 2.8 | 7.2 | 7.2 | 7.2 | 23.7 | 23.7 | 23.7 | 5.3 | 19 | 31.38% | 3.1 | 50% | Total NH3 missed
2012-07-27 | 15.22 | 21.04 | 38.96 | 39 | 38 | 0.33 | 0.63 |  |  | 3.5 | 3.4 | 3.5 | 7.1 | 7.1 | 7.1 | 24.5 | 24.5 | 24.5 | 6 | 20.59 | 34% | 2.7 | 43.55% | Total NH3 missed
2012-08-14 | 9.53 | 20.55 | 37.69 | 39 | 37 | 0.44 | 0.25 | 28 |  | 3.8 | 3.5 | 3.8 | 7.1 | 7.1 | 7.1 | 24.6 | 24.6 | 24.6 | 7.6 | 20.86 | 34.45% | 2.4 | 38.71%
2012-08-22 | 14.32 | 23.78 | 40.99 | 42 | 40 | 0.25 | 0.74 | 38 |  | 3.6 | 3.4 | 3.5 | 7.1 | 7.1 | 7.1 | 24.7 | 24.7 | 24.7 | 3.5 | 17.56 | 29% | 2.6 | 41.94%
2012-09-13 | 12.15 | 21.36 | 41.71 | 43 | 41 | 0.42 | 0.29 | 44 |  | 3.9 | 3.3 | 4.4 | 7.1 | 7.1 | 7.1 | 24.4 | 24.4 | 24.4 | 4.8 | 16.84 | 27.81% | 2.3 | 37.1%
2012-09-20 | 13.01 | 20.4 | 43.6 | 43 | 43 | 0.24 | 0.36 | 43 |  | 3.4 | 3.1 | 10 | 7.1 | 7.1 | 7.1 | 23.7 | 23.7 | 23.7 | 4.2 | 16.95 | 27.99% | 2.8 | 45.16% | Quarterly report due by 30 Oct.
2012-10-03 | 13.1 | 18 | 41.65 | 39 | 41 | 0.35 | 0.3 | 37 |  | 3.8 | 3.1 | 3.3 | 7 | 7 | 7 | 24.4 | 24.4 | 24.4 | 3 | 20.9 | 34.52% | 2.4 | 38.71%
2012-10-09 | 13.05 | 18 | 38.57 | 44 | 38 | 0.41 | 0.16 | 41 |  | 3.1 | 2.6 | 5.3 | 7.1 | 7.1 | 7.1 | 23.9 | 23.9 | 23.9 | 2.4 | 15.98 | 26.39% | 3.1 | 50%
2012-11-07 | 13.16 | 18 | 42.79 | 43 | 42 | 0.6 | 0.19 | 50 |  | 3 | 3 | 2.5 | 7.1 | 7.1 | 7.1 | 23.1 | 23.1 | 23.1 | 4 | 16.76 | 27.68% | 3.2 | 51.61%
2012-11-20 | 13.41 | 18 | 39.97 | 40 | 39 | 0.74 | 0.23 | 45 |  | 2.8 | 2.8 | 2.5 | 7.2 | 7.2 | 7.2 | 21.8 | 21.8 | 21.8 | 5.2 | 19.58 | 32.34% | 3.4 | 54.84%
2012-12-11 | 15.23 | 21 | 36.23 | 37 | 34 | 2.1 | 0.13 | 41 |  | 3.4 | 3.1 | 2.3 | 7.2 | 7.2 | 7.2 | 20.4 | 20.4 | 20.4 |  | 21.32 | 35.21% | 2.8 | 45.16% | TSS missed
2012-12-19 | 16.74 | 20 | 37.5 | 39 | 37 | 0.46 | 0.04 | 34 |  | 4.5 | 4 | 4 | 7.1 | 7.1 | 7.1 | 19.4 | 19.4 | 19.4 | 4.6 | 21.05 | 34.76% | 1.7 | 27.42% | Quarterly report due by 30 Jan.
2013-01-01 |  |  | 0
2013-01-15 |  |  | 0
2013-02-01 |  |  | 0
2013-02-15 |  |  | 0
2013-03-01 |  |  | 0
2013-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01 |  |  | 0
2013-04-15 |  |  | 0
2013-05-01 |  |  | 0
2013-05-15 |  |  | 0
2013-06-01 |  |  | 0
2013-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 |  |  | 0
2013-07-15 |  |  | 0
2013-08-01 |  |  | 0
2013-08-15 |  |  | 0
2013-09-01 |  |  | 0
2013-09-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01 |  |  | 0
2013-10-15 |  |  | 0
2013-11-01 |  |  | 0
2013-11-15 |  |  | 0
2013-12-01 |  |  | 0
2013-12-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01 |  |  | 0
2014-01-15 |  |  | 0
2014-02-01 |  |  | 0
2014-02-15 |  |  | 0
2014-03-01 |  |  | 0
2014-03-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01 |  |  | 0
2014-04-15 |  |  | 0
2014-05-01 |  |  | 0
2014-05-15 |  |  | 0
2014-06-01 |  |  | 0
2014-06-15 |  |  | 0 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Concentrations (mg/l)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 |  |  | 0
Wet 2012/3 |  |  | 0
Wet 2012/4 |  |  | 0
Wet 2012/4 |  |  | 0
NA= Not Available

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
South Bayside System Authority
Bob Wandro (650)832-6238
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total N % removal | Total P kg/d removal | Total P % removal
(mm/dd/yyyy) | Ave Daily | Peak | [9 empty] | Use Max Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP | (Inf TP - Eff TP)/(Inf TP)
2012-07-13 | 12.85 | 20.35 | 1969.6352 | 1991.493 | 1942.92 | 19.4292 | 7.2859 | 0 | 0 | 150.5763 | 160.2909 | 215.3844 | 257.4369 | 568.1245 | 21.97% | 114.2505 | 39.47%
2012-07-27 | 15.22 | 21.04 | 2241.4311 | 2243.7324 | 2186.2008 | 18.9854 | 36.2449 | 0 | 0 | 201.3606 | 195.6074 | 278.3592 | 345.1896 | 287.37 | 11.11% | 63.4662 | 26.14%
2012-08-14 | 9.53 | 20.55 | 1357.7219 | 1404.9126 | 1332.8658 | 15.8503 | 9.0059 | 1008.6552 | 0 | 136.8889 | 126.0819 | 295.1802 | 273.7778 | 1156.564 | 44.72% | 127.9379 | 52.39%
2012-08-22 | 14.32 | 23.78 | 2218.7723 | 2273.4432 | 2165.184 | 13.5324 | 40.0559 | 2056.9248 | 0 | 194.8666 | 184.0406 | 314.6094 | 189.4536 | 259.3012 | 10.03% | 69.9602 | 30.51%
2012-09-13 | 12.15 | 21.36 | 1915.6152 | 1974.861 | 1883.007 | 19.2893 | 13.3188 | 2020.788 | 0 | 179.1153 | 151.5591 | 355.2595 | 220.4496 | 578.8635 | 22.38% | 85.7115 | 42.77%
2012-09-20 | 13.01 | 20.4 | 2144.1521 | 2114.6454 | 2114.6454 | 11.8027 | 17.704 | 2114.6454 | 0 | 167.2045 | 152.4512 | 771.12 | 206.5468 | 442.1806 | 17.1% | 97.6223 | 42.43% | Quarterly report due by 30 Oct.
2012-10-03 | 13.1 | 18 | 2062.4247 | 1931.202 | 2030.238 | 17.3313 | 14.8554 | 1832.166 | 0 | 188.1684 | 153.5058 | 224.532 | 148.554 | 622.944 | 24.09% | 76.6584 | 42.04%
2012-10-09 | 13.05 | 18 | 1902.6195 | 2170.476 | 1874.502 | 20.2249 | 7.8926 | 2022.489 | 0 | 152.9199 | 128.2554 | 360.612 | 118.3896 | 387.7392 | 14.99% | 111.9069 | 51.57%
2012-11-07 | 13.16 | 18 | 2128.58 | 2139.0264 | 2089.2816 | 29.8469 | 9.4515 | 2487.24 | 0 | 149.2344 | 149.2344 | 170.1 | 198.9792 | 408.0079 | 15.78% | 115.5924 | 43.65%
2012-11-20 | 13.41 | 18 | 2026.0713 | 2027.592 | 1976.9022 | 37.5105 | 11.6587 | 2281.041 | 0 | 141.9314 | 141.9314 | 170.1 | 263.587 | 509.5716 | 19.7% | 122.8954 | 46.41%
2012-12-11 | 15.23 | 21 | 2085.7394 | 2130.0678 | 1957.3596 | 120.8957 | 7.484 | 2360.3454 | 0 | 195.736 | 178.4651 | 182.574 | 0 | 327.8851 | 12.68% | 69.0908 | 32.61%
2012-12-19 | 16.74 | 20 | 2372.895 | 2467.8108 | 2341.2564 | 29.1075 | 2.5311 | 2151.4248 | 0 | 284.7474 | 253.1088 | 302.4 | 291.0751 | 86.8833 | 3.359% | -19.9206 | 4.425% | Quarterly report due by 30 Jan.
2013-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2013-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-07-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-08-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-09-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Oct.
2013-10-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-10-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013-12-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Jan.
2014-01-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-01-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-02-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-03-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 Apr.
2014-04-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-04-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-05-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014-06-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | Quarterly report due by 30 July - End of 13267 requirement for major dischargers
Effluent Loads (kg/d)
Two additional samples during peak flow each wet season for major dischargers
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Wet 2012/4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
NA= Not Available

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
South Bayside System Authority
Bob Wandro (650)832-6238
Season | Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Dry 2012 | 2012-09-20 | 0.1 | 1 | 0.003 | 0.2 | 0.01 | 1 | 1 | 5 | 0.4 | 2 | 0.3 | 3 | 0.66 | 1 | Quarterly report due by 30 Oct.
Wet 2012/3 | [15 empty] | Quarterly report due by 30 Apr.
Dry 2013 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
Wet 2013/4 | [15 empty] | Quarterly report due by 30 Oct.
Dry 2014 | [15 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
South Bayside System Authority
Bob Wandro (650)832-6238
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
(mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-13 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.02 | 2 | 1 | 5 |  |  | 0.2 | 2 | 0.2 | 0.4 | 0.09 | 1 | 0.66 | 1
2012-07-27 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.02 | 2 | 1 | 5 |  |  | 0.2 | 1 | 0.4 | 0.8 | 0.09 | 1 | 0.66 | 1
2012-08-14 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.01 | 1 | 1 | 5 |  |  | 0.2 | 1 | 0.4 | 0.8 | 0.09 | 1 | 0.66 | 1
2012-08-22 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.02 | 2 | 1 | 5 |  |  | 0.4 | 2 | 0.4 | 0.8 | 0.09 | 1 | 0.66 | 1
2012-09-13 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.01 | 1 | 1 | 5 |  |  | 0.4 | 2 | 0.4 | 0.8 | 0.18 | 2 | 0.7 | 1
2012-09-20 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.01 | 1 | 1 | 5 |  |  | 0.2 | 1 | 0.4 | 0.8 | 0.3 | 3 | 0.7 | 1 | Quarterly report due by 30 Oct.
2012-10-03 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.01 | 1 | 1 | 5 |  |  | 0.2 | 1 | 0.4 | 0.8 | 0.09 | 1 | 0.7 | 1
2012-10-09 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.004 | 0.4 | 1 | 5 |  |  | 0.2 | 1 | 0.2 | 0.4 | 0.18 | 2 | 0.7 | 1
2012-11-07 | 0.1 | 1 | 0.1 | 1 | 0.006 | 0.4 | 0.01 | 1 | 0.2 | 1 |  |  | 0.2 | 1 | 0.2 | 0.4 | 0.09 | 1 | 0.7 | 1
2012-11-20 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.01 | 1 | 0.2 | 1 |  |  | 0.2 | 1 | 0.2 | 0.4 | 0.09 | 1 | 0.7 | 1
2012-12-11 | 0.1 | 1 | 0.1 | 1 | 0.015 | 1 | 0.004 | 0.4 | 0.2 | 1 |  |  | 0.2 | 1 | 0.2 | 0.4 | 0.09 | 1 | 0.7 | 1
2012-12-19 | 0.1 | 1 | 0.1 | 1 | 0.003 | 0.2 | 0.002 | 0.2 | 0.2 | 1 |  |  | 0.4 | 2 | 0.4 | 0.8 | 0.18 | 2 | 0.7 | 1 | Quarterly report due by 30 Jan.
2013-01-01
2013-01-15
2013-02-01
2013-02-15
2013-03-01
2013-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2013-04-01
2013-04-15
2013-05-01
2013-05-15
2013-06-01
2013-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for minor dischargers
2013-07-01
2013-07-15
2013-08-01
2013-08-15
2013-09-01
2013-09-15 | [20 empty] | Quarterly report due by 30 Oct.
2013-10-01
2013-10-15
2013-11-01
2013-11-15
2013-12-01
2013-12-15 | [20 empty] | Quarterly report due by 30 Jan.
2014-01-01
2014-01-15
2014-02-01
2014-02-15
2014-03-01
2014-03-15 | [20 empty] | Quarterly report due by 30 Apr.
2014-04-01
2014-04-15
2014-05-01
2014-05-15
2014-06-01
2014-06-15 | [20 empty] | Quarterly report due by 30 July - End of 13267 requirement for major dischargers