## Inf Conc.
Influent Concentrations (mg/l)
* Parameters not required for influent monitoring per agreement with Water Board staff: TDN, SKN, Urea, and TDP
** Not required for facilities that do not routinely collect influent pH and Temp data
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date | Flow (MGD) |  | TDN* | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP* | DRP | pH** |  |  | Temp (oC)** |  |  | TSS
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | 24HR-C *** | Min | Max | Ave | Min | Max | Ave
2012-07-05 | 34.17 | 48.51 | 0.49 | 42.7 |  | 0.38 | 0.11 | 28.7 |  | 6.02 |  | 2.28 | N/A | N/A | N/A | N/A | N/A | N/A | 261
2012-07-09 | 36.48 | 47.65 |  | 45.2 |  | 0.47 | 0.29 | 29.4 |  | 5.7 |  | 2.22 | N/A | N/A | N/A | N/A | N/A | N/A | 237
2012-07-17 | 36.72 | 47.38 |  | 45.6 |  | 0.78 | 0.59 | 30.2 |  | 5.83 |  | 2.5 | N/A | N/A | N/A | N/A | N/A | N/A | 265
2012-08-08 | 36.06 | 46.08 |  | 45.4 |  | 0.66 | 0.11 | 32 |  | 5.67 |  | 2.38 | N/A | N/A | N/A | N/A | N/A | N/A | 250
2012-08-22 | 35.43 | 42.93 |  | 45.1 |  | 0.59 | 0.65 | 30.1 |  | 6.6 |  | 4.6 | N/A | N/A | N/A | N/A | N/A | N/A | 321
2012-09-12 | 34.76 | 44.84 |  | 46.6 |  | 0.43 | 0.08 | 31.6 |  | 6.1 |  | 2.8 | N/A | N/A | N/A | N/A | N/A | N/A | 263
2012-09-27 | 34.69 | 46.51 |  | 48.3 |  | 0.24 | 0.012 | 33.4 |  | 5.83 |  | 2.41 | N/A | N/A | N/A | N/A | N/A | N/A | 240
Glossary of Abbreviations
| TDN | Total Dissolved Nitrogen
| TKN | Total Kjedahl Nitrogen
| SKN | Soluble Kjedahl Nitrogen
| NH3 | Ammonia
| NO3 | Nitrate
| NO2 | Nitrite
| TP | Total Phosphorous
| TDP | Total Dissolved Phosphorous
| DRP | Dissolved Reactive Phosphorous
| TSS | Total Suspended Solids

## Inf Loads
Influent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN* | NO3 | NO2 | Total NH3 | Urea* | TP | TDP | DRP | TSS
| Ave Daily | Peak | [9 empty] | Use Avg Flow *
2012-07-05 | 34.17 | 48.51 | 63.2897 | 5515.243 | 0 | 49.0818 | 14.2079 | 3706.9666 | 0 | 777.5589 | 0 | 294.4907 | 33711.4386
2012-07-09 | 36.48 | 47.65 | 0 | 6232.8269 | 0 | 64.8104 | 39.9894 | 4054.0954 | 0 | 785.9981 | 0 | 306.1256 | 32680.9728
2012-07-17 | 36.72 | 47.38 | 0 | 6329.353 | 0 | 108.2652 | 81.8929 | 4191.8083 | 0 | 809.2133 | 0 | 347.004 | 36782.424
2012-08-08 | 36.06 | 46.08 | 0 | 6188.3287 | 0 | 89.9625 | 14.9937 | 4361.8176 | 0 | 772.8596 | 0 | 324.4102 | 34076.7
2012-08-22 | 35.43 | 42.93 | 0 | 6040.0355 | 0 | 79.016 | 87.0515 | 4031.1545 | 0 | 883.9076 | 0 | 616.0568 | 42990.0534
2012-09-12 | 34.76 | 44.84 | 0 | 6122.9045 | 0 | 56.4989 | 10.5114 | 4152.0125 | 0 | 801.4961 | 0 | 367.8998 | 34556.3064
2012-09-27 | 34.69 | 46.51 | 0 | 6333.4921 | 0 | 31.4708 | 1.5735 | 4379.6819 | 0 | 764.4774 | 0 | 316.019 | 31470.768

## Eff Conc.
Effluent Concentrations (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
* Dischargers shall collect monthly / bimonthly samples "on varying days selected at random …" in accordance with NPDES permit Attachment G, provision III.A.3. Dates indicated here are approximate.
** Urea monitoring is required only 1/month for the regions five largest NPDES permittees: EBMUD, EBDA, SJSC, SFSE, and CCCSD
*** Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
Date* | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea** | TP | TDP | DRP | pH |  |  | Temp (oC) |  |  | TSS | Total N mg/l removal | Total P mg/l removal
| Ave Daily | Peak | SKN+NO3+NO2 | [8 empty] | 24-Hr comp *** | Min | Max | Ave | Min | Max | Ave |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP
2012-07-05 | 31.36 | 47.04 | 28.75 | 27.3 | 27.7 | 0.49 | 0.56 | 25.1 | N/A | 0.86 | 0.63 | 0.46 | N/A | N/A | 7.43 | N/A | N/A | 23.6 | 6.4 | 14.84 | 5.16
2012-07-09 | 34.49 | 46.39 | 27.53 | 27 | 25.9 | 0.51 | 1.12 | 24.5 | N/A | 0.72 | 0.55 | 0.34 | N/A | N/A | 7.37 | N/A | N/A | 24.1 | 4.8 | 17.33 | 4.98
2012-07-17 | 33.95 | 44.03 | 28.58 | 27.3 | 27.7 | 0.49 | 0.39 | 24.5 | 0.181 | 0.98 | 0.79 | 0.54 | N/A | N/A | 6.97 | N/A | N/A | 22 | 6.3 | 18.79 | 4.85
2012-08-08 | 33.81 | 44.08 | 30.34 | 27.9 | 28.3 | 0.64 | 1.4 | 26 | 0.3 | 0.8 | 0.61 | 0.39 | N/A | N/A | 7.33 | N/A | N/A | 25 | 6.3 | 16.23 | 4.87
2012-08-22 | 32.96 | 40.93 | 30.04 | 30.5 | 29.5 | 0.39 | 0.15 | 27.6 | N/A | 1.8 | 1.4 | 1 | N/A | N/A | 7.44 | N/A | N/A | 25.5 | 14.4 | 15.3 | 4.8
2012-09-12 | 32.29 | 42.29 | 30.2 | 29.4 | 28.9 | 0.63 | 0.67 | 27.2 | 0.102 | 0.89 | 0.71 | 0.56 | N/A | N/A | 7.27 | N/A | N/A | 24.6 | 6.6 | 16.41 | 5.21
2012-09-27 | 31.79 | 43.66 | 31.2 | 31.2 | 30.6 | 0.45 | 0.15 | 28.4 | N/A | 1.46 | 1.26 | 1.02 | N/A | N/A | 7.21 | N/A | N/A | 24.8 | 10.2 | 16.752 | 4.37

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
* DRP load calculation depends on sample type: If DRP sample is collected as a grab, calculate load using "max flow" value. If collected as composite, use Average Daily flow.
Date | Flow (MGD) |  | TDN | TKN | SKN | NO3 | NO2 | Total NH3 | Urea | TP | TDP | DRP | TSS | Total N kg/d removal | Total P kg/d removal
| Ave Daily | Peak | [9 empty] | Use 24-hr Comp Flow* |  | Inf N (TKN + NO3 + NO2) - Eff N | Inf TP - Eff TP
2012-07-05 | 31.36 | 47.04 | 3408.048 | 3236.1638 | 3283.5802 | 58.085 | 66.3828 | 2975.3741 | N/A | 101.9451 | 74.6807 | 54.5288 | 758.6611 | 2217.901 | 675.6138
2012-07-09 | 34.49 | 46.39 | 3589.1467 | 3520.0494 | 3376.64 | 66.4898 | 146.0169 | 3194.1189 | N/A | 93.868 | 71.7047 | 44.3265 | 625.7866 | 2605.0705 | 692.1301
2012-07-17 | 33.95 | 44.03 | 3667.7 | 3503.4363 | 3554.7687 | 62.8822 | 50.0491 | 3144.1095 | 23.2279 | 125.7644 | 101.3815 | 69.2987 | 808.4853 | 2903.1436 | 683.4489
2012-08-08 | 33.81 | 44.08 | 3877.5066 | 3565.6702 | 3616.7909 | 81.7932 | 178.9225 | 3322.8468 | 38.3405 | 102.2414 | 77.9591 | 49.8427 | 805.1513 | 2466.8991 | 670.6181
2012-08-22 | 32.96 | 40.93 | 3742.6476 | 3799.9584 | 3675.3696 | 48.5896 | 18.6883 | 3438.6509 | N/A | 224.2598 | 174.4243 | 124.5888 | 1794.0787 | 2338.8667 | 659.6478
2012-09-12 | 32.29 | 42.29 | 3686.0972 | 3588.4523 | 3527.4242 | 76.8954 | 81.7777 | 3319.9286 | 12.4497 | 108.63 | 86.6599 | 68.3515 | 805.5709 | 2442.7895 | 692.8661
2012-09-27 | 31.79 | 43.66 | 3749.1854 | 3749.1854 | 3677.0857 | 54.0748 | 18.0249 | 3412.7201 | N/A | 175.4427 | 151.4094 | 122.5695 | 1225.6952 | 2545.2512 | 589.0348

## Inf QAQC MLs
Influent MDL / ML (mg/l)
(major dischargers wet and dry season sampling for 2 years, minor dischargers for one year)
Date | TKN |  | NO3 |  | NO2 |  | Total NH3 |  | TP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-05 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-07-09 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-07-17 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-08-08 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-08-22 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-09-12 | 1.35 | N/A | 0.061 | 0 | 0.018 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A
2012-09-27 | 1.35 | N/A | 0.061 | 0 | 0.0011 | 0 | 0.83 | N/A | 0.076 | 0 | 0.076 | 0 | 10.5 | N/A

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
(major dischargers 2/month, minor dischargers 1/month)
Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS
| MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
2012-07-05 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | N/A | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-07-09 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | N/A | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-07-17 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-08-08 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-08-22 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | N/A | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-09-12 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | 0.01 | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A
2012-09-27 | 1.17 | N/A | 1.17 | N/A | 0.061 | 0 | 0.018 | 0 | 0.062 | N/A | N/A | N/A | 0.019 | 0 | 0.019 | 0 | 0.019 | 0 | 1.5 | N/A