Municipal Regional Permit (draft)

Provision C.3.g. (Treatment Alternative Compliance)

Install Hydraulically-Sized Onsite Treatment

Regulated Project

Maximize Onsite Hydrologic Source Control (site design measures) and Provide Equivalent Offsite Treatment2 at a Regional Project3

Onsite Treatment Impracticable1 and No Regional Project Available?

No

Yes

Yes

See Footnote 8

Participation in Regional Project or other equivalent water quality benefit project fund will burden project7?

Redevelopment and Brownfield4; Low- or Moderate Income or Senior Housing5; or Transit Village6?

Yes yesYesYes

No

No

Alternative Compliance by Providing Equivalent Offsite Treatment2

Alternative Compliance by Providing Equivalent Water Quality Benefit9

- Impracticable – Implementation of onsite treatment is considered impracticable under the following criteria:

- Projected cost of treatment measures (labor and materials) exceeds 2% of total project costs (NGOs would like to see the data that support the 2% value before permit issued.) (Jill: Can the project do treatment up to 2% of total project cost, even if it does not fully meet C.3.d. numeric sizing requirement?  NGO: then there should be extra review of that project)  (WB will try to add this concept to flow chart – add another box to represent this concept?); or

- Installation of treatment measures would result in inability of project sponsor to comply with other regulatory requirements at the federal, state and/or local levels.

- Regional Project – A regional or municipal stormwater treatment facility that discharges into the same watershed that the project does.  Do we want to specify criteria for use of this option (i.e., 5 years to completion)?

- Equivalent Offsite Treatment – Based on the area of new/replaced impervious surface created by the project, the amount of pollutant loading, surface area, or quantity of runoff, which would be treated if hydraulically-sized treatment controls, in accordance with Provision C.3.d., were installed onsite.  (Jill:  add “not to exceed 2% of total project cost)

- Brownfield – Use EPA definition but project must receive subsidy or similar benefits under a program designed to redevelop such sites.

- Low-income, moderate-income and senior housing – Use Government Code Section 65589.5(h)(3) or (4) or 65195(b) but for purposes of this section, only the “actual” low-income housing portion of the development will be allowed the “special treatment” provided in this section.

- Transit Village – Developments located within ¼ mile of an existing or planned bus, light rail, heavy rail, or intermodal station and/or major transfer point.  Bus stops are not included in this definition.  An intermodal station or transfer point is where different modes of transportation connect.

- Specify Criteria for demonstrating if participation in Regional Project or other equivalent water quality benefit project fund will unduly burden the project.

- Alternative compliance by equivalent offsite treatment is not required.

- Equivalent Water Quality Benefit will be limited to only certain types of projects in the same watershed (NGO comment that defining watershed will be important-small creeks impacted more.  Jill-wouldn’t a project-specific approach be enough?  Use CEQA process.) that will be specifically listed in the permit.

- Italicized items are more for HMP and not treatment.

- This flowchart represents WB Option for the alternative compliance section.  Individual programs/cities will no longer be able to submit other versions for approval.  This supersedes any alternative compliance programs previously approved by the EO.

- All:  We would like time to get feedback on this, and to come up with a BASMAA and NGO options.