LOS ANGELES COUNTY DEPARTMENT OF PUBLIC WORKS

GEOTECHNICAL AND MATERIALS ENGINEERING DIVISION

2012 WATER QUALITY MONITORING FOR

SOFT BOTTOM CHANNEL CLEANOUTS

Channel/Reach: Project 74






PCA: F7057920
Date: 09/22/12
	SAMPLE LOCATION
	Upstream of Project*
	Within Project*
	Downstream of Project*

	TIME#
	0736
	0749
	0804

	SAMPLE NO.
	PROJ74-1A
	PROJ74-2A
	PROJ74-3A

	TEMPERATURE (°F)
	69.9
	69.7
	69.9

	pH
	6.98
	6.98
	6.98

	TURBIDITY (NTUs)
	8.68
	3.40
	4.87

	DISSOLVED O2 (mg/L)
	8.461
	3.571
	4.621

	TOTAL SUSPENDED SOLIDS (mg/L)
	32.01
	4.001
	6.001


· * – Upstream of Project = 1, Within Project = 2, and Downstream of Project = 3 on sample labels and lab reports

· # – A = morning and P = afternoon on sample labels and lab reports

· Samples for Dissolved Oxygen and Total Suspended Solids were analyzed by GMED’s As-Needed Contract Environmental Laboratories, Sierra Analytical Labs (Sierra); 1 – Reference: Sierra Lab Report No. 1209259
· Field Equipment Used: Hanna Model HI 991300 pH/EC/TDS/T Probe; LaMotte 2020e Turbidimeter

FIELD NOTES:
· Met with Ben Limosnero, FMD 83rd St. Yard, on Saturday, 09/22, to discuss cleanout operations, scope of project, estimated number of days to complete the project, and water quality monitoring; surface water not diverted during field operations; last day of cleanout operations; no further monitoring or sampling.

· Upstream sampling point, #1: at the intersection of the open concrete box channel and the soft-bottom channel about 450 feet n/o the northeast corner of the intersection of the Artesia (91) Freeway and Vermont Avenue; see Figure 1 and Photo 1.

· Internal sampling point, #2: directly below the north edge of the Artesia (91) Freeway on the east bank of the soft-bottom channel; sampling point is approximately 100 feet e/o Vermont Avenue; see Figure 1 and Photo 2.

· Downstream sampling point, #3: in bottom of open concrete-lined trapezoidal channel immediately s/o the south wall of the overpass entrance to the Artesia Transit Center; about 95 feet e/o Vermont Avenue as measured along the sidewalk on the south side of the bridge/overpass; see Figure 2 and Photo 3.
C:/My Files/WQ-Soft Bottom Channels/Project 74/Fall 2012/wqmonitsheet.092212
