## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| LCC1 | Stearns Street | [10 empty] | 33.7954 | -118.1036
| SB4 | Sub-basin 4 - Spring Street Drain | [10 empty] | 33.8131 | -118.1395
| SB10 | Sub-basin 10 - Palo Verde | [10 empty] | 33.8104 | -118.1143
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
LCC1 | 2016-01-05 |  | WQ
SB10 | 2016-01-05 |  | WQ
SB4 | 2016-01-05 |  | WQ
LCC1 | 2016-02-17 |  | WQ
SB10 | 2016-02-17 |  | WQ
SB4 | 2016-02-17 |  | WQ
LCC1 | 2016-03-06 |  | WQ
SB10 | 2016-03-06 |  | WQ
SB4 | 2016-03-11 |  | WQ
LCC1 | 2016-07-18 |  | WQ
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.7 | = | None
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | pH |  | pH | 1 | 7.6 | = | None
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.067 | = | None
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.47 | = | None
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 111.8 | = | None
LCC-LCC1 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Dark |  |  | 12:30 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 88.9 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.15 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | pH |  | pH | 1 | 6.81 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.048 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.75 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 89.0 | = | None
LCC-SB10 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Brown |  |  | 11:50 | Field | 1 | Hydrolab Quanta |  |  |  | Moderate trash, leaves, branches | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 47.0 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.8 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | pH |  | pH | 1 | 7.63 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.057 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.79 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 115.5 | = | None
LCC-SB4 | 2016-01-05 | LCC_CIMP | WQ |  | Kinnetic | Murky |  |  | 11:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 94.2 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.49 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | pH |  | pH | 1 | 7.29 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.066 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 6.05 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 70.6 | = | None
LCC-LCC1 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 49.0 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.08 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | pH |  | pH | 1 | 7.63 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.076 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.04 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.04 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 108.4 | = | None
LCC-SB10 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 52.7 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.16 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | pH |  | pH | 1 | 7.11 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.051 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 6.40 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 77.9 | = | None
LCC-SB4 | 2016-02-17 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:05 | Field | 1 | Hydrolab Quanta |  |  |  | None | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 37.6 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 15.88 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | pH |  | pH | 1 | 6.53 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.043 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.02 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 10.59 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 106.69 | = | None
LCC-LCC1 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic |  |  |  | 21:45 | Field | 1 | Hydrolab Quanta |  |  |  | Styrofoam | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 68.8 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.0 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | pH |  | pH | 1 | 6.36 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.045 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.02 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.72 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 97.7 | = | None
LCC-SB10 | 2016-03-06 | LCC_CIMP | WQ |  | Kinnetic | Opaque |  |  | 8:10 | Field | 1 | Hydrolab Quanta |  |  |  | Leaves | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 53.5 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.75 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | pH |  | pH | 1 | 7.92 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.045 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.02 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.55 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.6 | = | None
LCC-SB4 | 2016-03-11 | LCC_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 15:45 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 106 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 28.89 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | pH |  | pH | 1 | 9.28 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 2.16 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 1.11 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 7.89 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 105.5 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 | Hydrolab Quanta |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 25.0 | = | None
LCC-LCC1 | 2016-07-18 | LCC_CIMP | WQ |  | Kinnetic | Yellow, green |  |  | 13:18 | Field | 1 |  |  |  |  | Green algae, normal vegetative growrth | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 0.0685 | = | None
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G30: Too dark to see
Note on G31: Too dark to see
Note on G32: Too dark to see
Note on G33: Too dark to see
Note on G34: Too dark to see
Note on G35: Too dark to see
Note on G36: Too dark to see
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Format: hh:mm Default Value: 00:00
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L1: Default Value: 1
Note on M1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on M72: Kinnetic: Timed particles and averaged for velocity. Nto sure what to put
Note on O1: LookUp List: VariableCodesLookUp
Note on P1: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S1: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T1: LookUp List: AnalyteLookUp
Note on U1: LookUp List: FractionLookUp
Note on V1: LookUp List: UnitLookUp
Note on W1: Default value: 1
Note on X1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on X48: Air bubbles under membrane
Note on X49: Air bubbles under membrane
Note on X55: Log book notes bubble in DO membrane
Note on X56: Log book notes bubble in DO membrane
Note on Y1: LookUp List: ResQualLookUp Default Value: =
Note on Z1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA1: LookUp List: ComplianceLookUp Default Value: NR
Note on AB1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950