## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| LLAR2 | Dominguez Gas Pump Station | [10 empty] | 33.8394 | -118.2032
| S10 | LA River @ Wardlow | [10 empty] | 33.819 | -118.2056
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
LLAR2 | 2016-01-05 |  | WQ
S10 | 2016-03-16 |  | WQ
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 10.91 | = | None
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | pH |  | pH | 1 | 7.91 | = | None
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.571 | = | None
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.28 | = | None
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.43 | = | None
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 99.0 | = | None
LLAR-LLAR2 | 2016-01-05 | LLAR_CIMP | WQ |  | Kinnetic | Brown |  |  | 14:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, some trash, some floating debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 21.7 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 15.72 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | pH |  | pH | 1 | 6.58 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.209 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.10 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.39 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 92.1 | = | None
LLAR-S10 | 2016-03-16 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 8:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 222 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Temperature |  | Deg C | 1 | 28.98 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | pH |  | pH | 1 | 9.35 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Electric Conductivity |  | mS/cm | 1 | 1.139 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Salinity |  | PSS | 1 | 0.56 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Dissolved Oxygen |  | mg/L | 1 | 14.96 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Dissolved Oxygen |  | % SAT | 1 | 253 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Turbidity |  | NTU | 1 | 17.9 | = | None
LLAR-LAR1-9 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | yellowish-clear |  |  | 11:24 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, tractor downstream, algae,, plants |  | Field Measure | Flow |  | (ft^3)/s | 1 | 30.335 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Temperature |  | Deg C | 1 | 32.20 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | pH |  | pH | 1 | 9.52 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Electric Conductivity |  | mS/cm | 1 | 1.148 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Salinity |  | PSS | 1 | 0.57 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Dissolved Oxygen |  | mg/L | 1 | 19.25 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Dissolved Oxygen |  | % SAT | 1 | 265 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Turbidity |  | NTU | 1 | 16.1 | = | None
LLAR-LAR1-13 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Greenish-clear |  |  | 13:10 |  | 2 | KLI Flow Meter | 0 | m | Surface | Birds, trash, floatables |  | Field Measure | Flow |  | (ft^3)/s | 1 | 13.77 | = | None
LLAR-LARB1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:42 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A few birds in the area, larger amounts 30ft downstream | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 31.1 | = | None
LLAR-LARB1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:42 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A few birds in the area, larger amounts 30ft downstream | samplewater | FieldMeasure | pH |  | pH | 1 | 9.58 | = | None
LLAR-LARB1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:42 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A few birds in the area, larger amounts 30ft downstream | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.046 | = | None
LLAR-LARB1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:42 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A few birds in the area, larger amounts 30ft downstream | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.5 | = | None
LLAR-LARB1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:42 | Field | 1 | KLI Flow Meter | 0 | m | Surface | A few birds in the area, larger amounts 30ft downstream | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 66.46 | = | None
LLAR-LARB1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Floatables |  |  | 14:16 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 33.3 | = | None
LLAR-LARB1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Debris, floating algae, some sediment |  |  | 10:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, trash along the water edges | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.4 | = | None
LLAR-LARB1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Debris, floating algae, some sediment |  |  | 10:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, trash along the water edges | samplewater | FieldMeasure | pH |  | pH | 1 | 8.63 | = | None
LLAR-LARB1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Debris, floating algae, some sediment |  |  | 10:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, trash along the water edges | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.417 | = | None
LLAR-LARB1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Debris, floating algae, some sediment |  |  | 10:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, trash along the water edges | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.7 | = | None
LLAR-LARB1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Debris, floating algae, some sediment |  |  | 10:36 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, trash along the water edges | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 56.88 | = | None
LLAR-LARB1 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Slight algae odor, floatables |  |  | 12:45 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Turbid water, floating algae, a lot of birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 22.02 | = | None
LLAR-LARB1 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Slight algae odor, floatables |  |  | 12:45 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Turbid water, floating algae, a lot of birds | samplewater | FieldMeasure | pH |  | pH | 1 | 9.64 | = | None
LLAR-LARB1 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Slight algae odor, floatables |  |  | 12:45 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Turbid water, floating algae, a lot of birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.151 | = | None
LLAR-LARB1 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Slight algae odor, floatables |  |  | 12:45 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Turbid water, floating algae, a lot of birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB1 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Slight algae odor, floatables |  |  | 12:45 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Turbid water, floating algae, a lot of birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 15.82 | = | None
LLAR-LARB1 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Some trash, a lot of birds |  |  | 13:03 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, some homeless activity | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.30 | = | None
LLAR-LARB1 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Some trash, a lot of birds |  |  | 13:03 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, some homeless activity | samplewater | FieldMeasure | pH |  | pH | 1 | 10.49 | = | None
LLAR-LARB1 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Some trash, a lot of birds |  |  | 13:03 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, some homeless activity | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.165 | = | None
LLAR-LARB1 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Some trash, a lot of birds |  |  | 13:03 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, some homeless activity | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.58 | = | None
LLAR-LARB1 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Some trash, a lot of birds |  |  | 13:03 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Algae, some homeless activity | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 16.63 | = | None
LLAR-LARB1 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:02 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds upstream | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.27 | = | None
LLAR-LARB1 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:02 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds upstream | samplewater | FieldMeasure | pH |  | pH | 1 | 9.14 | = | None
LLAR-LARB1 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:02 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds upstream | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.134 | = | None
LLAR-LARB1 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:02 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds upstream | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB1 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:02 | Field | 1 | KLI Flow Meter | 0 | m | Surface | A lot of birds upstream | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 26.62 | = | None
LLAR-LARB1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, very little trash, lotsof algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 23.67 | = | None
LLAR-LARB1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, very little trash, lotsof algae | samplewater | FieldMeasure | pH |  | pH | 1 | 10.6 | = | None
LLAR-LARB1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, very little trash, lotsof algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.15 | = | None
LLAR-LARB1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, very little trash, lotsof algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:05 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Some birds, very little trash, lotsof algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 23.37 | = | None
LLAR-LARB1 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, little trash, leaves twigs, algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 23.88 | = | None
LLAR-LARB1 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, little trash, leaves twigs, algae | samplewater | FieldMeasure | pH |  | pH | 1 | 9.62 | = | None
LLAR-LARB1 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, little trash, leaves twigs, algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.133 | = | None
LLAR-LARB1 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, little trash, leaves twigs, algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB1 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, little trash, leaves twigs, algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 22.16 | = | None
LLAR-LARB1 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:38 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, floatables, birds, leaves, trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 29.1 | = | None
LLAR-LARB1 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:38 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, floatables, birds, leaves, trash | samplewater | FieldMeasure | pH |  | pH | 1 | 9.66 | = | None
LLAR-LARB1 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:38 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, floatables, birds, leaves, trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.13 | = | None
LLAR-LARB1 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:38 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, floatables, birds, leaves, trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB1 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:38 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Algae, floatables, birds, leaves, trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 72.6 | = | None
LLAR-LARB1 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:06 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Algae, no odor, some trash, birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 23.91 | = | None
LLAR-LARB1 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:06 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Algae, no odor, some trash, birds | samplewater | FieldMeasure | pH |  | pH | 1 | 9.06 | = | None
LLAR-LARB1 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:06 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Algae, no odor, some trash, birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.07 | = | None
LLAR-LARB1 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:06 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Algae, no odor, some trash, birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.52 | = | None
LLAR-LARB1 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:06 | Field | 2 | KLI Flow Meter | 0 | m | Surface | Algae, no odor, some trash, birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 36.15 | = | None
LLAR-LARB2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Floatables |  |  | 14:16 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Birds | samplewater | FieldMeasure | pH |  | pH | 1 | 10.36 | = | None
LLAR-LARB2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Floatables |  |  | 14:16 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.115 | = | None
LLAR-LARB2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Floatables |  |  | 14:16 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.6 | = | None
LLAR-LARB2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Floatables |  |  | 14:16 | Field | 1 | KLI Flow Meter | 0 | m | Surface | No Birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 43.79 | = | None
LLAR-LARB2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Trash in area, algae floating |  |  | 10:06 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Homeless camp nearby, birds upstream | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.5 | = | None
LLAR-LARB2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Trash in area, algae floating |  |  | 10:06 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Homeless camp nearby, birds upstream | samplewater | FieldMeasure | pH |  | pH | 1 | 8.76 | = | None
LLAR-LARB2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Trash in area, algae floating |  |  | 10:06 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Homeless camp nearby, birds upstream | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.322 | = | None
LLAR-LARB2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Trash in area, algae floating |  |  | 10:06 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Homeless camp nearby, birds upstream | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.7 | = | None
LLAR-LARB2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Trash in area, algae floating |  |  | 10:06 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Homeless camp nearby, birds upstream | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 66.38 | = | None
LLAR-LARB2 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Odor of algae |  |  | 12:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of trash and algae, some birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.12 | = | None
LLAR-LARB2 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Odor of algae |  |  | 12:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of trash and algae, some birds | samplewater | FieldMeasure | pH |  | pH | 1 | 9.34 | = | None
LLAR-LARB2 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Odor of algae |  |  | 12:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of trash and algae, some birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.186 | = | None
LLAR-LARB2 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Odor of algae |  |  | 12:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of trash and algae, some birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.59 | = | None
LLAR-LARB2 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Odor of algae |  |  | 12:00 | Field | 1 | KLI Flow Meter | 0 | m | Surface | A lot of trash and algae, some birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 22.59 | = | None
LLAR-LARB2 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Turbid water |  |  | 14:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.51 | = | None
LLAR-LARB2 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Turbid water |  |  | 14:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | pH |  | pH | 1 | 9.93 | = | None
LLAR-LARB2 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Turbid water |  |  | 14:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.191 | = | None
LLAR-LARB2 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Turbid water |  |  | 14:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.59 | = | None
LLAR-LARB2 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Turbid water |  |  | 14:10 | Field | 1 | KLI Flow Meter | 0 | m | Surface |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 13.08 | = | None
LLAR-LARB2 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Lots of bird activity | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.87 | = | None
LLAR-LARB2 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Lots of bird activity | samplewater | FieldMeasure | pH |  | pH | 1 | 8.87 | = | None
LLAR-LARB2 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Lots of bird activity | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.211 | = | None
LLAR-LARB2 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Lots of bird activity | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.59 | = | None
LLAR-LARB2 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Lots of bird activity | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 76.7 | = | None
LLAR-LARB2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:33 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Trash in river, birds upstream, lots of algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.99 | = | None
LLAR-LARB2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:33 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Trash in river, birds upstream, lots of algae | samplewater | FieldMeasure | pH |  | pH | 1 | 10.54 | = | None
LLAR-LARB2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:33 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Trash in river, birds upstream, lots of algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.164 | = | None
LLAR-LARB2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:33 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Trash in river, birds upstream, lots of algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:33 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Trash in river, birds upstream, lots of algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 45.74 | = | None
LLAR-LARB2 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:15 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Ducks and other birds, lots of trash, shopping carts | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 20.51 | = | None
LLAR-LARB2 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:15 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Ducks and other birds, lots of trash, shopping carts | samplewater | FieldMeasure | pH |  | pH | 1 | 9.36 | = | None
LLAR-LARB2 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:15 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Ducks and other birds, lots of trash, shopping carts | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.17 | = | None
LLAR-LARB2 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:15 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Ducks and other birds, lots of trash, shopping carts | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.58 | = | None
LLAR-LARB2 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:15 | Field | 2 | KLI Flow Meter | 0 | m | Surface | Ducks and other birds, lots of trash, shopping carts | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 33.84 | = | None
LLAR-LARB2 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:07 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some floatables, turbidity, algae, birds debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 26.29 | = | None
LLAR-LARB2 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:07 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some floatables, turbidity, algae, birds debris | samplewater | FieldMeasure | pH |  | pH | 1 | 9.52 | = | None
LLAR-LARB2 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:07 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some floatables, turbidity, algae, birds debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.12 | = | None
LLAR-LARB2 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:07 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some floatables, turbidity, algae, birds debris | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB2 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 13:07 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Some floatables, turbidity, algae, birds debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 51.02 | = | None
LLAR-LARB2 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, some trash, birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.23 | = | None
LLAR-LARB2 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, some trash, birds | samplewater | FieldMeasure | pH |  | pH | 1 | 8.74 | = | None
LLAR-LARB2 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, some trash, birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.110 | = | None
LLAR-LARB2 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, some trash, birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.54 | = | None
LLAR-LARB2 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:25 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Floatables, some trash, birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 100.3 | = | None
LLAR-LARB7 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Slight foam along water edge |  |  | 14:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No debris, a few birds in the vicinity upstream | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 34.1 | = | None
LLAR-LARB7 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Slight foam along water edge |  |  | 14:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No debris, a few birds in the vicinity upstream | samplewater | FieldMeasure | pH |  | pH | 1 | 10.39 | = | None
LLAR-LARB7 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Slight foam along water edge |  |  | 14:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No debris, a few birds in the vicinity upstream | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.153 | = | None
LLAR-LARB7 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Slight foam along water edge |  |  | 14:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No debris, a few birds in the vicinity upstream | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.6 | = | None
LLAR-LARB7 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 14:36 | Field | 1 | KLI Flow Meter | 0 | m | Surface | No debris, a few birds in the vicinity upstream | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 77.15 | = | None
LLAR-LARB7 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:43 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, no trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 20.5 | = | None
LLAR-LARB7 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:43 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, no trash | samplewater | FieldMeasure | pH |  | pH | 1 | 8.5 | = | None
LLAR-LARB7 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:43 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, no trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.417 | = | None
LLAR-LARB7 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:43 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, no trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.7 | = | None
LLAR-LARB7 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:43 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Clean, no trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 57.44 | = | None
LLAR-LARB7 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Some floatables |  |  | 11:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Few birds, no trash or debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.06 | = | None
LLAR-LARB7 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Some floatables |  |  | 11:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Few birds, no trash or debris | samplewater | FieldMeasure | pH |  | pH | 1 | 9.35 | = | None
LLAR-LARB7 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Some floatables |  |  | 11:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Few birds, no trash or debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.91 | = | None
LLAR-LARB7 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Some floatables |  |  | 11:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Few birds, no trash or debris | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.59 | = | None
LLAR-LARB7 | 2015-11-19 | LLAR_CIMP | WQ |  | Kinnetic | Some floatables |  |  | 11:30 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Few birds, no trash or debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 35.28 | = | None
LLAR-LARB7 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Bubbles, foamy, turbid | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.96 | = | None
LLAR-LARB7 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Bubbles, foamy, turbid | samplewater | FieldMeasure | pH |  | pH | 1 | 10.12 | = | None
LLAR-LARB7 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Bubbles, foamy, turbid | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.187 | = | None
LLAR-LARB7 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Bubbles, foamy, turbid | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.59 | = | None
LLAR-LARB7 | 2015-12-09 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:40 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Bubbles, foamy, turbid | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 35.34 | = | None
LLAR-LARB7 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of branches, leaves and some trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 18.10 | = | None
LLAR-LARB7 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of branches, leaves and some trash | samplewater | FieldMeasure | pH |  | pH | 1 | 9.47 | = | None
LLAR-LARB7 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of branches, leaves and some trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.205 | = | None
LLAR-LARB7 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of branches, leaves and some trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.60 | = | None
LLAR-LARB7 | 2016-01-26 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:50 | Field | 1 | KLI Flow Meter | 0 | m | Surface | A lot of branches, leaves and some trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 69.337 | = | None
LLAR-LARB7 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some turbidity, floatables, debris, algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 22.89 | = | None
LLAR-LARB7 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some turbidity, floatables, debris, algae | samplewater | FieldMeasure | pH |  | pH | 1 | 11.02 | = | None
LLAR-LARB7 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some turbidity, floatables, debris, algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.157 | = | None
LLAR-LARB7 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some turbidity, floatables, debris, algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB7 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:20 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Some turbidity, floatables, debris, algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 58.406 | = | None
LLAR-LARB7 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:57 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Sone turbidity, no birds, very little trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 20.85 | = | None
LLAR-LARB7 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:57 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Sone turbidity, no birds, very little trash | samplewater | FieldMeasure | pH |  | pH | 1 | 9.49 | = | None
LLAR-LARB7 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:57 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Sone turbidity, no birds, very little trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.173 | = | None
LLAR-LARB7 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:57 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Sone turbidity, no birds, very little trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB7 | 2016-03-03 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:57 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Sone turbidity, no birds, very little trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 63.227 | = | None
LLAR-LARB7 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, turbid, some birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 26.8 | = | None
LLAR-LARB7 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, turbid, some birds | samplewater | FieldMeasure | pH |  | pH | 1 | 9.64 | = | None
LLAR-LARB7 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, turbid, some birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.14 | = | None
LLAR-LARB7 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, turbid, some birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB7 | 2016-04-05 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 12:52 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Floatables, turbid, some birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 45.4 | = | None
LLAR-LARB7 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 20.17 | = | None
LLAR-LARB7 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables | samplewater | FieldMeasure | pH |  | pH | 1 | 8.8 | = | None
LLAR-LARB7 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.105 | = | None
LLAR-LARB7 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.54 | = | None
LLAR-LARB7 | 2016-05-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 10:12 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Floatables | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 51.84 | = | None
LLAR-LARE1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, floating debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 23.6 | = | None
LLAR-LARE1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, floating debris | samplewater | FieldMeasure | pH |  | pH | 1 | 7.98 | = | None
LLAR-LARE1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, floating debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 43.51 | = | None
LLAR-LARE1 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, floating debris | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 28.2 | = | None
LLAR-LARE1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 11:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 22.4 | = | None
LLAR-LARE1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 11:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | pH |  | pH | 1 | 7.91 | = | None
LLAR-LARE1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 11:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 33.42 | = | None
LLAR-LARE1 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 11:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 22.1 | = | None
LLAR-LARE1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 11:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Calm, no floatables, some boats passing by | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.09 | = | None
LLAR-LARE1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 11:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Calm, no floatables, some boats passing by | samplewater | FieldMeasure | pH |  | pH | 1 | 8.16 | = | None
LLAR-LARE1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 11:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Calm, no floatables, some boats passing by | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 48.4 | = | None
LLAR-LARE1 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 11:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Calm, no floatables, some boats passing by | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 31.53 | = | None
LLAR-LARE1 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Boats, some birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.50 | = | None
LLAR-LARE1 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Boats, some birds | samplewater | FieldMeasure | pH |  | pH | 1 | 7.80 | = | None
LLAR-LARE1 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Boats, some birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 49.5 | = | None
LLAR-LARE1 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Boats, some birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 31.52 | = | None
LLAR-LARE2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Open water |  |  | 9:44 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Minor floating debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 23.8 | = | None
LLAR-LARE2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Open water |  |  | 9:44 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Minor floating debris | samplewater | FieldMeasure | pH |  | pH | 1 | 8.01 | = | None
LLAR-LARE2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Open water |  |  | 9:44 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Minor floating debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 40.53 | = | None
LLAR-LARE2 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic | Open water |  |  | 9:44 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Minor floating debris | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 23.8 | = | None
LLAR-LARE2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 10:31 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 22.5 | = | None
LLAR-LARE2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 10:31 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | pH |  | pH | 1 | 8.09 | = | None
LLAR-LARE2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 10:31 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 29.08 | = | None
LLAR-LARE2 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Green Water |  |  | 10:31 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | No Trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 17.7 | = | None
LLAR-LARE2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, some birds, some debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.55 | = | None
LLAR-LARE2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, some birds, some debris | samplewater | FieldMeasure | pH |  | pH | 1 | 8.51 | = | None
LLAR-LARE2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, some birds, some debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 39.9 | = | None
LLAR-LARE2 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Clear, slight yellowish |  |  | 11:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Clean, some birds, some debris | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 24.49 | = | None
LLAR-LARE2 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.88 | = | None
LLAR-LARE2 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | pH |  | pH | 1 | 7.76 | = | None
LLAR-LARE2 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 41.8 | = | None
LLAR-LARE2 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 13:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 25.82 | = | None
LLAR-LARE3 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:13 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Many birds, minimal trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 31.6 | = | None
LLAR-LARE3 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:13 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Many birds, minimal trash | samplewater | FieldMeasure | pH |  | pH | 1 | 9.51 | = | None
LLAR-LARE3 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:13 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Many birds, minimal trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.052 | = | None
LLAR-LARE3 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:13 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Many birds, minimal trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.5 | = | None
LLAR-LARE3 | 2015-09-24 | LLAR_CIMP | WQ |  | Kinnetic |  |  |  | 13:13 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Many birds, minimal trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 44.31 | = | None
LLAR-LARE3 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:56 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds, leaves and branches | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 21.5 | = | None
LLAR-LARE3 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:56 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds, leaves and branches | samplewater | FieldMeasure | pH |  | pH | 1 | 8.70 | = | None
LLAR-LARE3 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:56 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds, leaves and branches | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.417 | = | None
LLAR-LARE3 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:56 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | A lot of birds, leaves and branches | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.7 | = | None
LLAR-LARE3 | 2015-10-22 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:56 | Field | 1 | KLI Flow Meter | 0 | m | Surface | A lot of birds, leaves and branches | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 53.93 | = | None
LLAR-LARE3 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 23.85 | = | None
LLAR-LARE3 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | pH |  | pH | 1 | 10.55 | = | None
LLAR-LARE3 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.136 | = | None
LLAR-LARE3 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:24 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARE3 | 2016-02-11 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:24 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 88.51375 | = | None
LLAR-LARE3 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:28 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 32.41 | = | None
LLAR-LARE3 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:28 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | pH |  | pH | 1 | 9.75 | = | None
LLAR-LARE3 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:28 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.054 | = | None
LLAR-LARE3 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:28 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.53 | = | None
LLAR-LARE3 | 2016-06-02 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 13:28 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 5.767 | = | None
LLAR-LARB1 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 13:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, trash, algae, floatables | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 32.20 | = | None
LLAR-LARB1 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 13:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | pH |  | pH | 1 | 9.52 | = | None
LLAR-LARB1 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 13:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.148 | = | None
LLAR-LARB1 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 13:10 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB1 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 13:10 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, algae, trash, floatables | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 12.33 | = | None
LLAR-LARB1 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 11:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor, light green particles, plants on surface, algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 30.12 | = | None
LLAR-LARB1 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 11:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor, light green particles, plants on surface, algae | samplewater | FieldMeasure | pH |  | pH | 1 | 9.17 | = | None
LLAR-LARB1 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 11:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor, light green particles, plants on surface, algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.032 | = | None
LLAR-LARB1 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 11:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, tractor, light green particles, plants on surface, algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.51 | = | None
LLAR-LARB1 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish, greenish |  |  | 11:58 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Birds, tractor, light green particles, plants on surface, algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 20.44 | = | None
LLAR-LARB1 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Clear, yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Dry algae, plants, birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 27.88 | = | None
LLAR-LARB1 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Clear, yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Dry algae, plants, birds | samplewater | FieldMeasure | pH |  | pH | 1 | 9.07 | = | None
LLAR-LARB1 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Clear, yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Dry algae, plants, birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.117 | = | None
LLAR-LARB1 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Clear, yellowish |  |  | 12:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Dry algae, plants, birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB1 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Clear, yellowish |  |  | 12:20 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Dry algae, plants, birds | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 76.38 | = | None
LLAR-LARB2 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, trash, floatables | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 30.41 | = | None
LLAR-LARB2 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, trash, floatables | samplewater | FieldMeasure | pH |  | pH | 1 | 9.51 | = | None
LLAR-LARB2 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, trash, floatables | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.129 | = | None
LLAR-LARB2 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Algae, trash, floatables | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.56 | = | None
LLAR-LARB2 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:35 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Algae, trash, floatables | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 36.06 | = | None
LLAR-LARB2 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Clear yellowish |  |  | 11:10 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Bad odor, lots of trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 27.70 | = | None
LLAR-LARB2 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Clear yellowish |  |  | 11:10 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Bad odor, lots of trash | samplewater | FieldMeasure | pH |  | pH | 1 | 9.10 | = | None
LLAR-LARB2 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Clear yellowish |  |  | 11:10 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Bad odor, lots of trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.021 | = | None
LLAR-LARB2 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Clear yellowish |  |  | 11:10 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Bad odor, lots of trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.51 | = | None
LLAR-LARB2 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Clear yellowish |  |  | 11:10 | Field | 2 | KLI Flow Meter | 0 | m | Surface | Bad odor, lots of trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 53.89 | = | None
LLAR-LARB2 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Green, some brown |  |  | 11:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some plants, a lot of algae, trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 27.37 | = | None
LLAR-LARB2 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Green, some brown |  |  | 11:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some plants, a lot of algae, trash | samplewater | FieldMeasure | pH |  | pH | 1 | 8.88 | = | None
LLAR-LARB2 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Green, some brown |  |  | 11:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some plants, a lot of algae, trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.110 | = | None
LLAR-LARB2 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Green, some brown |  |  | 11:36 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some plants, a lot of algae, trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.54 | = | None
LLAR-LARB2 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Green, some brown |  |  | 11:36 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Some plants, a lot of algae, trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 39.86 | = | None
LLAR-LARB7 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:20 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Floatables, little trash, algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 31.10 | = | None
LLAR-LARB7 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:20 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Floatables, little trash, algae | samplewater | FieldMeasure | pH |  | pH | 1 | 9.63 | = | None
LLAR-LARB7 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:20 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Floatables, little trash, algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.138 | = | None
LLAR-LARB7 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:20 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Floatables, little trash, algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.57 | = | None
LLAR-LARB7 | 2016-06-23 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish |  |  | 12:20 | Field | 2 | KLI Flow Meter | 0 | m | Surface | Floatables, little trash, algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 33.58 | = | None
LLAR-LARB7 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Green ish-clear |  |  | 10:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, plant material, little to no trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 27.89 | = | None
LLAR-LARB7 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Green ish-clear |  |  | 10:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, plant material, little to no trash | samplewater | FieldMeasure | pH |  | pH | 1 | 9.11 | = | None
LLAR-LARB7 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Green ish-clear |  |  | 10:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, plant material, little to no trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.012 | = | None
LLAR-LARB7 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Green ish-clear |  |  | 10:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Floatables, plant material, little to no trash | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.5 | = | None
LLAR-LARB7 | 2016-07-14 | LLAR_CIMP | WQ |  | Kinnetic | Green ish-clear |  |  | 10:40 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Floatables, plant material, little to no trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 44.7 | = | None
LLAR-LARB7 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 11:17 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Suds, algae, small plant material, homeless | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 28.24 | = | None
LLAR-LARB7 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 11:17 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Suds, algae, small plant material, homeless | samplewater | FieldMeasure | pH |  | pH | 1 | 9.56 | = | None
LLAR-LARB7 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 11:17 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Suds, algae, small plant material, homeless | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.107 | = | None
LLAR-LARB7 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 11:17 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Suds, algae, small plant material, homeless | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.54 | = | None
LLAR-LARB7 | 2016-08-07 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 11:17 | Field | 1 | KLI Flow Meter | 0 | m | Surface | Suds, algae, small plant material, homeless | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 46.93 | = | None
LLAR-LARE1 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 20.39 | = | None
LLAR-LARE1 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | pH |  | pH | 1 | 8.00 | = | None
LLAR-LARE1 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 50.6 | = | None
LLAR-LARE1 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 9:37 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds, boats | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 33.22 | = | None
LLAR-LARE2 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 20.09 | = | None
LLAR-LARE2 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds | samplewater | FieldMeasure | pH |  | pH | 1 | 7.82 | = | None
LLAR-LARE2 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 50.8 | = | None
LLAR-LARE2 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Clear |  |  | 10:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Some birds | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 32.91 | = | None
LLAR-LARE3 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 12:47 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, plants, homeless, algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 29.39 | = | None
LLAR-LARE3 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 12:47 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, plants, homeless, algae | samplewater | FieldMeasure | pH |  | pH | 1 | 9.31 | = | None
LLAR-LARE3 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 12:47 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, plants, homeless, algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.095 | = | None
LLAR-LARE3 | 2016-08-17 | LLAR_CIMP | WQ |  | Kinnetic | Yellowish-clear |  |  | 12:47 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Birds, plants, homeless, algae | samplewater | FieldMeasure | Salinity |  | ppt | 1 | 0.53 | = | None
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Format: hh:mm Default Value: 00:00
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L1: Default Value: 1
Note on M1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on O1: LookUp List: VariableCodesLookUp
Note on P1: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S1: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T1: LookUp List: AnalyteLookUp
Note on U1: LookUp List: FractionLookUp
Note on V1: LookUp List: UnitLookUp
Note on W1: Default value: 1
Note on X1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on Y1: LookUp List: ResQualLookUp Default Value: =
Note on Z1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA1: LookUp List: ComplianceLookUp Default Value: NR
Note on AB1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950