## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| GR1 | San Gabriel River above Spring St. | [10 empty] | 33.8117 | 118.0911
| GR1-HR | San Gabriel River above Spring St. | [10 empty] | 33.8117 | 118.0911
| NFC1 | N. Fork Coyote Cr. | [10 empty] | 33.8731 | 118.0393
| S13 | Coyote Creek at Spring St. | [10 empty] | 33.8098 | 118.0768
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
NFC1 | 2016-01-05 |  | WQ | Not Recorded
GR1-HR | 2016-02-17 |  | WQ | Not Recorded
GR1 | 2016-02-17 |  | WQ | Not Recorded
NFC1 | 2016-02-17 |  | WQ | Not Recorded
GR1-HR | 2016-03-06 |  | WQ | Not Recorded
GR1 | 2016-03-06 |  | WQ | Not Recorded
S13 | 2016-03-06 |  | WQ | Not Recorded
NFC1 | 2016-03-06 |  | WQ | Not Recorded
GR1 | 2016-03-11 |  | WQ | Not Recorded
NFC1 | 2016-03-11 |  | WQ | Not Recorded
GR1 | 2016-07-28 |  | WQ | Not Recorded
NFC1 | 2016-07-28 |  | WQ | Not Recorded
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.62 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | pH |  | pH | 1 | 7.07 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.064 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 8.02 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 73.5 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | Hydrolab Quanta |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 201 | = | None
LSGR-NFC1 | 2016-01-05 | LSGR-WQM | WQ |  | Kinnetic | Brown |  |  | 13:35 |  | 1 | KLI Flow Meter |  |  |  | Minimal trash, minimal floating material | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.56 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | pH |  | pH | 1 | 7.54 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.283 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.13 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.59 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 114.3 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | Hydrolab Quanta |  |  |  | Some trash | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 39.6 | = | None
LSGR-GR1-HR | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 | Field | 1 | KLI Flow Meter |  |  |  | Some trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.56 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | pH |  | pH | 1 | 7.54 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.283 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.13 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.59 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 114.3 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 39.6 | = | None
LSGR-GR1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic |  |  |  | 23:25 |  | 1 | KLI Flow Meter |  |  |  | Some trash, leaves and debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.04 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | pH |  | pH | 1 | 8.07 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.062 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 10.38 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 121.5 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | Hydrolab Quanta |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 124 | = | None
LSGR-NFC1 | 2016-02-17 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 22:20 |  | 1 | KLI Flow Meter |  |  |  | Some trash, leaves, debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, leaves and debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 18.40 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | pH |  | pH | 1 | 6.35 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.0156 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.08 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.10 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.0 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 83.8 | = | None
LSGR-GR1-HR | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:00 | Field | 1 | KLI Flow Meter |  |  |  | Birds, some trash, some floating debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.49 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | pH |  | pH | 1 | 6.49 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.054 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 8.65 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 85.1 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | Hydrolab Quanta |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 33.6 | = | None
LSGR-S13 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish, Mildew odor |  |  | 8:30 | Field | 1 | KLI Flow Meter |  |  |  | Birds, very little trash, some debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 18.40 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | pH |  | pH | 1 | 6.35 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.0156 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.08 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.10 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.0 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | Hydrolab Quanta |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 83.8 | = | None
LSGR-GR1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 9:20 |  | 1 | KLI Flow Meter |  |  |  | A few birds, some trash, some debris and leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.03 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | pH |  | pH | 1 | 6.61 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.053 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.02 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.05 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 91.5 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | Hydrolab Quanta |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 37.0 | = | None
LSGR-NFC1 | 2016-03-06 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 7:40 |  | 1 | KLI Flow Meter |  |  |  | Trash in river, turbid | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.25 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | pH |  | pH | 1 | 7.75 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.134 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.06 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.63 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 94.1 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 640 | = | None
LSGR-GR1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 17:09 |  | 1 | KLI Flow Meter |  |  |  | Some birds, trash, leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 16.89 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | pH |  | pH | 1 | 7.98 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.071 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.04 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.68 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.0 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | Hydrolab Quanta |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 294 | = | None
LSGR-NFC1 | 2016-03-11 | LSGR-WQM | WQ |  | Kinnetic | Brownish |  |  | 16:25 |  | 1 | KLI Flow Meter |  |  |  | Some birds, some trash, some leaves, some debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  |  | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 30.34 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | pH |  | pH | 1 | 9.44 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.65 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.83 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 16.07 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 211.03 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 | Hydrolab Quanta |  |  |  | Suds, green algae | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 4.1 | = | None
LSGR-GR1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 11:00 |  | 1 |  |  |  |  | Suds, green algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 2.50 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 32.15 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | pH |  | pH | 1 | 9.30 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 2.28 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 1.17 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 7.71 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 106.5 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 | Hydrolab Quanta |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 12.7 | = | None
LSGR-NFC1 | 2016-07-28 | LSGR-WQM | WQ |  | Kinnetic | Yellow |  |  | 12:10 |  | 1 |  |  |  |  | Trash, leaves, scum, plants, fish, insects, green algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 0.137 | = | None
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G10: "dark" written in log book
Note on G11: "dark" written in log book
Note on G12: "dark" written in log book
Note on G13: "dark" written in log book
Note on G14: "dark" written in log book
Note on G15: "dark" written in log book
Note on G16: "dark" written in log book
Note on G17: "dark" written in log book
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Format: hh:mm Default Value: 00:00
Note on J34: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J35: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J36: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J37: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J38: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J39: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J40: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on J41: Field Log does not have wq measurement time. Jus arrival and departure. 0900 is arrival
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L1: Default Value: 1
Note on M1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on M89: Kinnetic: Flow taken by timing particles and averaging. Not sure what to put
Note on M97: Kinnetic: Flow taken by timing particles and averaging. Not sure what to put
Note on O1: LookUp List: VariableCodesLookUp
Note on P1: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S1: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T1: LookUp List: AnalyteLookUp
Note on U1: LookUp List: FractionLookUp
Note on V1: LookUp List: UnitLookUp
Note on W1: Default value: 1
Note on X1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on X46: Log book notes bubble in DO membrane
Note on X47: Log book notes bubble in DO membrane
Note on X62: Kinnetic: ? In log sheet next to DO values
Note on X63: Kinnetic: ? In log sheet next to DO values
Note on Y1: LookUp List: ResQualLookUp Default Value: =
Note on Z1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA1: LookUp List: ComplianceLookUp Default Value: NR
Note on AB1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950