## Duplicate Blank Tracking
2015-16 Monitoring Season
Duplicate Summary Table
Sample Date | Event Type (Wet/Dry) | Event No. | Mass Emission Station | Sample Type |  | Notes | LACFCD Internal Event Tracking No.
|  |  |  | Grab | Composite1
2015-07-28 | Dry | 1 | S01 - Ballona Creek | X | - |  | 2015-16Event05
2015-08-31 | Dry | 2 | S10 - Los Angeles River | X | - |  | 2015-16Event10
2015-12-13 | Wet | 1 | S01 - Ballona Creek | X | X |  | 2015-16Event22
2015-01-05 | Wet | 2 | S28 - Dominguez Channel | X | X |  | 2015-16Event23
2016-01-12 | Dry | 3 | S29 - Santa Clara River | X | X |  | 2015-16Event24
2016-01-31 | Wet | 3 | S10 - Los Angeles River | X | - | Los Angeles River MES was analyzed for QAQC purposes (not for compliance) | 2015-16Event26
2016-01-31 | Wet | 3 | S02 - Malibu Creek | - | X |  | 2015-16Event26
2016-02-04 | Dry | 4 | S13 - Coyote Creek | X | - | Composite duplicate was not collected for this dry event due to bottle issue. | 2015-16Event27
2016-02-18 | Wet | 4 | S01 - Ballona Creek | X | X |  | 2015-16Event28
2016-03-06 | Wet | 5 | S01 - Ballona Creek | X | X |  | 2015-16Event30
2016-03-06 | Wet | 5 | S29 - Santa Clara River | X | X |  | 2015-16Event30
Notes
* Duplicate and blank samples are collected from the same location during the sampling event.
1 = OC duplicate/blank sample collection started for the first storm event (12/13/15).
- No duplicate was collected.

## QAQC Report
Los Angeles County Flood Control Distrcit Mass Emission Sites Monitoring Program Quality Assurance and Quality Control (QAQC) Report
2015-16 Monitoring Year
1 - Sample Results Not Obtained
Please list all sample results which were to be obtained but could not be obtained, the reason why they were not obtained, and the resolution taken to minimize the potential for the sample results to be not obtained in the future in the table below.
Table 1. Sample Results Not Obtained, Reason, and Resolution
Monitoring Station | CIMP Group Affected | Sample Date | Event Type | Parameters | Reason for Sample Collection Being Missed |  | Resolution
S01 | Ballona Creek | 2015-12-13 | Wet | Acid/Base/Neutral Organics (EPA 625)1 | Laboratory missed holding times |  | Samples were analyzed during the following storm event
S10 | Lower Los Angeles River | 2015-12-13 | Wet | Acid/Base/Neutral Organics (EPA 625) | Laboratory missed holding times |  | Samples analyzed during the following storm event.
S13 | Lower San Gabriel River | 2015-12-13 | Wet | Acid/Base/Neutral Organics (EPA 625) | Laboratory missed holding times |  | Samples analyzed during the following storm event.
S14 | Upper San Gabriel River | 2015-12-13 | Wet | Acid/Base/Neutral Organics (EPA 625) | Laboratory missed holding times |  | Samples analyzed during the following storm event.
S28 | Dominguez Channel and Beach Cities | 2015-12-13 | Wet | Acid/Base/Neutral Organics (EPA 625) | Laboratory missed holding times |  | Samples analyzed during the following storm event. Sample will be analyzed during the first storm of 2016-17 season.
|  | 2015-12-13 | Wet | PCB congeners, 2,4'DDD, 2,4'DDE, and 2,4'DDT, Cis-nonachlor, trans-nonachlor, and oxychlordane | The monitoring was based on Beach Cities CIMP which doesn’t include this list. |  | Collected afterwards per the approved Dominguez Channel CIMP
|  | 2015-08-31 | Dry | PCB congeners, Dioxin, 2,4'DDD, 2,4'DDE, and 2,4'DDT, Cis-nonachlor, trans-nonachlor, and oxychlordane | The monitoring was based on Beach Cities CIMP which doesn’t include this list. |  | Collected afterwards per the approved Dominguez Channel CIMP
2-Quality assurance/quality control
Please provide a list of qualified data due to Quality Assurance/Quality Control (QA/QC) issues. Potential issues include:
· Holding Time
· Contamination (issues with blanks)
· Precision (issues with duplicates)
Please provide a list of corrective actions for QA/QC issues. If none, please state why no actions are necessary at this time.
Table 2. Summary of QA/QC Flags and Affected Results
Flag | Event Type | Sample Date | Event No. | Analyte | Number of Flagged Results | Monitoring Station Affected | Comments/Resolution
FDP2: Field duplicate relative percent difference from sample was above the QC limit | Dry | Various | 2 | No analyte was flagged | 0 | NA | Some analytes did not meet the QC limit but were deemed acceptable based on Lab QC and blank. Most of the analytes are common prone to contamination or variability like low level mercury which is already flagged based on the blank.
| Wet | Various | 2, 4, and 5 | No analyte was flagged | 0
VCO3/Field Blank: Analyte concentration detectable but is less than 5X the blank concentration | Dry | 2015-08-31 | 2 | Mercury (Total) | 4 | S02, S10, S10-DUP, S29 | Will change sampling procedures and request blank from the Lab to be associated with each sample. Changes to be implemented 2016-17 season.
|  |  |  | Mercury (Dissolved) | 5 | S02, S10, S10-DUP, S28, S29
|  | 2016-02-04 | 3 | Mercury (Total) | 4 | S10, S13, S13-DUP, S14
| Wet | 2016-01-05 | 2 | Mercury (Dissolved) | 2 | S02, S13
|  | 2016-02-18 | 3 | Mercury (Dissolved) | 5 | S01, S10, S13, S28, S29
|  | 2016-02-18 | 3 | Mercury(Total) | 5 | S01, S10, S13, S28, S29
3- Samples collected beyond MS4 Permit Requirements
Please fill in the following table regarding monitoring of any pollutant beyond the MS4 Permit using approved test procedures, or another method specified in the MS4 Permit.
Table 3. Samples Collected Beyond the MS4 Permit Requirements
Monitoring Station | Date | Weather Condition | Parameters
S01 | 2015-07-28 | Dry | Streptococcus, Methoxychlor
| 2015-12-13 | Wet | Streptococcus, Methoxychlor
S02 | 2015-08-31 | Dry | Streptococcus, Methoxychlor
| 2016-01-05 | Wet | Streptococcus, Methoxychlor
S10 | 2015-08-31 | Dry | Streptococcus, Methoxychlor
| 2015-12-14 | Wet | Streptococcus, Methoxychlor
| 2016-01-05 | Wet | Mercury (Dissolved), Selenium (Dissolved)
| 2016-02-04 | Dry | Mercury (Dissolved), Selenium (Dissolved)
| 2016-02-18 | Wet | Mercury (Dissolved)
S13 | 2016-02-04 | Dry | EPA 625 Constituents unless listed in the CIMP
| 2016-02-19 | Wet | EPA 625 Constituents unless listed in the CIMP
| 2016-03-07 | Wet | EPA 625 Constituents unless listed in the CIMP
S14 | 2016-12-14 | Wet | Streptococcus, Methoxychlor
| 2016-02-01 | Wet | Total Organic Carbon
| 2016-02-04 | Dry | SSC, Methoxychlor, TCDD
| 2016-02-19 | Dry | Total Organic Carbon, EPA 625 constituents unless listed in the CIMP
| 2016-03-08 | Wet | Total Organic Carbon, EPA 625 constituents unless listed in the CIMP
S28 | 2016-01-05 | Wet | Aroclors, PCBs not listed in the CIMP, EPA 625 constituents unless listed in the CIMP
| 2016-02-04 | Dry | Aroclors, PCBs not listed in the CIMP, EPA 625 constituents unless listed in the CIMP
| 2016-02-17 | Wet | Aroclors, PCBs not listed in the CIMP, EPA 625 constituents unless listed in the CIMP
S29 | 2016-08-31 | Dry | EPA 625 Constituents unless listed in CIMP, EPA 608 constituents unless listed in CIMP, EPA 507 constituents unless listed in CIMP, fecal coliform, 2,4-D and 2,4,5-TP-SILVEX, methoxychlor, phosphorus (total and dissolved), turbidity, barium (total and dissolved), sulfate, and
| 2016-01-05 | Wet | Methoxychlor, phosphorus (total and dissolved), turbidity
| 2016-03-06 | Wet | Fecal coliform
Note:
1- EPA 625 method list is provided in the EPA 625 tab. The list varies based on the CIMP.
2- FDP = Field duplicate RPD above QC limit
3- VCO = Sample analyte concentration detectable but <5X blank concentration (contamination)
LACFCD collects one (1) set of QAQC samples (Duplicate, field and travel blanks) for each monitoring event. The site is randomly selected or based on the storm event coordinator judgment and sampling staff. LACFCD will collect duplicate sample at each MES for 2016-17 monitoring season.

## July Dry 1
Sample Date (DRY 1 at S01) | Analyte Name at S01 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2015-07-28 | OilandGrease; HEM | Total | mg/L |  | ND |  | ND |  | 0
2015-07-28 | TRPH | Total | mg/L |  | ND |  | ND |  | 0
2015-07-28 | Phenolics, Total | Total | mg/L |  | ND | 0.042 | DNQ
2015-07-28 | Chloroethyl Vinyl Ether, 2 | Total | ug/L |  | ND |  | ND |  | 0
2015-07-28 | Methyl Tert-butyl Ether | Total | ug/L |  | ND |  | ND |  | 0
2015-07-28 | Cyanide | Total | mg/L |  | ND |  | ND |  | 0
2015-07-28 | Coliform, Total | Total | MPN/100mL | 500 | = | 700 | = |  | NA
2015-07-28 | Coliform, Fecal | Total | MPN/100mL | 110 | = | 500 | = |  | NA
2015-07-28 | E. coli | Total | MPN/100mL | 134 | = | 379 | = |  | NA
2015-07-28 | Enterococcus | Total | MPN/100mL | 40 | = | 40 | = |  | NA
2015-07-28 | Streptococcus | Total | MPN/100mL | 70 | = | 130 | = |  | NA

## Aug Dry 2
Sample Date (DRY 1 at S10) | Analyte Name at S10 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2015-08-31 | Chloroethyl Vinyl Ether, 2 | Total | ug/L |  | ND |  | ND |  | 0
2015-08-31 | Methyl Tert-butyl Ether | Total | ng/L |  | ND |  | ND |  | 0
2015-08-31 | OilandGrease; HEM | Total | ug/L |  | ND |  | ND |  | 0
2015-08-31 | Phenolics, Total | Total | mg/L |  | ND |  | ND |  | 0
2015-08-31 | TRPH | Total | mg/L |  | ND |  | ND |  | 0
2015-08-31 | Cyanide | Total | mg/L | 0.019 | = | 0.018 | = |  | 5.4054
2015-08-31 | Mercury | Total | ng/L | 2.2 | = | 2.7 | = |  | 20.4082
2015-08-31 | Mercury | Dissolved | ng/L | 1.6 | = | 2.2 | = |  | 31.5789
2015-08-31 | Coliform, Fecal | Total | MPN/100mL | 330 | = | 490 | = |  | NA
2015-08-31 | Coliform, Total | Total | MPN/100mL | 1100 | = | 1300 | = |  | NA
2015-08-31 | E. coli | Total | MPN/100mL | 650 | = | 399 | = |  | NA
2015-08-31 | Streptococcus | Total | MPN/100mL | 9200 | = | 5400 | = |  | NA
2015-08-31 | Enterococcus | Total | MPN/100mL | 9200 | = | 3500 | = |  | NA

## Dec Wet 1
Sample Date (WET 1 at S01) | AnalyteName at S01 | Analyte Fraction | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2015-12-14 | Chloride | Total | 45.7 | = | 45.7 | = |  | 0
2015-12-14 | Sulfate | Total | 38.7 | = | 38.7 | = |  | 0
2015-12-14 | Nitrate as NO3 | Total | 9.5 | = | 9.52 | = |  | 0.2103
2015-12-14 | Fluoride | Total | 0.315 | = | 0.316 | = |  | 0.31696
2015-12-14 | Nitrate as N | Total | 2.14 | = | 2.15 | = |  | 0.4662
2015-12-14 | Copper | Total | 174 | = | 173 | = |  | 0.57637
2015-12-14 | Nickel | Dissolved | 4.69 | = | 4.64 | = |  | 1.0718
2015-12-14 | BOD | Total | 63.5 | = | 62.6 | = |  | 1.4274
2015-12-14 | Chromium | Dissolved | 2.05 | = | 2.02 | = |  | 1.4742
2015-12-14 | Antimony | Dissolved | 3.39 | = | 3.46 | = |  | 2.0438
2015-12-14 | Barium | Total | 169 | = | 173 | = |  | 2.3392
2015-12-14 | Turbidity | Total | 25.6 | = | 25 | = |  | 2.3715
2015-12-14 | Zinc | Total | 575 | = | 561 | = |  | 2.4648
2015-12-14 | Nickel | Total | 16.5 | = | 16 | = |  | 3.0769
2015-12-14 | Zinc | Dissolved | 86.8 | = | 84 | = |  | 3.2787
2015-12-14 | Antimony | Total | 8.47 | = | 8.19 | = |  | 3.3613
2015-12-13 | OilandGrease; HEM | Total | 10.6 | = | 11 | = |  | 3.7037
2015-12-14 | Cadmium | Total | 1.09 | = | 1.05 | = |  | 3.7383
2015-12-14 | Lead | Total | 67.9 | = | 64.7 | = |  | 4.8265
2015-12-14 | Aluminum | Total | 9560 | = | 9100 | = |  | 4.9303
2015-12-14 | Copper | Dissolved | 9.09 | = | 9.6 | = |  | 5.4575
2015-12-14 | Arsenic | Total | 1.81 | = | 1.71 | = |  | 5.6818
2015-12-13 | Mercury | Dissolved | 5.1 | = | 5.4 | = |  | 5.7143
2015-12-13 | Mercury | Total | 170 | = | 160 | = |  | 6.0606
2015-12-14 | Total Organic Carbon | Total | 32.5 | = | 30.5 | = |  | 6.3492
2015-12-14 | MBAS | Total | 0.74 | = | 0.79 | = |  | 6.5359
2015-12-14 | Chromium | Total | 14.2 | = | 13.3 | = |  | 6.5455
2015-12-14 | Silver | Total | 1.23 | = | 1.33 | = |  | 7.8125
2015-12-14 | Nitrogen, Total Kjeldahl | Total | 4.5 | = | 4.14 | = |  | 8.3333
2015-12-14 | Lead | Dissolved | 2.13 | = | 1.92 | = |  | 10.3704
2015-12-14 | Barium | Dissolved | 34.3 | = | 38.4 | = |  | 11.2792
2015-12-14 | Phosphorus as P | Dissolved | 0.47 | = | 0.41 | = |  | 13.6364
2015-12-14 | Iron | Total | 10100 | = | 8780 | = |  | 13.9831
2015-12-14 | Ammonia as NH3 | Total | 0.641 | = | 0.557 | = |  | 14.0234
2015-12-14 | Ammonia as N | Total | 0.53 | = | 0.46 | = |  | 14.1414
2015-12-14 | Volatile suspended solids | Total | 135 | = | 156 | = |  | 14.433
2015-12-13 | Cyanide | Total | 0.012 | = | 0.01 | = |  | 18.1818
2015-12-14 | Total Suspended Solids | Total | 373 | = | 457 | = |  | 20.241
2015-12-14 | Iron | Dissolved | 282 | = | 225 | = |  | 22.4852
2015-12-14 | COD | Total | 148 | = | 118 | = |  | 22.5564
2015-12-14 | Alkalinity as CaCO3 | Total | 53 | = | 68 | = |  | 24.7934
2015-12-14 | Total Dissolved Solids | Total | 208 | = | 274 | = |  | 27.3859
2015-12-14 | Hardness as CaCO3 | Total | 100 | = | 180 | = |  | 57.1429
2015-12-14 | Phosphorus as P | Total | 0.55 | = | 1.1 | = |  | 66.6667
2015-12-13 | Coliform, Total | Total | 5400000 | = | 1700000 | = |  | NA
2015-12-13 | Coliform, Fecal | Total | 5400000 | = | 150000 | = |  | NA
2015-12-13 | E. coli | Total | 92080 | = | 52900 | = |  | NA
2015-12-13 | Enterococcus | Total | 920000 | = | 350000 | = |  | NA
2015-12-13 | Streptococcus | Total | 1700000 | = | 1600000 | = |  | NA
2015-12-13 | TRPH | Total | 4.57 | DNQ | 4.5 | DNQ
2015-12-13 | Phenolics, Total | Total |  | ND |  | ND
2015-12-13 | Chloroethyl Vinyl Ether, 2 | Total |  | ND |  | ND
2015-12-13 | Methyl Tert-butyl Ether | Total |  | ND |  | ND
2015-12-14 | Aluminum | Dissolved |  | ND |  | ND
2015-12-14 | Arsenic | Dissolved |  | ND |  | ND
2015-12-14 | Beryllium | Dissolved |  | ND |  | ND
2015-12-14 | Beryllium | Total | 0.193 | DNQ | 0.229 | DNQ
2015-12-14 | Cadmium | Dissolved |  | ND |  | ND
2015-12-14 | Selenium | Dissolved | 0.643 | DNQ | 0.797 | DNQ
2015-12-14 | Selenium | Total | 0.954 | DNQ | 0.966 | DNQ
2015-12-14 | Silver | Dissolved |  | ND |  | ND
2015-12-14 | Thallium | Dissolved |  | ND |  | ND
2015-12-14 | Thallium | Total |  | ND |  | ND
2015-12-14 | Chromium VI | Total |  | ND |  | ND
2015-12-14 | Chromium VI | Dissolved |  | ND |  | ND
2015-12-14 | Nitrite as N | Total | 0.0839 | DNQ | 0.0857 | DNQ
2015-12-14 | Nitrite as NO2 | Total | 0.276 | DNQ | 0.282 | DNQ
2015-12-14 | Perchlorate | Total |  | ND |  | ND
2015-12-14 | Atrazine | Total |  | ND |  | ND
2015-12-14 | Chlorpyrifos | Total |  | ND |  | ND
2015-12-14 | Cyanazine | Total |  | ND |  | ND
2015-12-14 | Diazinon | Total |  | ND |  | ND
2015-12-14 | Malathion | Total |  | ND |  | ND
2015-12-14 | Prometryn | Total |  | ND |  | ND
2015-12-14 | Simazine | Total |  | ND |  | ND
2015-12-14 | Dichlorophenoxyacetic Acid, 2,4- | Total |  | ND |  | ND
2015-12-14 | Trichlorophenoxy)propionic Acid, 2-(2,4,5- | Total |  | ND |  | ND
2015-12-14 | Glyphosate | Total |  | ND |  | ND
2015-12-14 | Aldrin | Total |  | ND |  | ND
2015-12-14 | Chlordane | Total |  | ND |  | ND
2015-12-14 | Chlordane, cis- | Total |  | ND |  | ND
2015-12-14 | Chlordane, trans- | Total |  | ND |  | ND
2015-12-14 | DDD(p,p') | Total |  | ND |  | ND
2015-12-14 | DDE(p,p') | Total |  | ND |  | ND
2015-12-14 | DDT(p,p') | Total |  | ND |  | ND
2015-12-14 | Dieldrin | Total |  | ND |  | ND
2015-12-14 | Endosulfan I | Total |  | ND |  | ND
2015-12-14 | Endosulfan II | Total |  | ND |  | ND
2015-12-14 | Endosulfan Sulfate | Total |  | ND |  | ND
2015-12-14 | Endrin | Total |  | ND |  | ND
2015-12-14 | Endrin Aldehyde | Total |  | ND |  | ND
2015-12-14 | HCH, alpha- | Total |  | ND |  | ND
2015-12-14 | HCH, beta- | Total |  | ND |  | ND
2015-12-14 | HCH, delta- | Total |  | ND |  | ND
2015-12-14 | HCH, gamma- | Total |  | ND |  | ND
2015-12-14 | Heptachlor | Total |  | ND |  | ND
2015-12-14 | Heptachlor epoxide | Total |  | ND |  | ND
2015-12-14 | Methoxychlor | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1016 | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1221 | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1232 | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1242 | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1248 | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1254 | Total |  | ND |  | ND
2015-12-14 | PCB AROCLOR 1260 | Total |  | ND |  | ND
2015-12-14 | Toxaphene | Total |  | ND |  | ND
Note on B100: Komjakraphan, Grace: Extra analyte reported for EPA 608, not required on Table E-2

## Jan Wet 2
Sample Date (WET 2 at S28) | AnalyteName at S28 | AnalyteFraction | UnitName | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-01-05 | Cyanide | Total | mg/L | 0.008 | = | 0.008 | = |  | 0
2016-01-07 | Nitrate as N | Total | mg/L | 0.354 | = | 0.354 | = |  | 0
2016-01-07 | Nitrate as NO3 | Total | mg/L | 1.57 | = | 1.57 | = |  | 0
2016-01-07 | Hardness as CaCO3 | Total | mg/L | 23 | = | 23 | = |  | 0
2016-01-07 | Copper | Total | ug/L | 44.7 | = | 44.2 | = |  | 1.1249
2016-01-07 | Zinc | Total | ug/L | 251 | = | 254 | = |  | 1.1881
2016-01-07 | Chloride | Total | mg/L | 5.57 | = | 5.66 | = |  | 1.6028
2016-01-07 | Zinc | Dissolved | ug/L | 44.2 | = | 43.4 | = |  | 1.8265
2016-01-07 | Sulfate | Total | mg/L | 3.71 | = | 3.82 | = |  | 2.9216
2016-01-07 | Lead | Total | ug/L | 28.4 | = | 29.7 | = |  | 4.475
2016-01-07 | Copper | Dissolved | ug/L | 7.89 | = | 8.42 | = |  | 6.4991
2016-01-05 | Mercury | Total | ng/L | 4.5 | = | 4.1 | = |  | 9.3023
2016-01-07 | Ammonia as NH3 | Total | mg/L | 0.185 | = | 0.166 | = |  | 10.8262
2016-01-07 | Total Suspended Solids | Total | mg/L | 307 | = | 275 | = |  | 10.9966
2016-01-07 | Ammonia as N | Total | mg/L | 0.153 | = | 0.137 | = |  | 11.0345
2016-01-07 | Total Organic Carbon | Total | mg/L | 4.98 | = | 6.04 | = |  | 19.2377
2016-01-05 | Mercury | Total | ng/L | 23 | = | 17 | = |  | 30
2016-01-07 | Total Dissolved Solids | Total | mg/L | 86 | = | 46 | = |  | 60.6061
2016-01-07 | Bis(2-ethylhexyl)phthalate | Total | ug/L |  | ND | 8.8 | = | 1.67 | 136.1987
2016-01-07 | PCB 170 | Total | ng/L | 2 | = |  | ND | 0.54 | 157.2677
2016-01-07 | PCB 052 | Total | ng/L | 2.3 | = |  | ND | 0.49 | 164.6989
2016-01-05 | E. coli | Total | MPN/100mL | 45690 | = | 34480 | = |  | NA
2016-01-05 | TCDD, 2,3,7,8- | Total | pg/l |  | ND |  | ND
2016-01-07 | Lead | Dissolved | ug/L |  | ND |  | ND
2016-01-07 | Nitrite | Total | mg/L |  | ND | 0.086 | DNQ
2016-01-07 | Nitrite as N | Total | mg/L |  | ND | 0.0261 | DNQ
2016-01-07 | Atrazine | Total | ug/L |  | ND |  | ND
2016-01-07 | Chlorpyrifos | Total | ug/L |  | ND |  | ND
2016-01-07 | Cyanazine | Total | ug/L |  | ND |  | ND
2016-01-07 | Diazinon | Total | ug/L |  | ND |  | ND
2016-01-07 | Malathion | Total | ug/L |  | ND |  | ND
2016-01-07 | Prometryn | Total | ug/L |  | ND |  | ND
2016-01-07 | Simazine | Total | ug/L |  | ND |  | ND
2016-01-07 | Aldrin | Total | ug/L |  | ND |  | ND
2016-01-07 | Chlordane | Total | ug/L |  | ND |  | ND
2016-01-07 | Chlordane, cis- | Total | ug/L |  | ND |  | ND
2016-01-07 | Chlordane, trans- | Total | ug/L |  | ND |  | ND
2016-01-07 | DDD(o,p') | Total | ng/L |  | ND |  | ND
2016-01-07 | DDD(p,p') | Total | ug/L |  | ND |  | ND
2016-01-07 | DDE(o,p') | Total | ng/L |  | ND |  | ND
2016-01-07 | DDE(p,p') | Total | ug/L |  | ND |  | ND
2016-01-07 | DDT(o,p') | Total | ng/L |  | ND |  | ND
2016-01-07 | DDT(p,p') | Total | ug/L |  | ND |  | ND
2016-01-07 | Dieldrin | Total | ug/L |  | ND |  | ND
2016-01-07 | Endosulfan I | Total | ug/L |  | ND |  | ND
2016-01-07 | Endosulfan II (beta) | Total | ug/L |  | ND |  | ND
2016-01-07 | Endosulfan Sulfate | Total | ug/L |  | ND |  | ND
2016-01-07 | Endrin | Total | ug/L |  | ND |  | ND
2016-01-07 | Endrin Aldehyde | Total | ug/L |  | ND |  | ND
2016-01-07 | HCH, alpha- | Total | ug/L |  | ND |  | ND
2016-01-07 | HCH, beta- | Total | ug/L |  | ND |  | ND
2016-01-07 | HCH, delta- | Total | ug/L |  | ND |  | ND
2016-01-07 | HCH, gamma- | Total | ug/L |  | ND |  | ND
2016-01-07 | Heptachlor | Total | ug/L |  | ND |  | ND
2016-01-07 | Heptachlor epoxide | Total | ug/L |  | ND |  | ND
2016-01-07 | Methoxychlor | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1016 | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1221 | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1232 | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1242 | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1248 | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1254 | Total | ug/L |  | ND |  | ND
2016-01-07 | PCB AROCLOR 1260 | Total | ug/L |  | ND |  | ND
2016-01-07 | Toxaphene | Total | ug/L |  | ND |  | ND
2016-01-07 | Acenaphthene | Total | ug/L |  | ND |  | ND
2016-01-07 | Acenaphthylene | Total | ug/L |  | ND |  | ND
2016-01-07 | Anthracene | Total | ug/L |  | ND |  | ND
2016-01-07 | Benzidine | Total | ug/L |  | ND |  | ND
2016-01-07 | Benzo(b)fluoranthene | Total | ug/L |  | ND |  | ND
2016-01-07 | Benzo(g,h,i)perylene | Total | ug/L |  | ND |  | ND
2016-01-07 | Benzo(k)fluoranthene | Total | ug/L |  | ND |  | ND
2016-01-07 | Bis(2-chloroethoxy)methane | Total | ug/L |  | ND |  | ND
2016-01-07 | Bis(2-chloroethyl)ether | Total | ug/L |  | ND |  | ND
2016-01-07 | Bis(2-chloroisopropyl) ether | Total | ug/L |  | ND |  | ND
2016-01-07 | Bromophenyl Phenyl Ether, 4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Butyl Benzyl Phthalate | Total | ug/L |  | ND |  | ND
2016-01-07 | Chloro-3-methylphenol, 4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Chloronaphthalene, 2- | Total | ug/L |  | ND |  | ND
2016-01-07 | Chlorophenol, 2- | Total | ug/L |  | ND |  | ND
2016-01-07 | Chlorophenyl Phenyl Ether, 4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Chrysene | Total | ug/L |  | ND |  | ND
2016-01-07 | Dibenz(a,h)anthracene | Total | ug/L |  | ND |  | ND
2016-01-07 | Dichlorobenzene, 1,2- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dichlorobenzene, 1,3- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dichlorobenzene, 1,4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dichlorobenzidine, 3,3'- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dichlorophenol, 2,4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Diethyl phthalate | Total | ug/L |  | ND |  | ND
2016-01-07 | Dimethyl phthalate | Total | ug/L |  | ND |  | ND
2016-01-07 | Dimethylphenol, 2,4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Di-n-butyl Phthalate | Total | ug/L |  | ND |  | ND
2016-01-07 | Dinitro-2-methylphenol, 4,6- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dinitrophenol, 2,4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dinitrotoluene, 2,4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Dinitrotoluene, 2,6- | Total | ug/L |  | ND |  | ND
2016-01-07 | Di-n-octyl Phthalate | Total | ug/L |  | ND |  | ND
2016-01-07 | Fluoranthene | Total | ug/L |  | ND |  | ND
2016-01-07 | Fluorene | Total | ug/L |  | ND |  | ND
2016-01-07 | Hexachlorobenzene | Total | ug/L |  | ND |  | ND
2016-01-07 | Hexachlorobutadiene | Total | ug/L |  | ND |  | ND
2016-01-07 | Hexachlorocyclopentadiene | Total | ug/L |  | ND |  | ND
2016-01-07 | Hexachloroethane | Total | ug/L |  | ND |  | ND
2016-01-07 | Indeno(1,2,3-c,d)pyrene | Total | ug/L | 0.021 | DNQ |  | ND
2016-01-07 | Isophorone | Total | ug/L |  | ND |  | ND
2016-01-07 | Naphthalene | Total | ug/L |  | ND |  | ND
2016-01-07 | Nitrobenzene | Total | ug/L |  | ND |  | ND
2016-01-07 | Nitrophenol, 2- | Total | ug/L |  | ND |  | ND
2016-01-07 | Nitrophenol, 4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Nitrosodimethylamine, N- | Total | ug/L |  | ND |  | ND
2016-01-07 | Nitrosodi-n-propylamine, N- | Total | ug/L |  | ND |  | ND
2016-01-07 | Nitrosodiphenylamine, N- | Total | ug/L |  | ND |  | ND
2016-01-07 | Pentachlorophenol | Total | ug/L | 1.1 | DNQ | 1 | DNQ
2016-01-07 | Phenanthrene | Total | ug/L | 0.022 | DNQ |  | ND
2016-01-07 | Phenol | Total | ug/L |  | ND |  | ND
2016-01-07 | Pyrene | Total | ug/L |  | ND |  | ND
2016-01-07 | Trichlorobenzene, 1,2,4- | Total | ug/L |  | ND |  | ND
2016-01-07 | Trichlorophenol, 2,4,6- | Total | ug/L |  | ND |  | ND
2016-01-07 | Nonachlor, cis- | Total | ng/L |  | ND |  | ND
2016-01-07 | Nonachlor, trans- | Total | ng/L |  | ND | 0.59 | DNQ
2016-01-07 | Oxychlordane | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 003 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 005 | Total | ng/L | 1.6 | DNQ |  | ND
2016-01-07 | PCB 008 | Total | ng/L | 1.6 | DNQ |  | ND
2016-01-07 | PCB 015 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 018 | Total | ng/L | 1.3 | DNQ |  | ND
2016-01-07 | PCB 027 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 028 | Total | ng/L | 1.2 | DNQ |  | ND
2016-01-07 | PCB 029 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 031 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 033 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 037 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 044 | Total | ng/L | 1.6 | DNQ |  | ND
2016-01-07 | PCB 049 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 056 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 060 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 066 | Total | ng/L | 1.3 | DNQ |  | ND
2016-01-07 | PCB 070 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 074 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 077 | Total | ng/L | 1.5 | DNQ |  | ND
2016-01-07 | PCB 081 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 087 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 095 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 097 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 099 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 101 | Total | ng/L | 1.6 | DNQ |  | ND
2016-01-07 | PCB 105 | Total | ng/L | 1.2 | DNQ |  | ND
2016-01-07 | PCB 110 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 114 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 118 | Total | ng/L | 1.5 | DNQ |  | ND
2016-01-07 | PCB 119 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 123 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 126 | Total | ng/L | 1.2 | DNQ |  | ND
2016-01-07 | PCB 128 | Total | ng/L | 1.3 | DNQ |  | ND
2016-01-07 | PCB 132 | Total | ng/L | 2.1 | DNQ |  | ND
2016-01-07 | PCB 137 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 138 | Total | ng/L | 1.2 | DNQ |  | ND
2016-01-07 | PCB 141 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 149 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 151 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 153 | Total | ng/L | 2.1 | DNQ |  | ND
2016-01-07 | PCB 156 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 157 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 158 | Total | ng/L | 1.2 | DNQ |  | ND
2016-01-07 | PCB 167 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 168 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 169 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 174 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 177 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 180 | Total | ng/L | 0.95 | DNQ |  | ND
2016-01-07 | PCB 183 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 184 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 187 | Total | ng/L | 1.3 | DNQ |  | ND
2016-01-07 | PCB 189 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 194 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 195 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 200 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 201 | Total | ng/L | 0.71 | DNQ |  | ND
2016-01-07 | PCB 203 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 206 | Total | ng/L |  | ND |  | ND
2016-01-07 | PCB 209 | Total | ng/L |  | ND |  | ND

## Jan Dry 3
Sample Date (DRY 2 at S29 | AnalyteName at S29 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-01-12 | Cyanide | Total | mg/L |  | ND |  | ND |  | 0
2016-01-12 | Iron | Dissolved | ug/L |  | ND |  | ND |  | 0
2016-01-12 | Iron | Total | ug/L |  | ND |  | ND |  | 0
2016-01-12 | Nitrite as N | Total | mg/L |  | ND |  | ND |  | 0
2016-01-12 | Nitrite as NO2 | Total | mg/L |  | ND |  | ND |  | 0
2016-01-12 | Total Suspended Solids | Total | mg/L |  | ND |  | ND |  | 0
2016-01-12 | Ammonia as N | Total | mg/L |  | ND |  | ND |  | 0
2016-01-12 | Ammonia as NH3 | Total | mg/L |  | ND |  | ND |  | 0
2016-01-12 | Selenium | Dissolved | ug/L | 5.45 | = | 5.44 | = |  | 0.18365
2016-01-12 | Hardness as CaCO3 | Total | mg/L | 606 | = | 608 | = |  | 0.32949
2016-01-12 | Chloride | Total | mg/L | 88.9 | = | 89.2 | = |  | 0.33689
2016-01-12 | Selenium | Total | ug/L | 6.68 | = | 6.64 | = |  | 0.6006
2016-01-12 | Copper | Total | ug/L | 3.83 | = | 3.88 | = |  | 1.297
2016-01-12 | Nitrate as NO3 | Total | mg/L | 10.5 | = | 10.3 | = |  | 1.9231
2016-01-12 | Nitrate as N | Total | mg/L | 2.37 | = | 2.32 | = |  | 2.1322
2016-01-12 | Zinc | Total | ug/L | 6.93 | = | 6.73 | = |  | 2.9283
2016-01-12 | Zinc | Dissolved | ug/L | 2.53 | = | 2.65 | = |  | 4.6332
2016-01-12 | Mercury | Total | ng/L | 1.2 | = | 1.3 | = |  | 8
2016-01-12 | Mercury | Dissolved | ng/L | 1.3 | = | 1.2 | = |  | 8
2016-01-12 | Copper | Dissolved | ug/L | 2.66 | = | 2.4 | = |  | 10.2767
2016-01-12 | E. coli | None | MPN/100mL | 101 | = | 98.5 | = |  | NA

## Jan Wet 3
Sample Date (Wet 3, QAQC only) | AnalyteName at S10 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-01-31 | OilandGrease; HEM | Total | mg/L | 2.6 | DNQ | 2.52 | DNQ |  | 3.125
2016-01-31 | Mercury | Dissolved | ng/L | 4.5 | = | 3.8 | = |  | 16.8675
2016-01-31 | Cyanide | Total | mg/L | 0.014 | = | 0.01 | = | 0.005 | 33.3333
2016-01-31 | Mercury | Total | ng/L | 3.1 | = | 4.8 | = |  | 43.038
2016-01-31 | E. coli | Total | MPN/100mL | 32700 | = | 16740 | = |  | NA
2016-01-31 | TRPH | Total | mg/L |  | ND |  | ND
Sample Date (Wet 2 at S02) | AnalyteName at S02 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-02-01 | Selenium | Dissolved | ug/L | 4.21 | = | 4.2 | = | 0.5 | 0.23781
2016-02-01 | Selenium | Total | ug/L | 5.15 | = | 5.17 | = | 0.5 | 0.3876
2016-02-01 | Sulfate | Total | mg/L | 455 | = | 460 | = |  | 1.0929
2016-02-01 | Hardness as CaCO3 | Total | mg/L | 540 | = | 548 | = |  | 1.4706
2016-02-01 | Suspended SedimentConcentration | Total | mg/L | 124 | = | 116 | = |  | 6.6667
2016-02-01 | Nitrate as N | Total | mg/L | 1.35 | = | 1.24 | = |  | 8.4942
2016-02-01 | Nitrate as NO3 | Total | mg/L | 5.99 | = | 5.49 | = |  | 8.7108
2016-02-01 | Nitrogen, Total | Total | mg/L | 2.04 | = | 2.23 | = |  | 8.8993
2016-02-01 | Phosphorus | Total | mg/L | 0.468 | = | 0.395 | = | 0.05 | 16.9177
2016-02-01 | Ammonia as N | Total | mg/L |  | ND | 0.128 | = | 0.1 | 24.5614
2016-02-01 | Ammonia as NH3 | Total | mg/L |  | ND | 0.155 | = | 0.121 | 24.6377
2016-02-01 | Nitrogen, Total Kjeldahl | Total | mg/L | 0.676 | = | 0.978 | = | 0.1 | 36.5175
2016-02-01 | Total Suspended Solids | Total | mg/L | 102 | = | 148 | = |  | 36.8
2016-02-01 | Turbidity | Total | NTU | 8 | = | 15 | = |  | NA
2016-02-01 | Nitrite | Total | mg/L |  | ND |  | ND
2016-02-01 | Nitrite as N | Total | mg/L |  | ND |  | ND
Note on A1: Komjakraphan, Grace: We collected the LAR sample on 1/31 (Storm 3) but this was strictly QA/QC and we are not using this data for compliance purposes.
Note on B3: Need to confirm, total Hg only?

## Feb Dry 4
Sample Date (DRY 2 at S13) | AnalyteName at S13 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-02-04 | Mercury | Dissolved | ng/L | 2.5 | = | 2.5 | = |  | 0
2016-02-04 | Mercury | Total | ng/L | 2.5 | = | 2.4 | = |  | 4.0816
2016-02-04 | Cyanide | Total | mg/L | 0.01 | = | 0.008 | = |  | 22.2222
2016-02-04 | E. coli | Total | MPN/100mL | 231 | = | 178.9 | = |  | NA
2016-02-04 | OilandGrease; HEM | Total | mg/L |  | ND |  | ND
2016-02-04 | TRPH | Total | mg/L |  | ND |  | ND

## Feb Wet 4
Sample Date (Wet 2 at S01) | AnalyteName at S01 | Analyte Fraction | UnitName | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-02-18 | Pentachlorophenol | Total | ug/L | 7.3 | = | 7.3 | = |  | 0
2016-02-18 | Phosphorus | Dissolved | mg/L | 0.19 | = | 0.19 | = |  | 0
2016-02-18 | Phosphorus | Total | mg/L | 0.694 | = | 0.693 | = |  | 0.1443
2016-02-18 | Zinc | Total | ug/L | 258 | = | 256 | = |  | 0.78125
2016-02-18 | Lead | Total | ug/L | 22.9 | = | 23.1 | = |  | 0.8658
2016-02-18 | Turbidity | Total | NTU | 19 | = | 19.2 | = |  | 1.0417
2016-02-18 | Copper | Total | ug/L | 55.9 | = | 55.2 | = |  | 1.2681
2016-02-18 | Zinc | Dissolved | ug/L | 76 | = | 77.3 | = |  | 1.6818
2016-02-18 | Alkalinity as CaCO3 | Total | mg/L | 48 | = | 49 | = |  | 2.0408
2016-02-18 | Nitrogen, Total Kjeldahl | Total | mg/L | 1.81 | = | 1.75 | = |  | 3.4286
2016-02-18 | Total Organic Carbon | Total | mg/L | 17 | = | 16.4 | = |  | 3.6585
2016-02-18 | Total Dissolved Solids | Total | mg/L | 130 | = | 124 | = |  | 4.8387
2016-02-18 | Surfactant | Total | mg/L | 0.585 | = | 0.631 | = |  | 7.29
2016-02-18 | Cadmium | Total | ug/L | 0.46 | = | 0.426 | = |  | 7.9812
2016-02-18 | Copper | Dissolved | ug/L | 14.7 | = | 13.6 | = |  | 8.0882
2016-02-18 | Volatile Suspended Solids | Total | mg/L | 51 | = | 47 | = |  | 8.5106
2016-02-18 | Ammonia as NH3 | Total | mg/L | 0.857 | = | 0.938 | = |  | 8.6354
2016-02-18 | Ammonia as N | Total | mg/L | 0.708 | = | 0.775 | = |  | 8.6452
2016-02-18 | Sulfate | Total | mg/L | 13.7 | = | 12.4 | = |  | 10.4839
2016-02-18 | Total Suspended Solids | Total | mg/L | 131 | = | 111 | = |  | 18.018
2016-02-18 | Hardness as CaCO3 | Total | mg/L | 70 | = | 57 | = |  | 22.807
2016-02-18 | Mercury | Total | ng/L | 21 | = | 17 | = |  | 23.5294
2016-02-18 | E. coli | Total | MPN/100mL | 5650 | = | 6500 | = |  | NA
2016-02-18 | OilandGrease; HEM | Total | mg/L | 2.24 | DNQ | 2.22 | DNQ
2016-02-18 | Cadmium | Dissolved | ug/L |  | ND |  | ND
2016-02-18 | Lead | Dissolved | ug/L |  | ND |  | ND
2016-02-18 | Selenium | Total | ug/L |  | ND |  | ND
2016-02-18 | Selenium | Dissolved | ug/L |  | ND |  | ND
2016-02-18 | Acenaphthene | Total | ug/L |  | ND |  | ND
2016-02-18 | Acenaphthylene | Total | ug/L |  | ND |  | ND
2016-02-18 | Anthracene | Total | ug/L |  | ND |  | ND
2016-02-18 | Benzidine | Total | ug/L |  | ND |  | ND
2016-02-18 | Benzo(a)pyrene-d12(Surrogate) | Total | ug/L |  | ND |  | ND
2016-02-18 | Benzo(b)fluoranthene | Total | ug/L |  | ND |  | ND
2016-02-18 | Benzo(g,h,i)perylene | Total | ug/L |  | ND |  | ND
2016-02-18 | Benzo(g,h,i)perylene-d12(Surrogate) | Total | ug/L |  | ND |  | ND
2016-02-18 | Benzo(k)fluoranthene | Total | ug/L |  | ND |  | ND
2016-02-18 | Bis(2-chloroethoxy)methane | Total | ug/L |  | ND |  | ND
2016-02-18 | Bis(2-chloroethyl)ether | Total | ug/L |  | ND |  | ND
2016-02-18 | Bis(2-chloroisopropyl) ether | Total | ug/L |  | ND |  | ND
2016-02-18 | Bis(2-ethylhexyl)phthalate | Total | ug/L |  | ND |  | ND
2016-02-18 | Bromophenyl Phenyl Ether, 4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Butyl Benzyl Phthalate | Total | ug/L |  | ND |  | ND
2016-02-18 | Chloro-3-methylphenol, 4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Chloronaphthalene, 2- | Total | ug/L |  | ND |  | ND
2016-02-18 | Chlorophenol, 2- | Total | ug/L |  | ND |  | ND
2016-02-18 | Chlorophenyl Phenyl Ether, 4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Chrysene | Total | ug/L |  | ND |  | ND
2016-02-18 | Dibenz(a,h)anthracene | Total | ug/L |  | ND |  | ND
2016-02-18 | Dichlorobenzene, 1,2- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dichlorobenzene, 1,3- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dichlorobenzene, 1,4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dichlorobenzidine, 3,3'- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dichlorophenol, 2,4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Diethyl phthalate | Total | ug/L |  | ND |  | ND
2016-02-18 | Dimethyl phthalate | Total | ug/L |  | ND |  | ND
2016-02-18 | Dimethylphenol, 2,4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Di-n-butyl Phthalate | Total | ug/L |  | ND |  | ND
2016-02-18 | Dinitro-2-methylphenol, 4,6- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dinitrophenol, 2,4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dinitrotoluene, 2,4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Dinitrotoluene, 2,6- | Total | ug/L |  | ND |  | ND
2016-02-18 | Di-n-octyl Phthalate | Total | ug/L |  | ND |  | ND
2016-02-18 | Diphenylhydrazine, 1,2- | Total | ug/L |  | ND |  | ND
2016-02-18 | Fluoranthene | Total | ug/L |  | ND |  | ND
2016-02-18 | Fluorene | Total | ug/L |  | ND |  | ND
2016-02-18 | Hexachlorobenzene | Total | ug/L |  | ND |  | ND
2016-02-18 | Hexachlorobutadiene | Total | ug/L |  | ND |  | ND
2016-02-18 | Hexachlorocyclopentadiene | Total | ug/L |  | ND |  | ND
2016-02-18 | Hexachloroethane | Total | ug/L |  | ND |  | ND
2016-02-18 | Indeno(1,2,3-c,d)pyrene | Total | ug/L |  | ND |  | ND
2016-02-18 | Isophorone | Total | ug/L |  | ND |  | ND
2016-02-18 | Naphthalene | Total | ug/L |  | ND |  | ND
2016-02-18 | Nitrobenzene | Total | ug/L |  | ND |  | ND
2016-02-18 | Nitrophenol, 2- | Total | ug/L |  | ND |  | ND
2016-02-18 | Nitrophenol, 4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Nitrosodimethylamine, N- | Total | ug/L |  | ND |  | ND
2016-02-18 | Nitrosodi-n-propylamine, N- | Total | ug/L |  | ND |  | ND
2016-02-18 | Nitrosodiphenylamine, N- | Total | ug/L |  | ND |  | ND
2016-02-18 | Phenanthrene | Total | ug/L |  | ND |  | ND
2016-02-18 | Phenol | Total | ug/L |  | ND |  | ND
2016-02-18 | Pyrene | Total | ug/L |  | ND |  | ND
2016-02-18 | Trichlorobenzene, 1,2,4- | Total | ug/L |  | ND |  | ND
2016-02-18 | Trichlorophenol, 2,4,6- | Total | ug/L |  | ND |  | ND

## March Wet 5
Sample Date (Wet 3 at S01) | AnalyteName at S01 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-03-06 | Lead | Total | ug/L | 37 | = | 37.2 | = |  | 0.53908
2016-03-06 | Volatile Suspended Solids | Total | mg/L | 65.5 | = | 66 | = |  | 0.76046
2016-03-06 | Zinc | Dissolved | ug/L | 42.3 | = | 42.7 | = |  | 0.94118
2016-03-06 | Copper | Total | ug/L | 60.1 | = | 61.1 | = |  | 1.6502
2016-03-06 | Zinc | Total | ug/L | 308 | = | 314 | = |  | 1.9293
2016-03-06 | Sulfate | Total | mg/L | 8.51 | = | 8.73 | = |  | 2.5522
2016-03-06 | Copper | Dissolved | ug/L | 9.73 | = | 10 | = |  | 2.7369
2016-03-06 | Total Suspended Solids | Total | mg/L | 243 | = | 228 | = |  | 6.3694
2016-03-06 | Turbidity | Total | NTU | 71.4 | = | 76.4 | = |  | 6.7659
2016-03-06 | Total Organic Carbon | Total | mg/L | 10.5 | = | 11.3 | = |  | 7.3394
2016-03-06 | Cadmium | Total | ug/L | 0.659 | = | 0.601 | = |  | 9.2063
2016-03-06 | Total Dissolved Solids | Total | mg/L | 54 | = | 62 | = |  | 13.7931
2016-03-06 | Mercury | Total | ng/L | 30 | = | 26 | = |  | 14.2857
2016-03-06 | Nitrogen, Total Kjeldahl | Total | mg/L | 1.01 | = | 0.796 | = |  | 23.6988
2016-03-06 | Phosphorus | Dissolved | mg/L | 0.124 | = | 0.087 | = |  | 35.0711
2016-03-06 | Hardness as CaCO3 | Total | mg/L | 52.4 | = | 35 | = |  | 39.8169
2016-03-06 | Phosphorus | Total | mg/L | 0.144 | = | 0.225 | = |  | 43.9024
2016-03-06 | Alkalinity as CaCO3 | Total | mg/L | 36 | = | 139 | = |  | 117.7143
2016-03-06 | E. coli | Total | MPN/100mL | 15531 | = | 15531 | =
2016-03-06 | OilandGrease; HEM | Total | mg/L | 3.61 | DNQ | 3.66 | DNQ
2016-03-06 | Cadmium | Dissolved | ug/L |  | ND |  | ND
2016-03-06 | Lead | Dissolved | ug/L | 0.304 | DNQ | 0.315 | DNQ
2016-03-06 | Selenium | Total | ug/L | 0.527 | DNQ |  | ND
2016-03-06 | Surfactant | Total | mg/L | 0.3 | DNQ | 0.25 | DNQ
Sample Date (Wet 3 at S29) | AnalyteName at S29 | Analyte Fraction | Unit Name | SAMPLE Result | Sample ResQualCode | DUPLICATE Result | Duplicate ResQualCode | MDL | RPD
2016-03-07 | Cyanide | Total | mg/L |  | ND |  | ND |  | 0
2016-03-07 | Iron | Dissolved | ug/L |  | ND |  | ND |  | 0
2016-03-07 | Selenium | Dissolved | ug/L |  | ND |  | ND |  | 0
2016-03-07 | Nitrite as N | Total | mg/L |  | ND |  | ND |  | 0
2016-03-07 | Nitrite as NO2 | Total | mg/L |  | ND |  | ND |  | 0
2016-03-07 | Hardness as CaCO3 | Total | mg/L | 80 | = | 80 | = |  | 0
2016-03-07 | Zinc | Total | ug/L | 33.3 | = | 33.2 | = |  | 0.30075
2016-03-07 | Chloride | Total | mg/L | 12.6 | = | 12.7 | = |  | 0.79051
2016-03-07 | Nitrate as NO3 | Total | mg/L | 2.32 | = | 2.34 | = |  | 0.85837
2016-03-07 | Nitrate as N | Total | mg/L | 0.523 | = | 0.528 | = |  | 0.95147
2016-03-07 | Copper | Total | ug/L | 14.5 | = | 14.3 | = |  | 1.3889
2016-03-07 | Iron | Total | ug/L | 14500 | = | 14300 | = |  | 1.3889
2016-03-07 | Copper | Dissolved | ug/L | 3.31 | = | 3.36 | = |  | 1.4993
2016-03-07 | Selenium | Total | ug/L | 0.577 | DNQ | 0.588 | DNQ |  | 1.8884
2016-03-07 | Zinc | Dissolved | ug/L | 3.31 | = | 3.4 | = |  | 2.6826
2016-03-07 | Mercury | Dissolved | ng/L | 2.4 | = | 2.8 | = |  | 15.3846
2016-03-07 | Mercury | Total | ng/L | 33 | = | 56 | = |  | 51.6854
2016-03-07 | Ammonia as N | Total | mg/L | 0.308 | = | 0.11 | = |  | 94.7368
2016-03-07 | Ammonia as NH3 | Total | mg/L | 0.373 | = | 0.133 | = |  | 94.8617
2016-03-07 | Total Suspended Solids | Total | mg/L | 101 | = | 2080 | = |  | 181.4764
2016-03-07 | Coliform, Fecal | Total | MPN/100mL | 54000 | = | 54000 | = |  | NA
2016-03-07 | E. coli | Total | MPN/100mL | 15531 | = | 12997 | = |  | NA
Note on B21: Komjakraphan, Grace: Not a CIMP requirement

## EPA 625
List may vary per the approved CIMP for each group
EPA 625 | Acenaphthene
EPA 625 | Acenaphthylene
EPA 625 | Anthracene
EPA 625 | Benzidine
EPA 625 | Benzo(a)anthracene
EPA 625 | Benzo(a)pyrene
EPA 625 | Benzo(b)fluoranthene
EPA 625 | Benzo(e)pyrene
EPA 625 | Benzo(g,h,i)perylene
EPA 625 | Benzo(k)fluoranthene
EPA 625 | Biphenyl
EPA 625 | Bis(2-chloroethoxy)methane
EPA 625 | Bis(2-chloroethyl)ether
EPA 625 | Bis(2-chloroisopropyl) ether
EPA 625 | Bis(2-ethylhexyl)phthalate
EPA 625 | Bis(2-ethylhexyl)phthalate
EPA 625 | Bromophenyl Phenyl Ether, 4-
EPA 625 | Butyl Benzyl Phthalate
EPA 625 | Chloro-3-methylphenol, 4-
EPA 625 | Chloronaphthalene, 2-
EPA 625 | Chlorophenol, 2-
EPA 625 | Acenaphthene
EPA 625 | Chlorophenyl Phenyl Ether, 4-
EPA 625 | Acenaphthylene
EPA 625 | Anthracene
EPA 625 | Chrysene
EPA 625 | Benzidine
EPA 625 | Benzo(a)anthracene
EPA 625 | Dibenz(a,h)anthracene
EPA 625 | Benzo(a)pyrene
EPA 625 | Dichlorobenzene, 1,2-
EPA 625 | Benzo(b)fluoranthene
EPA 625 | Dichlorobenzene, 1,3-
EPA 625 | Benzo(g,h,i)perylene
EPA 625 | Dichlorobenzene, 1,4-
EPA 625 | Benzo(k)fluoranthene
EPA 625 | Dichlorobenzidine, 3,3'-
EPA 625 | Bis(2-chloroethoxy)methane
EPA 625 | Dichlorophenol, 2,4-
EPA 625 | Bis(2-chloroethyl)ether
EPA 625 | Diethyl phthalate
EPA 625 | Bis(2-chloroisopropyl) ether
EPA 625 | Dimethyl phthalate
EPA 625 | Bromophenyl Phenyl Ether, 4-
EPA 625 | Dimethylnaphthalene, 2,6-
EPA 625 | Dimethylphenol, 2,4-
EPA 625 | Butyl Benzyl Phthalate
EPA 625 | Di-n-butyl Phthalate
EPA 625 | Chloro-3-methylphenol, 4-
EPA 625 | Dinitro-2-methylphenol, 4,6-
EPA 625 | Chloronaphthalene, 2-
EPA 625 | Dinitrophenol, 2,4-
EPA 625 | Chlorophenol, 2-
EPA 625 | Dinitrotoluene, 2,4-
EPA 625 | Chlorophenyl Phenyl Ether, 4-
EPA 625 | Dinitrotoluene, 2,6-
EPA 625 | Chrysene
EPA 625 | Dibenz(a,h)anthracene
EPA 625 | Di-n-octyl Phthalate
EPA 625 | Dichlorobenzene, 1,2-
EPA 625 | Diphenylhydrazine, 1,2-
EPA 625 | Dichlorobenzene, 1,3-
EPA 625 | Fluoranthene
EPA 625 | Fluorene
EPA 625 | Hexachlorobenzene
EPA 625 | Dichlorobenzene, 1,4-
EPA 625 | Hexachlorobutadiene
EPA 625 | Dichlorobenzidine, 3,3'-
EPA 625 | Hexachlorocyclopentadiene
EPA 625 | Dichlorophenol, 2,4-
EPA 625 | Hexachloroethane
EPA 625 | Diethyl phthalate
EPA 625 | Indeno(1,2,3-c,d)pyrene
EPA 625 | Dimethyl phthalate
EPA 625 | Isophorone
EPA 625 | Dimethylphenol, 2,4-
EPA 625 | Di-n-butyl Phthalate
EPA 625 | Dinitro-2-methylphenol, 4,6-
EPA 625 | Methylnaphthalene, 1-
EPA 625 | Methylnaphthalene, 2-
EPA 625 | Methylphenanthrene, 1-
EPA 625 | Naphthalene
EPA 625 | Dinitrophenol, 2,4-
EPA 625 | Nitrobenzene
EPA 625 | Dinitrotoluene, 2,4-
EPA 625 | Nitrophenol, 2-
EPA 625 | Dinitrotoluene, 2,6-
EPA 625 | Nitrophenol, 4-
EPA 625 | Di-n-octyl Phthalate
EPA 625 | Nitrosodimethylamine, N-
EPA 625 | Fluoranthene
EPA 625 | Nitrosodi-n-propylamine, N-
EPA 625 | Fluorene
EPA 625 | Nitrosodiphenylamine, N-
EPA 625 | Hexachlorobenzene
EPA 625 | Hexachlorobutadiene
EPA 625 | Hexachlorocyclopentadiene
EPA 625 | Hexachloroethane
EPA 625 | Indeno(1,2,3-c,d)pyrene
EPA 625 | Isophorone
EPA 625 | Naphthalene
EPA 625 | Nitrobenzene
EPA 625 | Nitrophenol, 2-
EPA 625 | Nitrophenol, 4-
EPA 625 | Nitrosodimethylamine, N-
EPA 625 | Nitrosodi-n-propylamine, N-
EPA 625 | Nitrosodiphenylamine, N-
EPA 625 | Pentachlorophenol
EPA 625 | Phenanthrene
EPA 625 | Phenol
EPA 625 | Pyrene
EPA 625 | Trichlorobenzene, 1,2,4-
EPA 625 | Trichlorophenol, 2,4,6-
EPA 625 | Pentachlorophenol
EPA 625 | Perylene
EPA 625 | Phenanthrene
EPA 625 | Phenol
EPA 625 | Pyrene
EPA 625 | Trichlorobenzene, 1,2,4-
EPA 625 | Trichlorophenol, 2,4,6-
Note on C4: Komjakraphan, Grace: This is 64 analytes for EPA 625 because it includes both Table E-2 list and the extra PAHs per the DC CIMP.