## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| GR1 | San Gabriel River above Spring St. | [10 empty] | 33.8117 | 118.0911
| GR1-HR | San Gabriel River above Spring St. | [10 empty] | 33.8117 | 118.0911
| NFC1 | N. Fork Coyote Cr. | [10 empty] | 33.8731 | 118.0393
| S13 | Coyote Creek at Spring St. | [10 empty] | 33.8098 | 118.0768
| SG1 | Maplewood | [10 empty] | 33.8866 | 118.1092
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
GR1-HR | 2016-11-21 |  | WQ | Not Recorded
GR1 | 2016-11-21 |  | WQ | Not Recorded
S13 | 2016-11-21 |  | WQ | Not Recorded
GR1-HR | 2016-12-16 |  | WQ | Not Recorded
GR1 | 2016-12-16 |  | WQ | Not Recorded
S13 | 2016-12-16 |  | WQ | Not Recorded
NFC1 | 2016-12-16 |  | WQ | Not Recorded
GR1 | 2017-01-09 |  | WQ | Not Recorded
NFC1 | 2017-01-09 |  | WQ | Not Recorded
SG1 | 2017-02-17 |  | WQ | Not Recorded
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 30.34 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 9.44 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.65 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.83 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 16.07 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 210.3 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 4.1 | = | None
LSGR-GR1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 11:00 | Grab | 1 | KLI Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 2.5 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 32.15 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 9.3 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 2.28 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 1.17 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 7.71 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 106.5 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic |  |  |  | 12:10 | Grab | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 12.7 | = | None
LSGR-NFC1 | 2016-07-28 |  | WQ |  | Kinnetic | Kinnetic |  |  | 12:10 | Grab | 1 | KLI Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 0.137 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.67 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | pH |  | pH | 1 | 6.16 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.303 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.13 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.64 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.3 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 113 | = | None
LSGR-GR1-HR | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hach Flow Meter |  |  |  | Some plastic debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 240.2 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 17.67 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | pH |  | pH | 1 | 6.16 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.303 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.13 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.64 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.3 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hydrolab Quanta |  |  |  | Some plastic debris | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 113 | = | None
LSGR-GR1 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 1:40 | Field | 1 | Hach Flow Meter |  |  |  | Some plastic debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 240.2 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 15.75 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | pH |  | pH | 1 | 6.81 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.082 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.04 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.86 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 99.7 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hydrolab Quanta |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 109 | = | None
LSGR-S13 | 2016-11-21 |  | WQ |  | Kinnetic | Brownish-clear |  |  | 4:30 | Field | 1 | Hach Flow Meter |  |  |  | Plastic trash, leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 2086.45 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 18.44 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | pH |  | pH | 1 | 7.36 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.600 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.29 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 8.41 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 89.1 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 22.3 | = | None
LSGR-GR1-HR | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hach Flow Meter |  |  |  | Slightly turbid | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 114.69 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 18.44 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | pH |  | pH | 1 | 7.36 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.600 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.29 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 8.41 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 89.1 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hydrolab Quanta |  |  |  | Slightly turbid | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 22.3 | = | None
LSGR-GR1 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 1:33 | Field | 1 | Hach Flow Meter |  |  |  | Slightly turbid | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 114.69 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 15.82 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.86 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.087 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.04 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.81 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 93.7 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 70.6 | = | None
LSGR-S13 | 2016-12-16 |  | WQ |  | Kinnetic |  |  |  | 7:55 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 3236.78 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 19.41 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.42 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.082 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.04 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.64 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 95.8 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 32.6 | = | None
LSGR-NFC1 | 2016-12-16 |  | WQ |  | Kinnetic | Milky color |  |  | 2:16 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 244.26 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.91 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.70 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.109 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.05 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 10.91 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.1 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 94.1 | = | None
LSGR-GR1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown |  |  | 6:32 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 1105.18 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 13.80 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.54 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.053 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 6.07 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 54.3 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 69.2 | = | None
LSGR-NFC1 | 2017-01-09 |  | WQ |  | Kinnetic | Brown-clear |  |  | 7:30 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 320.77 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 13.38 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.46 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.109 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.06 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 10.45 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 95.20 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 42.70 | = | None
LSGR-GR1 | 2017-01-19 |  | WQ |  | Kinnetic |  |  |  | 6:40 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 971.85 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 12.67 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.54 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.047 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.02 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 10.49 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.40 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 177.00 | = | None
LSGR-S13 | 2017-01-19 |  | WQ |  | Kinnetic | Turbid |  |  | 7:05 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 4721.95 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:05 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.64 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.49 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.106 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.05 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 8.37 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 77.5 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 124 | = | None
LSGR-NFC1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 15:15 | Field | 1 | Hach Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 173.2 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 14.64 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.55 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.034 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.02 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.90 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 95.7 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 57.0 | = | None
LSGR-SG1 | 2017-02-17 |  | WQ |  | Kinnetic | Brown |  |  | 16:00 | Field | 1 | ISCO Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 139.6 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 30.23 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 8.75 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 1.52 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.77 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 12.46 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 158.9 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 3.4 | = | None
LSGR-GR1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and trash |  |  | 13:10 | Field | 1 | KLI Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 40.1 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 30.69 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | pH |  | pH | 1 | 8.73 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.786 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.38 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 12.09 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 166.0 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | Hydrolab Quanta |  |  |  |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 0.5 | = | None
LSGR-NFC1 | 2017-05-11 |  | WQ |  | Kinnetic | Leaves and some plastic |  |  | 13:10 | Field | 1 | KLI Flow Meter |  |  |  |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 0.18 | = | None
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Format: hh:mm Default Value: 00:00
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L1: Default Value: 1
Note on M1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on O1: LookUp List: VariableCodesLookUp
Note on P1: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S1: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T1: LookUp List: AnalyteLookUp
Note on U1: LookUp List: FractionLookUp
Note on V1: LookUp List: UnitLookUp
Note on W1: Default value: 1
Note on X1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on Y1: LookUp List: ResQualLookUp Default Value: =
Note on Z1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA1: LookUp List: ComplianceLookUp Default Value: NR
Note on AB1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950