## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| LLAR2 | Dominguez Gas Pump Station | [10 empty] | 33.8394 | -118.2032
| S10 | LA River @ Wardlow | [10 empty] | 33.819 | -118.2056
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
LLAR2 | 2017-01-09
S10 | 2017-01-19
LLAR2 | 2017-02-17
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 13.97 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | pH |  | pH | 1 | 7.77 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.059 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 9.48 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 89.2 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 70.5 | = | None
LLAR-LLAR2 | 2017-01-09 |  | WQ | [5 empty] | 7:58 | Field | 1 | Sigma Pressure Transducer | 0 | m | Surface | Leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 96.0 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 13.89 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | pH |  | pH | 1 | 6.57 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.234 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.11 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 5.56 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 57.8 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 119 | = | None
LLAR-S10 | 2017-01-19 |  | WQ | [5 empty] | 6:11 | Field | 1 | Hach Flow Meter | 0 | m | Surface |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 7176.44 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Temperature |  | Deg C | 1 | 13.44 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | pH |  | pH | 1 | 7.52 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm | 1 | 0.055 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Salinity |  | PSS | 1 | 0.03 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L | 1 | 10.71 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT | 1 | 96.9 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface |  | samplewater | FieldMeasure | Turbidity |  | NTU | 1 | 214 | = | None
LLAR-LLAR2 | 2017-02-17 |  | WQ | [5 empty] | 17:35 | Field | 1 | Sigma Pressure Transducer | 0 | m | Surface |  | samplewater | FieldMeasure | Flow |  | (ft^3)/s | 1 | 342.5 | = | None
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Format: hh:mm Default Value: 00:00
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L1: Default Value: 1
Note on M1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on O1: LookUp List: VariableCodesLookUp
Note on P1: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S1: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T1: LookUp List: AnalyteLookUp
Note on U1: LookUp List: FractionLookUp
Note on V1: LookUp List: UnitLookUp
Note on W1: Default value: 1
Note on X1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on Y1: LookUp List: ResQualLookUp Default Value: =
Note on Z1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA1: LookUp List: ComplianceLookUp Default Value: NR
Note on AB1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950