## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments | EventType | SampleID
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 15.7 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 6.91 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 7.1 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 229.7 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.11 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 15.7 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 6.92 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 6.8 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 229.7 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 2018-01-09 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 6:45 | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.11 | = | None |  | NR |  |  | WET | ME000000563
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:01am | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 15.9 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:01am | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 7.14 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:01am | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 7.70 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:01am | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 289.1 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:01am | Field | 1 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.14 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:03am | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 16.0 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:03am | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 6.94 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:03am | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 7.50 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:03am | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 287.4 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 10/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:03am | Field | 2 | LACFCD_YSI Pro Plus YSI 4 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.14 | = | None |  | NR |  |  | WET | ME000000699
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 1 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 19.8 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 1 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 7.19 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 1 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 8.68 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 1 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 145.3 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 1 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.07 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 2 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 19.8 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 2 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 7.05 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 2 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 7.79 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 2 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 145.2 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 15/Mar/2018 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 2:33pm | Field | 2 | LACFCD_YSI Pro Plus YSI 3 | 0.5 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.07 | = | None |  | NR |  |  | WET | ME000000740
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:45PM | Field | 1 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 25.1 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:45PM | Field | 1 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 9.79 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:45PM | Field | 1 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 20.10 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:45PM | Field | 1 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 938 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:45PM | Field | 1 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.48 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:47PM | Field | 2 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Temperature | None | Deg C | 1 | 23.6 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:47PM | Field | 2 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | pH | None | None | 1 | 9.62 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:47PM | Field | 2 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Oxygen, Dissolved | Total | mg/L | 1 | 19.88 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:47PM | Field | 2 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | SpecificConductivity | Total | us/cm | 1 | 939 | = | None |  | NR |  |  | DRY | ME000000670
LLAR-S10 | 2018-02-06 | LLAR_CIMP | WQ | Not Recorded | LACDPW |  | Not Recorded |  | 12:47PM | Field | 2 | LACFCD_YSI Pro Plus YSI 2 | 0.1 | ft | Surface |  | samplewater | FieldMeasure | Salinity | Total | ppt | 1 | 0.46 | = | None |  | NR |  |  | DRY | ME000000670

## HabitatResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | HabitatCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | VariableResult | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | HabitatResultComments | EventType | SampleID