## Stations
StationSource | StationCode | StationName | StationDescr | StationAgency | StationComments | EventType1 | EventType2 | EventType3 | GeometryShape | DirectionsToStation | AddDate | CoordinateNumber | TargetLatitude | TargetLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments | LocalWatershed | LocalWaterbody | State | Counties_2004_COUNTY | SWRCBWatTypeCode | CalWater_2004_RB | CalWater_2004_CALWNUM | CalWater_2004_HUNAME | GageStationID | UpstreamArea | HBASA2_1995_NHCODE | NHD_24k_v2_GNIS_Name | NHD_24k_v2_ReachCode | NHD_24k_v2_HUC_12 | NHD_24k_v2_Hu_12_Name | NHD_100k_GNIS_Name | NHD_100k_ReachCode | NHD_Plus_CatchmentComID | Ecoregion_1987_Level3 | IBI_NorthCoast_2005_WithinPolygon | IBI_SoCal_2005_WithinPolygon | StationGISVerBy | StationGISVerDate | StationGISVerComments
| LCC1 | Stearns Street | [10 empty] | 33.7954 | -118.1036
| SB4 | Sub-basin 4 - Spring Street Drain | [10 empty] | 33.8131 | -118.1395
| SB10 | Sub-basin 10 - Palo Verde | [10 empty] | 33.8104 | -118.1143
| SB9 | Sub-basin 9- Del Amo | [10 empty] | 33.8468 | -118.134
Note on A1: Lookup List: AgencyLookUp or ProjectLookUp
Note on E1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on G1: Lookup List: EventLookUp
Note on H1: Lookup List: EventLookUp
Note on I1: Lookup List: EventLookUp
Note on J1: LookUp List: VariableCodes LookUp
Note on L1: Format: dd/mmm/yyyy
Note on M1: Default Value: 1
Note on P1: LookUp List: VariableCodesLookUp Default Value: NR
Note on Q1: LookUp List: VariableCodesLookUp Default Value: NR
Note on S1: LookUp List: VariableCodesLookUp
Note on Y1: LookUp List: VariableCodesLookUp Default Value: CA
Note on AA1: LookUp List: WBType Lookup Default Value: NR
Note on AB1: Number of Regional Water Board station is located in
Note on AI1: 14-digit number based on National Hydrography Data Reach (NHD)
Note on AJ1: 12-digit number based on National Hydrography Data Reach (NHD)
Note on AK1: If value is null or None, populate LocalWatershed with a value.
Note on AO1: Required Field to use Bioassessment Reporting Module
Note on AP1: Required Field to use Bioassessment Reporting Module
Note on AQ1: Required Field to use Bioassessment Reporting Module

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
LCC1 | 2016-07-18 |  | WQ
LCC1 | 2016-11-21 |  | WQ
SB10 | 2016-11-21 |  | WQ
SB4 | 2016-11-21 |  | WQ
LCC1 | 2016-12-16 |  | WQ
SB10 | 2016-12-16 |  | WQ
SB4 | 2016-12-16 |  | WQ
LCC1 | 2017-01-09 |  | WQ
SB10 | 2017-01-09 |  | WQ
SB4 | 2017-01-09 |  | WQ
LCC1 | 2017-02-17 |  | WQ
SB9 | 2017-02-17 |  | WQ
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp

## FieldResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | FieldCollectionComments | MatrixName | MethodName | AnalyteName | FractionName | UnitName | FieldReplicate | Result | ResQualCode | QACode | ComplianceCode | BatchVerificationCode | CalibrationDate | FieldResultComments
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Temperature |  | Deg C |  | 14.78
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | pH |  | pH |  | 8.08
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.063
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 9.21
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 9
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Turbidity |  | NTU |  | 403
LCC-LCC1 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 7:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves and trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 2544
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Temperature |  | Deg C |  | 15.2
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | pH |  | pH |  | 7.88
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.08
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 8.62
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 84.7
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Turbidity |  | NTU |  | 156
LCC-SB10 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 6:30 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Light Brown, No odor, Trash, leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 364.3282
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Temperature |  | Deg C |  | 14.98
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | pH |  | pH |  | 7.84
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.098
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.05
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 9.14
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 89.1
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Turbidity |  | NTU |  | 150
LCC-SB4-M | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:05 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Cloudy , Brown, No odor, Leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 37
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Temperature |  | Deg C |  | 14.78
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | pH |  | pH |  | 7.41
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.07
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 7.13
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 67.1
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Turbidity |  | NTU |  | 95.6
LCC-SB8 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 8:55 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 18.78
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Temperature |  | Deg C |  | 14.67
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | pH |  | pH |  | 7.39
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.084
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 13.68
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 87.2
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Turbidity |  | NTU |  | 134
LCC-SB9 | 2018-01-09 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:18 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, No odor, Natural debris, some plastic | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 5.2
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Temperature |  | Deg C |  | 14.97
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | pH |  | pH |  | 7.46
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.099
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.05
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 8.49
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 84.7
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Turbidity |  | NTU |  | 75.2
LCC-LCC1 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 22:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Natural debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 80
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Temperature |  | Deg C |  | 13.87
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | pH |  | pH |  | 7.5
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.647
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.31
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 10.91
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 101.1
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Turbidity |  | NTU |  | 15.3
LCC-SB4-M | 2018-03-03 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 9:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, None | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 0
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Temperature |  | Deg C |  | 15.13
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | pH |  | pH |  | 7.33
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.076
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 6.91
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 62.5
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Turbidity |  | NTU |  | 73.9
LCC-SB8 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:35 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 5.6
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Temperature |  | Deg C |  | 15.16
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | pH |  | pH |  | 7.39
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.08
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 7.59
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 67.7
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Turbidity |  | NTU |  | 73.8
LCC-SB9 | 2018-03-02 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 20:20 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Some trash and natural debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 0
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Temperature |  | Deg C |  | 16.49
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | pH |  | pH |  | 7.86
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.116
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.06
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 6.91
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 62.5
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Turbidity |  | NTU |  | 75.2
LCC-LCC1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:45 | Field | 2 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris, small amounts of trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 149.9
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Temperature |  | Deg C |  | 16.74
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | pH |  | pH |  | 8.07
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.113
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.05
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 7.29
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 58.7
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Turbidity |  | NTU |  | 68.9
LCC-SB10 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:25 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash and leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 35.09
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Temperature |  | Deg C |  | 16.99
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | pH |  | pH |  | 7.61
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.078
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.02
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 11.34
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 99.8
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Turbidity |  | NTU |  | 392
LCC-SB4-1 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:29 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Temperature |  | Deg C |  | 16.94
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | pH |  | pH |  | 7.73
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.066
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 9.59
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 93.3
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Turbidity |  | NTU |  | 68.2
LCC-SB4-2 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:12 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, none, Trash. Storm flow. | samplewater | FieldMeasure | Flow |  | (ft^3)/s
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Temperature |  | Deg C |  | 17.35
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | pH |  | pH |  | 7.85
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.334
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.16
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 4.85
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 50
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Turbidity |  | NTU |  | 87.3
LCC-SB4-M | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:00 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Natural debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 4.52
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Temperature |  | Deg C |  | 16.81
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | pH |  | pH |  | 7.63
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.086
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 6.48
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 65.1
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Turbidity |  | NTU |  | 57.3
LCC-SB8 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 19:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some natural debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 18.88
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Temperature |  | Deg C |  | 16.36
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | pH |  | pH |  | 7.66
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.1
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.05
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 6.57
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 60.6
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Turbidity |  | NTU |  | 46.5
LCC-SB9 | 2018-03-10 | LCC_CIMP | WQ |  | Kinnetic | Wet | Not Recorded |  | 18:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, None, Some trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 9.06
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.6
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | pH |  | pH |  | 7.74
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.09
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.05
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 8.69
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 92.5
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Turbidity |  | NTU |  | 109
LCC-LCC1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:52 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Lots of leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 382.1
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.54
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | pH |  | pH |  | 7.73
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.082
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.04
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 8.83
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 93.9
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Turbidity |  | NTU |  | 57.8
LCC-SB10 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:34 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Yellow, None, Leaves and plastic trash | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 60.72
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.27
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | pH |  | pH |  | 8
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.062
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 10.02
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 99.6
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Turbidity |  | NTU |  | 113
LCC-SB4-1 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:09 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Flow |  | (ft^3)/s
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.43
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | pH |  | pH |  | 8.22
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.065
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 9.47
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 98
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Turbidity |  | NTU |  | 117
LCC-SB4-2 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 11:14 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil, Very strong odor of oil and can see a large plume streak from oil/grease | samplewater | FieldMeasure | Flow |  | (ft^3)/s
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.33
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | pH |  | pH |  | 7.87
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.066
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 9.12
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 96.3
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Turbidity |  | NTU |  | 95.4
LCC-SB4-M | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 12:15 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Brown, None, Tree fallen upstream. Plastic trash floating by | samplewater | FieldMeasure | Flow |  | (ft^3)/s
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.57
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | pH |  | pH |  | 7.63
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.052
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 8.89
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 94.6
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Turbidity |  | NTU |  | 43.7
LCC-SB8 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:40 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Slightly Cloudy , Light Yellow, None, Possible oil sheen and lots of leaves | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 28.18
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Temperature |  | Deg C |  | 18.61
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | pH |  | pH |  | 7.73
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.057
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.03
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L |  | 9.09
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT |  | 94.2
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Turbidity |  | NTU |  | 54
LCC-SB9 | 2018-03-22 | LCC_CIMP | WQ |  | Kinnetic |  | Not Recorded |  | 13:50 | Field | 1 | Hydrolab Quanta | 0 | m | Surface | Light Brown, Oil , Algae, Leots of trash, some natural debris | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 48.03
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | Temperature |  | Deg C |  | 21.95
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | pH |  | pH |  | 9.2
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | Electric Conductivity |  | mS/cm |  | 0.851
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | Salinity |  | PSS |  | 0.41
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | Dissolved Oxygen |  | mg/L
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | Dissolved Oxygen |  | % SAT
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | Hydrolab Quanta |  |  |  | Some algae | samplewater | FieldMeasure | Turbidity |  | NTU |  | 66.2
LCC-LCC1 | 2017-05-22 | LCC_CIMP | WQ |  | Kinnetic | Dry | Not Recorded |  | 11:35 | Grab | 1 | KLI Flow Meter |  |  |  | Some algae | samplewater | FieldMeasure | Flow |  | (ft^3)/s |  | 0.04
Note on A2: LookUp List: StationLookUp
Note on B2: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C2: LookUp List: ProjectLookUp
Note on D2: LookUp List: EventLookUp
Note on E2: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F2: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H2: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I2: LookUp List: VariableCodesLookUp
Note on J2: Format: hh:mm Default Value: 00:00
Note on K2: LookUp List: CollectionMethodLookUp Default Value: Field
Note on L2: Default Value: 1
Note on M2: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on O2: LookUp List: VariableCodesLookUp
Note on P2: LookUp List: VariableCodesLookUp Default: Not Applicable
Note on R2: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on S2: LookUp List: MethodLookUp Default Value: FieldMeasure
Note on T2: LookUp List: AnalyteLookUp
Note on U2: LookUp List: FractionLookUp
Note on V2: LookUp List: UnitLookUp
Note on W2: Default value: 1
Note on X2: Result may be left blank as long as an appropriate ResQualCode is provided
Note on X130: Shaun Desktop: CHECK - sensor goes in and out. Put flow shown closest to grab time (18:35)
Note on Y2: LookUp List: ResQualLookUp Default Value: =
Note on Z2: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AA2: LookUp List: ComplianceLookUp Default Value: NR
Note on AB2: LookUp List: BatchVerificationLookUp Default Value: NR
Note on AC2: Format: dd/mmm/yyyy Default Value: 01/Jan/1950