CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

SELF-MONITORING PROGRAM

FOR

RHODIA INC.

(FORMERLY d.b.a. RHONE-POULENC BASIC CHEMICALS CO.)

MARTINEZ PLANT

MARTINEZ, CONTRA COSTA COUNTY

NPDES NO. CA0006165

ORDER NO. R2-2004-0042

Consists of:

Part A (not attached)

Adopted August 1993

and

Part B (Attached)

Adopted: June 16, 2004

Effective: September 1, 2004

Note:  	Part A (dated August 1993, Standard Provisions and Reporting Requirements for NPDES Surface Water Discharger Permits (dated August 1993), and Resolution No. 74-10 referenced in this Self Monitoring Program are not attached but are available for review or download on the Board’s website at www.swrcb.ca.gov/rwqcb2.

# SELF-MONITORING PROGRAM – Part B

## I.   DESCRIPTION OF SAMPLING AND OBSERVATION STATIONS

A. EFFLUENT

Station		Description

E-001 			At any point in the treatment facilities between the point of discharge (to Carquinez Strait) at which all waste tributary to that outfall is present such that the sample is representative of the treated wastewater effluent.

E-002	At any point between the point of discharge (to Peyton Slough) and the point at which all waste tributary to that outfall is present, such that the sample is representative of the storm water effluent.

B. RECEIVING WATERS

Station					Description

C-001				At a point in Carquinez Strait, 730 feet from the shoreline above the deep water diffuser.

C. LAND OBSERVATIONS

Station					Description

P-1 through P-"n"		Located along the periphery of the treatment facilities at equidistant intervals, not to exceed 200 feet.

(Note: A clear and legible sketch showing the location of these stations will accompany each report).

D.	RAINFALL

Station					Description

R-1	The nearest official recording National Weather Service rainfall station or other station acceptable to the Executive Officer

## II. SCHEDULE OF SAMPLING, MEASUREMENTS, AND ANALYSIS

The schedule of sampling, measurements, and analysis shall be that given in Table 1 below.

Table 1.  Schedule For Sampling, Measurements, And Analyses [1][2]

| Sampling Station | E-001 |  |  |  | E-002 |  | C-001 | All P | R-1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Type of Sample | G | C-24 |  | Co | G | Ob | G [15] | Ob | Ob |
| Flow Rate (mgd) [3] |  |  |  | D |  |  |  |  |  |
| COD (mg/L) |  | M |  |  |  |  |  |  |  |
| Settleable Matter (ml/L-hr) [4] | M |  |  |  |  |  |  |  |  |
| Conductivity (mhos/cm) |  |  |  |  | E[14] |  |  |  |  |
| TSS (mg/L& kg/day) |  | 2/M[16] |  |  | E[14] |  |  |  |  |
| Oil and Grease (mg/L& kg/day) [4][5] | M |  |  |  | E[14] |  |  |  |  |
| pH (s.u.) [6] |  |  |  | D | E[14] |  | A |  |  |
| Temperature (C) |  |  |  | D |  |  | A |  |  |
| Turbidity (NTU) |  | Q |  |  |  |  |  |  |  |
| Dissolved Oxygen (mg/L& %-Saturation) | M |  |  |  |  |  | A |  |  |
| Sulfides (mg/L) [7] |  |  |  |  |  |  | A |  |  |
| Unionized Ammonia (mg/L) |  |  |  |  |  |  | A |  |  |
| Visible Oil |  |  |  |  |  | E[14] |  |  |  |
| Visible Color |  |  |  |  |  | E[14] |  |  |  |
| Acute Toxicity (% Survival) [8] |  | M |  |  |  |  |  |  |  |
| Chronic Toxicity [9] |  | 2/Y[17] |  |  |  |  |  |  |  |
| Cadmium (g/L&kg/day) |  | M |  |  |  |  |  |  |  |
| Chromium (Hexavalent or Total) (g/L&kg/day) [10] | M |  |  |  |  |  |  |  |  |
| Copper (g/L&kg/day) |  | M |  |  |  |  |  |  |  |
| Mercury (g/L&kg/day) | M [11] |  |  |  |  |  |  |  |  |
| Nickel (g/L&kg/day) |  | M |  |  |  |  |  |  |  |
| Selenium (g/L&kg/day) |  | M |  |  |  |  |  |  |  |
| Silver (g/L&kg/day) |  | M |  |  |  |  |  |  |  |
| 2,3,7,8-TCDD and Congeners (µg/l) [12] | 2/Y |  |  |  |  |  |  |  |  |
| Bis(2-Ethylhexyl)Phthalate (µg/l) | A |  |  |  |  |  |  |  |  |
| 4,4’-DDE (µg/l) | A |  |  |  |  |  |  |  |  |
| Dieldrin (µg/l) | A |  |  |  |  |  |  |  |  |
| Table 1 Selected Constituents (except those listed above) | As specified in August 6, 2001 Letter [13] |  |  |  |  |  |  |  |  |
| All Applicable Observations |  |  |  |  |  |  |  | W |  |
| Rainfall |  |  |  |  |  |  |  |  | D |

Legend for Table 1:

| Types of Samples | Types of Stations | Frequency of Sampling |
| --- | --- | --- |
| Co = continuous | E = treatment plant effluent | D = once each day |
| C-24 = 24-hour composite | P = treatment facility perimeter | 2/M = twice per month |
| G = grab | C = receiving waters | M = once each month |
| Ob = observations | R = Rainfall | Q = once each calendar quarter (with at least 2-month intervals) |
|  |  | A = once per year |
|  |  | 2/Y = twice per year |
|  |  | E = each occurrence |

Footnotes for Table 1:

[1]	Indicates sampling is required during the entire year. The Discharger shall use approved U.S. EPA Methods with the lowest Minimum Levels (MLs) specified in the SIP and described in footnote 2 of effluent limitations B.5, and in the August 6, 2001 Letter.

[2]	Composite sampling: 24-hour composites may be made up of discrete grabs collected over the course of a day and volumetrically or mathematically flow-weighted.  Samples for inorganic pollutants may be combined prior to analysis. Samples for organic pollutants should be analyzed separately. If only one grab sample will be collected, it should be collected during periods of maximum peak flows. Samples shall be taken on random days.

[3]	Flow monitoring: Effluent flow shall be measured continuously at Outfall 001 and recorded and reported daily. For effluent flows, the following information shall also be reported, monthly:

Daily:	Daily Flow (MG)

Monthly:	Average Daily Flow (MGD)

Monthly:	Maximum Daily Flow (MGD)

Monthly:	Minimum Daily Flow (MGD)

Monthly:	Total Flow Volume (MG)

[4]	Grab samples shall be collected coincident with samples collected for the analysis of the regulated parameters.

[5]	Oil and grease: Each oil and grease sample event shall consist of a composite sample composed of three grab samples taken at equal intervals during the sampling date, with each grab sample being collected in a glass container. Each glass container used for sample collection or mixing shall be thoroughly rinsed with solvent rinsings as soon as possible after use, and the solvent rinsings shall be added to the composite sample for extraction and analysis.

[6]	pH: daily minimum and maximum shall be reported.

[7] 	Sulfides: Receiving water analysis for sulfides should be run when dissolved oxygen is less than 2.0 mg/L.

[8]	Bioassays: Monitoring of the bioassay water shall include, on a daily basis, the parameters specified in the U.S. EPA-approved method, such as pH, dissolved oxygen, ammonia nitrogen, and temperature. These results shall be reported.  If the fish survival rate in the effluent is less than 70 percent or if the control fish survival rate is less than 90 percent, the bioassay test shall be restarted with new batches of fish and shall continue back to back until compliance is demonstrated.

[9]	A Critical Life Stage Toxicity Test shall be performed and reported in accordance with the Chronic Toxicity Requirements specified in Sections V and VI of the SMP contained in this Order.

[10] Total Chromium may be substituted for Hexavalent Chromium at the Discharger’s discretion.

[11]	The Discharger may, at its option, sample effluent mercury either as grab or as 24-hour composite samples. Use ultra-clean sampling (U.S. EPA 1669) to the maximum extent practicable and ultra-clean analytical methods (U.S. EPA 1631) for mercury monitoring. The Discharger may use alternative methods of analysis (such as U.S. EPA 245), if that alternative method has an ML of 2 ng/L or less.

[12]	Chlorinated dibenzodioxins and chlorinated dibenzofurans shall be analyzed using the latest version of U.S. EPA Method 1613; the analysis shall be capable of achieving one-half of the U.S EPA MLs and the Discharger shall collect 4-liter samples to lower the detection limits to the greatest extent practicable. Alternative methods of analysis must be approved by the Executive Officer.

[13]	Sampling for Table 1 Selected Constituents in the SIP is addressed in a letter dated August 6, 2001, from Board Staff: “Requirements for Monitoring of Pollutants in Effluent and Receiving Water to Implement New Statewide Regulations and Policy” (not attached, but available for review or download on the Board's website at www.swrcb.ca.gov/rwqcb).

[14] Each occurrence shall refer to "significant stormwater discharge" on at least one storm event per month. These are continuous discharges of stormwater for a minimum of one hour, or an intermittent discharge of stormwater for a minimum of three hours in a 12-hour period.

[15]	Samples should be collected within 1 foot below the surface of the receiving waterbody.

[16] Twice per month sampling shall occur in nonconsecutive weeks.

[17] Twice per year sampling shall occur once in the dry season (May through October) and once in the wet season (November through April).

Table 2 lists the MLs (SIP) of the priority constituents included in Table 1. For compliance monitoring, analyses shall be conducted using the lowest commercially available and reasonably achievable detection levels. The objective is to provide quantification of constituents sufficient to allow evaluation of observed concentrations with respect to the MLs given below. All MLs are expressed as μg/L, approximately equal to parts per billion (ppb).

Table 2. Minimum Levels (µg/L or ppb)

| CTR # | Constituent [1] | Types of Analytical Methods [2] |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | GC | GC MS | LC | Color | FAA | GFAA | ICP | ICP MS | SPG FAA | HYD- RIDE | CVAA | DCP |
| 4. | Cadmium |  |  |  |  | 10 | 0.5 | 10 | 0.25 | 0.5 |  |  | 1,000 |
| 5. | Chromium (total) |  |  |  |  | 50 | 2 | 10 | 0.5 | 1 |  |  | 1,000 |
| 6. | Copper [3] |  |  |  |  | 25 | 5 | 10 | 0.5 | 2 |  |  | 1,000 |
| 8. | Mercury [4] |  |  |  |  |  |  | 0.5 |  |  |  | 0.2 |  |
| 9. | Nickel |  |  |  |  | 50 | 5 | 20 | 1 | 5 |  |  | 1,000 |
| 10. | Selenium |  |  |  |  |  | 5 | 10 | 2 | 5 | 1 |  | 1,000 |
| 11. | Silver |  |  |  |  | 10 | 1 | 10 | 0.25 | 2 |  |  | 1,000 |
| 68. | Bis(2-Ethylhexyl) Phthalate | 10 | 5 |  |  |  |  |  |  |  |  |  |  |
| 109. | 4,4'-DDE | 0.05 |  |  |  |  |  |  |  |  |  |  |  |
| 111. | Dieldrin | 0.01 |  |  |  |  |  |  |  |  |  |  |  |
|  | TCDD-TEQ [5] |  |  |  |  |  |  |  |  |  |  |  |  |

Footnotes for Table 2:

[1]	According to the SIP, method-specific factors (MSFs) can be applied. In such cases, this additional factor must be applied in the computation of the reporting limit. Application of such factors will alter the reported ML (as described in Section 2.4.1).  Dischargers are to instruct laboratories to establish calibration standards so that the ML value is the lowest calibration standard. At no time is the discharger to use analytical data derived from the extrapolation beyond the lowest point of the calibration curve.

[2]	Laboratory techniques are defined as follows: GC = Gas Chromatography; GCMS = Gas Chromatography/Mass Spectrometry; LC = High Pressure Liquid Chromatography; Color = Colorimetric; FAA = Flame Atomic Absorption; GFAA = Graphite Furnace Atomic Absorption; Hydride = Gaseous Hydride Atomic Absorption; ICP = Inductively Coupled Plasma; ICPMS = Inductively Coupled Plasma/Mass Spectrometry; SPGFAA = Stabilized Platform Graphite Furnace Atomic Absorption (i.e., U.S. EPA 200.9); CVAA = Cold Vapor Atomic Absorption; DCP = Direct Current Plasma.

[3]	For copper, the Discharger may also use the following laboratory techniques with the relevant ML: GFAA with an ML of 5 μg/L and SPGFAA with an ML of 2 μg/L.

[4]	Use ultra-clean sampling (U.S. EPA 1669) to the maximum extent practicable, and ultra-clean analytical methods (U.S. EPA 1631) for mercury monitoring. The Discharger may use alternative methods of analysis (such as U.S. EPA 245), if the alternative method has an ML of 2 ng/L or less.

[5]	The SIP does not specify an ML for this constituent.

## III. MODIFICATIONS to PART A of SELF-MONITORING PROGRAM

A.  If any discrepancies exist between Part A and Part B of the SMP, Part B prevails.

B.	Sections C.3. and C.5. are satisfied by participation in the Regional Monitoring Program.

C.   Modify Section F.1, first paragraph, as follows:

Spill Reports

A report shall be made of any spill of oil or other hazardous material.  The spill shall be reported by telephone as soon as possible and no later than 24 hours following occurrence or discharger's knowledge of occurrence. Spills shall be reported by telephone as follows:

During weekdays, during office hours of 8 am to 5 pm, to the Regional Board:

Current telephone number: (510) 622 – 2300, (510) 622-2460 (FAX).

During non-office hours, to the State Office of Emergency Services:

Current telephone number: (800) 852 - 7550.

A report shall be submitted to the Regional Board within five (5) working days following telephone notification, unless directed otherwise by Board staff. A report submitted by facsimile transmission is acceptable for this reporting. The written report shall contain information relative to: . . .

D.  Modify Section F.2, first paragraph, as follows:

Reports of Plant Bypass, Treatment Unit Bypass and Permit Violation

The following requirements apply to all treatment plant bypasses and significant non-compliance occurrences, except for bypasses under the conditions contained in 40 CFR Part 122.41 (m)(4) as stated in Standard Provision A.13.  In the event the Discharger violates or threatens to violate the conditions of the waste discharge requirements and prohibitions or intends to experience a plant bypass or treatment unit bypass due to: . . .

E.  Modify Section F.4, first paragraph, as follows:

Self-Monitoring Reports

For each calendar month, a self-monitoring report (SMR) shall be submitted to the Regional Board in accordance with the requirements listed in Self-Monitoring Program, Part A. The purpose of the report is to document treatment performance, effluent quality and compliance with waste discharge requirements prescribed by this Order, as demonstrated by the monitoring program data and the Discharger's operation practices. The report shall be submitted to the Board no later than thirty (30) days after the end of the reporting month. The reports shall be comprised of the following: …

And add at the end of Section F.4 the following:

g.   The Discharger has the option to submit all monitoring results in an electronic reporting format approved by the Executive Officer.  The Discharger is currently submitting SMRs electronically in a format approved by the Executive Officer in a letter dated December 17, 1999, Official Implementation of Electronic Reporting System (ERS). The ERS format includes, but is not limited to, a transmittal letter, summary of violation details and corrective actions, and transmittal receipt.  If there are any discrepancies between the ERS requirements and the “hard copy” requirements listed in the SMP, then the approved ERS requirements supercede.

F.	Add at the end of Section F.5, Annual Reporting, the following:

d.   A plan view drawing or map showing the Dischargers' facility, flow routing and sampling and observation station locations.

G.	The following are additions to Part A of Self-Monitoring Program:

1.  Reporting Data in Electronic Format:

The Discharger has the option to submit all monitoring results in electronic reporting format approved by the Executive Officer. If the Discharger chooses to submit the SMRs electronically, the following shall apply:

a.	Reporting Method: The Discharger shall submit SMRs electronically via the process approved by the Executive Officer in a letter dated December 17, 1999, Official Implementation of Electronic Reporting System (ERS).

b.	Modification of Reporting Requirements: Reporting requirements F.4 in the attached SMP, Part A, dated August 1993, shall be modified as follows. In the future, the Board intends to modify Part A to reflect these changes.

c.	Monthly Report Requirements: For each calendar month, an SMR shall be submitted to the Board in accordance with the following:

i.	The report shall be submitted to the Board no later than 30 days from the last day of the reporting month.

ii.	Letter of Transmittal: Each report shall be submitted with a letter of transmittal. This letter shall include the following:

(1)	Identification of all violations of effluent limits or other discharge requirements found during the monitoring period.

(2)	Details of the violations: parameters, magnitude, test results, frequency, and dates.

(3)	The cause of the violations.

(4)	Discussion of corrective actions taken or planned to resolve violations and prevent recurrence, and dates or time schedule of action implementation. If previous reports have been submitted that address corrective actions, reference to such reports is satisfactory.

(5)	Signature: The letter of transmittal shall be signed by the Discharger’ principal executive officer or ranking elected official, or duly authorized representative, and shall include the following certification statement:

“I certify under penalty of law that this document and all attachments have been prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gathered and evaluated the information submitted. The information submitted is, to the best of my knowledge and belief, true, accurate and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment.”

iii.	Compliance Evaluation Summary: Each report shall include a compliance evaluation summary. This summary shall include the number of samples in violation of applicable effluent limits.

iv.	Results of Analyses and Observations:

(1)	Tabulations of all required analyses and observations, including parameter, sample date, sample station, and test result.

(2)	If any parameter is monitored more frequently than required by this permit and SMP, the results of this additional monitoring shall be included in the monitoring report, and the data shall be included in data calculations and compliance evaluations for the monitoring period.

(3)	Calculations for all effluent limits that require averaging of measurements shall use an arithmetic mean, unless specified otherwise in this permit or SMP.

(4)	Data Reporting for Results Not Yet Available: The Discharger shall make all reasonable efforts to obtain analytical data for required parameter sampling in a timely manner. The Board recognizes that certain analyses require additional time in order to complete analytical processes and result reporting. For cases where required monitoring parameters require additional time to complete analytical processes and reporting, and results are not available in time to be included in the SMR for the subjected monitoring period, such cases shall be described in the SMR. Data for these parameters, and relevant discussions of any observed violations, shall be included in the next following SMR after the data become available.

###### IV. RECORDING REQUIREMENTS – RECORDS TO BE MAINTAINED

Written reports, electronic records, strip charts, equipment calibration and maintenance records, and other records pertinent to demonstrating compliance with waste discharge requirements including self-monitoring program requirements, shall be maintained by the Discharger in a manner and at a location (e.g., wastewater treatment plant or discharger offices) such that the records are accessible to Board staff. These records shall be retained by the Discharger for a minimum of three years. The minimum period of retention shall be extended during the course of any unresolved litigation regarding the subject discharges, or when requested by the Regional Board or by the Regional Administrator of the US EPA, Region IX.

Records to be maintained shall include the following:

A.  Parameter Sampling and Analyses, and Observations.

For each sample, analysis or observation conducted, records shall include the following:

1.   Identity of parameter

2.   Identity of sampling or observation station, consistent with the station descriptions given in this SMP.

3.	Date and time of sampling or observation.

4.	Method of sampling (grab, composite, other method). Date and time analysis started and completed, and name of personnel or contract laboratory performing the analysis.

5.	Reference or description of procedure(s) used for sample preservation and handling, and analytical method(s) used.

6.	Calculations of results.

7.	Analytical method detection limits and related quantitation parameters.

8.	Results of analyses or observations.

B.	Flow Monitoring Data.

For all required flow monitoring, records shall include the following:

1.	Total flow or volume, for each day.

2.	Maximum, minimum and average daily flows for each calendar month.

C.	Wastewater Treatment Process Solids.

1.	For each treatment unit process which involves solid removal from the wastewater stream, records shall include the following:

a.   Total volume and/or mass quantification of solids removed from each unit (e.g., grit, skimmings, undigested sludge), for each calendar month; and

b.	Final disposition of such solids (e.g., landfill, other subsequent treatment unit).

2.	For final dewatered sludge from the treatment plant as a whole, records shall include the following:

a.	Total volume and/or mass quantification of dewatered sludge, for each calendar month;

Solids content of the dewatered sludge; and

b.	Final disposition of dewatered sludge (point of disposal location and disposal method).

## V. CHRONIC TOXICITY MONITORING REQUIREMENTS

A.  Sampling.  The Discharger shall collect 24-hour composite samples of the treatment facilities’ effluent at the compliance point specified in Table 1 of the SMP, for critical life stage toxicity testing as indicated below. For toxicity tests requiring renewals, 24-hour composite samples collected on consecutive days are required.

B.	Test Species. Chronic toxicity shall be monitored by using critical life stage test(s) and the most sensitive tests species identified by screening phase testing described in Attachment A of the SMP. The Discharger shall conduct routine monitoring with the species approved by the Executive Officer. The approved species at this time is giant kelp (Macrocystis pyrifera).

If the Discharger uses two or more species, after at least twelve test rounds, the Discharger may request the Executive Officer to decrease the required frequency of testing, and/or to reduce the number of compliance species to one.  Such a request may be made only if toxicity exceeding the TUc values specified in the effluent limitations was never observed using that test species.

C.	Conditions for Accelerated Monitoring: The Discharger shall accelerate the frequency of monitoring to monthly, or as otherwise specified by the Executive Officer, after exceeding a single sample maximum of 10 TUc.

D.  Methodology: Sample collection, handling and preservation shall be in accordance with U.S. EPA protocols.  The test methodology used shall be in accordance with the references cited in the Permit, or as approved by the Executive Officer.  A concurrent reference toxicant test shall be performed for each test.

E.  Dilution Series: The Discharger shall conduct tests at 100%, 50%, 25%, 10%, and 5%, and 2.5%. The “%” represents percent effluent as discharged.

## VI. CHRONIC TOXICITY REPORTING REQUIREMENTS

A.	Routine Reporting: Toxicity test results for the current reporting period shall include the following, at a minimum, for each test:

1.	Sample date(s)

2.	Test initiation date

3.	Test species

4.	End point values for each dilution (e.g., number of young, growth rate, percent survival)

5.	NOEC value(s)	in percent effluent

6. 	IC15, IC25, IC40, and IC50 values (or EC15, EC25 ... etc.) in percent effluent

7. 	TUc values (100/NOEC, 100/IC25, and 100/EC25)

8.	Mean percent mortality (+ s.d.) after 96 hours in 100% effluent

9.	NOEC and LOEC values for reference toxicant test(s)

10.	IC50 or EC50 value(s) for reference toxicant test(s)

11.	Available water quality measurements for each test (i.e., pH, D.O., temperature, conductivity, hardness, salinity, ammonia)

B.	Compliance Summary:  The results of the chronic toxicity testing shall be provided in the most recent self-monitoring report and shall include a summary table of chronic toxicity data from at least three of the most recent samples.  The information in the table shall include the items listed above under VI.A, item numbers 1, 3, 5, 6(IC25 or EC25), 7, and 8.

## VII. MISCELLANEOUS REPORTING

A.	The Discharger shall retain and submit (when required by the Executive Officer) the following information concerning the monitoring program for organic and metallic pollutants.

1.	Description of sample stations, times, and procedures.

2.	Description of sample containers, storage, and holding time prior to analysis.

3.	Quality assurance procedures together with any test results for replicate samples, sample blanks, and any quality assurance tests, and the recovery percentages for the internal surrogate standard.

- The Discharger shall submit in the monthly self-monitoring report the metallic and organic test results together with the detection limits (including unidentified peaks).  All unidentified (non-Priority Pollutant) peaks detected in the U.S. EPA 624, 625 test methods shall be identified and semi-quantified.  Hydrocarbons detected at <10 g/L based on the nearest internal standard may be appropriately grouped and identified together as aliphatic, aromatic and unsaturated hydrocarbons. All other hydrocarbons detected at > 10 g/L based on the nearest internal standard shall be identified and semi-quantified.

- The Discharger shall submit a clear and legible sketch showing the locations of all ponds, treatment facilities, and points of waste discharge.  The map shall be updated by the Discharger as changes occur.

## VIII.  SELECTED CONSTITUENTS MONITORING

- Effluent monitoring shall include evaluation for all constituents listed in Table 1 by sampling and analysis of final effluent.

- Analyses shall be conducted using the lowest commercially available and reasonably achievable detection levels.  The objective is to provide quantification of constituents sufficient to allow evaluation of observed concentrations with respect to respective water quality objectives.

## IX.  MONITORING METHODS AND MINIMUM DETECTION LEVELS

The Discharger may use the methods listed in Table 2, above, or alternate test procedures that have been approved by the U.S. EPA Regional Administrator pursuant to 40 CFR 136.4 and 40 CFR 136.5 (revised as of May 14, 1999).

## X.  SELF-MONITORING PROGRAM CERTIFICATION

I, Bruce H. Wolfe, Executive Officer, hereby certify that the foregoing Self-Monitoring Program:

A. Has been developed in accordance with the procedure set forth in this Board's Resolution No. 73-16 in order to obtain data and document compliance with waste discharge requirements established in Board Order No. R2-2004-0042.

B. May be reviewed at any time subsequent to the effective date upon written notice from the Executive Officer or request from the Discharger, and revisions will be ordered by the Executive Officer.

C.	Is effective as of September 1, 2004.

- _______________________

BRUCE H. WOLFE

EXECUTIVE OFFICER

- ATTACHMENT A

- CHRONIC TOXICITY

- DEFINITION OF TERMS & SCREENING PHASE REQUIREMENTS

- I.	Definition of Terms

- A.	No observed effect level (NOEL) for compliance determination is equal to IC25 or EC25.  If the IC25 or EC25 cannot be statistically determined, the NOEL shall be equal to the NOEC derived using hypothesis testing.

- B.	Effective concentration (EC) is a point estimate of the toxicant concentration that would cause an adverse effect on a quantal, "all or nothing," response (such as death, immobilization, or serious incapacitation) in a given percent of the test organisms.  If the effect is death or immobility, the term lethal concentration (LC) may be used.  EC values may be calculated using point estimation techniques such as probit, logit, and Spearman-Karber.  EC25 is the concentration of toxicant (in percent effluent) that causes a response in 25% of the test organisms.

- C.	Inhibition Concentration (IC) is a point estimate of the toxicant concentration that would cause a given percent reduction in a non-lethal, non-quantal biological measurement, such as growth.  For example, an IC25 is the estimated concentration of toxicant that would cause a 25% reduction in average young per female or growth.  IC values may be calculated using a linear interpolation method such as EPA's Bootstrap Procedure.

- D.	No observed effect concentration (NOEC) is the highest tested concentration of an effluent or a toxicant at which no adverse effects are observed on the aquatic test organisms at a specific time of observation.  It is determined using hypothesis testing.

- II.	Chronic Toxicity Screening Phase Requirements

- A.	The Discharger shall perform screening phase monitoring:

- 1.	Subsequent to any significant change in the nature of the effluent discharged through changes in sources or treatment, except those changes resulting from reductions in pollutant concentrations attributable to source control efforts, or

- 2.	Prior to Permit reissuance.  Screening phase monitoring data shall be included in the NPDES Permit application for reissuance.  The information shall be as recent as possible, but may be based on screening phase monitoring conducted within 5 years before the permit expiration date.

- B.	Design of the screening phase shall, at a minimum, consist of the following elements:

            - Use of test species specified in Tables 1 and 2 (attached), and use of the protocols referenced in those tables, or as approved by the Executive Officer;

            - Two stages:

- a.	Stage 1 shall consist of a minimum of one battery of tests conducted concurrently.  Selection of the type of test species and minimum number of tests shall be based on Table 3 (attached); and

- b.	Stage 2 shall consist of a minimum of two test batteries conducted at a monthly frequency using the three most sensitive species based on the Stage 1 test results and as approved by the Executive Officer.

            - Appropriate controls; and

            - Concurrent reference toxicant tests.

C.	The Discharger shall submit a screening phase proposal to the Executive Officer for approval.  The proposal shall address each of the elements listed above.

TABLE 1

CRITICAL LIFE STAGE TOXICITY TESTS FOR ESTUARINE WATERS

___________________________________________________________________________________________

TEST	REFER-

SPECIES	(Scientific name)	EFFECT	DURATION   	ENCE

alga	(Skeletonema costatum)	growth rate	 4 days		1

(Thalassiosira pseudonana)

red alga	(Champia parvula)	number of cystocarps	7-9 days		3

giant kelp	(Macrocystis pyrifera)	percent germination;	48 hours		2

germ tube length

abalone	(Haliotis rufescens)	abnormal shell development	48 hours		2

oyster 	(Crassostrea gigas)	abnormal shell development;	48 hours		2

mussel 	(Mytilus edulis)	percent survival

Echinoderms		percent fertilization	 1 hour		2

(urchins - 	Strongylocentrotus purpuratus,

S. franciscanus);

(sand dollar - Dendraster excentricus)

shrimp	(Mysidopsis bahia)	percent survival;  	 7 days		3

growth

shrimp	(holmesimysis costata)	percent survival; 	 7 days		2

growth

topsmelt	(Atherinops affinis)	percent survival;	 7 days		2

growth

silversides	(Menidia beryllina)	larval growth rate;	 7 days		3

percent survival

Toxicity Test References:

1.	American Society for Testing Materials (ASTM).  1990.  Standard Guide for conducting static 96-hour toxicity tests with microalgae. Procedure E 1218-90. ASTM Philadelphia, PA.

2.	Short-term Methods for Estimating the Chronic Toxicity of Effluent and Receiving Waters to West Coast Marine and Estuarine Organisms.  EPA/600/R-95/136.  August 1995

3.	Short-term Methods for Estimating the Chronic Toxicity of Effluent and Receiving Waters to Marine and Estuarine Organisms.  EPA/600/4-90/003.  July 1994

TABLE 2

CRITICAL LIFE STAGE TOXICITY TESTS FOR FRESH WATERS

___________________________________________________________________________________________

SPECIES	(Scientific name)	EFFECT             TEST DURATION     REFERENCE

___________________________________________________________________________________________

fathead minnow	(Pimephales promelas)       	survival;	     7 days		       4

growth rate

water flea	(Ceriodaphnia dubia)	survival;	     7 days		       4

number of young

alga		(Selenastrum capricornutum)	cell division rate	     4 days		       4

___________________________________________________________________________________________

Toxicity Test Reference:

4.	Short-term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Waters to Freshwater Organisms.  Third edition.  EPA/600/4-91/002.  July 1994

--------------------------------------------------------------------------------------------------------------------------------------

TABLE 3

TOXICITY TEST REQUIREMENTS FOR STAGE ONE SCREENING PHASE

| REQUIREMENTS | RECEIVING WATER CHARACTERISTICS |  |  |
| --- | --- | --- | --- |
|  | Discharges to Coast | Discharges to San Francisco Bay ‡ |  |
|  | Ocean | Marine/Estuarine | Freshwater |
| Taxonomic Diversity: | 1 plant 1 invertebrate 1 fish | 1 plant 1 invertebrate 1 fish | 1 plant 1 invertebrate 1 fish |
| Number of tests of each salinity type: Freshwater (†): Marine/Estuarine: | 0 4 | 1 or 2 3 or 4 | 3 0 |
| Total number of tests: | 4 | 5 | 3 |

†	The fresh water species may be substituted with marine species if:

(1)	The salinity of the effluent is above 1 parts per thousand (ppt) greater than 95% of the time, or

(2)	The ionic strength (TDS or conductivity) of the effluent at the test concentration used to determine compliance is documented to be toxic to the test species.

‡	Marine/Estuarine refers to receiving water salinities greater than 1 ppt at least 95% of the time during a normal water year.

Fresh refers to receiving water with salinities less than 1 ppt at least 95% of the time during a normal water year.