CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

TENTATIVE TIME SCHEDULE ORDER

ORDER NO. R2-2004-xxxx

EAST BAY MUNICIPAL UTILITY DISTRICT

SPECIAL DISTRICT NO. 1

WET WEATHER FACILITIES

ALAMEDA COUNTY

Effective Date: January 1, 2005

Contents

FINDINGS	3

Background	3

WWF Descriptions	6

Secondary Level Treatment Requirements	6

WWF effluent quality summary	7

SIP Case-by-Case Exception	8

Authority and Basis for Time Schedule Order	9

CEQA and Public Notice	10

Requirements	10

A.	Conventional Pollutants	10

1.	Investigate current technologies for complying with secondary treatment requirements	10

2.	Investigate “Bubble” or Watershed-based Permit	11

3.	Additional wet-weather flow storage and transportation study	11

4.	Continued support of the current East Bay Communities’ I/ICP and development and implementation of East Bay Communities’ private lateral control program	11

5.	Urban runoff treatment	12

B.	Toxic Pollutants	12

1.	Watershed Permitting	12

2.	Water quality study	12

Provisions	13

1.	Annual progress report	13

2.	Failure to comply	13

3.	Availability of this order	13

4.	Order effective date	14

CALIFORNIA REGIONAL WATER QUALITY CONTROL BOARD

SAN FRANCISCO BAY REGION

ORDER NO. R2-2004-xxxx

TIME SCHEDULE ORDER FOR:

EAST BAY MUNICIPAL UTILITY DISTRICT

SPECIAL DISTRICT NO. 1

WET WEATHER FACILITIES (WWFs)

ALAMEDA COUNTY

# FINDINGS

The California Regional Water Quality Control Board, San Francisco Bay Region (hereinafter “Board”) finds that:

## Background

1.	East Bay Inflow and Infiltration Correction Program (I/ICP).  Because the East Bay Communities’ sewers are connected to EBMUD’s interceptors, excessive I/I from the East Bay Communities’ collection systems can force EBMUD’s interceptors to overflow untreated wastewater through the seven (7) designed overflow structures in EBMUD’s interceptor system.  The East Bay Communities and EBMUD initiated a 6-year East Bay I/I Study in 1980.  The I/I Study outlined recommendations for a sewer improvement program called the East Bay I/ICP.  Schedules to complete the I/ICP were developed for each member of the East Bay Communities.  The East Bay Communities and the Discharger started implementing the East Bay I/ICP in 1987.  Since then, the East Bay Communities have eliminated all known cross connections between sewer and storm drain systems, and 113 out of 115 sewer overflow points identified in the I/I Study as high threats to public health.

2.	Cost analysis of sewer rehabilitation program.  It is cost prohibitive to eliminate all I/I into a sewer system.  In 1980, the East Bay Communities performed a cost analysis during the I/I Study to determine the cost-effective level of rehabilitation.  The cost-effective level of rehabilitation involves balancing the cost of rehabilitation of the East Bay Communities’ sewer systems and the cost for increasing the capacity of EBMUD’s interceptors, wastewater treatment facilities.  In the early 1980s, the Discharger performed a sensitivity analysis to study cost effects of various levels of rehabilitation on several wet weather alternatives.  Cost-Effective Ratios (C-E-Ratio) for various drainage basins were calculated.  A C-E Ratio greater than one (1) indicates that I/I rehabilitation is cost effective.  The analysis was performed by using a computer program supported by the Corps of Engineers Hydrologic Engineering Center, called STORM.  This analysis derived a regional least-cost solution, which involves both East Bay Communities’ sewer rehabilitation cost and transportation/treatment cost by the Discharger.  The study results were described in the Wet Weather Facilities Update dated May 29, 1985.  The Study concluded that the most cost effective solution was to rehabilitate the cost effective elements of the communities’ collection systems, to provide relief sewers in the communities’ systems, increase interceptor hydraulic capacity, and construct storage basins to handle wet weather flows up to a 5-year storm event.

3.	Design goal of East Bay I/ICP.  The design goal of East Bay I/ICP is to eliminate overflows from the East Bay Communities’ collection systems and EBMUD’s interceptor unless the rainfall exceeds a 5-year design storm event.  Overflows may continue to occur for events less than the 5-year design storm until the East Bay Communities complete the I/ICP.  However, the occurrence of overflows will decrease as more of the East Bay I/ICP projects are completed.

4.	5-year Design Storm Event Definition.  The 5-year design storm event is a storm event that meets the following criteria:  a 6-hour duration, and a maximum 1-hour rainfall intensity of a storm with return period of five (5) years.  The storm is assumed to occur during saturated soil conditions, and to coincide with the peak 3-hour ultimate Base Wastewater Flow (BWF) condition.  BWF consists of domestic wastewater flow from residential, commercial, and institutional sources plus industrial wastewater.  BWF specifically excludes infiltration and inflow (I/I) from groundwater or storm water.  Due to these conservative assumptions, the Wet Weather Facilities Pre-design Report concluded that the estimated peak flow produced by this event has a return period of approximately 13 years.  The peak I/I flow from a 5-year storm was selected as the basis of design for the treatment level intended to protect beneficial uses as defined by the San Francisco Bay Basin Plan (Basin Plan), Maintenance Level C.  Maintenance Level C requires secondary treatment to the half-year recurrence interval, primary treatment to the 5-year recurrence interval, and above the 5-year interval, overflows are allowed.

5.	EBMUD Wet Weather Program.  In conjunction with the I/I Study, the Discharger conducted its own wet weather program planning from 1975 to 1987, and developed a comprehensive East Bay Wet Weather Program.  This East Bay Wet Weather Program combined the results of the I/I Studies and the EBMUD facility planning and developed a cohesive approach to reducing sanitary sewer overflows in the East Bay.  The Discharger started implementing its component of the East Bay Wet Weather Program in 1987.  Since then, the Discharger has spent about $310 million on the East Bay Wet Weather Program.  EBMUD has constructed three (3) WWFs, two (2) wet weather interceptors, improvements at its Main Wastewater Treatment Plant, system storage and pumping facilities, and has eliminated two (2) of the seven (7) designed wet weather overflow structures.

6.	WWFs Permitting Background:

a.	Pre-1986 permitting background.  The Board first issued an NPDES permit to EBMUD in 1976 for the wet weather discharges from overflow structures along EBMUD’s interceptor.  The 1976 permit required EBMUD to eliminate discharge of untreated overflows from its interceptors, identify various zones along shoreline of San Francisco Bay based on beneficial uses, and establish level of treatment for wet weather overflows.  The 1976 permit was reissued in 1984.  In addition the requirement of elimination of wet weather overflows, the 1984 permit prescribed secondary limits for conventional pollutants and toxic limits for over 22 priority pollutants for overflows from all seven (7) overflow structures.

b.	U.S. EPA 1986 letter.  By letter dated June 3, 1986, Board staff asked U.S. EPA whether overflows of sanitary wastes from collection systems are subject to secondary treatment requirements.  U.S. EPA Region IX determined in its June 18, 1986, letter that EBMUD’s wet weather overflow structures are not Publicly Owned Treatment Works (POTWs), and are therefore not subject to secondary treatment requirements pursuant to 40 CFR 122.2.

Based on this determination, when the 1984 permit was reissued in 1987 (Order No. 87-18), the secondary treatment limits from the 1984 permit were replaced with technology-based limits using Best Conventional Pollution Control Technology and Best Available Technology Economically Achievable (“BCT/BAT”).

c.	Post-1986 construction and permitting.

(1)	Construction of three (3) WWFs.  In reliance on U.S. EPA’s June 18, 1986 letter and the 1987 permit, the Discharger – with the participation and approval of U.S. EPA and the Board  – spent $310 million constructing three (3) WWFs discussed below.  The construction of WWFs was completed in 1998.  These WWFs have significantly reduced the frequency and impact of wet weather overflows.

(2)	Subsequent permits.  The 1987 permit was reissued in 1992 and 1998 with no significant change to the requirements and effluent limits.

(3)	2004 permit.  As noted above, the June 18, 1986 letter concludes that "EBMUD's wet weather overflow structures are not POTW's" and, therefore, not subject to secondary treatment limitations.  This conclusion was based on U.S. EPA's finding that the sewers functioned similarly to combined sewers due to high I/I, and that the wet weather overflow structures did not convey flow to EBMUD's wastewater treatment plant.  Hence, at that time U.S. EPA concluded that the overflow structures were not POTWs and were, thus, obligated to meet requirements based on the application of best conventional pollutant control technology (BCT) and best available technology economically achievable (BAT), rather than secondary treatment technology.  This would be consistent with U.S. EPA's Combined Sewer Overflow (CSO) Policy (April 19, 1994, at 59 Fed. Reg. 18688. ) if, in fact, the discharges were from combined sewer systems.  The 1986 letter, however, states that, while some of the facilities were at one time combined sewers, the sewers have since been separated.  Releases from the collection system are, therefore, not covered by the CSO Policy.  The EBMUD and the contributing  communities collection system are separate sanitary sewers designed to convey wastewater to EBMUD's wastewater treatment plant.  As such, it is U.S. EPA's belief that any releases from the collection system and discharges from the wastewater treatment plant must, at a minimum, meet secondary treatment requirements.  U.S. EPA intends to issue a letter, which will supersede the 1986 letter, confirming this belief.  For this permit, however, U.S. EPA acknowledges that it is appropriate to renew this permit on the basis of U.S. EPA's 1986 letter.

## WWF Descriptions

7.	EBMUD interceptor system.  The Discharger owns and operates its interceptor system, which includes a 23-mile long north and south interceptor, Adeline Interceptor, South Foothill Interceptor, and Alameda Interceptor.  The interceptor has a hydraulic capacity of 760 mgd.  It includes 14 pump stations, five (5) overflow structures, three (3) WWFs, and a million-gallon wet weather storage basin along the Alameda Interceptor. (See Figure 1 attached)

8.	Five existing overflow structures at interceptor.  The Discharger’s interceptor system currently has five (5) wet weather overflow structures that discharge untreated sewage to San Francisco Bay during extreme storms.  Historically, there were seven (7) overflow structures, two (2) of which have been removed during the implementation of EBMUD wet weather program.  Discharges of untreated sewage from these structures may occur as a result of I/I during winter storm events with a greater frequency than a 5-year storm.  Locations of the remaining five (5) overflow structures are: Oakland Inner Harbor at Alice Street, Oakland Inner Harbor at Webster Street, Elmhurst Creek, San Leandro Creek, and Temescal Creek.  During the past 10 years, there was only one overflow from one structure during 1998 El Nino conditions.

9.	Point Isabel wet-weather treatment facility.  The Point Isabel WWF is located at 2755 Point Isabel Street, Richmond.  It was constructed in 1993 and has a design capacity of 100 million gallons per day (mgd).  The Point Isabel WWF provides primary treatment to wastewaters diverted from the North Interceptor during peak wet weather flow conditions.  The treatment processes consist of coarse screens, bar screens, grit chambers, and sedimentation/disinfection basins.  Screenings are disposed to landfill; grit and sludge are returned to the interceptor.  The treated wastewater discharges through a submerged diffuser about 300 feet offshore at a depth of 8 feet below mean low tide line to Richmond Inner Harbor, part of central San Francisco Bay.

10.	San Antonio Creek wet-weather treatment facility.  The San Antonio Creek WWF is located at 225 and 330 Embarcadero Avenue, Oakland.  It was constructed in 1996 and has a design capacity of 51 mgd.  The San Antonio Creek WWF provides primary treatment to wastewaters diverted from the middle portion of the South Interceptor during peak wet weather flow conditions.  The treatment process consists of grit removal, fine screening, and disinfection.  Both screenings and grits are returned to the interceptor.   The treated wastewater discharges to Oakland Inner Harbor, part of lower San Francisco Bay.

11.	Oakport wet-weather treatment facility.  The Oakport WWF is located at 5597 Oakport Street, Oakland.  It was constructed in 1990 and has a design capacity of 158 mgd.  The Oakport WWF provides primary treatment to wastewaters diverted from the south portion of the South Interceptor.  The treatment processes consists of course screens and sedimentation/disinfection basins.  Both screenings and sludge are returned to the interceptor.  The treated wastewater discharges to East Creek Slough at a location of approximately 700 feet upstream of Oakland Inner Harbor, part of lower San Francisco Bay.

## Secondary Level Treatment Requirements

12.	The 1972 CWA requires that each Publicly Owned Treatment Work (POTW) achieve secondary level treatment no later than July 1, 1977 [33U.S.C. 1311(b)(1)(B)].  These secondary treatment standards are defined as treatment that consistently achieves specified BOD5, pH and TSS effluent limits.  These secondary effluent standards are specified in 40CFR Part 133 (also see table 1 below).

#### Table 1	 Secondary Effluent Standards

| Parameters | Monthly Average | Weekly Average | Daily Maximum | Instantaneous Max |
| --- | --- | --- | --- | --- |
| CBOD5, mg/L | 25 | 40 |  |  |
| TSS, mg/L | 30 | 45 |  |  |
| 85% removal, % | 85 | 85 |  |  |
| pH |  |  |  | 6.5-8.5 |
| Settleable Matter, ml/L-hr. | 0.1 | 0.2 |  |  |
| Oil & Grease | 10 |  | 20 |  |

## WWF effluent quality summary

13.	Wet-weather treatment facility performance.  Tables 2 to 4 below summarize the discharge flow volumes, and maximum and median concentrations of conventional and toxic pollutants in effluents from all three (3) WWFs.

The annual total discharge volumes currently exceed the long-term design goal of 100 million gallons per year specified under Prohibition A.3 of the permit for the WWFs (Order No. R2-2004-xxxx).  BOD5, TSS, and oil and grease concentration are all above secondary limits.  BOD5 and TSS removal efficiencies range from 20 to 40 percent, which are also below the secondary treatment requirement of 85% removal.  Additionally, 19 toxic pollutant concentrations are above CTR criteria.

Table 2	Total Discharge Volume, 1998 to 2003 (Total volume discharged from all three facilities)

| Season | Targeted Discharge Volume, MG | Actual Discharge Volume, MG |
| --- | --- | --- |
| Winter of 1998-1999 | 100 | 236 |
| Winter of 1999-2000 | 100 | 549 |
| Winter of 2000-2001 | 100 | 214 |
| Winter of 2001-2002 | 100 | 320 |
| Winter of 2002-2003 | 100 | 362 |

Table 3	Treatment Performance for Conventional Pollutants from 1998 to 2003

| Conventional Pollutants | Point Isabel |  | San Antonio |  | Oakport |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Max. | Median | Max. | Median | Max. | Media |
| CBOD5, mg/L | 89 | 51 | 70 | 56 | 220 | 77 |
| TSS, mg/L | 100 | 37 | 180 | 107 | 160 | 69 |
| Oil & Grease, mg/L | 24 | 13 | 24 | 6.8 | 37 | 18 |
| Total Coliform, MPN/100 ml | 12 | 2 | 1300 | 140 | 2200 | 4 |
| Fecal Coliform, MPN/100 ml | 2 | <2 | 110 | 13 | 30 | 2 |

Table 4	Toxic Pollutants that Exceed Criteria

| Toxic Pollutants | Criteria (µg/L) | Maximum Effluent Concentrations, µg/L |  |  |
| --- | --- | --- | --- | --- |
|  |  | Point Isabel | San Antonio | Oakport |
| Arsenic |  |  | 8.75 |  |
| Chromium VI | 50 | 170 |  | 320 |
| Copper | 3.7 | 53 | 60.9 | 86.2 |
| Lead | 8.5 | 18 | 36.1 | 36.8 |
| Mercury | 0.025 | 0.3 | 0.46 | 0.17 |
| Nickel | 8.3 | 26 | 26 | 22 |
| Selenium | 5 | 30 |  |  |
| Silver | 2.2 | 20 | 22.6 | 26.4 |
| Zinc | 85.6 | 134 | 185 | 216 |
| Cyanide | 1 | 7 | 16 | 11 |
| Benzo(a)pyrene | 0.049 |  | 0.1 |  |
| Chrysene | 0.049 |  | 0.051 |  |
| Dichlorobromomethane | 46 | 52 |  |  |
| Tetrachloroethylene | 9 |  |  | 74 |
| Hexachlorobenzene | 0.00077 |  |  | 0.023 |
| 4,4-DDT | 0.00059 | 0.011 | 0.0036 | 0.0087 |
| 4,4-DDE | 0.00059 | 0.00097 | 0.00097 | 0.00097 |
| 4,4-DDD | 0.00084 | 0.0059 |  | 0.015 |
| Dieldrin | 0.00014 | 0.0029 | 0.000264 | 0.022 |
| Endrin | 0.002 | 0.003 |  |  |
| Heptachlor Expoxide | 0.00011 | 0.0057 |  |  |

Note: Blank cell means that the maximum effluent concentration from 1998 to 2003 for this constituent in this particular facility does not exceed the criteria.

## SIP Case-by-Case Exception

14.	The State Implementation Policy (SIP) specifies the procedures and policies for implementing priority pollutant standards and objectives in NPDES Permits. The SIP provides exceptions to the SIP in cases where the “… watersheds differ sufficiently from statewide conditions and those differences cannot be addressed through other provisions …” of the SIP.  The Discharger has stated its intent to apply to the State Board for mass offsets through SIP exceptions for toxic pollutants in the discharges that do not immediately comply with water quality standards. The Board adopted a Time Schedule Order No. R2-2004-xxx (TSO) concurrent with this Permit that, among other tasks, establishes a strategy leading towards an application for SIP exceptions. Once these necessary studies are completed, the Board will support the Discharger’s efforts for mass offsets through SIP exceptions. However, until the State Board makes a determination and obtains U.S. EPA’s concurrence, this Permit must implement the provisions of the SIP. Because the process for granting an exception may be lengthy, the Board encourages the Discharger to finish the necessary studies and submit a complete application to State Board in a timely manner so that any determinations by the State Board will be available by the time of the next permit reissuance. There are two basic thresholds the Discharger must meet before they qualify to apply for an SIP exception: 1) they have different conditions, and 2) other provisions of the SIP cannot address those differences.

a.	On the first threshold, the watershed of the East Bay Communities served by the Discharger appears to differ sufficiently from statewide conditions. It consists of dense urban development that began in the gold rush in the 1800’s and accelerated in earnest in the 1900’s as the San Francisco Bay Area grew. Many communities in the Discharger’s watershed are served by collection systems installed during these earlier times. As a result, the Discharger’s service area experiences higher levels of inflow and infiltration than other more recently developed communities, or undeveloped areas in the San Francisco Bay Area and statewide.

b.	On the second threshold, the TSO establishes a strategy that entails first, narrowing the field of pollutants for which SIP exceptions maybe necessary by an evaluation of current data to determine if compliance can be demonstrated through an alternate permit limit strategy identified in the TSO. This is followed (or possibly paralleled) by further shortening the list of pollutants through studies to determine if compliance can be demonstrated using other available provisions in the SIP and the Basin Plan (such as translators, site specific objectives, dilution credits). Thus, these studies should be completed prior to the Discharger’s application to the State Board.

## Authority and Basis for Time Schedule Order

15.	Water Code Authority.  Section 13300 of the California Water Code authorizes the Board to issue a time schedule when it finds that a discharge of waste is taking place or threatening to take place that violates or will violate requirements prescribed by the Board, or that the waste collection, treatment, or disposal facilities of a discharger are approaching capacity.  The Board may require the Discharger to submit a detailed time schedule of specific actions that the Discharger shall take in order to correct or prevent a violation of requirements.

16.	Basis for time schedules.  These WWFs currently do not achieve secondary level treatment.  The available data (Table 4) also show that the discharge has reasonable potential to cause or contribute to exceedances of water quality standards for toxics.  As a result, the discharges from these facilities threaten to violate the receiving water limitation D.1 specified in Order No. R2-2004-xxxx.  EBMUD’s three WWFs meet BCT/BAT treatment requirements specified for industrial wastewater available in 1987, but technological developments in both treatment technologies and lateral infiltration controls since 1987 give rise to the possibility that EBMUD’s WWFs no longer comply with BCT/BAT requirements.  This TSO establishes a 4.5-year schedule to allow the Discharger to investigate various BCT/BAT alternatives and analyze various technologies and their feasibilities to meet BCT/BAT requirements or secondary limits directly, or by equivalent means, and to comply with water quality standards.  Equivalent means include the potential of providing offsets through the treatment of nuisance flows from storm drain systems during dry weather, and storm water from the first storm events (first flush).  Technologies to be investigated include development of private lateral control program to further reduce I/I, and increase storage capacity of wastewater flows.  Both these elements reduce peak and total flow to the facilities, thus increasing the feasibility of new treatment technologies and reducing the total discharge volume that threatens compliance with the receiving water limits.  The information obtained from these studies will allow the Board to determine appropriate requirements in the next permit reissuance that are economically feasible, in compliance with applicable regulations, and protect water quality of San Francisco Bay.

## CEQA and Public Notice

17.	This action is an enforcement action and, as such, is exempt from the provisions of the California Environmental Quality Act (Public Resources Code, Section 21000 et seq.) in accordance with section 15321, Title 14, California Code of Regulations.

18.	The Board has notified the Discharger and interested persons of its intent under California Water Code section 13300 to consider the adoption of a TSO for the discharge, and has provided them with an opportunity to submit written comments and appear at the public hearing.  Responses to written comments are hereby incorporated by reference as part of this Order.

19.	The Board, in a public hearing, heard and considered all comments pertaining to this Order.

IT IS HEREBY ORDERED that, in accordance with section 13300 of the California Water Code, the Discharger shall comply with the time schedule and other provisions specified below:

# Requirements

## A.	Conventional Pollutants

### 1.	Investigate current technologies for complying with secondary treatment requirements

Completion Date:  four (4) years and six (6) months from the effective date of this TSO

The Discharger shall submit a report acceptable to the Executive Officer that describes in detail feasibility studies on upgrading treatment at the Point Isabel, San Antonio Creek and Oakport WWFs.  Upgraded treatment alternatives shall include, without limitation, alternatives that achieve secondary treatment.  At a minimum, the studies shall include:

a.	Analysis of various available technologies for achieving secondary treatment for wet-weather facilities;

b.	Cost analysis for each feasible technology; and

c.	Facility site evaluations for installation of secondary treatment technologies.

### 2.	Investigate “Bubble” or Watershed-based Permit

Completion Date:  four (4) years and six (6) months from the effective date of this TSO

Analysis of feasibility of meeting secondary treatment standards by combining the WWFs and the Main Treatment Plant under a single “bubble” or watershed-based permit consistent with applicable policy and guidance.  Currently, applicable policy is the October 16, 2001, SWRCB policy regarding “Legal Authority for Offsets, Pollutant Trading and Market Programs to Supplement Water Quality Regulation in California’s Impaired Waters”.  Additionally, there is U.S. EPA December 2003 “Watershed based NPDES Permitting Implementation Guidance” (EPA833-B-03-004).

### 3.	Additional wet-weather flow storage and transportation study

Completion Date:  four (4) years, 6 months from the effective date of this TSO

The Discharger shall evaluate the potential for expanding its current wet-weather storage and transport capacity to maximize its wet weather flow storage and treatment capacity.  At a minimum, the study shall identify:

a.	potential locations and availability of land for storage facilities;

b.	the required storage volumes in order to achieve

(1)	zero discharge from WWFs;

(2)	50% reduction in discharge from the current design criteria, and

(3)	maximum treatment feasibility (i.e., minimum costs) for treatment options evaluated under A.1, above to achieve secondary and water quality standards.

### 4.	Continued support of the current East Bay Communities’ I/ICP and development and implementation of East Bay Communities’ private lateral control program

Completion Date:  The Board will specify the date in a revised Cease and Desist Order (CDO) to the East Bay Communities.  The Board hereby authorizes the Executive Officer to amend this TSO provision to be consistent with the revised CDO once adopted by the Board.

The Discharger shall continue its support of the East Bay Communities’ efforts to control inflow/infiltration (I/I).  By the date specified above, the Discharger shall lead and facilitate the completion of a private lateral control program for the East Bay Communities’ sewer systems.  Discharger shall then support, as appropriate and consistent with the revised CDO, the implementation of the lateral program.

### 5.	Urban runoff treatment

Completion Date:  four (4) years six (6) months from the effective date of this TSO

The Discharger shall conduct feasibility studies on providing treatment at its wastewater treatment facilities for urban runoff treatment during dry weather conditions, or first flush of wet-weather storm event.  At a minimum, the studies shall estimate the amount of urban runoff that can be treated, piping for transportation of storm water to the treatment facilities, pollutants that may be removed through the treatment, and associated costs.

## B.	Toxic Pollutants

### 1.	Watershed Permitting

Completion Date:  18 months from the effective date of this TSO

The Discharger shall conduct a study to assess the feasibility of meeting toxic limits by combining the WWFs and the Main Treatment Plant under a single “bubble” or watershed-based permit consistent with applicable policy and guidance.  Currently, applicable policy is the October 16, 2001, SWRCB policy regarding “Legal Authority for Offsets, Pollutant Trading and Market Programs to Supplement Water Quality Regulation in California’s Impaired Waters”.  Additionally, there is U.S. EPA’s December 2003 “Watershed based NPDES Permitting Implementation Guidance” (EPA833-B-03-004).  The Discharger’s study report, to be submitted no later than eighteen months from the effective date of this TSO, shall include a request that the Board confirm the identity of those toxic constituents for which the Discharger can and cannot achieve compliance via application of the bubble approach and including consideration of water quality impacts.  The latter (“Further Study Constituents”) shall be the subject of further studies pursuant to B.2 and B.3, below.

### 2.	Water quality study

Completion Date:  study plan to be submitted within six (6) months from Board Executive Officer confirmation of the identity of the Further Study Constituents under B.1, above

Not later than six (6) months from the Board’s confirmation of the identity of the Further Study Constituents under B.1, above, the Discharger shall submit, for the Executive Officer’s review and approval, a plan for the study of one or more of the following for each such Constituent:

a.	The feasibility of using site-specific translators (pursuant to SIP section 1.4.1) to achieve compliance.

b.	The feasibility of using mixing zones and dilution credits (pursuant to SIP section 1.4.2) to achieve compliance, after the Discharger has demonstrated compliance with WQBELs in receiving water, and has an aggressive pretreatment program including: (1) Completion of a source identification study; (2) development and implementation of a source reduction plan; and (3) Development of resources to fully implement the source control and reduction plan.

c.	The feasibility of using site-specific objectives (pursuant to SIP section 5.2) to achieve compliance.

The study plan shall include a schedule for completion of the study and submittal of a study report to the Executive Officer.  The Discharger may submit case-by-case exception as described in Finding 14.

# Provisions

### 1.	Annual progress report

The Discharger shall submit annual progress report(s) to describe the progress of the activities specified in the above Requirements.  Progress report(s) shall be submitted on February 1 of each year with the first report due on the second February after the effective date of this Order, until the requirements have been fulfilled.

If the Discharger is delayed, interrupted, or prevented from meeting one or more of the time schedules in this Order due to circumstances beyond its reasonable control, the Discharger shall promptly notify the Executive Officer with adequate justification.  In the event of such delays, the Board may consider modification of the time schedules established in this Order.

### 2.	Failure to comply

If the Discharger fails to comply with the provisions of this Order, the Executive Officer is authorized to take further enforcement action, or to request the Attorney General take appropriate actions against the Discharger, in accordance with sections 13331, 13350, 13385, and 13386 of the California Water Code.  This shall include injunctive and civil remedies, if appropriate, or the issuance of an Administrative Civil Liability Complaint for Board consideration.

### 3.	Availability of this order

The Discharger shall maintain a copy of this Order at its facility so as to be available at all times to facility operating personnel.

### 4.	Order effective date

This Order shall be effective on January 1, 2005.

I, Bruce H. Wolfe, Executive Officer, do hereby certify that the foregoing is a full, true, and correct copy of an order adopted by the California Regional Water Quality Control Board, San Francisco Bay Region, on January 1, 2005.

_________________________

Bruce H. Wolfe

Executive Officer

Attachment:  Figure 1 EBMUD WWFs