## Oakport
Beginning |  | Step 1 | Step 2 | Step 3 |  |  | Step 4 | Step 5 | Step 6 | Steps 7 & 8 | Final Result d
| Constituent name i | C (mg/L) | Number of data points | MinDL(µg/L) | If all data points are ND and MinDL>C, interim monitoring is required | MEC (mg/L) | MEC vs. C | B (mg/L) | B vs. C | 7) Review other information in the SIP page 4. If information is unavailable or insufficient: 8) the RWQCB shall establish interim monitoring requirements. h |  | Data detects
|  | Lowest (most stringent) Criteria |  | Minimum Detection Limits |  | Maximum Pollutant Concentration from the effluent | 1. If MEC> or =C, effluent limitation is required; 2. If MEC<C, go to Step 5 | Maximum Ambient Background Concentration | If B>C, effluent limitation is required
1 | Antimony | 4300 | 18 | 5 |  | 12.8 | MED<C, go to Step 5 | 1.8 | B<C, go to Step 7 |  | N
2 | Arsenic | 36 | 39 | 0.2 |  | 19.4 | MEC<C, go to Step 5 | 2.46 | B<C, go to Step 7 |  | N
3 | Beryllium | No Criteria | 18 | 0.11 | No Criteria | 0.383 | No criteria | 0.215 | No criteria |  | No criteria
4 | Cadmium | 9.3 | 26 | 0.07 |  | 0.25 | MEC<C, go to Step 5 | 0.1268 | B<C, go to Step 7 |  | N
5a | Chromium (III) | No Criteria |  |  | No Criteria | No data | No criteria |  | No criteria |  | No criteria
5b | Chromium (VI)/Total Cr | 50 | 26 | 1.1 |  | 32.9 | MEC<C, go to Step 5 | 4.4 | B<C, go to Step 7 |  | N
6 | Copper | 3.7349 | 26 | 3.3 |  | 86.2 | Effluent Limit required | 2.45 | B<C, go to Step 7 |  | Y
7 | Lead | 5.6 | 26 | 0.9 |  | 36.8 | Effluent Limit required | 0.8 | B<C, go to Step 7 |  | Y
8 | Mercury | 0.025 | 40 | 0.00017 |  | 0.17 | Effluent Limit required | 0.0086 | B<C, go to Step 7 |  | Y
9 | Nickel | 7.1 | 26 | 3.3 |  | 22 | Effluent Limit required | 3.7 | B<C, go to Step 7 |  | Y
10 | Selenium | 5 | 24 | 0.2 |  | 1.3 | MEC<C, go to Step 5 | 0.39 | B<C, go to Step 7 |  | N
11 | Silver | 2.2353 | 36 | 0.06 |  | 26.4 | Effluent Limit required | 0.0516 | B<C, go to Step 7 |  | Y
12 | Thallium | 6.3 | 18 | 0.23 | All data are ND |  | MEC<C, go to Step 5 | 0.21 | B<C, go to Step 7 |  | N
13 | Zinc | 58 | 26 | 4.4 |  | 216 | Effluent Limit required | 4.4 |  |  | Y
14 | Cyanide | 1 | 26 | 3 |  | 11 | Effluent Limit required |  | No ambient data, Step 7 |  | Y
15 | Asbestos | No Criteria | 0 |  | Not Applicable | Not Applicable | Not Applicable |  | Not Applicable |  | Not Applicable
16 | 2,3,7,8 TCDD (303d listed) | 1.4e-08 | 1 | Only has |  |  | No data, go to Step 5
| (apply to Dioxin TEQ) | 1.4e-08 |  | 3/7/02 data |  | 3.7e-08 | Effluent Limit required | 7.1e-08 | Effluent limit required |  | Y
17 | Acrolein | 780 | 6 | 5 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
18 | Acrylonitrile | 0.66 | 6 | 1 | All data are ND |  | MEC<C, go to Step 5 | 0.03 | B<C, go to Step 7 |  | N
19 | Benzene | 71 | 6 | 0.05 |  | 0.39 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
20 | Bromoform | 360 | 6 | 0.1 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
21 | Carbon Tetrachloride | 4.4 | 6 | 0.14 | All data are ND |  | MEC<C, go to Step 5 | 0.06 | B<C, go to Step 7 |  | N
22 | Chlorobenzene | 21000 | 6 | 0.05 |  | 0.6 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
23 | Chlorodibromomethane | 34 | 6 | 0.06 |  | 0.23E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
24 | Chloroethane | No Criteria | 6 | 0.19 | No criteria |  | No criteria |  | No criteria |  | No criteria
25 | 2-Chloroethylvinyl ether | No Criteria | 6 | 0.1 | No criteria |  | No criteria |  | No criteria |  | No criteria
26 | Chloroform | No Criteria | 6 | 0.07 | No criteria | 37 | No criteria |  | No criteria |  | No criteria
27 | Dichlorobromomethane | 46 | 6 | 0.04 |  | 5.6 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
28 | 1,1-Dichloroethane | No Criteria | 6 | 0.07 | All data are ND |  | No criteria |  | No criteria |  | No criteria
29 | 1,2-Dichloroethane | 99 | 6 | 0.06 | All data are ND |  | MEC<C, go to Step 5 | 0.04 | No ambient data, Step 7 |  | N
30 | 1,1-Dichloroethylene | 3.2 | 6 | 0.05 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
31 | 1,2-Dichloropropane | 39 | 6 | 0.12 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
32 | 1,3-Dichloropropylene | 1700 | 6 | 0.02 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
33 | Ethylbenzene | 29000 | 6 | 0.08 |  | 2.8 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
34 | Methyl Bromide | 4000 | 6 | 0.21 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
35 | Methyl Chloride | No Criteria | 6 | 0.1 | All data are ND |  | No criteria |  | No criteria |  | No criteria
36 | Methylene Chloride | 1600 | 6 | 0.07 |  | 1.2 | MEC<C, go to Step 5 | 0.5 | B<C, go to Step 7 |  | N
37 | 1,1,2,2-Tetrachloroethane | 11 | 6 | 0.11 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
38 | Tetrachloroethylene | 8.85 | 6 | 0.11 |  | 74 | Effluent limit required |  | No ambient data, Step 7 |  | Y
39 | Toluene | 200000 | 6 | 0.07 |  | 8 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
40 | 1,2-Trans-Dichloroethylene | 140000 | 6 | 0.14 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
41 | 1,1,1-Trichloroethane | No Criteria | 6 | 0.08 | No criteria | 0.08 | No criteria |  | No criteria |  | No criteria
42 | 1,1,2-Trichloroethane | 42 | 6 | 0.03 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
43 | Trichloroethylene | 81 | 6 | 0.05 |  | 1.3E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
44 | Vinyl Chloride | 525 | 6 | 0.07 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
45 | 2-Chlorophenol | 400 | 2 | 0.19 |  | 0.34 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
46 | 2,4-Dichlorophenol | 790 | 2 | 0.28 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
47 | 2,4-Dimethylphenol | 2300 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
48 | 2-Methyl- 4,6-Dinitrophenol | 765 | 2 | 0.94 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
49 | 2,4-Dinitrophenol | 14000 | 2 | 0.94 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
50 | 2-Nitrophenol | No Criteria | 2 | 0.094 | All data are ND |  | No criteria |  | No criteria |  | No criteria
51 | 4-Nitrophenol | No Criteria | 2 | 1.9 | All data are ND |  | No criteria |  | No criteria |  | No criteria
52 | 3-Methyl 4-Chlorophenol | No Criteria | 2 | 0.19 | All data are ND |  | No criteria |  | No criteria |  | No criteria
53 | Pentachlorophenol | 7.9 | 2 | 1.9 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
54 | Phenol | 4600000 | 2 | 0.19 |  | 0.62 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
55 | 2,4,6-Trichlorophenol | 6.5 | 2 | 0.094 |  | 0.59 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
56 | Acenaphthene | 2700 | 28 | 0.046 | All data are ND |  | MEC<C, go to Step 5 | 0.0015 | B<C, go to Step 7 |  | N
57 | Acenaphthylene | No Criteria | 28 | 0.062 | No criteria |  | No criteria | 0.00053 | No criteria |  | No criteria
58 | Anthracene | 110000 | 26 | 0.0034 | All data are ND |  | MEC<C, go to Step 5 | 0.0005 | B<C, go to Step 7 |  | N
59 | Benzidine | 0.00054 | 2 | 4.7 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
60 | Benzo(a)Anthracene | 0.049 | 28 | 0.0058 |  | 0.021 E | MEC<C, go to Step 5 | 0.0053 | B<C, go to Step 7 |  | N
61 | Benzo(a)Pyrene | 0.049 | 28 | 0.0079 | All data are ND |  | MEC<C, go to Step 5 | 0.00029 | B<C, go to Step 7 |  | N
62 | Benzo(b)Fluoranthene | 0.049 | 28 | 0.0079 | All data are ND |  | MEC<C, go to Step 5 | 0.0046 | B<C, go to Step 7 |  | N
63 | Benzo(ghi)Perylene | No Criteria | 28 | 0.012 | No criteria | 0.014 E | No criteria | 0.0027 | No criteria |  | No criteria
64 | Benzo(k)Fluoranthene | 0.049 | 28 | 0.041 | All data are ND |  | MEC<C, go to Step 5 | 0.0015 | B<C, go to Step 7 |  | N
65 | Bis(2-Chloroethoxy)Methane | No Criteria | 2 | 0.094 | No criteria |  | No criteria |  | No criteria |  | No criteria
66 | Bis(2-Chloroethyl)Ether | 1.4 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
67 | Bis(2-Chloroisopropyl)Ether | 170000 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
68 | Bis(2-Ethylhexyl)Phthalate | 5.9 | 2 | 0.047 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
69 | 4-Bromophenyl Phenyl Ether | No Criteria | 2 | 0.094 | No criteria |  | No criteria |  | No criteria |  | No criteria
70 | Butylbenzyl Phthalate | 5200 | 2 | 0.094 |  | 0.45 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
71 | 2-Chloronaphthalene | 4300 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
72 | 4-Chlorophenyl Phenyl Ether | No Criteria | 2 | 0.19 | All data are ND |  | No criteria |  | No criteria |  | No criteria
73 | Chrysene | 0.049 | 28 | 0.0036 |  | 0.038 E B | MEC<C, go to Step 5 | 0.0024 | B<C, go to Step 7 |  | N
74 | Dibenzo(a,h)Anthracene | 0.049 | 26 | 0.0054 | All data are ND |  | MEC<C, go to Step 5 | 0.00064 | B<C, go to Step 7 |  | N
75 | 1,2-Dichlorobenzene | 17000 | 8 | 0.05 |  | 0.1 E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
76 | 1,3-Dichlorobenzene | 2600 | 8 | 0.06 |  |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
77 | 1,4-Dichlorobenzene | 2600 | 8 | 0.04 |  | 8.5 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
78 | 3,3 Dichlorobenzidine | 0.077 | 2 | 0.094 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
79 | Diethyl Phthalate | 120000 | 2 | 0.047 |  | 0.84 E B | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
80 | Dimethyl Phthalate | 2900000 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
81 | Di-n-Butyl Phthalate | 12000 | 2 | 0.24 |  | 1.8 Est. B | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
82 | 2,4-Dinitrotoluene | 9.1 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
83 | 2,6-Dinitrotoluene | No Criteria | 2 | 0.19 | No criteria | 0.33 E | No criteria |  | No criteria |  | No criteria
84 | Di-n-Octyl Phthalate | No Criteria | 2 | 0.094 | No criteria | 0.14 E | No criteria |  | No criteria |  | No criteria
85 | 1,2-Diphenylhydrazine | 0.54 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 | 0.0037 | B<C, go to Step 7 |  | N
86 | Fluoranthene | 370 | 28 | 0.009 |  | 0.07 | MEC<C, go to Step 5 | 0.011 | B<C, go to Step 7 |  | N
87 | Fluorene | 14000 | 29 | 0.0073 |  | 0.029 | MEC<C, go to Step 5 | 0.00208 | B<C, go to Step 7 |  | N
88 | Hexachlorobenzene | 0.00077 | 5 | 0.0015 |  | 0.023 E | Effluent limit required | 2.02e-05 | B<C, go to Step 7 |  | Y
89 | Hexachlorobutadiene | 50 | 2 | 0.38 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
90 | Hexachlorocyclopentadiene | 17000 | 2 | 0.94 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
91 | Hexachloroethane | 8.9 | 2 | 0.38 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
92 | Indeno(1,2,3-cd)Pyrene | 0.049 | 28 | 0.0045 | All data are ND |  | MEC<C, go to Step 5 | 0.004 | B<C, go to Step 7 |  | N
93 | Isophorone | 600 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
94 | Naphthalene | No Criteria | 28 | 0.037 | No criteria | 0.33 | No criteria | 0.0023 | No criteria |  | No criteria
95 | Nitrobenzene | 1900 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
96 | N-Nitrosodimethylamine | 8.1 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
97 | N-Nitrosodi-n-Propylamine | 1.4 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
98 | N-Nitrosodiphenylamine | 16 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
99 | Phenanthrene | No Criteria | 28 | 0.0063 | No criteria |  | No criteria | 0.0061 | No criteria |  | No criteria
100 | Pyrene | 11000 | 28 | 0.0027 | All data are ND |  | MEC<C, go to Step 5 | 0.0051 | B<C, go to Step 7 |  | N
101 | 1,2,4-Trichlorobenzene | No Criteria | 2 | 0.28 | All data are ND |  | No criteria |  | No criteria |  | No criteria
102 | Aldrin | 0.00014 | 3 | 0.0018 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
103 | alpha-BHC | 0.013 | 3 | 0.00061 | All data are ND |  | MEC<C, go to Step 5 | 0.000496 | B<C, go to Step 7 |  | N
104 | beta-BHC | 0.046 | 3 | 0.001 | All data are ND |  | MEC<C, go to Step 5 | 0.000413 | B<C, go to Step 7 |  | N
105 | gamma-BHC | 0.063 | 3 | 0.0031 | All data are ND |  | MEC<C, go to Step 5 | 0.0007034 | B<C, go to Step 7 |  | N
106 | delta-BHC | No Criteria | 3 | 0.00064 | No criteria | 0.0039 I | No criteria | 4.2e-05 | No criteria |  | No criteria
107 | Chlordane | 0.00059 | 3 | 0.014 | MinDL>C, to Step 5 |  |  | 0.00018 | B<C, go to Step 7 |  | DL
108 | 4,4'-DDT | 0.00059 | 3 | 0.0013 |  | 0.0087 E | Effluent limit required | 6.6e-05 | B<C, go to Step 7 |  | Y
109 | 4,4'-DDE (linked to DDT) | 0.00059 | 3 | 0.00097 | MinDL>C, to Step 5 |  |  | 0.000693 | Effluent Limit required |  | Y(B)
110 | 4,4'-DDD | 0.00084 | 3 | 0.00077 |  | 0.015 E | Effluent limit required | 0.000313 | B<C, go to Step 7 |  | Y
111 | Dieldrin | 0.00014 | 3 | 0.00077 | MinDL>C, to Step 5 | 0.022 I | Effluent limit required | 0.000264 | Effluent Limit required |  | Y(B) & Y
112 | alpha-Endosulfan | 0.0087 | 3 | 0.00067 | All data are ND |  | MEC<C, go to Step 5 | 3.1e-05 | B<C, go to Step 7 |  | N
113 | beta-Endolsulfan | 0.0087 | 3 | 0.00055 | All data are ND |  | MEC<C, go to Step 5 | 6.9e-05 | B<C, go to Step 7 |  | N
114 | Endosulfan Sulfate | 240 | 3 | 0.00078 | All data are ND | 0.0042 E | MEC<C, go to Step 5 | 8.19e-05 | B<C, go to Step 7 |  | N
115 | Endrin | 0.0023 | 3 | 0.00063 | All data are ND |  | MEC<C, go to Step 5 | 3.6e-05 | B<C, go to Step 7 |  | N
116 | Endrin Aldehyde | 0.81 | 3 | 0.00042 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
117 | Heptachlor | 0.00021 | 3 | 0.00084 | MinDL>C, to Step 5 |  |  | 1.9e-05 | B<C, go to Step 7 |  | DL
118 | Heptachlor Epoxide | 0.00011 | 3 | 0.0012 | MinDL>C, to Step 5 |  |  | 9.4e-05 | B<C, go to Step 7 |  | DL | #REF!
119-125 | PCBs sum (2) | 0.00017 | 3 each | 0.02/0.14/0.06/0.1/0.8/0.09 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
126 | Toxaphene | 0.0002 | 3 | 0.072 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
688-73-3 | Tributylin | 0.01 |  |  | No data, to Step 5 |  | No data, to Step 5 |  | No ambient data, Step 7 |  | DC
130498-29-2 | SUM PAHS (SFEI) | 15 |  |  |  | 0.9314 | MEC<C, go to Step 5 | 0.052 | B<C, go to Step 7 |  | N
PAH Effluent Data Summary
CTR No. | Individual PAHs compounds | Detected Conc. | Detection Limits | Conc. Used in Calculation
56 | Acenaphthene | 0.046 |  | 0.046 |  | Acronyms in the "Final Result" column: |  | CD: Cannot determine reasonable potential due to the absence of data
57 | Acenaphthylene | 0.062 |  | 0.062 |  |  |  | N: No resonable potential
58 | Anthracene | 0.0034 |  | 0.0034 |  |  |  | Y: Has resonable potential
60 | Beno(a)anthracene |  | 0.21 | 0.21 |  |  |  | DL: Detection limit above water quality objective or CTR criteria
61 | Benzo(a)pyrene | 0.0079 |  | 0.0079 |  |  |  | Y(B): Reasonable potential due to ambient data exceedances
62 | Benzo(b)fluoranthene | 0.0079 |  | 0.0079
63 | Benzo(ghi)perylene |  | 0.014 | 0.014 |  |  |  | E: Estimated value, concentration outside calibration range.
64 | Benzo(k)fluoranthene | 0.041 |  | 0.041 |  |  |  | B: Analyte detected in method blank.
73 | Chrysene |  | 0.038 | 0.038
74 | Dibenzo(a,h)anthrancene | 0.0054 |  | 0.0054
86 | Fluoranthene |  | 0.07 | 0.07
87 | Fluorene |  | 0.029 | 0.029
92 | Indeno(1,2,3-c)pyrene | 0.0045 |  | 0.0045
94 | Naphthalene |  | 0.33 | 0.33
99 | Phenanthrene | 0.0063 |  | 0.0063
100 | Pyrene |  | 0.056 | 0.056

## Pt. Isabel
Beginning |  | Step 1 | Step 2 | Step 3 |  |  | Step 4 | Step 5 | Step 6 | Steps 7 & 8 | Final Result d
| Constituent name i | C (mg/L) | Number of data points | MinDL(µg/L) | If all data points are ND and MinDL>C, interim monitoring is required | MEC (mg/L) | MEC vs. C | B (mg/L) | B vs. C | 7) Review other information in the SIP page 4. If information is unavailable or insufficient: 8) the RWQCB shall establish interim monitoring requirements. h
|  | Lowest (most stringent) Criteria |  | Minimum Detection Limits |  | Maximum Pollutant Concentration from the effluent | 1. If MEC> or =C, effluent limitation is required; 2. If MEC<C, go to Step 5 | Maximum Ambient Background Concentration | If B>C, effluent limitation is required
1 | Antimony | 4300 | 21 | 5 |  | 8.12 | MED<C, go to Step 5 | 1.8 | B<C, go to Step 7 |  | N
2 | Arsenic | 36 | 46 | 0.2 |  | 5.9 | MEC<C, go to Step 5 | 2.46 | B<C, go to Step 7 |  | N
3 | Beryllium | No Criteria | 21 | 0.04 | No Criteria | 0.17E | No criteria | 0.215 | No criteria |  | No criteria
4 | Cadmium | 9.3 | 31 | 0.07 |  | 0.28E | MEC<C, go to Step 5 | 0.1268 | B<C, go to Step 7 |  | N
5a | Chromium (III) | No Criteria |  |  | No Criteria |  | No criteria |  | No criteria |  | No criteria
5b | Chromium (VI)/Total Cr | 50 | 36 | 0.9 |  | 28.4 | MEC<C, go to Step 5 | 4.4 | B<C, go to Step 7 |  | N
6 | Copper | 3.7349 | 31 | 3.3 |  | 52.9 | Effluent Limit required | 2.45 | B<C, go to Step 7 |  | Y
7 | Lead | 5.6 | 30 | 0.9 |  | 18.2 | Effluent Limit required | 0.8 | B<C, go to Step 7 |  | Y
8 | Mercury | 0.025 | 45 | 0.00024 |  | 0.3 | Effluent Limit required | 0.0086 | B<C, go to Step 7 |  | Y
9 | Nickel | 7.1 | 29 | 3.3 |  | 26 | Effluent Limit required | 3.7 | B<C, go to Step 7 |  | Y
10 | Selenium | 5 | 30 | 0.2 |  | 0.9 | Effluent Limit required | 0.39 | B<C, go to Step 7 |  | N
11 | Silver | 2.2353 | 36 | 0.06 |  | 20.3 | Effluent Limit required | 0.0516 | B<C, go to Step 7 |  | Y
12 | Thallium | 6.3 | 20 | 0.23 | All data are ND |  | MEC<C, go to Step 5 | 0.21 | B<C, go to Step 7 |  | N
13 | Zinc | 58 | 31 | 4.4 |  | 134 | Effluent Limit required | 4.4 |  |  | Y
14 | Cyanide | 1 | 36 | 3 |  | 7 | Effluent Limit required |  | No ambient data, Step 7 |  | Y
15 | Asbestos | No Criteria | 0 |  | Not Applicable |  | Not Applicable |  | Not Applicable |  | Not Applicable
16 | 2,3,7,8 TCDD (303d listed) | 1.4e-08 | 1 | Only has |  | 4.2e-08 | Effluent Limit required
| (apply to Dioxin TEQ) | 1.4e-08 |  | 3/7/02 data |  |  |  | 7.1e-08 | Effluent limit required |  | Y(B)
17 | Acrolein | 780 | 6 | 5 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
18 | Acrylonitrile | 0.66 | 6 | 1 | All data are ND |  | MEC<C, go to Step 5 | 0.03 | B<C, go to Step 7 |  | N
19 | Benzene | 71 | 6 | 0.05 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
20 | Bromoform | 360 | 6 | 0.1 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
21 | Carbon Tetrachloride | 4.4 | 6 | 0.14 | All data are ND |  | MEC<C, go to Step 5 | 0.06 | B<C, go to Step 7 |  | N
22 | Chlorobenzene | 21000 | 6 | 0.05 |  | 0.15E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
23 | Chlorodibromomethane | 34 | 6 | 0.06 |  | 12 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
24 | Chloroethane | No Criteria | 6 | 0.19 | No criteria |  | No criteria |  | No criteria |  | No criteria
25 | 2-Chloroethylvinyl ether | No Criteria | 6 | 0.1 | No criteria |  | No criteria |  | No criteria |  | No criteria
26 | Chloroform | No Criteria | 6 | 0.07 | No criteria | 180 | No criteria |  | No criteria |  | No criteria
27 | Dichlorobromomethane | 46 | 6 | 0.04 |  | 52 | Effluent limit required |  | No ambient data, Step 7 |  | Y
28 | 1,1-Dichloroethane | No Criteria | 6 | 0.03 | All data are ND |  | No criteria |  | No criteria |  | No criteria
29 | 1,2-Dichloroethane | 99 | 6 | 0.05 | All data are ND |  | MEC<C, go to Step 5 | 0.04 | No ambient data, Step 7 |  | N
30 | 1,1-Dichloroethylene | 3.2 | 6 | 0.05 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
31 | 1,2-Dichloropropane | 39 | 6 | 0.12 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
32 | 1,3-Dichloropropylene | 1700 | 6 | 0.02 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
33 | Ethylbenzene | 29000 | 6 | 0.08 |  | 0.13E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
34 | Methyl Bromide | 4000 | 6 | 0.21 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
35 | Methyl Chloride | No Criteria | 6 | 0.1 | All data are ND |  | No criteria |  | No criteria |  | No criteria
36 | Methylene Chloride | 1600 | 6 | 0.07 |  | 0.34 | MEC<C, go to Step 5 | 0.5 | B<C, go to Step 7 |  | N
37 | 1,1,2,2-Tetrachloroethane | 11 | 6 | 0.11 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
38 | Tetrachloroethylene | 8.85 | 6 | 0.11 |  | 1.3E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
39 | Toluene | 200000 | 6 | 0.07 |  | 0.28E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
40 | 1,2-Trans-Dichloroethylene | 140000 | 6 | 0.14 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
41 | 1,1,1-Trichloroethane | No Criteria | 6 | 0.08 | No criteria |  | No criteria |  | No criteria |  | No criteria
42 | 1,1,2-Trichloroethane | 42 | 6 | 0.03 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
43 | Trichloroethylene | 81 | 6 | 0.05 |  | 0.49E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
44 | Vinyl Chloride | 525 | 6 | 0.07 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
45 | 2-Chlorophenol | 400 | 2 | 0.19 |  |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
46 | 2,4-Dichlorophenol | 790 | 2 | 0.29 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
47 | 2,4-Dimethylphenol | 2300 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
48 | 2-Methyl- 4,6-Dinitrophenol | 765 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
49 | 2,4-Dinitrophenol | 14000 | 2 | 0.96 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
50 | 2-Nitrophenol | No Criteria | 2 | 0.096 | All data are ND |  | No criteria |  | No criteria |  | No criteria
51 | 4-Nitrophenol | No Criteria | 2 | 1.9 | All data are ND |  | No criteria |  | No criteria |  | No criteria
52 | 3-Methyl 4-Chlorophenol | No Criteria | 2 | 0.19 | All data are ND |  | No criteria |  | No criteria |  | No criteria
53 | Pentachlorophenol | 7.9 | 2 | 1.9 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
54 | Phenol | 4600000 | 2 | 0.19 |  | 0.7E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
55 | 2,4,6-Trichlorophenol | 6.5 | 2 | 0.096 |  |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
56 | Acenaphthene | 2700 | 33 | 0.046 | All data are ND |  | MEC<C, go to Step 5 | 0.0015 | B<C, go to Step 7 |  | N
57 | Acenaphthylene | No Criteria | 33 | 0.062 | No criteria |  | No criteria | 0.00053 | No criteria |  | No criteria
58 | Anthracene | 110000 | 33 | 0.0034 | All data are ND |  | MEC<C, go to Step 5 | 0.0005 | B<C, go to Step 7 |  | N
59 | Benzidine | 0.00058 | 2 | 4.8 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
60 | Benzo(a)Anthracene | 0.049 | 33 | 0.0058 |  |  | MEC<C, go to Step 5 | 0.0053 | B<C, go to Step 7 |  | N
61 | Benzo(a)Pyrene | 0.049 | 33 | 0.0079 | All data are ND |  | MEC<C, go to Step 5 | 0.00029 | B<C, go to Step 7 |  | N
62 | Benzo(b)Fluoranthene | 0.049 | 33 | 0.0079 | All data are ND |  | MEC<C, go to Step 5 | 0.0046 | B<C, go to Step 7 |  | N
63 | Benzo(ghi)Perylene | No Criteria | 33 | 0.012 | No criteria |  | No criteria | 0.0027 | No criteria |  | No criteria
64 | Benzo(k)Fluoranthene | 0.049 | 33 | 0.041 | All data are ND |  | MEC<C, go to Step 5 | 0.0015 | B<C, go to Step 7 |  | N
65 | Bis(2-Chloroethoxy)Methane | No Criteria | 2 | 0.096 | No criteria |  | No criteria |  | No criteria |  | No criteria
66 | Bis(2-Chloroethyl)Ether | 1.4 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
67 | Bis(2-Chloroisopropyl)Ether | 170000 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
68 | Bis(2-Ethylhexyl)Phthalate | 5.9 | 2 | 0.048 | All data are ND | 1.2E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
69 | 4-Bromophenyl Phenyl Ether | No Criteria | 2 | 0.096 | No criteria |  | No criteria |  | No criteria |  | No criteria
70 | Butylbenzyl Phthalate | 5200 | 2 | 0.096 |  | 0.43E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
71 | 2-Chloronaphthalene | 4300 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
72 | 4-Chlorophenyl Phenyl Ether | No Criteria | 2 | 0.19 | All data are ND |  | No criteria |  | No criteria |  | No criteria
73 | Chrysene | 0.049 | 33 | 0.0036 |  | 0.25E | MEC<C, go to Step 5 | 0.0024 | B<C, go to Step 7 |  | N
74 | Dibenzo(a,h)Anthracene | 0.049 | 33 | 0.0054 | All data are ND |  | MEC<C, go to Step 5 | 0.00064 | B<C, go to Step 7 |  | N
75 | 1,2-Dichlorobenzene | 17000 | 6 | 0.05 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
76 | 1,3-Dichlorobenzene | 2600 | 8 | 0.06 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
77 | 1,4-Dichlorobenzene | 2600 | 8 | 0.04 |  | 1.4E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
78 | 3,3 Dichlorobenzidine | 0.077 | 2 | 0.096 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
79 | Diethyl Phthalate | 120000 | 2 | 0.047 |  | 0.56E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
80 | Dimethyl Phthalate | 2900000 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
81 | Di-n-Butyl Phthalate | 12000 | 2 | 0.24 |  | 0.91E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
82 | 2,4-Dinitrotoluene | 9.1 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
83 | 2,6-Dinitrotoluene | No Criteria | 2 | 0.19 | No criteria |  | No criteria |  | No criteria |  | No criteria
84 | Di-n-Octyl Phthalate | No Criteria | 2 | 0.096 | No criteria |  | No criteria |  | No criteria |  | No criteria
85 | 1,2-Diphenylhydrazine | 0.54 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 | 0.0037 | No ambient data, go to Step 7 |  | N
86 | Fluoranthene | 370 | 33 | 0.009 |  | 0.34 | MEC<C, go to Step 5 | 0.011 | B<C, go to Step 7 |  | N
87 | Fluorene | 14000 | 33 | 0.0073 |  |  | MEC<C, go to Step 5 | 0.00208 | B<C, go to Step 7 |  | N
88 | Hexachlorobenzene | 0.00077 | 5 | 0.0015 | All data are ND |  | MEC<C, go to Step 5 | 2.02e-05 | B<C, go to Step 7 |  | N
89 | Hexachlorobutadiene | 50 | 2 | 0.38 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
90 | Hexachlorocyclopentadiene | 17000 | 2 | 0.94 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
91 | Hexachloroethane | 8.9 | 2 | 0.38 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
92 | Indeno(1,2,3-cd)Pyrene | 0.049 | 28 | 0.0045 | All data are ND |  | MEC<C, go to Step 5 | 0.004 | B<C, go to Step 7 |  | N
93 | Isophorone | 600 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
94 | Naphthalene | No Criteria | 33 | 0.037 | No criteria | 0.122 | No criteria | 0.0023 | No criteria |  | No criteria
95 | Nitrobenzene | 1900 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
96 | N-Nitrosodimethylamine | 8.1 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
97 | N-Nitrosodi-n-Propylamine | 1.4 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
98 | N-Nitrosodiphenylamine | 16 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
99 | Phenanthrene | No Criteria | 33 | 0.0063 | No criteria | 0.071 | No criteria | 0.0061 | No criteria |  | No criteria
100 | Pyrene | 11000 | 33 | 0.0027 | All data are ND |  | MEC<C, go to Step 5 | 0.0051 | B<C, go to Step 7 |  | N
101 | 1,2,4-Trichlorobenzene | No Criteria | 2 | 0.29 | No data, No criteria | No data | No criteria |  | No criteria |  | No criteria
102 | Aldrin | 0.00014 | 3 | 0.0018 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
103 | alpha-BHC | 0.013 | 3 | 0.00061 | All data are ND |  | MEC<C, go to Step 5 | 0.000496 | B<C, go to Step 7 |  | N
104 | beta-BHC | 0.046 | 3 | 0.001 | All data are ND |  | MEC<C, go to Step 5 | 0.000413 | B<C, go to Step 7 |  | N
105 | gamma-BHC | 0.063 | 3 | 0.0031 | All data are ND |  | MEC<C, go to Step 5 | 0.0007034 | B<C, go to Step 7 |  | N
106 | delta-BHC | No Criteria | 3 | 0.00064 | No criteria |  | No criteria | 4.2e-05 | No criteria |  | No criteria
107 | Chlordane | 0.00059 | 3 | 0.014 | MinDL>C, to Step 5 |  |  | 0.00018 | B<C, go to Step 7 |  | DL
108 | 4,4'-DDT | 0.00059 | 3 | 0.0013 |  | 0.011 | Effluent limit required | 6.6e-05 | B<C, go to Step 7 |  | Y
109 | 4,4'-DDE (linked to DDT) | 0.00059 | 3 | 0.00097 | MinDL>C, to Step 5 |  |  | 0.000693 | Effluent Limit required |  | Y(B)
110 | 4,4'-DDD | 0.00084 | 3 | 0.00077 |  | 0.0059E | Effluent limit required | 0.000313 | B<C, go to Step 7 |  | Y
111 | Dieldrin | 0.00014 | 3 | 0.00077 | MinDL>C, to Step 5 | 0.0029E |  | 0.000264 | Effluent Limit required |  | Y
112 | alpha-Endosulfan | 0.0087 | 3 | 0.00067 | All data are ND |  | MEC<C, go to Step 5 | 3.1e-05 | B<C, go to Step 7 |  | N
113 | beta-Endolsulfan | 0.0087 | 3 | 0.00055 | All data are ND |  | MEC<C, go to Step 5 | 6.9e-05 | B<C, go to Step 7 |  | N
114 | Endosulfan Sulfate | 240 | 3 | 0.00078 | All data are ND |  | MEC<C, go to Step 5 | 8.19e-05 | B<C, go to Step 7 |  | N
115 | Endrin | 0.0023 | 3 | 0.00063 | All data are ND | 0.003 | Effluent limit required | 3.6e-05 | B<C, go to Step 7 |  | Y
116 | Endrin Aldehyde | 0.81 | 3 | 0.00042 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
117 | Heptachlor | 0.00021 | 3 | 0.00084 | MinDL>C, to Step 5 |  |  | 1.9e-05 | B<C, go to Step 7 |  | DL
118 | Heptachlor Epoxide | 0.00011 | 3 | 0.0012 | MinDL>C, to Step 5 | 0.0057 | Effluent limit required | 9.4e-05 | B<C, go to Step 7 |  | Y
119-125 | PCBs sum (2) | 0.00017 | 3 each | 0.02/0.14/0.06/0.1/0.8/0.09 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
126 | Toxaphene | 0.0002 | 3 | 0.072 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
688-73-3 | Tributylin | 0.01 |  |  | No data, to Step 5 | No data | No data, to Step 5 |  | No ambient data, Step 7 |  | DC
130498-29-2 | SUM PAHS (SFEI) | 15 |  |  |  | 0.6579 | MEC<C, go to Step 5 | 0.052 | B<C, go to Step 7 |  | N
PAH Effluent Data Summary
CTR No. | Individual PAHs compounds | Detected Conc. | Detection Limits | Conc. Used in Calculation
56 | Acenaphthene | 0.046 |  | 0.046 |  | Acronyms in the "Final Result" column: |  | CD: Cannot determine reasonable potential due to the absence of data
57 | Acenaphthylene | 0.062 |  | 0.062 |  |  |  | N: No resonable potential
58 | Anthracene | 0.0034 |  | 0.0034 |  |  |  | Y: Has resonable potential
60 | Beno(a)anthracene | 0.0058 |  | 0.0058 |  |  |  | DL: Detection limit above water quality objective or CTR criteria
61 | Benzo(a)pyrene | 0.0079 |  | 0.0079 |  |  |  | Y(B): Reasonable potential due to ambient data exceedances
62 | Benzo(b)fluoranthene | 0.0079 |  | 0.0079
63 | Benzo(ghi)perylene | 0.012 |  | 0.012 |  |  |  | E: Estimated value, concentration outside calibration range.
64 | Benzo(k)fluoranthene | 0.041 |  | 0.041 |  |  |  | B: Analyte detected in method blank.
73 | Chrysene |  | 0.25 | 0.25
74 | Dibenzo(a,h)anthrancene | 0.0054 |  | 0.0054
86 | Fluoranthene | 0.009 |  | 0.009
87 | Fluorene | 0.0073 |  | 0.0073
92 | Indeno(1,2,3-c)pyrene | 0.0045 |  | 0.0045
94 | Naphthalene |  | 0.122 | 0.122
99 | Phenanthrene |  | 0.071 | 0.071
100 | Pyrene | 0.0027 |  | 0.0027

## San Antonio
Beginning |  | Step 1 | Step 2 | Step 3 |  |  | Step 4 | Step 5 | Step 6 | Steps 7 & 8 | Final Result d
| Constituent name i | C (mg/L) | Number of data points | MinDL(µg/L) | If all data points are ND and MinDL>C, interim monitoring is required | MEC (mg/L) | MEC vs. C | B (mg/L) | B vs. C | 7) Review other information in the SIP page 4. If information is unavailable or insufficient: 8) the RWQCB shall establish interim monitoring requirements. h
|  | Lowest (most stringent) Criteria |  | Minimum Detection Limits |  | Maximum Pollutant Concentration from the effluent | 1. If MEC> or =C, effluent limitation is required; 2. If MEC<C, go to Step 5 | Maximum Ambient Background Concentration | If B>C, effluent limitation is required
1 | Antimony | 4300 | 15 | 5 |  | 12.9 | MED<C, go to Step 5 | 1.8 | B<C, go to Step 7 |  | N
2 | Arsenic | 36 | 11 | 0.2 |  | 7.3 | Effluent Limit required | 2.46 | B<C, go to Step 7 |  | N
3 | Beryllium | No Criteria | 5 | 0.11 | No Criteria | 0.21E | No criteria | 0.215 | No criteria |  | No criteria
4 | Cadmium | 9.3 | 9 | 0.07 |  | 0.5 | MEC<C, go to Step 5 | 0.1268 | B<C, go to Step 7 |  | N
5a | Chromium (III) | No Criteria |  |  | No Criteria | No data | No criteria |  | No criteria |  | No criteria
5b | Chromium (VI)/Total Cr | 50 | 9 | 0.9 |  | 19 | MEC<C, go to Step 5 | 4.4 | B<C, go to Step 7 |  | N
6 | Copper | 3.7349 | 9 | 3.3 |  | 60.9 | Effluent Limit required | 2.45 | B<C, go to Step 7 |  | Y
7 | Lead | 5.6 | 9 | 0.9 |  | 36.1 | Effluent Limit required | 0.8 | B<C, go to Step 7 |  | Y
8 | Mercury | 0.025 | 11 | 0.00017 |  | 0.46 | Effluent Limit required | 0.0086 | B<C, go to Step 7 |  | Y
9 | Nickel | 7.1 | 9 | 3.3 |  | 26 | Effluent Limit required | 3.7 | B<C, go to Step 7 |  | Y
10 | Selenium | 5 | 8 | 0.2 |  | 0.7E | MEC<C, go to Step 5 | 0.39 | B<C, go to Step 7 |  | N
11 | Silver | 2.2353 | 15 | 0.06 |  | 23 | Effluent Limit required | 0.0516 | B<C, go to Step 7 |  | Y
12 | Thallium | 6.3 | 5 | 0.23 | All data are ND |  | MEC<C, go to Step 5 | 0.21 | B<C, go to Step 7 |  | N
13 | Zinc | 58 | 9 | 4.4 |  | 185 | Effluent Limit required | 4.4 |  |  | Y
14 | Cyanide | 1 | 9 | 3 |  | 28 | Effluent Limit required |  | No ambient data, Step 7 |  | Y
15 | Asbestos | No Criteria | 0 |  | Not Applicable | Not Applicable | Not Applicable |  | Not Applicable |  | Not Applicable
16 | 2,3,7,8 TCDD (303d listed) | 1.4e-08 | 1 | Only has
| (apply to Dioxin TEQ) | 1.4e-08 |  | 11/8/02 data |  | 9.3e-08 | Effluent Limit required | 7.1e-08 | Effluent limit required |  | Y
17 | Acrolein | 780 | 4 | 5 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
18 | Acrylonitrile | 0.66 | 4 | 1 | All data are ND |  | MEC<C, go to Step 5 | 0.03 | B<C, go to Step 7 |  | N
19 | Benzene | 71 | 6 | 0.05 |  | 0.23E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
20 | Bromoform | 360 | 4 | 0.1 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
21 | Carbon Tetrachloride | 4.4 | 4 | 0.14 | All data are ND |  | MEC<C, go to Step 5 | 0.06 | B<C, go to Step 7 |  | N
22 | Chlorobenzene | 21000 | 6 | 0.05 |  | 0.92E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
23 | Chlorodibromomethane | 34 | 5 | 0.06 | All data are ND | 0.45E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
24 | Chloroethane | No Criteria | 4 | 0.19 | No criteria |  | No criteria |  | No criteria |  | No criteria
25 | 2-Chloroethylvinyl ether | No Criteria | 4 | 0.1 | No criteria |  | No criteria |  | No criteria |  | No criteria
26 | Chloroform | No Criteria | 4 | 0.07 | No criteria | 66 | No criteria |  | No criteria |  | No criteria
27 | Dichlorobromomethane | 46 | 4 | 0.04 | All data are ND | 10 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | CD
28 | 1,1-Dichloroethane | No Criteria | 4 | 0.07 | All data are ND |  | No criteria |  | No criteria |  | No criteria
29 | 1,2-Dichloroethane | 99 | 4 | 0.06 | All data are ND |  | MEC<C, go to Step 5 | 0.04 | No ambient data, Step 7 |  | N
30 | 1,1-Dichloroethylene | 3.2 | 4 | 0.05 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
31 | 1,2-Dichloropropane | 39 | 4 | 0.12 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
32 | 1,3-Dichloropropylene | 1700 | 4 | 0.02 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
33 | Ethylbenzene | 29000 | 4 | 0.08 |  | 0.31E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
34 | Methyl Bromide | 4000 | 4 | 0.21 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
35 | Methyl Chloride | No Criteria | 0 |  | No data |  | No criteria |  | No criteria |  | No criteria
36 | Methylene Chloride | 1600 | 4 | 0.07 |  | 2.6 | MEC<C, go to Step 5 | 0.5 | B<C, go to Step 7 |  | N
37 | 1,1,2,2-Tetrachloroethane | 11 | 4 | 0.08 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
38 | Tetrachloroethylene | 8.85 | 4 | 0.11 |  | 0.51E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
39 | Toluene | 200000 | 4 | 0.07 |  | 2.5 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
40 | 1,2-Trans-Dichloroethylene | 140000 | 4 | 0.14 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | CD
41 | 1,1,1-Trichloroethane | No Criteria | 4 | 0.08 | No criteria |  | No criteria |  | No criteria |  | No criteria
42 | 1,1,2-Trichloroethane | 42 | 4 | 0.03 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
43 | Trichloroethylene | 81 | 4 | 0.05 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
44 | Vinyl Chloride | 525 | 4 | 0.07 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
45 | 2-Chlorophenol | 400 | 2 | 0.19 |  |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
46 | 2,4-Dichlorophenol | 790 | 2 | 0.29 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
47 | 2,4-Dimethylphenol | 2300 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
48 | 2-Methyl- 4,6-Dinitrophenol | 765 | 2 | 0.96 | All data are ND |  | No data, go to Step 5 |  | No ambient data, Step 7 |  | CD
49 | 2,4-Dinitrophenol | 14000 | 2 | 0.96 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
50 | 2-Nitrophenol | No Criteria | 2 | 0.096 | All data are ND |  | No criteria |  | No criteria |  | No criteria
51 | 4-Nitrophenol | No Criteria | 2 | 1.9 | All data are ND |  | No criteria |  | No criteria |  | No criteria
52 | 3-Methyl 4-Chlorophenol | No Criteria | 2 | 0.19 | All data are ND |  | No criteria |  | No criteria |  | No criteria
53 | Pentachlorophenol | 7.9 | 2 | 1.9 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
54 | Phenol | 4600000 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
55 | 2,4,6-Trichlorophenol | 6.5 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
56 | Acenaphthene | 2700 | 11 | 0.046 | All data are ND |  | MEC<C, go to Step 5 | 0.0015 | B<C, go to Step 7 |  | N
57 | Acenaphthylene | No Criteria | 11 | 0.062 | No criteria |  | No criteria | 0.00053 | No criteria |  | No criteria
58 | Anthracene | 110000 | 11 | 0.0034 | All data are ND |  | MEC<C, go to Step 5 | 0.0005 | B<C, go to Step 7 |  | N
59 | Benzidine | 0.00054 | 2 | 4.8 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
60 | Benzo(a)Anthracene | 0.049 | 11 | 0.0058 |  | 0.04E | MEC<C, go to Step 5 | 0.0053 | B<C, go to Step 7 |  | N
61 | Benzo(a)Pyrene | 0.049 | 11 | 0.0079 |  | 0.051E | Effluent limit required | 0.00029 | B<C, go to Step 7 |  | Y
62 | Benzo(b)Fluoranthene | 0.049 | 11 | 0.0079 | All data are ND | 0.019 | MEC<C, go to Step 5 | 0.0046 | B<C, go to Step 7 |  | N
63 | Benzo(ghi)Perylene | No Criteria | 11 | 0.012 | No criteria | 0.035 | No criteria | 0.0027 | No criteria |  | No criteria
64 | Benzo(k)Fluoranthene | 0.049 | 11 | 0.041 | All data are ND |  | MEC<C, go to Step 5 | 0.0015 | B<C, go to Step 7 |  | N
65 | Bis(2-Chloroethoxy)Methane | No Criteria | 2 | 0.096 | No criteria |  | No criteria |  | No criteria |  | No criteria
66 | Bis(2-Chloroethyl)Ether | 1.4 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
67 | Bis(2-Chloroisopropyl)Ether | 170000 | 2 | 0.094 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
68 | Bis(2-Ethylhexyl)Phthalate | 5.9 | 2 | 0.048 | All data are ND | 4.1E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
69 | 4-Bromophenyl Phenyl Ether | No Criteria | 2 | 0.096 | No criteria |  | No criteria |  | No criteria |  | No criteria
70 | Butylbenzyl Phthalate | 5200 | 2 | 0.096 |  | 0.72E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
71 | 2-Chloronaphthalene | 4300 | 2 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
72 | 4-Chlorophenyl Phenyl Ether | No Criteria | 2 | 0.19 | All data are ND |  | No criteria |  | No criteria |  | No criteria
73 | Chrysene | 0.049 | 11 | 0.0036 |  | 0.066 E B | Effluent limit required | 0.0024 | B<C, go to Step 7 |  | Y
74 | Dibenzo(a,h)Anthracene | 0.049 | 11 | 0.0054 | All data are ND |  | MEC<C, go to Step 5 | 0.00064 | B<C, go to Step 7 |  | N
75 | 1,2-Dichlorobenzene | 17000 | 6 | 0.05 |  |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
76 | 1,3-Dichlorobenzene | 2600 | 6 | 0.06 |  |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
77 | 1,4-Dichlorobenzene | 2600 | 6 | 0.04 |  | 14 | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
78 | 3,3 Dichlorobenzidine | 0.077 | 2 | 0.096 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
79 | Diethyl Phthalate | 120000 | 2 | 0.048 |  | 0.51E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
80 | Dimethyl Phthalate | 2900000 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
81 | Di-n-Butyl Phthalate | 12000 | 2 | 0.24 |  | 0.66E | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
82 | 2,4-Dinitrotoluene | 9.1 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
83 | 2,6-Dinitrotoluene | No Criteria | 2 | 0.19 | No criteria |  | No criteria |  | No criteria |  | No criteria
84 | Di-n-Octyl Phthalate | No Criteria | 2 | 0.096 | No criteria | 0.27E | No criteria |  | No criteria |  | No criteria
85 | 1,2-Diphenylhydrazine | 0.54 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 | 0.0037 | No ambient data, go to Step 7 |  | CD
86 | Fluoranthene | 370 | 11 | 0.009 |  | 0.129 | MEC<C, go to Step 5 | 0.011 | B<C, go to Step 7 |  | N
87 | Fluorene | 14000 | 11 | 0.0073 | All data are ND |  | MEC<C, go to Step 5 | 0.00208 | B<C, go to Step 7 |  | N
88 | Hexachlorobenzene | 0.00077 | 4 | 0.0015 | All data are ND |  | MEC<C, go to Step 5 | 2.02e-05 | B<C, go to Step 7 |  | DL
89 | Hexachlorobutadiene | 50 | 3 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
90 | Hexachlorocyclopentadiene | 17000 | 2 | 0.96 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
91 | Hexachloroethane | 8.9 | 2 | 0.38 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
92 | Indeno(1,2,3-cd)Pyrene | 0.049 | 11 | 0.0045 |  | 0.019 | MEC<C, go to Step 5 | 0.004 | B<C, go to Step 7 |  | N
93 | Isophorone | 600 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
94 | Naphthalene | No Criteria | 12 | 0.037 | No criteria | 0.63 | No criteria | 0.0023 | No criteria |  | No criteria
95 | Nitrobenzene | 1900 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
96 | N-Nitrosodimethylamine | 8.1 | 3 | 0.19 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
97 | N-Nitrosodi-n-Propylamine | 1.4 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
98 | N-Nitrosodiphenylamine | 16 | 2 | 0.096 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
99 | Phenanthrene | No Criteria | 11 | 0.0063 | No criteria | 0.033E | No criteria | 0.0061 | No criteria |  | No criteria
100 | Pyrene | 11000 | 11 | 0.0027 |  | 0.024E | MEC<C, go to Step 5 | 0.0051 | B<C, go to Step 7 |  | N
101 | 1,2,4-Trichlorobenzene | No Criteria | 3 | 0.11 | No data, No criteria |  | No criteria |  | No criteria |  | No criteria
102 | Aldrin | 0.00014 | 2 | 0.0018 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
103 | alpha-BHC | 0.013 | 2 | 0.00061 | All data are ND |  | MEC<C, go to Step 5 | 0.000496 | B<C, go to Step 7 |  | N
104 | beta-BHC | 0.046 | 2 | 0.001 | All data are ND |  | MEC<C, go to Step 5 | 0.000413 | B<C, go to Step 7 |  | N
105 | gamma-BHC | 0.063 | 2 | 0.0031 | All data are ND | 0.024 I | MEC<C, go to Step 5 | 0.0007034 | B<C, go to Step 7 |  | N
106 | delta-BHC | No Criteria | 2 | 0.00064 | No criteria |  | No criteria | 4.2e-05 | No criteria |  | No criteria
107 | Chlordane | 0.00059 | 2 | 0.014 | MinDL>C, to Step 5 |  |  | 0.00018 | B<C, go to Step 7 |  | DL
108 | 4,4'-DDT | 0.00059 | 2 | 0.0013 |  | 0.0037 E | Effluent limit required | 6.6e-05 | B<C, go to Step 7 |  | Y
109 | 4,4'-DDE (linked to DDT) | 0.00059 | 2 | 0.00097 | MinDL>C, to Step 5 |  |  | 0.000693 | Effluent Limit required |  | Y(B)
110 | 4,4'-DDD | 0.00084 | 2 | 0.00077 | All data are ND |  | MEC<C, go to Step 5 | 0.000313 | B<C, go to Step 7 |  | N
111 | Dieldrin | 0.00014 | 2 | 0.00077 | MinDL>C, to Step 5 |  |  | 0.000264 | Effluent Limit required |  | Y(B)
112 | alpha-Endosulfan | 0.0087 | 2 | 0.00067 | All data are ND |  | MEC<C, go to Step 5 | 3.1e-05 | B<C, go to Step 7 |  | N
113 | beta-Endolsulfan | 0.0087 | 2 | 0.00055 | All data are ND |  | MEC<C, go to Step 5 | 6.9e-05 | B<C, go to Step 7 |  | N
114 | Endosulfan Sulfate | 240 | 2 | 0.00078 |  | 0.0055E | MEC<C, go to Step 5 | 8.19e-05 | B<C, go to Step 7 |  | N
115 | Endrin | 0.0023 | 2 | 0.00063 | All data are ND |  | MEC<C, go to Step 5 | 3.6e-05 | B<C, go to Step 7 |  | N
116 | Endrin Aldehyde | 0.81 | 2 | 0.00042 | All data are ND |  | MEC<C, go to Step 5 |  | No ambient data, Step 7 |  | N
117 | Heptachlor | 0.00021 | 2 | 0.00084 | MinDL>C, to Step 5 |  |  | 1.9e-05 | B<C, go to Step 7 |  | DL
118 | Heptachlor Epoxide | 0.00011 | 2 | 0.0012 | MinDL>C, to Step 5 |  |  | 9.4e-05 | B<C, go to Step 7 |  | DL
119-125 | PCBs sum (2) | 0.00017 | 2 each | 0.02/0.14/0.06/0.1/0.8/0.09 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
126 | Toxaphene | 0.0002 | 2 | 0.072 | MinDL>C, to Step 5 |  |  |  | No ambient data, Step 7 |  | DL
688-73-3 | Tributylin | 0.01 |  |  | No data, to Step 5 |  | No data, to Step 5 |  | No ambient data, Step 7 |  | DC
130498-29-2 | SUM PAHS (SFEI) | 15 |  |  |  | 0.9314 | MEC<C, go to Step 5 | 0.052 | B<C, go to Step 7 |  | N
PAH Effluent Data Summary
CTR No. | Individual PAHs compounds | Detected Conc. | Detection Limits | Conc. Used in Calculation
56 | Acenaphthene | 0.046 |  | 0.046 |  | Acronyms in the "Final Result" column: |  | CD: Cannot determine reasonable potential due to the absence of data
57 | Acenaphthylene | 0.062 |  | 0.062 |  |  |  | N: No resonable potential
58 | Anthracene | 0.0034 |  | 0.0034 |  |  |  | Y: Has resonable potential
60 | Beno(a)anthracene |  | 0.21 | 0.21 |  |  |  | DL: Detection limit above water quality objective or CTR criteria
61 | Benzo(a)pyrene | 0.0079 |  | 0.0079 |  |  |  | Y(B): Reasonable potential due to ambient data exceedances
62 | Benzo(b)fluoranthene | 0.0079 |  | 0.0079
63 | Benzo(ghi)perylene |  | 0.014 | 0.014 |  |  |  | E: Estimated value, concentration outside calibration range.
64 | Benzo(k)fluoranthene | 0.041 |  | 0.041 |  |  |  | B: Analyte detected in method blank.
73 | Chrysene |  | 0.038 | 0.038
74 | Dibenzo(a,h)anthrancene | 0.0054 |  | 0.0054
86 | Fluoranthene |  | 0.07 | 0.07
87 | Fluorene |  | 0.029 | 0.029
92 | Indeno(1,2,3-c)pyrene | 0.0045 |  | 0.0045
94 | Naphthalene |  | 0.33 | 0.33
99 | Phenanthrene | 0.0063 |  | 0.0063
100 | Pyrene |  | 0.056 | 0.056