## Table 3A
Table 3A, MtBE Monitoring at Operating UST Facilities in Santa Clara County - UST System Design Data
# | Op_address | Op_city | S/DwallPiping | PipingMat. | Piping Monitoring | USTinDat | S/DwallUST | UST Material | UST Monitoring | Vapor Rec. Syst. | MtBEs/ppm | MtBEgw/ppb | S.Date | NewCas
1 | 337 East Hamilton Ave | Campbell | Double Wall | Fiberglass | Interstitial | 1987-01-01 | Double Wallx3 | Steel/FRP | Interstitial | Balance | <0.0050 | <2.0 | 2/20-3/12/03
2 | 370 E Hamilton Ave | Campbell | Double Wall | Fiberglass | Interstitial/LLD | 1994-09-16 | Double Wallx3 | Steel/FRP | Interstitial/ATG | Balance | NS | <1.0 | 2003-07-31
3 | 570 E Hamilton Ave | Campbell | Double Wall | Fiberglass | Interstitial | 1984-01-01 | Single Wallx4 | Fiberglas/FRP | Auto Tank Gauge | Dresser Wayne Vacuum Assist | NS | 8.7 | 2003-03-11
4 | 580 E McGlincey Ln | Campbell | Double Wall | Enviroflex | Interstitial | 1998-05-13 | Double Wallx2 | Steel/FRP | Interstitial | Balance | NS | <0.5 | 2003-08-12
5 | 921 W Hamilton Ave | Campbell | Double Wall | Fiberglass | Interstitial | 1997-02-05 | Double Wallx2 | Steel/FRP | Interstitial/ATG | Vacuum Assist/Hasstech | <2 | <10 (highTPHg) | 2003-05-21 | Yes (TPHg)
6 | 981 E Hamilton Ave | Campbell | Double Wall | Fiberglass | Interstitial/LLD | 1995-02-24 | Double Wallx3 | Fiberglass/FRP | Interstitial | Balance | <0.005 | <5 | 2002-09-17
7 | 1506 WhiteOaks Rd | Campbell | Double Wall | Fiberglass | Interstitial | 1997-01-23 | Double Wallx2 | Steel/FRP | Interstitial | Balance | <0.005 | <0.5 | 2003-06-30
8 | 1533 W Campbell Ave | Campbell | Double Wall | Fiberglass | Interstitial | 1979, 84 | S/Wallx3-D/Wallx1 | Fiberglass | 3ATG/1Interstitial | Gilbarco Vacuum Assist | 0.16 | 1300 | 2003-06-16 | Yes
9 | 1589 S Bascom Ave | Campbell | Double Wall | Fiberglass | Interstitial | 1985-01-01 | Double Wallx4 | Fiberglass | Interstitial | Dresser Wayne Vacuum Assist | NA | <2.0 | 2003-04-09
10 | 3000 S Winchester Blvd | Campbell | Double Wall | Fiberglass | Interstitial | 1998-10-08 | Double Wall | Steel/FRP | Interstitial | Balance | NS | <1.0 | 2003-06-16
11 | 3035 S Winchester Blvd | Campbell | Double Wall | Fiberglass | Interstitial | 1983-01-01 | Single Wallx2 | Fiberglass | Auto Tank Gauge | Gilbarco Vacuum Assist | <0.005 | 2.8 | 2003-04-29
12 | 290 S Dillon Ave | Campbell | Double Wall | Fiberglass | Interstitial | Unknown | Double Wallx2 | Steel/FRP | Interstitial | Balance | <0.25 | <1.0 | 2003-08-06
13 | 70 N First St | Campbell | Double Wall | Fiberglass | Interstitial | 1998-01-09 | Double Wall | Fiberglass | Interstitial | Balance | NS | <1.0 | 2003-08-08
14 | 500 W Hamilton Ave | Campbell | Double Wall | Fiberglass | Interstitial | 1989-01-01 | Double Wall | Fiberglass | Interstitial |  | NS | <0.5 | 2003-06-23
15 | 10002 N De Anza Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 2000-03-23 | Double Wallx2 | Steel/FRP | Interstitial | Balance | NS | <0.5 | 2003-07-23
16 | 10121 North Foothill | Cupertino | Double Wall | Fiberglass | Interstitial | 1998-12-01 | Double Wallx4 | Fiberglass | Interstitial | Balance | NS | <0.5 | 2003-09-02
17 | 10490 S De Anza Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 1992-02-01 | Double Wallx3 | Steel/FRP | Interstitial | Balance | <0.005 | <0.50 | 2003-05-15
18 | 10550 South De Anza Blvd | Cupertino | [8 empty] | High TPHg | NA | 2002-07-01
19 | 10900 N Blaney Ave | Cupertino | Double Wall | Fiberglass | Interstitial | 1995x2 1997x1 | Double Wallx3 | Steel/FRP | Interstitial | Balance | NS | <0.5 | 2003-07-07
20 | 11010 N De Anza Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 1994-04-01 | Double Wallx3 | Fiberglass | Interstitial | Balance | NS | <2 | 2003-09-02
21 | 19990 Stevens Creek Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 1989-01-01 | Double Wallx4 | Fiberglass | Interstitial | Dresser Wayne Vacuum Assist | NS | 34 | 2003-05-23
22 | 20755 Stevens Creek Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 1986-01-01 | Double Wallx2 | Steel/FRP | Interstitial | Balance | 0.1 | noGW to112.5' | 2003-06-13 | Yes (soil)
23 | 20999 Stevens Creek Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 1982-01-01 | Single Wallx4 | Fiberglass | Auto Tank Gauge | Gilbarco Vacuum Assist | NA | 24 | 2003-05-23
24 | 21530 Stevens Creek Blvd | Cupertino | Double Wall | Fiberglass | Interstitial | 1989-01-01 | Double Wallx3 | Steel/FRP | Interstitial | Gilbarco Vacuum Assist | 7@40'ND@120' | noGWto125' | 3/6-11/02 | Yes(soil)
25 | 21855 Homestead Rd | Cupertino | Double Wall | Fiberglass | Interstitial | 1985-01-01 | Double Wallx4 | Fiberglass | Interstitial | Gilbarco Vacuum Assist | @60'ND,151'ND | noGWto125' | 3/17-18/03
26 | 601 Rancho Shopping Center/600FtHExpwy | Los Altos | DW | FRP | Annular + MLLD | 1996-06-01 | DW | Steel 1°, FRP-Clad Steel 2° | Annular | Balance |  | failed | 2003-07-29 | Yes
27 | 929 Fremont St | Los Altos | DW | FRP | Annular + MLLD | 1996-09-01 | DW | Steel 1°, FRP 2° | Annular | Vacuum Assist/Hasstech | <2 | 1.1 | 2003-08-13
28 | 707 Fremont Ave | Los Altos | DW | FRP | Annular + MLLD | 1990-02-01 | DW | Steel 1°, FRP 2° | Annular | Balance | <0.25comp | <1.0 | 5/22&6/26
29 | 255 Los Gatos Saratoga Rd | Los Gatos | Double Wall | Fiberglass | Interstitial | 1987-10-01 | Double Wallx5 | Fiberglass | Interstitial | Dresser Wayne Vacuum Assist | NS | 2 | 2003-05-28
30 | 649 University Ave | Los Gatos
31 | 15380 Los Gatos Blvd | Los Gatos | [8 empty] | ND | noGWto125' | 2001-04-05
32 | 14700 Winchester Blvd | Los Gatos | Double Wall | Fiberglass | Interstitial | 1992-08-10 | Double Wall | Fiberglass | Interstitial | Balance | NS | <1.0 | 2003-06-16
33 | 43 South Abbott Ave | Milpitas | DW | Steel | Veedor Root | 1989-09-01 | DW | Steel w/frp | Veedor Root | Balance | 0.23 | 190000 | 2002-11-08 | Yes
34 | 66 Ranch Dr | Milpitas | DW | Fiberglass | Leak Alert | 1991-01-01 | DW | Fiberglass | Leak Alert |  | 0.027(UST) | NS; 1.8 | 7/9/3; 10/16/3 | Yes(soil)
35 | 1265 N Milpitas Blvd | Milpitas | DW | Fiberglass | Leak Alert | 1991-03-01 | DW | Fiberglass | Leak Alert | Balance | NS | <0.5 | 2003-07-28
36 | 450 S Abel St | Milpitas | DW | Fiberglass | MSA Guard | 1989-05-01 | DW | Steel w/frp | MSA Guard |  | NS | 2.8 | 2003-06-18
37 | 45 W El Camino Real | Mountain View | [9 empty] | 6.9 | 1998-12-03
38 | 101 E El Camino Real | Mountain View | DW/press | Fiberglass | VR 0794380/Brv | 1988-08-01 | DW | 1:SteelClad w/FRP 2:Fiberglass/Pl | VR-TLS350 | Balance | <0.0050 | <2.0 | 2/18-19/03
39 | 310 Whisman Rd | Mountain View | DW/press | Fiberglass | TLS-350/Bravo | 1994-10-01 | DW | SteelClad w/FRP | VR-TLS350 | Balance | NS | <10 (highTPHg) | 2003-06-23 | Yes(TPHg)
40 | 789 E Evelyn Ave | Mountain View | [8 empty] | ND | 0.62 | 2002-04-16
41 | 830 Leong Dr | Mountain View | DW/press | Fiberglass | API/RonanLS-3 | 1991-03-01 | DW | Fiberglass/Pl | API/RonanLS-3 | Balance | NS | <1.0 | 2003-07-01
42 | 1250 L'Avenida St | Mountain View | DW/suc | GEOFLEX | VR-TLS350 | 1987-10-01 | DW | Fiberglass/Pl | VR-TLS350 | Balance | NS | 2.1 | 2006-06-27
43 | 2195 Leghorn St | Mountain View | DW/suc | Fiberglass | VR-TLS300 | 1986-02-01 | DW | Fiberglass/Pl | VR-TLS300 |  | NS | 1.8 | 2003-06-12
44 | 2612 N Shoreline Blvd | Mountain View | [8 empty] | NA | NA | NA
45 | 355 Alma St | Palo Alto | DW/press | Fiberglass | Interstitial | 1988-04-01 | DW | Fiberglass/PL | Interstitial | Dresser Wayne Vacuum Assist | NA | 12 (<0.05) | 10/25/2 (3/13/3)
46 | 762 San Antonio Rd | Palo Alto | [8 empty] | NA | NA | NA
47 | 4216 El Camino Real | Palo Alto | DW/press | Fiberglass | Interstitial | 1905-06-06 | DW | STI-P3 (FRP) | Interstitial |  | 0.0073(UST pit) | <0.50 | 2003-06-26
48 | 301 Alma St | Palo Alto | [8 empty] | NA | NA | NA
49 | 2675 Hanover St | Palo Alto | DW/suc | Fiberglass | Interstitial | 1997-03-01 | DW | 1:Steel 2:FRP | Interstitial | Balance | NS | 140 | 2003-07-01 | Yes
50 | 3600 Middlefield Rd | Palo Alto | DW/suc | Fiberglass | Interstitial | 1997-05-01 | DW | 1:Steel 2:FRP | Interstitial | Balance | NS | <0.5 | 2003-07-01
Table 3A, MtBE Monitoring at Operating UST Facilities in Santa Clara County - UST System Design Data
# | Op_address | Op_city | S/DwallPiping | PipingMat. | Piping Monitoring | USTinDat | S/DwallUST | UST Material | UST Monitoring | Vapor Rec. Syst. | MtBEs/ppm | MtBEgw/ppb | S.Date | NewCas
51 | 3897 El Camino Real | Palo Alto | [8 empty] | NA | NA | NA
52 | 145 S Montgomery St | San Jose | DWALL/SUCTION | Iron/fiberglass/suction | Veeder Root TLS350 | 1993-02-05 | DWALL | FRP CLAD STEEL | Veeder Root TLS350 |  | <5 | <5(highTPHg) | 2003-09-29
53 | 128 Component Dr | San Jose | DWALL/SUCTION | Stee/Fiberglass | Leak Alert LS-1 | 1990-01-09 | DWALL | FRP CLAD STEEL | Leak Alert LA-08 | Balance | NS | 3100 | 2003-04-08 | Yes
54 | 175 W Capitol Expwy | San Jose | DWAL/PRESSURE | FIBERGLASS | REDJACKET/GILBARCO | 1995-11-02 | DWALL | FRP CLAD STEEL | GILBARCO | Balance | NS | <0.5 | 2003-07-31
55 | 401 Saratoga Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/RONANA | 1992-07-01 | DWALL | FIBERGLASS/GLASS LINED | RONAN # X76S | Balance | NS | 6.8 | 2003-08-22
56 | 425 S. Winchester Blvd | San Jose | DWALL/PRESSURE | GEOFLEX | RED JACKET/GILBARCO | 1986-01-01 | DWALL | FRP CLAD STEEL | GILBARCO | Gilbarco Vacuum Assist | NS | <1.0 | 2003-06-17
57 | 510 E Santa Clara St | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1999-10-29 | DWALL | FIBERGLASS | VEEDER ROOT TLS 350 | Dresser WayneVacuum Assist | <5 | 19 | 2003-08-07
58 | 590 Saratoga Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1987-01-01 | DWALL | FIBERGLASS | VEEDER ROOT TLS 350 | Gilbarco Vacuum Assist | 0.056 | 220 | 2003-06-19 | Yes
59 | 601 Saratoga Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/EECO 3000 | 1991-08-15 | DWALL | FIBERGLASS | EECO 3000 | Gilbarco Vacuum Assist | NS | <0.5 | 1993-09-01
60 | 602 W San Carlos St | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROO0T | 1990-01-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT TLS 350 | Balance | <0.050 | <2.0 | 2003-04-25
61 | 609 Saratoga Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT | 1998-12-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT 350 | Balance | NA | 9 (<0.5) | 1/23/3(4/29/3)
62 | 610 E. Gish Rd | San Jose | [8 empty] | NA | NA | NA
63 | 610 McKendrie St | San Jose | DWALL/SUCTION | FIBERGLASS | RONAN | 1993-05-01 | DWALL | FRP CLAD STEEL | RONAN X765-A3 | Balance | NS | <1.0 | 2003-08-07
64 | 621 Blossom Hill Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/GILBARCO EMC | 1996-12-06 | DWALL | FRP CLAD STEEL | GILBARCO EMC | Gilbarco Vacuum Assist | NS | 280000 | 2003-04-22 | Yes
65 | 602 S Winchester Blvd | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/GILBARCO | 1984-01-01 | DWALL | FIBERGLASS | GILBARCO EMC | Balance | NS | 5500 | 2003-10-03 | Yes
66 | 680 Commercial St | San Jose | DWALLL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1998-11-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT 350 | GilbarcoVacuum Assist | NS | <1.0 | 2003-06-26
67 | 696 Blossom Hill Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | VAPORLESS/VEEDER ROOT | 1986-02-01 | DWALL | FIBERGLASS | VEDDER ROOT TLS 350 | Balance | 0.063 | 820 | 2003-05-02 | Yes
68 | 735 Capitol Expwy | San Jose | [8 empty] | NA | NA | NA
69 | 745 W Capitol Expwy | San Jose | DWALL/SUCTION | FIBERGLASS | RONAN | 1987-02-02 | DWALL | FIBERGLASS | RONANX76-4X | TANK REMOVED 10/18/2002 | NS(10/18/02) | 153 | 2003-07-21 | Yes
70 | 750 Ridder Park Dr | San Jose | DWALL/SUCTION | FIBERGLASS | LEAK ALERT | 1991-02-13 | DWALL | FRP CLAD STEEL | LEAK ALERT | Balance | NS | 160 | 2003-08-28
71 | 751 Commercial St/1200 Oakland Rd. | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1993-11-16 | DWALL | FRP CLAD STEEL | VEEDER ROOT 250 | Balance | NS | 890 | 2003-07-10 | Yes
72 | 790 Montague Expwy | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/RONAN | 1994-10-20 | DWALL | FIBERGLASS | RONAN #X76 | Dresser WayneVacuum Assist | NS | 980 | 2003-06-06 | Yes
73 | 875 Blossom Hill Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1985-01-01 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | <0.5 | 2003-08-05
74 | 900 Meridian Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1994-10-06 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | 15 | 2003-08-01
75 | 905 Capitol Expwy | San Jose | DWALL/SUCTION | FIBERGLASS | GILBARCO | 1998-01-06 | DWALL | FRP CLAD STEEL | GILBARCO EMC |  | <0.005 | 2.3 | 2003-08-01
76 | 1030 Leigh Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1994-01-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT 350 | Balance | NS | <0.5 | 2003-07-29
77 | 1061 Lincoln Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1996-07-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT TLS 350 | Balance | NS | 15 | 2003-06-26
78 | 1090 N Tenth St | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1986-12-15 | DWALL | FRP CLAD STEEL | VEEDER ROOT 350 | Balance | NS | 54 | 2003-05-22
79 | 1090 S De Anza Blvd | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1999-07-08 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | <0.5 | 2003-07-09
80 | 1096 Lincoln Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1999-03-15 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | 5700 | 2003-06-26 | Yes
81 | 1100 Lucretia Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VAPORLESS/GILBARCO EMC | 1998-12-01 | DWALL | FIBERGLASS | GILBARCO EMC | Balance | NS | 120000 | 2003-03-31 | Yes
82 | 1135 Auzerais Ave | San Jose | DWALL/SUCTION | FIBERGLASS | RONAN | 1979-01-01 | DWALL | STEEL | RONAN #X76S, SACRIFICIAL ANODES | Balance | NS | 3.1 | 2003-04-30
83 | 1150 W San Carlos St | San Jose | DWALL/SUCTION | FIBERGLASS | VEEDER ROOT | 1999-06-21 | DWALL | FIBERGALLS | VEEDER ROOT TLS300C | Balance | NS | 0.54 | 2003-04-21
84 | 1188 S. De Anza Blvd | San Jose | DWALL/PRESSURE | FIBERGLASS | GILBARCO | 1998-06-24 | DWALL | FRP CLAD STEEL | GILABRCO EMC | Gilbarco Vacuum Assist | NS | <0.5 | 7/21-23/03
85 | 1199 Saratoga Ave | San Jose | DWALL/PRESSURE | GEOFLEX | VEEDER ROOT/VEEDER ROOT | 1985-01-01 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Dresser Wayne Vacuum Assist | <0.005 | 99 | 2003-05-01 | Yes
86 | 1256 East Julian St | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1988-09-12 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | 2.2 | NA | 2002-10-23 | Yes
87 | 1301 S Winchester Blvd | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 2000-01-11 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | <2 | 2003-08-12
88 | 1304 Old Piedmont Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT | 2003-05-07 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | 34 | NA | 2003-03-26 | Yes(soil)
89 | 1455 The Alameda | San Jose | [8 empty] | NA | NA | NA
90 | 1501 Parkmoor | San Jose | [8 empty] | ND | 12.5 | 2001-05-07
91 | 1510 Mount Pleasant Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/INCON | 1986-01-01 | DWALL | FIBERGLASS | INCON TS 1000 | Balance | intermed.level release-vapor.only |  | 2003-06-06
92 | 1510 S Seventh St | San Jose | [7 empty] | Phase II Exempt
93 | 1590 Berryessa Rd | San Jose | DWALL/SUCTION | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1999-04-29 | DWALL | FRP CLAD STEEL | GILBARCO EMC | Balance | NS | 11 | 2003-06-17
94 | 1601 N Capitol Ave | San Jose | [8 empty] | NA | NA | NA
95 | 1645 Foxworthy Ave | San Jose | Swall/Trench. OUT OF SERVICE 9/24/01 | FIBERGLASS | RONAN/RONAN | 1987-01-01 | DWALL | FIBERGLASS | RONAN X765-A3 | Balance | NS | 16000 | 2003-08-27 | Yes
96 | 1704 Saratoga Ave | San Jose | SW/SUCTION | FIBERGLASS | VEEDER ROOT TLS350 | 1/1/82- TANK REMOVED 1/30/2004 | SW | FIBERGLASS | VEEDER ROOT TLS 350 |  | NS | 8200 | 2003-07-31 | Yes
97 | 1790 S 10th St | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1989-06-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT 350 | Balance | NS | 27 (=sc) | 2003-04-19
98 | 1810 Hillsdale Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1985-01-01 | DWALL | FRP CLAD STEEL | VEEDER ROOT TLS 250 | Gilbarco Vacuum Assist | 0.041 | Hightphg42 | 2003-04-23 | Yes
99 | 1948 Camden Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | VAPORLESS/RONAN X76S | 1991-02-01 | DWALL | FIBERGLASS | RONAN X76S | Balance | NS | 5.6 | 2003-08-21
100 | 2150 O'Toole Ave | San Jose | DWALL/SUCTION | FIBERGLASS | RONAN X765 | 6/19/90 - REMOVED 6/3/2003 | DWALL | FRP CLAD STEEL | RONAN #X765 | Balance | <0.100 | 17 | 2003-06-03 | Yes
Table 3A, MtBE Monitoring at Operating UST Facilities in Santa Clara County - UST System Design Data
# | Op_address | Op_city | S/DwallPiping | PipingMat. | Piping Monitoring | USTinDat | S/DwallUST | UST Material | UST Monitoring | Vapor Rec. Syst. | MtBEs/ppm | MtBEgw/ppb | S.Date | NewCas
101 | 2321 Stevens Creek Blvd | San Jose | THIS FACILITY IS IN A COUNTY POCKET IN SAN JOSE, REGULATED AND INSPECTED BY SANTA CLARA COUNTY FIRE DEPARTMENT | [6 empty] | Balance | NS | <1.0 | 2003-08-22
102 | 2695 Mckee Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/RONANA | 1991-02-06 | DWALL | FIBERGLASS | RONAN # XLVC | Gilbarco Vacuum Assist | <0.005 | 50 | 2003-06-26
103 | 2698 McKee Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1987-01-01 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | <0.005 | 34 | 2003-05-28 | Yes
104 | 2708 Union Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1990-12-14 | DWALL | FRP CLAD STEEL | VEEDER ROOT 250i | Balance | NS | <0.5 | 2003-07-02
105 | 3042 Rose Ave | San Jose | DWALL/SUCTION | FRP CLAD STEEL | VEEDER ROOT | 1993-01-28 | DWALL | FRP CLAD STEEL | VEEDER ROOT 250I | TEMP C;LOSURE 7/3/2003 | NS | 93000 | 2003-11-05 | Yes
106 | 3145 S Bascom Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1978-01-01 | SWALL | FIBERGLASS | ATG VEEDER ROOT TLS350 CSLD |  | <0.0050 | 2.5 | 3/3-5/03
107 | 3303 San Felipe Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1998-03-24 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | 100 | 2003-07-10 | Yes
108 | 3591 Charter Park Dr | San Jose | DWALL/SUCTION | FIBERGLASS | RED JACKET/RONAN | 1984-01-01 | DWALL | FIBERGLASS | RONAN | Balance | OK | OK | 2003-11-06
109 | 3702 S Bascom Ave | San Jose | DWALL/PRESSURE | FIBERGLASS | EMCO WHEATON | 1990-02-21 | DWALL | FIBERGLASS | EMCO WHEATON EECO 3000 | Gilbarco Vacuum Assist | <0.02 | <0.5 | 2003-07-30
110 | 3754 McKee Rd | San Jose | [8 empty] | NA | NA | NA
111 | 4144 Monterey Rd | San Jose | DWALL/PRESSURE | FIBERGLASS | EMCO WHEATO/EMCO WHAETON | 1998-01-01 | DWALL | FIBERGLASS | EMCO WHATON ECCO 3000 | Gilbarco Vacuum Assist | NS | <0.5 | 2003-09-09
112 | 4156 Monterey Rd | San Jose | [8 empty] | ND | ND | 2001-04-26
113 | 4962 Almaden Expwy | San Jose | DWALL/PRESSURE | FIBERGLASS | RED JACKET/VEEDER ROOT | 1986-01-21 | DWALL | FRP CLAD STEEL | VEEDER ROOT TLS 350 | Balance | NS | <1.0 | 2003-06-26
114 | 6050 Monterey Hwy | San Jose | DWALL/PRESSURE | GEOFLEX | VEEDER ROOT | 1998-05-15 | DWALL | FRP CLAD STEEL | VEEDER ROOT TLS 350 | Gilbarco Vacuum Assist | 130 | 140000 | 2003-06-09 | Yes
115 | 6402 Santa Teresa Blvd | San Jose | DWALL/SUCTION | FIBERGLASS | UNIVERSAL | 1990-12-01 | DWALL | FRP CLAD STEEL | UNIVERSAL LA-X4 | Balance | <0.005 | <0.05 | 2003-05-15
116 | 7022 Santa Teresa Blvd | San Jose | SWALL/SUCTION | FIBERGLASS | TLS350PPLD | 1982-01-01 | SWALL | FIBERGLASS | ATG VEEDER ROOT TLS350 CSLD | Balance | NA | 50 | 2003-05-01
117 | 17865 Monterey Rd | San Jose | [8 empty] | NA | NA | NA
118 | 960 Hedding St(850 Elm St) | San Jose | DWALL/SUCTION Tank removed 8/3/2003 | STEEL/FRP | LEAK ALERT | 1985-01-01 | DWALL-REMOVED 8/3/2003 | FRP CLAD STEEL | SENSIDYNE |  | <0.25 | 4.2 (highTPHg) | 2003-08-08 | Yes
119 | 5750 Almaden Expwy | San Jose | DWALL/PRESSURE | FIBERGLASS | EBW AUTO STIK | 1991-01-14 | DWALL | FRP CLAD STEEL | AUTO STIK EBW LS-3A | Balance | NS | <3 | 2003-07-08
120 | 6578 Santa Teresa Blvd | San Jose | DWALL/SUCTION | FIBERGLASS | VEEDER ROOT | 1991-04-02 | DWALL | FRP CLAD STEEL | VEEDER ROOT 350 | Balance | NS | <0.5 | 2003-07-31
121 | 700 Los Esteros Rd | San Jose | [8 empty] | NA | NA | NA
122 | 825 N San Pedro St | San Jose | DWALL/SUCTION | FIBERGLASS | VEEDER ROOT/VEEDER ROOT | 1993-04-14 | DWALL | FIBERGLASS | VEEDER ROOT 350 | Balance | NS | 61 | 2003-09-26
123 | 1505 Schallenberger Rd | San Jose | [8 empty] | NA | NA | NA
124 | 36 Washington St | Santa Clara | [7 empty] | Gilbarco Vacuum Assist | <0.02 | <0.5 | 2003-07-10
125 | 415 Aldo Ave | Santa Clara | [7 empty] | Balance | NS | 35 | 2003-06-23
126 | 490 Lincoln St | Santa Clara | [8 empty] | NS | <1.0 | 2003-05-21
127 | 1051 Martin Ave | Santa Clara | [8 empty] | NA | NA | NA
128 | 2025 El Camino Real | Santa Clara | [7 empty] | Balance | <0.005 | 0.73 | 2003-05-08
129 | 2750 De La Cruz Blvd | Santa Clara | [7 empty] | Dresser Wayne Vacuum Assist | NS | <1 | 2003-08-28
130 | 2800 Augustine Dr | Santa Clara | [7 empty] | Gilbarco Vacuum Assist | 0.16 | 400 | 2003-05-14 | Yes
131 | 3353 De La Cruz Blvd | Santa Clara | [8 empty] | NS | <1.0 | 2003-07-21
132 | 3480 Homestead Rd | Santa Clara | [9 empty] | ND | 2003-02-01
133 | 3505 Kifer Rd | Santa Clara | [8 empty] | NS | <0.5 | 2003-05-22
134 | 5390 Great America Parkway | Santa Clara | [7 empty] | Dresser Wayne Vacuum Assist | 0.27 | 1200 | 2003-05-12 | Yes
135 | 777 Benton St | Santa Clara
136 | 2600 Benton St | Santa Clara | [7 empty] | Dresser Wayne Vacuum Assist | <0.005 | <2.0 | 2003-11-13
137 | 1889 Lawrence Rd | Santa Clara | [7 empty] | Balance | NA | 13 | 2000-12-13
138 | 12015 Saratoga Sunnyvale Rd | Saratoga | DW | FRP | Annular + MLLD | T 83, P 5/96 | SW | FRP | ATG (CSLD) | Gilbarco Vacuum Assist | 0.94 | 17000 | 2003-05-07 | Yes
139 | 12600 Saratoga Ave | Saratoga | DW | FRP | Annular + MLLD | 1995-08-01 | DW | Steel 1°, FRP-Clad Steel 2° | Annular | Dresser Wayne Vacuum Assist | <0.005 | 6 | 2003-09-22
140 | 295 Lawrence Expwy | Sunnyvale | [8 empty] | ND | 12.2 | 2001-04-23
141 | 401 E Hendy Ave | Sunnyvale | [8 empty] | NA | NA | NA
142 | 605 Macara Ave | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-12 | DW | ST/FG wrap | electronic in annular | Balance | NS | <0.5 | 2003-06-20
143 | 860 W Fremont Ave | Sunnyvale | [8 empty] | ND | ND | /01
144 | 925 W Fremont Ave | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-24 | DW | FG | electronic in annular | Balance | 0.18 | 540 | 2003-05-21 | Yes
145 | 1040 Sunnyvale Saratoga Rd | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-14 | DW | FG | electronic in annular | Balance | NS | 1 | 2003-08-21
146 | 1097 E Duane Ave | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-19 | DW | FG | electronic in annular | Balance | NS | 31000 | 2003-07-09 | Yes
147 | 1155 Aster Ave | Sunnyvale | [8 empty] | NA | NA | NA
148 | 602 Bernardo Ave/1198ElCR | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-04 | SW | FG | intank gauging probe | Balance | <0.005 | 49 | 2003-06-25 | Yes
149 | 1296 Sunnyvale-Saratoga Rd | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-21 | DW | FG | electronic in annular |  | NS | <0.5 | 2003-07-24
150 | 1300 Sunnyvale-Saratoga Rd | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-09 | DW | FG | electronic in annular | Dresser Wayne Vacuum Assist | NS | <0.5 | 2003-05-19
Table 3A, MtBE Monitoring at Operating UST Facilities in Santa Clara County - UST System Design Data
# | Op_address | Op_city | S/DwallPiping | PipingMat. | Piping Monitoring | USTinDat | S/DwallUST | UST Material | UST Monitoring | Vapor Rec. Syst. | MtBEs/ppm | MtBEgw/ppb | S.Date | NewCas
151 | 1697 South Wolfe Rd | Sunnyvale | [8 empty] | ND | ND | 2002
152 | 580 N Mary Ave | Sunnyvale | DW | FG | electronic in sump/UDC | 1905-06-16 | DW | FG | electronic in annular | Balance | NS | <0.5 | 2003-06-19
153 | 625 S. Winchester Blvd | San Jose | DWALL/PRESSURE | FIBERGLASS | VAPORLESS LD1000/GILBARCO | 2001-01-01 | SWALL-LINED 6/30/1998 | STTEL WITH EPOXY LINING | GILBARCO EMC | Gilbarco Vacuum Assist | NS | 20000 | 2003-06-17 | Yes