## Slide 1: Figure 1. Geographic Distribution of Study Sites

## Slide 2: Chart 1, High Threat Site Distribution Based on Location
153 “high threat” sites were issued requests to conduct MtBE monitoring

## Slide 3: Chart 2, Frequency of Choosing MtBE Monitoring Options
Total # of sites required to monitor for MtBE: 128

## Slide 4: Chart 3, Samples Analyzed for Oxygenates

## Slide 5: Chart 4, MtBE Concentrations in GW at Operating UST Facilities
Total # of sites monitored for MtBE: 125

## Slide 6: Chart 5, MtBE Concentrations in Soil at Operating UST Facilities
(43 sites sampled)

## Slide 7: Chart 6, Correlation between MtBE in Soil and GW
MtBE was analyzed in both soil and groundwater samples at 40 sites;
15 sites - MtBE was ND in soil and groundwater
11 sites - MtBE was detected in soil and groundwater
13 sites - MtBE detected in groundwater but not in soil
1 site - MtBE detected in soil but not in groundwater
Groundwater sampling is more reliable method for MtBE investigation than soil sampling.

## Slide 8: Chart 7, Depth to Water

## Slide 9: Chart 8, Frequency of Contaminant Detection in GW
Total # of sites sampled for MtBE - 117; TBA & TAME – 114; EtBE & DIPE – 115; 1,2-DCA - 50; EDB - 43; TPHg - 51; Benzene-54.

## Slide 10: Chart 9, Frequency of Contaminant Detection in Soil
Total # of sites sampled for MtBE 43; other oxygenates - 34; 1,2-DCA - 24; EDB - 23; TPHg - 35; Benzene - 35.

## Slide 11: Chart 10, Frequency of Detection of TBA in Groundwater at Operating UST Facilities
TBA concentrations up to 27,000 ppb
Total sites sampled: 114

## Slide 12: Chart 11, MtBE – TBA Correlation
MtBE detected at 62 sites;
TBA detected at 13 of these sites

## Slide 13: Chart 12, TPHg Concentrations in GW at Operating UST Facilities
Total # of sites sampled for TPHg in groundwater: 51

## Slide 14: Chart 13, MtBE – TPHg Correlation
MtBE/TPHg in groundwater analyzed at 51 sites;
11 sites - MtBE and TPHg were ND,
25 sites - both MtBE and TPHg detected,
10 sites - MtBE detected but not TPHg;
5 sites - TPHg detected but not MtBE.

## Slide 15: Chart 14, Benzene Concentrations in Groundwater
54 sites sampled

## Slide 16: Chart 15, Benzene – MtBE Correlation
MtBE/benzene in groundwater analyzed at 54 sites;
13 sites - both MtBE and benzene were ND
17 sites – both TPHg and benzene detected
4 sites - benzene detected, but not MtBE
20 sites – MtBE detected but not benzene