## Read me
Please read the notes/instructions before you proceed!
Please find more instrucitons on individual worksheets.
How to name Excel spreadsheet
Please name this spreadsheet as
"XXXX nutrient 13267 study data_updated Month-/Day-Year"
(XXXX - Facility/Discharger name)
Agency Name, contact information; sampling dates
Only enter agency name and contact information in the worksheet "Eff Conc."; they will be automatically populated in other worksheets.
Only enter season/quarter/sampling dates in "Eff Conc." worksheets; they will be automatically populated in load/QA/QC worksheets.
How to report non-detected (ND) results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
(Select the cell, right click the mouse, choose "insert comment", put "ND, report MDL" in the comment box)
How to report DNQ or J flagged results
Report the DNQ value in the cell, insert a comment
(Select the cell, right click the mouse, choose " insert comment", put "DNQ" in the comment box)
Do not put any text like "ND", "MDL", "DNQ" in front of the number.
How to report a missed result
If a required sampling result is missing (failed to sample, sampling error, lab error, etc.), add a note at the end of that worksheet.
Report this missed sample incident in the transmittal email/letter.
Do not put "NA" or any text in the cell for that parameter.
How to save as CSV (comma separated values) files:
In addition to submitting this MS Excel Worksheet file, please also submit CSV (comma deliminted) files of each worksheet (multiple files).
To generate CSV files from the Excel Worksheet file, open one worksheet at a time, go to "File" - "save as" - name the CSV file
such as "XXXX Inf conc", "XXXX eff conc", etc. where XXXX is the Facility/Discharger name.
choose "CSV" (comma delimited) in the "save as type" drop down menu, and click save.
You will need to save each worksheet as a separate CSV file.
How to copy data from another Excel Spreadsheet
If copying data from another worksheet, only paste the values to this worksheet; do not copy the format.
Glossary of Abbreviations
TDN | Total Dissolved Nitrogen
TKN | Total Kjedahl Nitrogen
SKN | Soluble Kjedahl Nitrogen
NH3 | Ammonia
NO3 | Nitrate
NO2 | Nitrite
TP | Total Phosphorous
TDP | Total Dissolved Phosphorous
DRP | Dissolved Reactive Phosphorous or dissolved ortho-PO4
TSS | Total Suspended Solids
TRP | Total Reactive Phosphorus or total ortho-PO4

## Requirement Summary
Valero Refining Company - CA
Report Due Dates
Reporting Period | Report Due Date
July - September 2012 | 2012-10-30
October - December 2012 | 2013-01-30
January - March 2013 | 2013-04-30
April - June 2013 | 7/30/2013, may combine with the interim report
Interim Report | 2013-07-31
July - September 2013 | 2013-10-30
October - December 2013 | 2014-01-30
January - March 2014 | 2014-04-30
April - June 2014 | 7/30/2014, may combine with the final report
Final Report | 2014-07-31
Minimum Effluent Moniotring Requirements
Routine Effluent | Once per month
Effluent Peak flow monitoring | Two times each wet season
Study duraiton | Two years

## Eff Conc.
Effluent Concentrations (mg/l)
Valero Refining Company - CA
Ms. Sky Bellanca, Senior Engineer, 707-745-7749, sky.bellanca2@valero.com
Quarter of Year (Q1, Q2, Q3, Q4 YYYY) | Date | Peak Flow Event (Y/N) | Flow (MGD) |  | TN (mg/L) | TDN (mg/L) | TKN (mg/L) | SKN (mg/L) | NO3 (mg/L) | NO2 (mg/L) | Total NH3 (mg/L) | Urea* (mg/L) | TP (mg/L) | TDP (mg/L) | DRP** (mg/L) | pH (s.u.) |  | Temp (oC) |  | TSS (mg/L) | TRP** (mg/L)
| (mm/dd/yyyy) |  | Ave Daily | Peak | TKN+NO3+NO2 | SKN+NO3+NO2 | [8 empty] | Grab or composite | Min | Max | Min | Max |  | Grab or composite
Q3 2012 | 2012-07-02 | N | 2.25 | 2.42 | 29.554 | 29.654 | 2.5 | 2.6 | 27 | 0.054 | 0.36 |  | 0.26 | 0.13 | 0.039 | 7.52 | 7.8 | 35.2 | 36.5 | 5.1 | 0.1
Q3 2012 | 2012-08-07 | N | 2.21 | 2.5 | 18.317 | 18.517 | 2.3 | 2.5 | 16 | 0.017 | 0.36 |  | 0.077 | 0.061 |  | 7.45 | 7.62 | 34.9 | 36.7 | 2.4
Q3 2012 | 2012-08-08 | N | 2.38 | 2.51 | [10 empty] | 0.025 | 7.3 | 7.49 | 35.8 | 36.8 |  | 0.014
Q3 2012 | 2012-09-05 | N | 2.08 | 2.19 | 23.415 | 23.615 | 1.4 | 1.6 | 22 | 0.015 | 0.26 |  | 0.12 | 0.059 |  | 7.26 | 8.17 | 34 | 35.6 | 3.4
Q4 2012 | 2012-09-07 | N | 1.8 | 2.02 | [10 empty] | 0.015 | 7.26 | 7.64 | 34.5 | 36 |  | 0.029
Q4 2012 | 2012-10-04 | N | 2 | 2.15 | 23.95 | 24.25 | 1.8 | 2.1 | 22 | 0.15 | 0.4 |  | 0.099 | 0.11 | 0.016 | 7.49 | 7.88 | 34.9 | 36.5 | 4.4 | 0.032
Q4 2012 | 2012-11-06 | N | 1.83 | 2.38 | 19.545 | 20.645 | 1.5 | 2.6 | 18 | 0.045 | 0.36 |  | 0.1 | 0.015 | 0.006 | 7.49 | 7.82 | 34.7 | 35.3 | 8.5 | 0.006
Q4 2012 | 2012-12-04 | Y | 2.37 | 2.4 | 21.712 | 21.412 | 1.7 | 1.4 | 20 | 0.012 | 0.31 |  | 0.038 | 0.025 | 0.016 | 7.46 | 7.67 | 31.2 | 34.4 | 2.6 | 0.03
Q1 2013 | 2013-01-03 | N | 2.22 | 3.02 | 20.55 | 20.55 | 2.3 | 2.3 | 18 | 0.25 | 0.2 |  | 0.067 | 0.057 | 0.0074 | 7.45 | 7.93 | 27.8 | 32.7 | 5.4 | 0.037
Q1 2013 | 2013-02-06 | N | 1.92 | 2.26 | 11.925 | 11.425 | 1.9 | 1.4 | 10 | 0.025 | 0.3 |  | 0.04 | 0.055 | 0.007 | 7.83 | 8.27 | 33.7 | 34.9 | 3.2 | 0.01
Q1 2013 | 2013-03-06 | N | 1.63 | 1.9 | 32.464 | 31.964 | 2.4 | 1.9 | 30 | 0.064 | 0.46 |  | 0.044 | 0.031 | 0.006 | 7.41 | 8.23 | 32.8 | 35 | 4.6 | 0.016
Q2 2013 | 2013-04-02 | N | 1.36 | 1.93 | 20.246 | 19.546 | 2.2 | 1.5 | 18 | 0.046 | 0.31 |  | 0.015 | 0.015 | 0.022 | 7.09 | 7.35 | 24.4 | 35.2 | 2.4 | 0.021
Q2 2013 | 2013-05-08 | N | 2.1 | 2.25 | 25.72 | 25.42 | 2.6 | 2.3 | 23 | 0.12 | 0.31 |  | 0.045 | 0.022 | 0.0087 | 7.35 | 7.55 | 32.5 | 33.4 | 4 | 0.026
Q2 2013 | 2013-06-04 | N | 2.12 | 2.2 | 53.06 | 51.06 | 19 | 17 | 34 | 0.06 | 0.45 |  | 0.037 | 0.027 | 0.017 | 7.41 | 7.55 | 32.8 | 35.2 | 3.8 | 0.026
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
[5 empty] | 0 | 0
THINGS TO DO
Only enter numbers in the cells for concentrations; or leave blank if no data (do not enter "NA")
Delete red striked-through numbers under TN/TKN after all the data for that date are entered; leave the cell blank.
THINGS NOT TO DO
Do not report zero for non-detected values or DNQ(J) values;
Do not put text before the number to indicate it is ND or DNQ.
Do not report combined result for NO3+ NO2 under both parameters (see footnote ** below)
Quarter of Year definition
Q3 2012 - July - September 2012
Q4 2012: October - December 2012
Q1 2013: January - March 2013
Q2 2013: April - June 2013
Q3 2013: July - September 2013
Q4 2013: October - December 2013
Q1 2014: January - March 2014
Q2 2014: April - June 2014
Cells are conditionally formatted as explained below:
1. when a date is entered, the row is highlighted in orange;
2. When a text is entered, the cell is shaded in blue; remove the text ("ND", "DNQ", etc.), report a number.
3. If TKN or both NO3/NO2 conc. is missing, the calculated TN result is shown in red strike-through number.
That means this TN result is not complete, deleted that TN, leave the cell blank.
Footnotes for Table
* Urea monitoring is only required for the five largest POTWs: CCCSD, EBDA, EBMUD, SF Southeast, SJSC
**Collect DRP sample as a grab or composite in accordance with your agency's Sample Analysis Plan
How to report non-detected (ND) /DNQ results
For NDs, i.e., <MDL, report MDL in the cell, insert a comment
For DNQ or J flagged value, report the estimated value, insert a comment
(Select the cell, right click the mouse, choose " insert comment", type "ND" or "DNQ" in the comment box)
Note on E6: bn0520: Instantaneous flow to calculate loading from orthophosphate grab samples
Note on K8: bn0520: DNQ
Note on N8: bn0520: DNQ
Note on O8: bn0520: DNQ
Note on P9: bn0520: DNQ
Note on V9: bn0520: DNQ
Note on K10: bn0520: DNQ
Note on O10: bn0520: DNQ
Note on P11: bn0520: DNQ
Note on V11: bn0520: DNQ
Note on O13: bn0520: ND, Report MDL
Note on P13: bn0520: ND, Report MDL
Note on V13: bn0520: ND, Report MDL
Note on C14: bn0520: Large rain storm on 12/4/12, the same day self monitoring was scheduled to occur.
Note on K14: bn0520: DNQ
Note on N14: bn0520: DNQ
Note on O14: bn0520: DNQ
Note on P14: bn0520: DNQ
Note on V14: bn0520: DNQ
Note on P15: bn0520: DNQ
Note on K16: bn0520: DNQ
Note on P16: bn0520: DNQ
Note on N17: bn0520: DNQ
Note on O17: bn0520: DNQ
Note on P17: bn0520: ND, Report MDL
Note on V17: bn0520: DNQ
Note on N18: bn0520: ND
Note on O18: bn0520: ND
Note on P18: bn0520: DNQ
Note on V18: bn0520: DNQ
Note on N19: bn0520: DNQ
Note on O19: bn0520: DNQ
Note on P19: bn0520: DNQ
Note on V19: bn0520: DNQ

## Eff Loads
Effluent Loads (Kg/d) [mg/l X MGD X 3.78 = Kg/d]
Valero Refining Company - CA
Ms. Sky Bellanca, Senior Engineer, 707-745-7749, sky.bellanca2@valero.com
Quarter of Year | Date | Peak Flow Event (Y/N) | Flow (MGD) |  | TN (kg/d) | TDN (kg/d) | TKN (kg/d) | SKN (kg/d) | NO3 (kg/d) | NO2 (kg/d) | Total NH3 (kg/d) | Urea (kg/d) | TP (kg/d) | TDP (kg/d) | DRP (kg/d) | TSS (kg/d) | TRP (kg/d)
| (mm/dd/yyyy) |  | Ave Daily | Peak | [10 empty] | Use Max Flow if sample type is Grab |  | Use Max Flow if sample type is Grab
Q3 2012 | 2012-07-02 | N | 2.25 | 2.42 | 251.3568 | 252.2073 | 21.2625 | 22.113 | 229.635 | 0.45927 | 3.0618 |  | 2.2113 | 1.1056 | 0.35676 | 43.3755 | 71.3513
Q3 2012 | 2012-08-07 | N | 2.21 | 2.5 | 153.0166 | 154.6873 | 19.2137 | 20.8845 | 133.6608 | 0.14201 | 3.0074 |  | 0.64324 | 0.50958 |  | 20.0491 | 72.009
Q3 2012 | 2012-08-08 | N | 2.38 | 2.51 | [10 empty] | 0.23719 |  | 71.0636
Q3 2012 | 2012-09-05 | N | 2.08 | 2.19 | 184.0981 | 185.6706 | 11.0074 | 12.5798 | 172.9728 | 0.11794 | 2.0442 |  | 0.94349 | 0.46388 |  | 26.7322 | 67.6329
Q4 2012 | 2012-09-07 | N | 1.8 | 2.02 | [10 empty] | 0.11453 |  | 58.336
Q4 2012 | 2012-10-04 | N | 2 | 2.15 | 181.062 | 183.33 | 13.608 | 15.876 | 166.32 | 1.134 | 3.024 |  | 0.74844 | 0.8316 | 0.13003 | 33.264 | 64.0408
Q4 2012 | 2012-11-06 | N | 1.83 | 2.38 | 135.2006 | 142.8097 | 10.3761 | 17.9852 | 124.5132 | 0.31128 | 2.4903 |  | 0.69174 | 0.10376 | 0.053978 | 58.7979 | 70.3518
Q4 2012 | 2012-12-04 | Y | 2.37 | 2.4 | 194.5091 | 191.8215 | 15.2296 | 12.542 | 179.172 | 0.1075 | 2.7772 |  | 0.34043 | 0.22396 | 0.14515 | 23.2924 | 69.5822
Q1 2013 | 2013-01-03 | N | 2.22 | 3.02 | 172.4474 | 172.4474 | 19.3007 | 19.3007 | 151.0488 | 2.0979 | 1.6783 |  | 0.56224 | 0.47832 | 0.084475 | 45.3146 | 90.5257
Q1 2013 | 2013-02-06 | N | 1.92 | 2.26 | 86.5469 | 82.9181 | 13.7894 | 10.1606 | 72.576 | 0.18144 | 2.1773 |  | 0.2903 | 0.39917 | 0.0598 | 23.2243 | 70.649
Q1 2013 | 2013-03-06 | N | 1.63 | 1.9 | 200.0237 | 196.943 | 14.7874 | 11.7067 | 184.842 | 0.39433 | 2.8342 |  | 0.2711 | 0.191 | 0.043092 | 28.3424 | 59.1079
Q2 2013 | 2013-04-02 | N | 1.36 | 1.93 | 104.0806 | 100.4821 | 11.3098 | 7.7112 | 92.5344 | 0.23648 | 1.5936 |  | 0.077112 | 0.077112 | 0.1605 | 12.3379 | 53.6212
Q2 2013 | 2013-05-08 | N | 2.1 | 2.25 | 204.1654 | 201.784 | 20.6388 | 18.2574 | 182.574 | 0.95256 | 2.4608 |  | 0.35721 | 0.17464 | 0.073993 | 31.752 | 64.2127
Q2 2013 | 2013-06-04 | N | 2.12 | 2.2 | 425.2016 | 409.1744 | 152.2584 | 136.2312 | 272.4624 | 0.48082 | 3.6061 |  | 0.2965 | 0.21637 | 0.14137 | 30.4517 | 62.7858
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0
THINGS TO DO
Correct bright yellow highlighted load calulations (0, #VALUE!") by correcting the "Conc" worksheet
Use correct flow for load calculation: for grab sample, use peak flow; for composit sample, use average flow.
Cells are conditionally formatted as explained below:
1. Cells are shaded purple if there is no load calculated for that parameter due to lack of concentration data. No need to do anything if that sampling is not required.
2. Cells are shaded bright yellow if the load is calculated as "0" due to concentration reported as "0", go to 'Conc" worksheet to correct the concentration reported.
3. Cells are shaded bright yellow if concentration is reporetd as a text (such as ND, <MDL, J value), go to "Conc" worksheet to correct the concentration reported.
How to choose correct flow for load calcultion.
Load calculation formulas provided use "avg daily flow" for all parameters, except for "DRP", where peak flow is used.
If DRP/TRP is collected as composite, replace "peak flow" with "avg daily flow" in the formula for load calculation.
If other parameters are grabs according to your sampling plan; replace "avg daily flow" with "peak flow" in load calculation for that parameter.

## Eff QAQC MLs
Effluent MDL / ML (mg/l)
Valero Refining Company - CA
Ms. Sky Bellanca, Senior Engineer, 707-745-7749, sky.bellanca2@valero.com
Quarter of Year | Date | TKN |  | SKN |  | NO3 |  | NO2 |  | Total NH3 |  | Urea |  | TP |  | TDP |  | DRP |  | TSS |  | TRP
| (mm/dd/yyyy) | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML | MDL | ML
Q3 2012 | 2012-07-02 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q3 2012 | 2012-08-07 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q3 2012 | 2012-08-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q3 2012 | 2012-09-05 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q4 2012 | 2012-09-07 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q4 2012 | 2012-10-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.5 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.1 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q4 2012 | 2012-11-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q4 2012 | 2012-12-04 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q1 2013 | 2013-01-03 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.1
Q1 2013 | 2013-02-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.48 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.01
Q1 2013 | 2013-03-06 | 0.07 | 0.1 | 0.07 | 0.1 | 0.48 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.01
Q2 2013 | 2013-04-02 | 0.07 | 0.1 | 0.07 | 0.1 | 0.1 | 0.2 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.01
Q2 2013 | 2013-05-08 | 0.07 | 0.1 | 0.07 | 0.1 | 0.48 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.015 | 0.1 | 0.015 | 0.1 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.01
Q2 2013 | 2013-06-04 | 0.35 | 0.5 | 0.35 | 0.5 | 0.48 | 1 | 0.002 | 0.03 | 0.04 | 0.1 |  |  | 0.007 | 0.01 | 0.007 | 0.01 | 0.006 | 0.01 | 2 | 2 | 0.006 | 0.01
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
Do not enter "Season" or "Date" information on this worksheet. Make changes to the "Eff Conc." worksheet.
This sheet will be automatically updated with the new information.

## 6-4-13
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
N060222001 | E-001 (FILTERED) | Soluble Kjeldahl Nitrogen | 2013-06-04 |  | 2013-06-14 |  | 17 | 0.5 | 0.35 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
N060222001 | E-001 (FILTERED) | Nitrogen, Nitrate (as N) | 2013-06-04 |  | 2013-06-13 |  | 34 | 1 | 0.48 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
N060222001 | E-001 (FILTERED) | Total Phosphorus as P | 2013-06-04 |  | 2013-06-21 |  | 0.027 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E (filtrate)
N060222002 | E-001 | Total Kjeldahl Nitrogen | 2013-06-04 |  | 2013-06-15 |  | 19 | 0.5 | 0.35 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
N060222002 | E-001 | Total Phosphorus as P | 2013-06-04 |  | 2013-06-21 |  | 0.037 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E
N060222002 | E-001 | Ammonia (as N) | 2013-06-04 |  | 2013-06-20 |  | 0.45 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
N060222002 | E-001 | Nitrogen, Nitrite | 2013-06-04 |  | 2013-06-06 |  | 0.06 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
N060222003 | E-001 | Ortho Phosphate as P | 2013-06-04 | 9:30 | 2013-06-06 |  | 0.026 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
N060222004 | E-001 (FILTERED) | Ortho Phosphate as P | 2013-06-04 | 9:30 | 2013-06-06 |  | 0.017 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 5-8-13
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
N050479001 | E-001 | Nitrogen, Nitrite | 2013-05-08 |  | 2013-05-09 |  | 0.12 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
N050479001 | E-001 | Total Kjeldahl Nitrogen | 2013-05-08 |  | 2013-05-18 |  | 2.6 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
N050479001 | E-001 | Total Phosphorus as P | 2013-05-08 |  | 2013-05-22 | DNQ | 0.045 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
N050479001 | E-001 | Ammonia (as N) | 2013-05-08 |  | 2013-05-17 |  | 0.31 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
N050479002 | E-001 | Ortho Phosphate as P | 2013-05-08 | 9:45 | 2013-05-10 | DNQ | 0.026 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
N050479003 | E-001 FILTERED | Ortho Phosphate as P | 2013-05-08 | 9:45 | 2013-05-10 | DNQ | 0.0087 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)
N050479004 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2013-05-08 |  | 2013-05-15 |  | 2.3 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
N050479004 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2013-05-08 |  | 2013-05-15 |  | 23 | 1 | 0.48 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
N050479004 | E-001 FILTERED | Total Phosphorus as P | 2013-05-08 |  | 2013-05-22 | DNQ | 0.022 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)

## 4-2-13
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
N040199001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2013-04-02 |  | 2013-04-11 |  | 1.5 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
N040199001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2013-04-02 |  | 2013-04-16 |  | 18 | 0.2 | 0.1 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
N040199001 | E-001 FILTERED | Total Phosphorus as P | 2013-04-02 |  | 2013-04-10 | ND | 0.015 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)
N040199002 | E-001 FILTERED | Ortho Phosphate as P | 2013-04-02 | 10:50 | 2013-04-04 | DNQ | 0.022 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)
N040199003 | E-001 | Total Kjeldahl Nitrogen | 2013-04-02 |  | 2013-04-08 |  | 2.2 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
N040199003 | E-001 | Total Phosphorus as P | 2013-04-02 |  | 2013-04-10 | ND | 0.015 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
N040199003 | E-001 | Ammonia (as N) | 2013-04-02 |  | 2013-04-12 |  | 0.31 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
N040199003 | E-001 | Nitrogen, Nitrite | 2013-04-02 |  | 2013-04-04 |  | 0.046 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
N040199004 | E-001 | Ortho Phosphate as P | 2013-04-02 | 10:50 | 2013-04-04 | DNQ | 0.021 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E

## 3-6-13
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
N030336001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2013-03-06 |  | 2013-03-13 |  | 1.9 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
N030336001 | E-001 FILTERED | Total Phosphorus as P | 2013-03-06 |  | 2013-03-14 | DNQ | 0.031 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)
N030336001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2013-03-06 |  | 2013-03-15 |  | 30 | 1 | 0.48 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
N030336002 | E-001 | Total Kjeldahl Nitrogen | 2013-03-06 |  | 2013-03-19 |  | 2.4 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
N030336002 | E-001 | Total Phosphorus as P | 2013-03-06 |  | 2013-03-14 | DNQ | 0.044 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
N030336002 | E-001 | Ammonia (as N) | 2013-03-06 |  | 2013-03-19 |  | 0.46 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
N030336002 | E-001 | Nitrogen, Nitrite | 2013-03-06 |  | 2013-03-07 |  | 0.064 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
N030336003 | E-001 | Ortho Phosphate as P | 2013-03-06 | 9:25 | 2013-03-07 | DNQ | 0.016 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
N030336004 | E-001 FILTERED | Ortho Phosphate as P | 2013-03-06 | 9:25 | 2013-03-07 | ND | 0.006 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 2-6-13
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
N020327001 | E001 0.45u FILTERED | Soluble Kjeldahl Nitrogen | 2013-02-06 |  | 2013-02-14 |  | 1.4 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
N020327001 | E001 0.45u FILTERED | Nitrogen, Nitrate (as N) | 2013-02-06 |  | 2013-02-22 |  | 10 | 0.2 | 0.1 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
N020327001 | E001 0.45u FILTERED | Total Phosphorus as P | 2013-02-06 |  | 2013-02-19 |  | 0.055 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E (filtrate)
N020327002 | E-001 | Total Kjeldahl Nitrogen | 2013-02-06 |  | 2013-02-19 |  | 1.9 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
N020327002 | E-001 | Total Phosphorus as P | 2013-02-06 |  | 2013-02-19 |  | 0.04 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E
N020327002 | E-001 | Ammonia (as N) | 2013-02-06 |  | 2013-02-15 |  | 0.3 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
N020327002 | E-001 | Nitrogen, Nitrite | 2013-02-06 |  | 2013-02-07 | DNQ | 0.025 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B,Dissolved
N020327003 | E-001 GRAB | Ortho Phosphate as P | 2013-02-06 | 9:00 | 2013-02-07 |  | 0.01 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
N020327004 | E-001 0.45u FILTERED | Ortho Phosphate as P | 2013-02-06 | 9:00 | 2013-02-07 | DNQ | 0.007 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 1-3-13
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
N020327001 | E001 0.45u FILTERED | Soluble Kjeldahl Nitrogen | 2013-02-06 |  | 2013-02-14 |  | 1.4 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
N020327001 | E001 0.45u FILTERED | Nitrogen, Nitrate (as N) | 2013-02-06 |  | 2013-02-22 |  | 10 | 0.2 | 0.1 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
N020327001 | E001 0.45u FILTERED | Total Phosphorus as P | 2013-02-06 |  | 2013-02-19 |  | 0.055 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E (filtrate)
N020327002 | E-001 | Total Kjeldahl Nitrogen | 2013-02-06 |  | 2013-02-19 |  | 1.9 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
N020327002 | E-001 | Total Phosphorus as P | 2013-02-06 |  | 2013-02-19 |  | 0.04 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E
N020327002 | E-001 | Ammonia (as N) | 2013-02-06 |  | 2013-02-15 |  | 0.3 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
N020327002 | E-001 | Nitrogen, Nitrite | 2013-02-06 |  | 2013-02-07 | DNQ | 0.025 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B,Dissolved
N020327003 | E-001 GRAB | Ortho Phosphate as P | 2013-02-06 | 9:00 | 2013-02-07 |  | 0.01 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
N020327004 | E-001 0.45u FILTERED | Ortho Phosphate as P | 2013-02-06 | 9:00 | 2013-02-07 | DNQ | 0.007 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 12-4-12
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
M120296001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2012-12-04 |  | 2012-12-22 |  | 1.4 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
M120296001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2012-12-04 |  | 2012-12-19 |  | 20 | 0.2 | 0.1 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
M120296001 | E-001 FILTERED | Total Phosphorus as P | 2012-12-04 |  | 2012-12-27 | DNQ | 0.025 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)
M120296002 | E-001 | Total Kjeldahl Nitrogen | 2012-12-04 |  | 2012-12-21 |  | 1.7 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
M120296002 | E-001 | Total Phosphorus as P | 2012-12-04 |  | 2012-12-27 | DNQ | 0.038 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
M120296002 | E-001 | Ammonia (as N) | 2012-12-04 |  | 2012-12-28 |  | 0.31 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
M120296002 | E-001 | Nitrogen, Nitrite | 2012-12-04 |  | 2012-12-06 | DNQ | 0.012 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
M120296003 | E-001 | Ortho Phosphate as P | 2012-12-04 | 9:15 | 2012-12-06 | DNQ | 0.03 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
M120296004 | E-001 FILTERED | Ortho Phosphate as P | 2012-12-04 | 9:15 | 2012-12-06 | DNQ | 0.016 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 11-6-12
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
M110337001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2012-11-06 |  | 2012-11-16 |  | 2.6 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
M110337001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2012-11-06 |  | 2012-11-15 |  | 18 | 0.2 | 0.1 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
M110337001 | E-001 FILTERED | Total Phosphorus as P | 2012-11-06 |  | 2012-11-20 | ND | 0.015 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)
M110337002 | E-001 | Total Kjeldahl Nitrogen | 2012-11-06 |  | 2012-11-24 |  | 1.5 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
M110337002 | E-001 | Total Phosphorus as P | 2012-11-06 |  | 2012-11-13 |  | 0.1 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E
M110337002 | E-001 | Ammonia (as N) | 2012-11-06 |  | 2012-11-21 |  | 0.36 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
M110337002 | E-001 | Nitrogen, Nitrite | 2012-11-06 |  | 2012-11-07 |  | 0.045 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
M110337003 | E-001 GRAB | Ortho Phosphate as P | 2012-11-06 | 10:15 | 2012-11-07 | ND | 0.006 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
M110337004 | E-001 GRAB FILTERED | Ortho Phosphate as P | 2012-11-06 | 10:15 | 2012-11-07 | ND | 0.006 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 10-4-12
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
M100319001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2012-10-04 |  | 2012-10-12 |  | 2.1 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
M100319001 | E-001 FILTERED | Total Phosphorus as P | 2012-10-04 |  | 2012-10-09 |  | 0.11 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E (filtrate)
M100319001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2012-10-04 |  | 2012-10-18 |  | 22 | 1 | 0.5 |  | mg/L | NO3N | EPA 353.2/SM4500-NO3 F,Diss
M100319002 | E-001 | Total Kjeldahl Nitrogen | 2012-10-04 |  | 2012-10-16 |  | 1.8 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
M100319002 | E-001 | Total Phosphorus as P | 2012-10-04 |  | 2012-10-09 |  | 0.099 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E
M100319002 | E-001 | Ammonia (as N) | 2012-10-04 |  | 2012-10-16 |  | 0.4 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
M100319002 | E-001 | Nitrogen, Nitrite | 2012-10-04 |  | 2012-10-06 |  | 0.15 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
M100319003 | E-001 | Ortho Phosphate as P | 2012-10-04 | 9:25 | 2012-10-06 |  | 0.032 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
M100319004 | E-001 FILTERED | Ortho Phosphate as P | 2012-10-04 | 9:25 | 2012-10-06 |  | 0.016 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 9-7-12resample
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
M090336001 | E-001 | Ortho Phosphate as P | 2012-09-07 | 11:00 | 2012-09-07 | DNQ | 0.029 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
M090336002 | E-001 FILTERED | Ortho Phosphate as P | 2012-09-07 | 11:00 | 2012-09-07 | DNQ | 0.015 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 9-5-12
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
M090275001 | E-001 | Nitrogen, Nitrite | 2012-09-05 |  | 2012-09-07 | DNQ | 0.015 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
M090275002 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2012-09-05 |  | 2012-09-26 |  | 1.6 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
M090275002 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2012-09-05 |  | 2012-09-13 |  | 22 | 1 | 0.5 |  | mg/L | NO3N | EPA 353.2 / SM4500-NO3 F
M090275002 | E-001 FILTERED | Total Phosphorus as P | 2012-09-05 |  | 2012-09-12 | DNQ | 0.059 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)
M090275003 | E-001 | Total Kjeldahl Nitrogen | 2012-09-05 |  | 2012-09-25 |  | 1.4 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
M090275003 | E-001 | Total Phosphorus as P | 2012-09-05 |  | 2012-09-12 |  | 0.12 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
M090275003 | E-001 | Ammonia (as N) | 2012-09-05 |  | 2012-09-25 |  | 0.26 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C

## 8-7-12
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD | COMMENTS
M080375001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2012-08-07 |  | 2012-08-24 |  | 2.5 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
M080375001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2012-08-07 |  | 2012-08-21 |  | 16 | 0.2 | 0.1 |  | mg/L | NO3N | EPA 353.2 / SM4500-NO3 F
M080375001 | E-001 FILTERED | Total Phosphorus as P | 2012-08-07 |  | 2012-08-23 | DNQ | 0.061 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E (filtrate)
M080375002 | E-001 | Total Kjeldahl Nitrogen | 2012-08-07 |  | 2012-09-05 |  | 2.3 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
M080375002 | E-001 | Total Phosphorus as P | 2012-08-07 |  | 2012-08-23 | DNQ | 0.077 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
M080375002 | E-001 | Ammonia (as N) | 2012-08-07 |  | 2012-08-28 |  | 0.36 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
M080375002 | E-001 | Nitrogen, Nitrite | 2012-08-07 |  | 2012-08-08 | DNQ | 0.017 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
M080375003 | E-001 | Ortho Phosphate as P | 2012-08-08 | 9:00 | 2012-08-08 | DNQ | 0.025 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
M080375004 | E-001 FILTERED | Ortho Phosphate as P | 2012-08-08 | 9:00 | 2012-08-08 | DNQ | 0.014 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)

## 7-2-12
SAMPLE ID | SAMPLE DESCRIPTION | ANALYTE NAME | DATE SAMPLED | SAMPLE TIME | DATE ANALYZED | QUALIFIERS | VALUE | ML | MDL | RDL | UNITS | CAS NO | METHOD
M070135001 | E-001 FILTERED | Total Phosphorus as P | 2012-07-02 |  | 2012-07-17 |  | 0.13 | 0.01 | 0.007 |  | mg/L | P | SM20-4500-P E (filtrate)
M070135001 | E-001 FILTERED | Nitrogen, Nitrate (as N) | 2012-07-02 |  | 2012-07-10 |  | 27 | 1 | 0.5 |  | mg/L | NO3N | EPA 353.2
M070135001 | E-001 FILTERED | Soluble Kjeldahl Nitrogen | 2012-07-02 |  | 2012-07-13 |  | 2.6 | 0.1 | 0.07 |  | mg/L | SOLKN | SM20-4500-NH3 C (Soluble TKN)
M070135002 | E-001 | Total Kjeldahl Nitrogen | 2012-07-02 |  | 2012-07-11 |  | 2.5 | 0.1 | 0.07 |  | mg/L | TKN | SM20-4500-NH3 C (TKN)
M070135002 | E-001 | Total Phosphorus as P | 2012-07-02 |  | 2012-07-10 |  | 0.26 | 0.1 | 0.015 |  | mg/L | P | SM20-4500-P E
M070135002 | E-001 | Ammonia (as N) | 2012-07-02 |  | 2012-07-09 |  | 0.36 | 0.1 | 0.04 |  | mg/L | NH3 | SM20-4500-NH3 C
M070135002 | E-001 | Nitrogen, Nitrite | 2012-07-02 |  | 2012-07-03 |  | 0.054 | 0.03 | 0.002 |  | mg/L | NO2N | SM20-4500-NO2 B
M070135003 | E-001 GRAB | Ortho Phosphate as P | 2012-07-02 | 0.375 | 2012-07-03 |  | 0.1 | 0.1 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E
M070135004 | E-001 FILTERED | Ortho Phosphate as P | 2012-07-02 | 0.375 | 2012-07-03 |  | 0.039 | 0.01 | 0.006 |  | mg/L | PORTHO | SM20-4500-P E (filtrate)