Susan Schwartz comments on Waterboard draft table of unresolved  issues:

Monitoring:

·         The first bullet point seems  to me unclear and to pose a false

dichotomy (“Regional collaboration: striking  the correct balance between

encouraging a region-wide effort for “creek quality”  monitoring and permitting a

monitoring program that states the frequency, type,  and location of monitoring

to be done.”) There is no inherent contradiction  between a region-wide

effort, or regional collaboration, and stating frequency,  type, and location. This

point should be clarified or dropped.

·         I believe that the major  unresolved issue is the final point, and

that this probably should be the first  point. That is, the major issue seems

to me to be prioritizing, or deciding how  much of the program outlined by the

working group will be carried out. The  working group outlined a minimum

program designed to address the important  issues economically and in ways

designed to yield useful data. Nevertheless,  resources are limited and that there

are likely to be tradeoffs not just within  forms of monitoring, but with other

forms of action.

Municipal maintenance:

·         As with monitoring, it  appears that the major issues will be how

much of a desired program it is  practical to carry out. Replacing half of

street-sweeping equipment within five  years, or retrofitting storm-drain inlets

to exclude trash, would be significant  capital expenditures. Replacing

spraying with mowing, or increasing/decreasing  frequency of storm-drain inspection

or cleaning, could entail significant labor  costs.

·         Point 2 (a) seems to be  misphrased (“Catch Basin Inspection and

Cleaning: Determine annual inspection and cleanup frequency of catch basins to

meet stormwater quality.”) “Determine annual inspection and cleanup frequency

”  is a tautology: the frequency of annual inspection is once a year.

Ignoring  this, the phrasing describes a complex and perhaps impossible multi-year

monitoring and research project: determining what frequency of inspection and

cleanup of thousands of catch basins  would meet water-quality requirements. I

think that what is meant is,  “Specify frequency of inspection and cleanup of

catch basins.” I believe that  specifying that frequency is a likely issue.

·         I am pleased that point 2(d) moderates the original Water  Board

draft to “Explore diversion to sanitary sewer (dry weather flows and first

flush).”  However, “explore* is not  an issue – what is the issue? (The original

Water Board draft would have  required that all pumped groundwater be

diverted to sanitary sewers, a  requirement that I believe could both harm creek flow

and swamp efforts to  reduce infiltration and inflow to sanitary-sewer

systems.)

·         Point (5) is unclear. It reads, “Tidal Lagoons:  Currently, such

water bodies are covered  under the State Water Board’s NPDES permit for Aquatic

Pesticide to Surface  Water Guidelines and Monitoring Requirements.  However,

the environmental non-profit  organizations provided comments on this subject

during the introductory  presentation of the municipal maintenance workgroup.”

I believe that the  question is whether lakes and lagoons (such as Aquatic

Park and Lake Merritt)  should be subject to the same requirements as creeks.

This question extends  beyond municipal maintenance (clearly, permits dealing

with pesticides and  monitoring are different from municipal maintenance). In

any event, this table  needs to say what the issue is.

New  development/redevelopment

·         The title should be as above, not just “new  development”

·         Point 1(b) should be rephrased to retain the  idea that

municipalities would have a choice of lowering thresholds or adopting  measures to

increase infiltration and treatment of runoff. That is, this should  read, “Allow

local governments flexibility to either lower threshold or adopt  measures to

increase infiltration and treatment of runoff (e.g. ordinance  requirements,

positive incentives, bans affecting % permeability, use of  permeable surfaces,

roof-leader disconnection,  etc.)”

·         Point 1(c) does not seem logically parallel to (a) and  (b). Is the

meaning, “Keep threshold the same and develop standard  specifications for

lot-scale treatment measures”? I think that one of these  points should

explicitly state BASMAA’s goal of no change in the  threshold.

·         Point 5(a), “Write Model Program into MRP,” is unclear  and sounds

unfamiliar to me. No “model program” for alternative compliance was

discussed -- the word “Model” implies some flexibility, in that the model may  not

be universally followed. Is this being confused with a proposed alternative

certification -- quite a different thing? The discussion, as I recall, regarded

whether to specify a complex and confining decision tree proposed by the

Water  Board, a simpler version proposed by me, or the simplest and least

restrictive  one, proposed by BASMAA. The basic issues include the the following,

which  should all be listed:

1.     Strength of requirements or preferences  for onsite, nearby, and

within-watershed treatment,

2.    Degree of  flexibility to choose a regional treatment option,

3.    Whether the  current exemptions for channels hardened all the way to

the bay and  tidally-influenced channels should be retained or changed,

including (a) whether  exemption should be allowed in areas with flooding potential

and (b) providing a  more general exemption for highly urbanized  areas.

4.    Whether the  current exemption for brownfields, low-income housing, and

transit  villages should be retained, changed, or eliminated, including (a)

allowing  special treatment only for portion of low-income housing that is

truly  low-income and (b) providing a more general exemption for highly urbanized

areas.