| UNDERGROUND STORAGE TANK DESIGNATED UNDERGROUND STORAGE TANK OPERATOR VISUAL INSPECTION REPORT (Page 1 of 2) |
| --- |
| FACILITY INFORMATION |
| CERS ID | Date of Designated UST Operator Inspection |
| Business Name (Same as Facility Name or DBA-Doing Business As.) |
| Business Site Address | City | ZIP Code |
| DESIGNATED UNDERGROUND STORAGE TANK OPERATOR INFORMATION |
| Name of Designated UST Operator (Print as shown on the ICC Certification.) | Phone # ( ) - Ext. |
| ICC Certification # | ICC Certification Expiration Date |
| COMPLIANCE ISSUES |
| All answer of “N” or “NA” in sections VII through XI must be explained in this section and may require follow-up action. |
| 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. |
| CERTIFICATION BY DESIGNATED UST OPERATOR CONDUCTING THIS INSPECTION |
| I hereby certify that the visual inspection was performed in full compliance with California Code of Regulations, title 23, division 3, chapter 16, section 2716 and all the information provided herein is accurate. |
| Designated UST Operator Signature |
| OWNER / OPERATOR DESCRIPTION OF FOLLOW-UP ACTIONS |
| All issue listed in section III above, must have a description of the follow-up action taken, or to be taken, to correct the issue on the number line that corresponds with the number line the compliance issue is listed above in section III. 1. 2. 3. 4. 5. 6. 7. 8. 9. 10. 11. 12. |
| OWNER / OPERATOR ACKNOWLEDGMENT OF COMPLIANCE ISSUES |
| I have reviewed section III “COMPLIANCE ISSUES” and provided a description in section V, of the action taken or to be taken to correct the issues discovered. |
| Name of UST Owner/Operator (Print) | UST Owner/Operator Signature | Date Signed |

| UNDERGROUND STORAGE TANK DESIGNATED UNDERGROUND STORAGE TANK OPERATOR VISUAL INSPECTION REPORT (Page 2 of 2) |
| --- |
| INSPECTION HISTORY | Y | N |
| Has each follow-up action of section III from the previous inspection been completed appropriately? (Attach documentation verifying appropriate service to this report.) |  |  |
| ALARM HISTORY |
| Attach a copy of the alarm history report/log to this report. | Y | N | NA |
| Is the monitoring system powered on and in proper operating mode? |  |  |  |
| Has each leak detection alarm since the previous inspection been responded to appropriately? (Attach documentation verifying appropriate service to this report.) |  |  |  |
| Have all containment sumps, that have had a leak detection alarm since the previous inspection, been responded to by a qualified UST service technician? |  |  |  |
| List below in section IX, all containment sumps that have had a leak detection alarm since the previous inspection and have not been responded to by a qualified UST service technician. Containment sumps listed below require a visual inspection for damage, water, debris, hazardous substance, and proper sensor location. The results of the visual inspection must be recorded in section IX. |
| UNDERGROUND STORAGE TANK SYSTEM INSPECTION |
| Is the containment sump free of damage, water, debris, and hazardous substance? |
| Containment Sump ID | Y | N | Containment Sump ID | Y | N |
| Are all sensors in containment sumps inspected located to detect a leak at the earliest opportunity? |  |  |
| Is the spill container free of damage, water, debris, and hazardous substance? |
| Tank ID |  |  |  |  |  |  |
| Is the fill pipe free of obstructions? |
| Tank ID |  |  |  |  |  |  |
| Is the fill cap securely on the fill pipe? |
| Tank ID |  |  |  |  |  |  |
| Is the under-dispenser containment free of damage, water, debris, and hazardous substance? |
| Under-dispenser Containment ID | Y | N | NA | Under-dispenser Containment ID | Y | N | NA |
| Are all sensors in under-dispenser containment located to detect a leak at the earliest opportunity? |  |  |  |
| TESTING AND MAINTENANCE | Y | N | NA | DATE LAST PERFORMED |
| Has the monitoring system certification been completed within the past 12 months? |  |  |  |  |
| Has the spill container testing been completed within the past 12 months? |  |  |  |  |
| Has the overfill prevention equipment inspection been completed within the past 36 months? |  |  |  |  |
| Has the secondary containment testing been completed within the past 36 months? |  |  |  |  |
| Has the tank tightness testing been completed within required timeframes? |  |  |  |  |
| Has the line tightness testing been completed within the required timeframes? |  |  |  |  |
| Other required testing / maintenance was completed within required timeframe. (List test/maintenance items below.) |
| Test / Maintenance: |  |  |  |  |
| Test / Maintenance: |  |  |  |  |
| Test / Maintenance: |  |  |  |  |
| Test / Maintenance: |  |  |  |  |
| Test / Maintenance: |  |  |  |  |
| Test / Maintenance: |  |  |  |  |
| FACILITY EMPLOYEE TRAINING | Y | N |
| Have all individuals performing facility employee duties received the required facility employee training within the past 12 months? |  |  |
| If the facility has more components than this form accommodates, additional copies of this page may be attached. |  |  |