# Main UST Page News Item Label (link to sub-page)

### Proposed Rulemaking: Underground Storage Tank “Training Plus” Regulations

## Sub-Page Introductory Message

The State Water Resources Control Board is soliciting comments on proposed changes to the Underground Storage Tank (UST) regulations.

The proposed changes would amend sections 2611, 2630, 2635, 2636, 2636.1, 2637, 2641, 2643, and 2712, and add sections 2631.1, 2638, and 2715 in Title 23 of the California Code of Regulations (CCR).  These amendments to Title 23 will:

1. Require certification for: 1) persons who are responsible for the operation and compliance of an underground storage tank facility (defined in this regulation package as “designated operators”), 2) persons who conduct UST facility compliance inspections, 3) persons who install underground storage tank systems or components, and 4) persons who install, calibrate, test, and maintain monitoring equipment (defined in this regulation package as “service technicians”).

2. Require owners of UST systems to sign a written statement to be submitted to the local agency stating that their facility is in compliance with all regulatory and statutory requirements, and identifying the facility’s designated UST operator.

3. Require annual on-the-job training for facility employees provided by the designated UST operator.

4. Require owners or operators of underground storage tank systems to submit product compatibility and permeability information to the State Water Resources Control Board or local regulatory agency, upon request.

5. Require automatic line leak detectors on all double-walled pressurized piping and provide an alternative to the 0.1 gallon per hour (gph) annual line test.

6. Permit licensed tank testers to install, calibrate, test, and maintain monitoring equipment if they meet existing training and certification requirements.

The proposed changes implement recent legislation [Senate Bill 989 (stats. 1999, ch. 812), and Assembly Bill 1465 (stats. 2001, ch.154)].  A complete text of the proposed regulations and a detailed statement of reasons are available online (see links below).

Directions for submitting comments and requesting further information on the proposed regulations can be found in the Notice of Proposed Rulemaking (see link below).  A public hearing on the proposed rulemaking will be held on April 28th, 2003.  Details are available in the Hearing Announcement (see link below). Note: All comments on the proposed regulatory changes must be submitted by 5:00 p.m. on April 28th, 2003.

Please direct questions or comments on the proposed regulatory changes to Mr. Scott Bacon

e-mail: bacons@swrcb.ca.gov

phone: (916) 341-5873