## ReadMe
Kristi Matal \\ Office of Delta Watermaster, SWRCB \\ March 23, 2018
Revised 4/24/18
Purpose | To provide a summary of Consortium 2018 Test Plans
S:\EXECUTIVE\EVERYONE\DELTA WATERMASTER\Project_2016\P2016-05_SB88-Measurement Consortium\Reference\2018 Test Plan
Data source | Path & Filename | Description
2018 Test Plans submitted by:
The Nature Conservancy
The Freshwater Trust
Metropolitan Water District of So. California
Central Delta Water Agency and South Delta Water Agency (DAMMP)
Environmental Defense Fund
Water Quality Consultants
Watermark Engineering | Submitted additional information
Worksheet | Description
ReadMe | This page

## Combined Plans
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | The Nature Conservancy | [5 empty] | Consortium Member: | Central Delta Water Agency and South Delta Water Agency (DAMMP) |  |  |  | Consortium Member: | Metropolitan Water District of Southern California | [7 empty] | The Freshwater Trust |  |  |  | Environmental Defense Fund |  |  |  | Water Quality (WQ) Consultants
| Contact information | Name | Email | Office Phone | Cell Phone |  |  | Contact information | Name | Email | Office Phone | Cell Phone | Contact information | Name | Email | Office Phone | Cell Phone |  |  |  |  | Name | Email | Office Phone | Cell Phone | Name | Email | Office Phone | Cell Phone | Name | Email | Office Phone | Cell Phone
| Primary Contact | Dawit Zaleke | dzeleke@tnc.org | 530-518-7244 |  |  |  | Primary Contact | Dante John Nomellini, Sr. | ngmplcs@pacbell.net | 209-465-5883 | 209-969-7755 | Primary Contact | Russell Ryan | rryan@mwdh2o.com | 916-650-2600 | [5 empty] | Erik Ringelberg | Erik@thefreshwatertrust.org | 530-518-7244 |  | Robyn Grimm | rgrimm@edf.org | 916-492-7171 |  | Robert Pincus | rpincus@wqconsultants.com | 707-624-6679
| Primary Contact | Kirk Klausmeyer | kklausmeyer@tnc.org | 415-281-0434 | 510-684-4538 |  |  | Primary/Alternate Contact | Brett Baker | brettbaker@gmail.com | 209-465-5883 | 916-719-6586 | Primary/Alternate Contact | [12 empty] | Trey Steinhart (McDonald Island) | steinhart4@sbcglobal.net | 209-469-7979
| Engineering Contact | Farm Data Systems, Jack Coots | jack@farmdatasystems.com | 530-228-0846 |  |  |  | Engineering Contact | Kjeldsen, Sinnock and Neudeck Dave Carr | dcarr@ksninc.com | 209-946-0268 | 209-217-7019 | Engineering Contact | MBK Engineers Gary Kienlen, P.E. | kienlen@mbkengineers.com | 916-456-4400 | [5 empty] | McCord Environmental Inc. Steven McCord, Ph.D. | Sam@mccenv.com | 530-220-3165 |  | Open ET Technical Leads Forrest Melton (NASA) | Forrest.S.Smelton@nasa.gov | 650-604-2787 |  | Watermark Engineering Patrick Stiehr, PE | pstiehr@wtrmark.com | 916-774-1111 | 916-715-1167
[13 empty] | Engineering Contact | MBK Engineers Anne Williams, P.E. | williams@mbkengineers.com | 916-456-4400 | [9 empty] | Justin Huntington | Justin.huntington@dri.edu | 775-673-7670
eWRIMS |  | 2018 Test Plan Summary | [5 empty] | 2018 Test Plan Summary |  |  |  |  | 2018 Test Plan Summary | [8 empty] | 2018 Test Plan Summary |  |  |  | 2018 Test Plan Summary |  |  |  | 2018 Test Plan Summary
|  | Date Submitted: March 21, 2018 | [5 empty] | Date Submitted: March 21, 2018 |  |  |  |  | Date Submitted: March 20, 2018 | [8 empty] | Date Submitted: March 20, 2018 |  |  |  | Date Submitted: March 20, 2018 |  |  |  | Date Submitted: March 16, 2018
|  | Submitted by: Dawit Zaleke, The Nature Conservancy (TNC) | [5 empty] | Submitted by: Dante John Nomellini, Sr. Central Delta Water Agency |  |  |  |  | Submitted by: Anne Williams MBK Engineers | [8 empty] | Submitted by: Erik Ringelberg The Freshwater Trust |  |  |  | Submitted by: Robyn Grimm The Nature Conservancy (TNC) |  |  |  | Submitted by: Bob Pincus Water Quality Consultants
|  | Total number of Statements and Licenses participating in the experimentation plan: | 55 | Source: eWRIMS January 2018 |  |  |  | Total number of Statements and Licenses participating in the experimentation plan: | 2826 | Source: DAMMP updates (Most recent 3/23/2018). |  |  | Total number of Statements and Licenses participating in the experimentation plan: | 93 | Source: eWRIMS (2017) | [6 empty] | Total number of Statements and Licenses participating in the experimentation plan: | 181 | Source: Feb. 2018 TFT report (expecting revised Appendix A) |  | Total number of Statements and Licenses participating in the experimentation plan: | N/A |  |  | Total number of Statements and Licenses participating in the experimentation plan: | N/A
|  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 |  |  |  |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 |  |  |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 | [7 empty] | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 |  |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 |  |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31
|  | TNC | TNC | TNC | TNC | TNC | TNC | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | The Freshwater Trust |  |  |  | Environmental Defense Fund |  |  |  | Water Quality Consultants
| Statement number | S018557 | S018587 | S018530 | S018552 | S018531 | S018548 | S021275 | S018646 | S018637 | S019261 | S017960 | S021068 | S021096 | S021117 | S021113 | S021067 | S021052 | S021053 | None | S021056 | N/A
| Test Site Name | Siphon 7 | Siphon 11 | Siphon 15 | Siphon 30 | Siphon 39 | Siphon 40 | Victoria | Mussi #1 | Mussi #2 | Willow Tree | Tevelde | Siphon 2 | Siphon 14 | Siphon 39 | Siphon 40 | Siphon 8 | Siphon 24 | Siphon 25 | Siphon 28 | Siphon 29 | The Freshwater Trust Program Area |  |  |  | McDonald Island |  |  |  | Various locations around the Delta, providing testing for: CDWA/SDWA, DWR, MBK, RD999 and The Nature Conservancy.
| Address | Staten Island | Staten Island | Staten Island | Staten Island | Staten Island | Staten Island | Victoria Island | Union Island | Union Island | Lower Jones Tract | Lower Jones Tract | Bouldin Island | Bouldin Island | Bouldin Island | Bouldin Island | Bacon Island | Bacon Island | Bacon Island | Bacon Island | Bacon Island | Various locations in the North Delta |  |  |  | An island in Central Delta bounded by Turner Cut, San Joaquin River, Columbia Cut, Middle River, Latham Slough and Empire Cut.
| Latitude | 38.1698 | 38.1508 | 38.1377 | 38.1649 | 38.2016 | 38.2055 | 37.8988 | 37.8815 | 37.8862 | 37.9708 | 37.9706 | 38.1065 | 38.0866 | 38.1151 | 38.1151 | 37.9865 | 37.9592 | 37.95410 |  | 37.941
| Longitude | -121.5274 | -121.5371 | -121.5567 | -121.4936 | -121.4776 | -121.4801 | -121.4974 | -121.385933 | -121.403017 | -121.497742 | -121.502744 | -121.49941 | -121.54215 | -121.50553 | -121.50552 | -121.53506 | -121.56362 | -121.5622 |  | -121.55232
| Location Owner | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | Victoria Island, L.P. | Rudy M. Mussi Investment | Rudy M. Mussi Investment | Willow Tree Farms, Inc. | B&R Tevelde Revocable Trust | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District
| Tenant/Operator (if different from owner) | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed
| Type of Diversion | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Pump | Pump | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon
| - Age | New (1 year old) | New (1-2 years old) | Old (age unknown) | New (1-2 year old) | Old (age unknown) | New (1-2 year old) | [5 empty] | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed
| - Diameter (inches) | 12 | 16 | 14 | 14 | 12 | 16 | 16 | 14 | 14 | 18 | 12 | 12 | 18 | 24 | 24 | 16 | 18 | 12 | 18 | 12
| - Length (feet) | Unknown length | Unknown length | Unknown length | Unknown length | Unknown length | Unknown length | [5 empty] | 153.6 | 193.1 | 159.5 | 159 | Not listed | Not listed | Not listed | Not listed | Not listed
| - Amount of use reported by Consortium member (ac-ft/yr) | 732.6 af/year | 910.8 af/year | 891 af/year | 118.8 af/yr | 316.8 af/yr | 435.6 af/yr | 559 | 529 | 858 | 461 | 417 | 379 | 373 | 1437 | 1437 | 1022 | 270 | 244 | Not listed | 133
- Amount of use reported in eWRIMS (ac-ft/yr)
Primary Irrigation Method | Primary Irrigation Method | [6 empty] | Siphon to drip | Pump to ditch | Pump to micro sprinkler | Siphon to ditch | Siphon feed to standpipe then to open challen weir
| Peculiarities or other information | Multiple meters (4) installed on siphon. (All 4 listed below) | N/A | N/A | N/A | [8 empty] | Data logger is experiencing power issues; determining best solution with manufacturer | Water level sensor on land side is to be determined | Water level sensor on land side is to be determined | Recent construction and repairs were completed, however the siphon is currently not operable. |  |  | No control structure on discharge | Portable flow meter test completed on 3/19/18. Data is being reviewed.
| Year of Reported Use | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016 | 2016
| 1) Measuring Device Deployed at Site | Seametrics AG3000 Magnetic Flanged | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Mace Doppler | Mace Doppler | Mace Doppler | Mace Doppler | Mark 1 Sonar with Cipoletti Weir | Seametrics,Flange Magnetic Meter | McCrometer ,Insertion Magnetic Meter | Mace ,Insertion Ultrasonic Meter | Seametrics,Insertion Magnetic Meter | Mace Insertion Ultra Sonic Meter | Seametrics Insertion Magnetic Meter | McCrometer Saddle Magnetic Meter | McCrometer Insertion Magnetic Meter | Water Specialties Propeller Meter
M4. Device make | Manufacturer | Seametrics | Sierra Instruments | Sierra Instruments | Sierra Instruments | Sierra Instruments | [5 empty] | Mark 1 | Seametrics | McCrometer | Mace | Seametrics | Mace | Seametrics | McCrometer | McCrometer | Water Specialities
M6. Model number | Model Number | AG3000 | Innova Sonic 203 | Innova Sonic 203 | InnovaSonic 203 | InnovaSonic 2013 | [5 empty] | Sonar with Cipoletti Weir | AF3000-1200-F1-BX-X-01-0000 | 282L | 850-112 | EX253B-126 | 850-112 | EX253B-126 | G312-9-02-00-51 | 282L | LP32D-12
M5. Serial number | Serial Number | 32017001576 | N/A | N/A | N/A | N/A | N/A | [5 empty] | 52017000724 | SP20170183 | 53865 | 92017002266 | 53858 | 092017002267 | AG17-0889 | SP20170181 | 2017677
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | Flanged inline magnetic meter | Ultrasonic Strap-on | Ultrasonic Strap-on | Ultrasonic Strap-on | Ultrasonic Strap-on | Ultrasonic Strap-on | [5 empty] | Flange Magnetic Meter | Insertion Magnetic Meter | Insertion Ultrasonic Meter | Insertion Magnetic Meter | Insertion Ultrasonic Meter | Insertion Magnetic Meter | Saddle Magnetic Meter | Insertion Magnetic Meter | Propeller Meter
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | 2017-06-01 | N/A | N/A | N/A | N/A | N/A | July - August 2017 | July - August 2017 | July - August 2017 | July - August 2017 | July - August 2017 | [5 empty] | 2018-03-19 | 2017-11-22
| Date of Planned Installation | N/A | 2018-05-01 | 2018-05-01 | 2018-05-01 | 2018-05-01 | 2018-05-01 | [5 empty] | 2017-11-07 | 2017-11-30 | 2017-11-07 | 2017-11-30 | 2018-04-01 |  | 2217-11-01 | 2018-04-01 | 2018-04-01
M8. Additional Info | Water Side and/or Land Side of Levee | Water-side of levee | Water-side of levee | Water-side of levee | Water-side of levee | Water-side of levee | Water-side of levee | Land-side of levee | Water-side of levee | Water-side of levee | Land-side of levee | Land-side of levee | Land-side of levee | Land-side of levee | Land-side of levee | Land-side of levee | Proposed Land Side | Proposed Water side | Land Side | Proposed Land Side | Proposed Land Side
Data Recorder Information | Data Recorder Information
M18. Type of device/method | Type of device/method | [11 empty] | Data logger | Data logger | Data Logger | Data logger | Data logger | Data logger | Data logger | Data logger | Data Logger
M19. Device make | Device make/Manufacturer | [11 empty] | Data logger is internal to the flow meter | Mesotech | Mace | Mesotech | Mace | Wildeye | Mesotech | Wildeye | Seametrics
M20. Serial number | Serial number | [11 empty] | Data logger is internal to the flow meter | 17111002 | 54828 | 17111003 | 54828 | OP36382 | 17111001 | OP36117 | 072017001724
M21. Model number | Model number | [11 empty] | Data logger is internal to the flow meter | MT-SB88 | 850-365 | MT-SB88 | 850-365 | WILD-E-R-L-MAC-MAA | MT-SB88 | WILD-E-R-L-MAC-MAA | DL76-W
| Telemetry Enabled (Y/N) | [11 empty] | N | N | Y | N | Y | Y | N | Y | N
| 2) Measuring Device Deployed at Site | Seametrics Ex250 Magnetic Insertion | [10 empty] | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor
M4. Device make | Manufacturer | Seametrics | [10 empty] | Global Water | In-Situ | WQ Consultants | WQ Consultants | WQ Consultants | Mercoid | In-Situ | Mercoid | Mercoid
M6. Model number | Model Number | Ex250 | [10 empty] | WL16U-015-025 | LT 400 11m NV | Mark 1 | Mark 1 | Mark 1 | SBLT2 | RT200 30ft | SBLT2 | SBLT2
M5. Serial number | Serial Number | 92016002332 | [10 empty] | 1640005254 | 530665 | Unknown | Unknown | Unknown | Unknown | 542927 | Unknown | Unknown
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | Insertion magnetic meter
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 2017-06-01 | [15 empty] | 2018-03-19
| Date of Planned Installation | N/A | [10 empty] | 2018-04-01 | 2018-04-01 | 2018-04-01 | 2018-04-01 | 2018-04-01 |  | 2018-04-01 | 2018-04-01 | 2018-04-01
M8. Additional Info | Water Side / Land Side of Levee | Water-side of levee | [14 empty] | Land Side | Land Side | Land Side | Water Side / Land Side | Water Side / Land Side
| 3) Measuring Device Deployed at Site | Sierra Insturments InnovaSonic 203 Ultrasonic Strap-on
M4. Device make | Manufacturer | Sierra Instruments
M6. Model number | Model | InnovaSonic 203
M5. Serial number | Serial Number | N/A
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | Ultrasonic Strap-on
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 2017-12-01
| Date of Planned Installation | N/A
M8. Additional Info | Water Side / Land Side of Levee | Water-side of levee
| 4) Measuring Device Deployed at Site | PWA Mark 1 PS Pressure Insertion
M4. Device make | Manufacturer | PWA
M6. Model number | Model | Mark 1 PS (prototype)
M5. Serial number | Serial Number | N/A
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | Pressure tranducers
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 2017-12-01
| Date of Planned Installation | N/A
M8. Additional Info | Water Side / Land Side of Levee | Water-side and land-side of levee
| Brief Description of Test Plan | [6 empty] | Brief Description of Test Plan |  |  |  |  | Brief Description of Test Plan | [8 empty] | Brief Description of Test Plan |  |  |  | Brief Description of Test Plan |  |  |  | Brief Description of Test Plan
| The 2018 test plan involves building on the results from the testing conducted in 2017. In 2017 we found that the Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on was the most promising water meter for farm wide implementation in terms of reliability, cost, and accuracy at the StatenX testing facility. In 2018 we will be testing the same meter at the StatenX siphon and at 5 new locations that represent the variety of siphons on Staten Island. We will not have control devices installed at the 5 new locations, but we have enough data on what the flow should look like over time from StatenX to be able to determine if the meter is functioning properly on a variety of different siphon types and locations. We will also be further testing the accuracy over time at StatenX by comparing the same meter we installed in 2017 against the control meter (the AG3000) to see if there is any change in accuracy over time. Finally, we will be testing reliability and failure rate of the meters by having 6 run at the same time. We will report our findings to the Consortium at the end of the 2018 irrigation season. Note that the 5 test locations listed above are subject to change based on site conditions and installation feasibility. | [6 empty] | Monitoring will be continuous during the irrigation season with data transmitted to the Mace website and to the Mark 1 website. Access codes will be provided upon request to the State Water Resources Control Borad and Consortium members. Monthly results will be recorded and compared to consumptive use to determine the ratio of amounts diverted to amounts consumed for each calendar month for which there was a diversion. Consumptive use will be calculated using the current excel sheets adjusted to incorporated measurements from the current set of CIMIS sites. Meters will be independently calibrated and the results reported. The ultimate goal is to facilitate the use of Satellite real time determination of consumptive use or refined CIMIS measurement supported consumptive use calculations as the measure of water use in the Delta while providing a more refined correlation to amounts diverted. |  |  |  |  | The purpose of the experiment proposed by Metropolitan Water District of Southern California (MWD) is to evaluate various measurement technologies including differetn types and brands of flow meters, data loggers, and telemetry devices as well as potential alternative methods for complicne with the Measurement Regulation at each of the 91 siphons on the four Delta islands owned by MWD. It is the goal of MWD to use the information collected through this experiment together with the results of the other studies and experiements being conducted within the Delta to inform decisions regarding as appropriate paln for compliance with Measurement Regulation on the MWD Islands and other locations within the Sacramento-SanJoaquin River Delta. In 2017, following significant work to inventory and survey the siphons on the four islands, nine siphons were selected on two of the islands, four on Bouldin Island and five on Bacon Island for installation of permanent flow measurement and recording equipment. Testing of each siphon was conducting using a portable flow meter to identify the best location for installing permanent flow measurement equipment. In the summer of 2017, equipment was purchased with the two goals of the experiment in mind. In the fall of 2017, equipment was installed at five of the nine siphones. By January of 2018, continuous data was being collected at four of the nine siphones, with the equipment at the fifth site down due to technical issues. | [8 empty] | The Alternative Compliance Plan (ACP or “Plan”) consists of data collection at the agricultural field level, analysis of estimated water use, and presentation of monthly surface water diversion estimates for each of the participating water rights to the SWRCB on an annual basis (as is required by SB-88). In order to assess and effectively refine the estimation methodology, a series of scientific studies will be designed and executed by TFT’s science team. Those studies will be ongoing during the 5-year ACP period, and progress will be reported out to the SWRCB through an annual summary of findings, as well as a final study compilation. The Plan’s water use estimation analysis consists of four parts: (1) Collection, aggregation, and processing of data needed to facilitate the automation, refinement, and comparison of water use estimations (2) Automation of existing consumptive use calculation methods (3) Refinement of water use estimations using additional factors that increase accuracy beyond consumptive use modeling. (4) Cross-referencing and comparing selected field and modeled water use data |  |  |  | Diversions via 50+ syphons located around the Island; drainage through a centralized system with excess water pumped back to Delta channels; not all syphons, which vary in size, age and condition, are in routine use, but all are maintained for use as conditions and needs warrant. There are currently no measuring devices on any of the syphons. The Island’s agricultural operator has opted into experiments being conducted by the Delta Area Measurement Method Plan and enjoys an extension of time to comply with the regulations implementing SB88 pending the outcome of those experiments. Test the use of satellite-based measurement of evapotranspiration (ET) as an alternative to measuring diversions at each of the syphons. Policy hypothesis: that remote sensing of actual ET will eventually provide superior water use/water management insight (compared to measuring diversions through each syphon) within the Delta because of (a) improved comparability of data; (b) reduced incidence of mechanical failure and human error; (c) dramatically lower cost (both initially and over equipment life cycles); (d) closer to real time reporting; (e) improved systemic QA/QC; and (f) better acceptance/use by all parties interested in the actual consumptive use of water. Technical hypothesis: that the OpenET platform will provide comparably accurate consumptive use measurements compared to field level measuring devices (eddy covariance, pan evaporation, CIMIS, etc.), but at a reduced up-front and long-term cost to Delta landowners and growers. |  |  |  | Water Quality Consultants will be testing the new Mark 1 Pressure Sensor Model with CDWA/SDWA, DWR, MBK, RD999 and The Nature Conservancy. A total of 11 Mark 1 units will be undergoing tests. In addition to the Pressure Sensor Model, we are also testing a weir installation application with CDWA/SDWA and siphon pump electrical consumption measurement system with RD999. Both the weir installation and the electrical consumption measurement system are standard, traditional installations and should not exceed a test period beyond September 30, 2018. We expect that they will perform withint the required accuracy standards. We have not provided the specific locations or other relevant details of the siphons involved as we believe that they wouldbest be provided by the testing agents involved who have access to that information. |  |  | From Watermark Engineering (Mar. 30, 2018) Description of Proposed Procedure to Determine Siphon Flow Based on Waterside Water Level and a Pressure Sensor Inside a Siphon (Adapted from report) There are two variables that define siphon flow - available head and valve setting. Available head is the difference between waterside water elevation and landside water elevation. The importance of valve setting is obvious. One water elevation sensor will be installed on the waterside and one presurre sensor installed inside the subject siphon. When the siphon is charged and the valve is closed, the two monitoring sensors will be reading the same info, but from different reference datums and in different format (feet of water vs. psi). Both will show the tidal influence which was shown at the recent testing at the TNC site. This offset and correlation is site specific and will be established for each siphon.
Next Step
M9. Approximate date the measuring device was last calibrated or the measurement method was updated.
M10. Estimated Accuracy of measurement
M11. Description of calibration mehod
M12 Describe the maintenance schedule for the device/method

## The Nature Conservancy
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | The Nature Conservancy | 0 |  | 0 | 0 | 0
0 | Contact information | Name | Email | Office Phone | Cell Phone | 0 | 0
0 | Primary Contact | Dawit Zaleke | dzeleke@tnc.org | 530-518-7244 | 0 | 0 | 0
0 | Primary Contact | Kirk Klausmeyer | kklausmeyer@tnc.org | 415-281-0434 | 510-684-4538 | 0 | 0
0 | Engineering Contact | Farm Data Systems, Jack Coots | jack@farmdatasystems.com | 530-228-0846 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0
eWRIMS | 0 | 2018 Test Plan Summary | 0 | 0 | 0 | 0 | 0
0 | 0 | Date Submitted: March 21, 2018 | 0 | 0 | 0 | 0 | 0
0 | 0 | Submitted by: Dawit Zaleke, The Nature Conservancy (TNC) | 0 | 0 | 0 | 0 | 0
0 | 0 | Total number of Statements and Licenses participating in the experimentation plan: | 55 | Source: eWRIMS January 2018 | 0 | 0 | 0
0 |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31
0 | 0 | TNC | TNC | TNC | TNC | TNC | TNC
0 | Statement number | S018557 | S018587 | S018530 | S018552 | S018531 | S018548
0 | Test Site Name | Siphon 7 | Siphon 11 | Siphon 15 | Siphon 30 | Siphon 39 | Siphon 40
0 | Address | Staten Island | Staten Island | Staten Island | Staten Island | Staten Island | Staten Island
0 | Latitude | 38.1698 | 38.1508 | 38.1377 | 38.1649 | 38.2016 | 38.2055
0 | Longitude | -121.5274 | -121.5371 | -121.5567 | -121.4936 | -121.4776 | -121.4801
0 | Location Owner | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy | The Nature Conservancy
0 | Tenant/Operator (if different from owner) | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches | Conservation Farms and Ranches
0 | Type of Diversion | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon
0 | - Age | New (1 year old) | New (1-2 years old) | Old (age unknown) | New (1-2 year old) | Old (age unknown) | New (1-2 year old)
0 | - Diameter (inches) | 12 | 16 | 14 | 14 | 12 | 16
0 | - Length (feet) | Unknown length | Unknown length | Unknown length | Unknown length | Unknown length | Unknown length
0 | - Amount of use reported by Consortium member (ac-ft/yr) | 732.6 af/year | 910.8 af/year | 891 af/year | 118.8 af/yr | 316.8 af/yr | 435.6 af/yr
0 | - Amount of use reported in eWRIMS (ac-ft/yr) | 0 | 0 | 0 | 0 | 0 | 0
Primary Irrigation Method | Primary Irrigation Method | 0 | 0 | 0 | 0 | 0 | 0
0 | Peculiarities or other information | Multiple meters (4) installed on siphon. (All 4 listed below) | N/A | N/A | N/A | 0
0 | Year of Reported Use | 2016 | 2016 | 2016 | 2016 | 2016 | 2016
0 | 1) Measuring Device Deployed at Site | Seametrics AG3000 Magnetic Flanged | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on | Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on
M4. Device make | Manufacturer | Seametrics | Sierra Instruments | Sierra Instruments | Sierra Instruments | Sierra Instruments | 0
M6. Model number | Model Number | AG3000 | Innova Sonic 203 | Innova Sonic 203 | InnovaSonic 203 | InnovaSonic 2013 | 0
M5. Serial number | Serial Number | 32017001576 | N/A | N/A | N/A | N/A | N/A
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | Flanged inline magnetic meter | Ultrasonic Strap-on | Ultrasonic Strap-on | Ultrasonic Strap-on | Ultrasonic Strap-on | Ultrasonic Strap-on
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | 2017-06-01 | N/A | N/A | N/A | N/A | N/A
0 | Date of Planned Installation | N/A | 2018-05-01 | 2018-05-01 | 2018-05-01 | 2018-05-01 | 2018-05-01
M8. Additional Info | Water Side and/or Land Side of Levee | Water-side of levee | Water-side of levee | Water-side of levee | Water-side of levee | Water-side of levee | Water-side of levee
Data Recorder Information | Data Recorder Information | 0 | 0 | 0 | 0 | 0 | 0
M18. Type of device/method | Type of device/method | 0 | 0 | 0 | 0 | 0 | 0
M19. Device make | Device make/Manufacturer | 0 | 0 | 0 | 0 | 0 | 0
M20. Serial number | Serial number | 0 | 0 | 0 | 0 | 0 | 0
M21. Model number | Model number | 0 | 0 | 0 | 0 | 0 | 0
0 | Telemetry Enabled (Y/N) | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2) Measuring Device Deployed at Site | Seametrics Ex250 Magnetic Insertion | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | Seametrics | 0 | 0 | 0 | 0
M6. Model number | Model Number | Ex250 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 92016002332 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | Insertion magnetic meter | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 2017-06-01 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | N/A | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | Water-side of levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3) Measuring Device Deployed at Site | Sierra Insturments InnovaSonic 203 Ultrasonic Strap-on | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | Sierra Instruments | 0 | 0 | 0 | 0 | 0
M6. Model number | Model | InnovaSonic 203 | 0 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | N/A | 0 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | Ultrasonic Strap-on | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 2017-12-01 | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | N/A | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | Water-side of levee | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4) Measuring Device Deployed at Site | PWA Mark 1 PS Pressure Insertion | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | PWA | 0 | 0 | 0 | 0 | 0
M6. Model number | Model | Mark 1 PS (prototype) | 0 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | N/A | 0 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | Pressure tranducers | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 2017-12-01 | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | N/A | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | Water-side and land-side of levee | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0
0 | Brief Description of Test Plan | 0 | 0 | 0 | 0 | 0 | 0
0 | The 2018 test plan involves building on the results from the testing conducted in 2017. In 2017 we found that the Sierra Instruments InnovaSonic 203 Ultrasonic Strap-on was the most promising water meter for farm wide implementation in terms of reliability, cost, and accuracy at the StatenX testing facility. In 2018 we will be testing the same meter at the StatenX siphon and at 5 new locations that represent the variety of siphons on Staten Island. We will not have control devices installed at the 5 new locations, but we have enough data on what the flow should look like over time from StatenX to be able to determine if the meter is functioning properly on a variety of different siphon types and locations. We will also be further testing the accuracy over time at StatenX by comparing the same meter we installed in 2017 against the control meter (the AG3000) to see if there is any change in accuracy over time. Finally, we will be testing reliability and failure rate of the meters by having 6 run at the same time. We will report our findings to the Consortium at the end of the 2018 irrigation season. Note that the 5 test locations listed above are subject to change based on site conditions and installation feasibility. |  | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Next Step | 0 | 0 | 0 | 0 | 0 | 0 | 0
M9. Approximate date the measuring device was last calibrated or the measurement method was updated. | 0 | 0 | 0 | 0 | 0 | 0 | 0
M10. Estimated Accuracy of measurement | 0 | 0 | 0 | 0 | 0 | 0 | 0
M11. Description of calibration mehod | 0 | 0 | 0 | 0 | 0 | 0 | 0
M12 Describe the maintenance schedule for the device/method | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Central & South Delta WA
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | Consortium Member: | Central Delta Water Agency and South Delta Water Agency (DAMMP) | 0 |  | 0
0 | Contact information | Contact information | Name | Email | Office Phone | Cell Phone
0 | Primary Contact | Primary Contact | Dante John Nomellini, Sr. | ngmplcs@pacbell.net | 209-465-5883 | 209-969-7755
0 | Primary Contact | Primary/Alternate Contact | Brett Baker | brettbaker@gmail.com | 209-465-5883 | 916-719-6586
0 | Engineering Contact | Engineering Contact | Kjeldsen, Sinnock and Neudeck Dave Carr | dcarr@ksninc.com | 209-946-0268 | 209-217-7019
0 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0
eWRIMS | 0 | 2018 Test Plan Summary | 0 | 0 | 0 | 0
0 | 0 | Date Submitted: March 21, 2018 | 0 | 0 | 0 | 0
0 | 0 | Submitted by: Dante John Nomellini, Sr. Central Delta Water Agency | 0 | 0 | 0 | 0
0 | 0 | Total number of Statements and Licenses participating in the experimentation plan: | 2826 | Source: DAMMP updates (Most recent 3/23/2018). | 0 | 0
0 |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 | 0 | 0 | 0
0 | 0 | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP) | CDWA / SDWA (DAMMP)
0 | Statement number | S021275 | S018646 | S018637 | S019261 | S017960
0 | Test Site Name | Victoria | Mussi #1 | Mussi #2 | Willow Tree | Tevelde
0 | Address | Victoria Island | Union Island | Union Island | Lower Jones Tract | Lower Jones Tract
0 | Latitude | 37.8988 | 37.8815 | 37.8862 | 37.9708 | 37.9706
0 | Longitude | -121.4974 | -121.385933 | -121.403017 | -121.497742 | -121.502744
0 | Location Owner | Victoria Island, L.P. | Rudy M. Mussi Investment | Rudy M. Mussi Investment | Willow Tree Farms, Inc. | B&R Tevelde Revocable Trust
0 | Tenant/Operator (if different from owner) | Not listed | Not listed | Not listed | Not listed | Not listed
0 | Type of Diversion | Siphon | Pump | Pump | Siphon | Siphon
0 | - Age | 0 | 0 | 0 | 0 | 0
0 | - Diameter (inches) | 16 | 14 | 14 | 18 | 12
0 | - Length (feet) | 0 | 0 | 0 | 0 | 0
0 | - Amount of use reported by Consortium member (ac-ft/yr) | 559 | 529 | 858 | 461 | 417
0 | - Amount of use reported in eWRIMS (ac-ft/yr) | 0 | 0 | 0 | 0 | 0
Primary Irrigation Method | Primary Irrigation Method | Siphon to drip | Pump to ditch | Pump to micro sprinkler | Siphon to ditch | Siphon feed to standpipe then to open challen weir
0 | Peculiarities or other information | 0 | 0 | 0 | 0 | 0
0 | Year of Reported Use | 2016 | 2016 | 2016 | 2016 | 2016
0 | 1) Measuring Device Deployed at Site | Mace Doppler | Mace Doppler | Mace Doppler | Mace Doppler | Mark 1 Sonar with Cipoletti Weir
M4. Device make | Manufacturer | 0 | 0 | 0 |  | Mark 1
M6. Model number | Model Number | 0 | 0 | 0 |  | Sonar with Cipoletti Weir
M5. Serial number | Serial Number | 0 | 0 | 0 | 0 | 0
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | July - August 2017 | July - August 2017 | July - August 2017 | July - August 2017 | July - August 2017
0 | Date of Planned Installation
M8. Additional Info | Water Side and/or Land Side of Levee | Land-side of levee | Water-side of levee | Water-side of levee | Land-side of levee | Land-side of levee
Data Recorder Information | Data Recorder Information | 0 | 0 | 0 | 0 | 0
M18. Type of device/method | Type of device/method | 0 | 0 | 0 | 0 | 0
M19. Device make | Device make/Manufacturer | 0 | 0 | 0 | 0 | 0
M20. Serial number | Serial number | 0 | 0 | 0 | 0 | 0
M21. Model number | Model number | 0 | 0 | 0 | 0 | 0
0 | Telemetry Enabled (Y/N) | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2) Measuring Device Deployed at Site | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3) Measuring Device Deployed at Site | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0 | 0
M6. Model number | Model | 0 |  | 0 | 0 | 0
M5. Serial number | Serial Number | 0 |  | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 |  | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4) Measuring Device Deployed at Site | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0
0 | Brief Description of Test Plan |  | 0 | 0 | 0 | 0
0 |  | Monitoring will be continuous during the irrigation season with data transmitted to the Mace website and to the Mark 1 website. Access codes will be provided upon request to the State Water Resources Control Borad and Consortium members. Monthly results will be recorded and compared to consumptive use to determine the ratio of amounts diverted to amounts consumed for each calendar month for which there was a diversion. Consumptive use will be calculated using the current excel sheets adjusted to incorporated measurements from the current set of CIMIS sites. Meters will be independently calibrated and the results reported. The ultimate goal is to facilitate the use of Satellite real time determination of consumptive use or refined CIMIS measurement supported consumptive use calculations as the measure of water use in the Delta while providing a more refined correlation to amounts diverted. | 0
0 | 0 | 0
Next Step | 0 | 0
M9. Approximate date the measuring device was last calibrated or the measurement method was updated. | 0 | 0
M10. Estimated Accuracy of measurement | 0
M11. Description of calibration mehod | 0
M12 Describe the maintenance schedule for the device/method | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0
0 | 0

## Metro. Water District
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | Consortium Member: | Metropolitan Water District of Southern California | 0 |  | 0 | 0 | 0 | 0 | 0
0 | Contact information | Contact information | Name | Email | Office Phone | Cell Phone | 0 | 0 | 0 | 0
0 | Primary Contact | Primary Contact | Russell Ryan | rryan@mwdh2o.com | 916-650-2600 |  | 0 | 0 | 0 | 0
0 | Primary Contact | Primary/Alternate Contact |  |  |  |  | 0 | 0 | 0 | 0
0 | Engineering Contact | Engineering Contact | MBK Engineers Gary Kienlen, P.E. | kienlen@mbkengineers.com | 916-456-4400 |  | 0 | 0 | 0 | 0
0 |  | Engineering Contact | MBK Engineers Anne Williams, P.E. | williams@mbkengineers.com | 916-456-4400 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
eWRIMS | 0 | 2018 Test Plan Summary | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | Date Submitted: March 20, 2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | Submitted by: Anne Williams MBK Engineers | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | Total number of Statements and Licenses participating in the experimentation plan: | 93 | Source: eWRIMS (2017) | 0 | 0 | 0 | 0 | 0 | 0
0 |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District
0 | Statement number | S021068 | S021096 | S021117 | S021113 | S021067 | S021052 | S021053 | None | S021056
0 | Test Site Name | Siphon 2 | Siphon 14 | Siphon 39 | Siphon 40 | Siphon 8 | Siphon 24 | Siphon 25 | Siphon 28 | Siphon 29
0 | Address | Bouldin Island | Bouldin Island | Bouldin Island | Bouldin Island | Bacon Island | Bacon Island | Bacon Island | Bacon Island | Bacon Island
0 | Latitude | 38.1065 | 38.0866 | 38.1151 | 38.1151 | 37.9865 | 37.9592 | 37.95410 | 0 | 37.941
0 | Longitude | -121.49941 | -121.54215 | -121.50553 | -121.50552 | -121.53506 | -121.56362 | -121.5622 | 0 | -121.55232
0 | Location Owner | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District | Metropolitan Water District
0 | Tenant/Operator (if different from owner) | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed
0 | Type of Diversion | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon | Siphon
0 | - Age | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed | Not listed
0 | - Diameter (inches) | 12 | 18 | 24 | 24 | 16 | 18 | 12 | 18 | 12
0 | - Length (feet) | 153.6 | 193.1 | 159.5 | 159 | Not listed | Not listed | Not listed | Not listed | Not listed
0 | - Amount of use reported by Consortium member (ac-ft/yr) | 379 | 373 | 1437 | 1437 | 1022 | 270 | 244 | Not listed | 133
0 | - Amount of use reported in eWRIMS (ac-ft/yr) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Primary Irrigation Method | Primary Irrigation Method | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Peculiarities or other information | 0 | Data logger is experiencing power issues; determining best solution with manufacturer | Water level sensor on land side is to be determined | Water level sensor on land side is to be determined | Recent construction and repairs were completed, however the siphon is currently not operable. | 0 | 0 | No control structure on discharge | Portable flow meter test completed on 3/19/18. Data is being reviewed.
0 | Year of Reported Use | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 1) Measuring Device Deployed at Site | Seametrics,Flange Magnetic Meter | McCrometer ,Insertion Magnetic Meter | Mace ,Insertion Ultrasonic Meter | Seametrics,Insertion Magnetic Meter | Mace Insertion Ultra Sonic Meter | Seametrics Insertion Magnetic Meter | McCrometer Saddle Magnetic Meter | McCrometer Insertion Magnetic Meter | Water Specialties Propeller Meter
M4. Device make | Manufacturer | Seametrics | McCrometer | Mace | Seametrics | Mace | Seametrics | McCrometer | McCrometer | Water Specialities
M6. Model number | Model Number | AF3000-1200-F1-BX-X-01-0000 | 282L | 850-112 | EX253B-126 | 850-112 | EX253B-126 | G312-9-02-00-51 | 282L | LP32D-12
M5. Serial number | Serial Number | 52017000724 | SP20170183 | 53865 | 92017002266 | 53858 | 092017002267 | AG17-0889 | SP20170181 | 2017677
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | Flange Magnetic Meter | Insertion Magnetic Meter | Insertion Ultrasonic Meter | Insertion Magnetic Meter | Insertion Ultrasonic Meter | Insertion Magnetic Meter | Saddle Magnetic Meter | Insertion Magnetic Meter | Propeller Meter
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | 0 | 0 | 0 | 0 | 0 | 2018-03-19 | 2017-11-22 | 0 | 0
0 | Date of Planned Installation | 2017-11-07 | 2017-11-30 | 2017-11-07 | 2017-11-30 | 2018-04-01 | 0 | 2217-11-01 | 2018-04-01 | 2018-04-01
M8. Additional Info | Water Side and/or Land Side of Levee | Land-side of levee | Land-side of levee | Land-side of levee | Land-side of levee | Proposed Land Side | Proposed Water side | Land Side | Proposed Land Side | Proposed Land Side
Data Recorder Information | Data Recorder Information | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M18. Type of device/method | Type of device/method | Data logger | Data logger | Data Logger | Data logger | Data logger | Data logger | Data logger | Data logger | Data Logger
M19. Device make | Device make/Manufacturer | Data logger is internal to the flow meter | Mesotech | Mace | Mesotech | Mace | Wildeye | Mesotech | Wildeye | Seametrics
M20. Serial number | Serial number | Data logger is internal to the flow meter | 17111002 | 54828 | 17111003 | 54828 | OP36382 | 17111001 | OP36117 | 072017001724
M21. Model number | Model number | Data logger is internal to the flow meter | MT-SB88 | 850-365 | MT-SB88 | 850-365 | WILD-E-R-L-MAC-MAA | MT-SB88 | WILD-E-R-L-MAC-MAA | DL76-W
0 | Telemetry Enabled (Y/N) | N | N | Y | N | Y | Y | N | Y | N
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 2) Measuring Device Deployed at Site | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor | Water Level Sensor
M4. Device make | Manufacturer | Global Water | In-Situ | WQ Consultants | WQ Consultants | WQ Consultants | Mercoid | In-Situ | Mercoid | Mercoid
M6. Model number | Model Number | WL16U-015-025 | LT 400 11m NV | Mark 1 | Mark 1 | Mark 1 | SBLT2 | RT200 30ft | SBLT2 | SBLT2
M5. Serial number | Serial Number | 1640005254 | 530665 | Unknown | Unknown | Unknown | Unknown | 542927 | Unknown | Unknown
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0 | 0 | 2018-03-19 | 0 | 0 | 0
0 | Date of Planned Installation | 2018-04-01 | 2018-04-01 | 2018-04-01 | 2018-04-01 | 2018-04-01 |  | 2018-04-01 | 2018-04-01 | 2018-04-01
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0 | Land Side | Land Side | Land Side | Water Side / Land Side | Water Side / Land Side
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 3) Measuring Device Deployed at Site | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 4) Measuring Device Deployed at Site | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | Brief Description of Test Plan | Brief Description of Test Plan | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | The purpose of the experiment proposed by Metropolitan Water District of Southern California (MWD) is to evaluate various measurement technologies including differetn types and brands of flow meters, data loggers, and telemetry devices as well as potential alternative methods for complicne with the Measurement Regulation at each of the 91 siphons on the four Delta islands owned by MWD. It is the goal of MWD to use the information collected through this experiment together with the results of the other studies and experiements being conducted within the Delta to inform decisions regarding as appropriate paln for compliance with Measurement Regulation on the MWD Islands and other locations within the Sacramento-SanJoaquin River Delta. In 2017, following significant work to inventory and survey the siphons on the four islands, nine siphons were selected on two of the islands, four on Bouldin Island and five on Bacon Island for installation of permanent flow measurement and recording equipment. Testing of each siphon was conducting using a portable flow meter to identify the best location for installing permanent flow measurement equipment. In the summer of 2017, equipment was purchased with the two goals of the experiment in mind. In the fall of 2017, equipment was installed at five of the nine siphones. By January of 2018, continuous data was being collected at four of the nine siphones, with the equipment at the fifth site down due to technical issues. |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Next Step | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M9. Approximate date the measuring device was last calibrated or the measurement method was updated. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M10. Estimated Accuracy of measurement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M11. Description of calibration mehod |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
M12 Describe the maintenance schedule for the device/method |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0
|  | 0 | 0 |  |  |  |  | 0 | 0 | 0
|  | 0 | 0 | [5 empty] | 0 | 0
0

## The Freshwater Trust
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | The Freshwater Trust | 0 |  | 0
0 | Contact information | Name | Email | Office Phone | Cell Phone
0 | Primary Contact | Erik Ringelberg | Erik@thefreshwatertrust.org | 530-518-7244 | 0
0 | Primary Contact
0 | Engineering Contact | McCord Environmental Inc. Steven McCord, Ph.D. | Sam@mccenv.com | 530-220-3165 | 0
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
eWRIMS | 0 | 2018 Test Plan Summary | 0 | 0 | 0
0 | 0 | Date Submitted: March 20, 2018 | 0 | 0 | 0
0 | 0 | Submitted by: Erik Ringelberg The Freshwater Trust | 0 | 0 | 0
0 | 0 | Total number of Statements and Licenses participating in the experimentation plan: | 181 | Source: Feb. 2018 TFT report (expecting revised Appendix A) | 0
0 |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 | 0 | 0
0 | 0 | The Freshwater Trust | 0 | 0 | 0
0 | Statement number | N/A | 0 | 0 | 0
0 | Test Site Name | The Freshwater Trust Program Area | 0 | 0 | 0
0 | Address | Various locations in the North Delta | 0 | 0 | 0
0 | Latitude | 0 | 0 | 0 | 0
0 | Longitude | 0 | 0 | 0 | 0
0 | Location Owner | 0 | 0 | 0 | 0
0 | Tenant/Operator (if different from owner) | 0 | 0 | 0 | 0
0 | Type of Diversion | 0 | 0 | 0 | 0
0 | - Age | 0 | 0 | 0 | 0
0 | - Diameter (inches) | 0 | 0 | 0 | 0
0 | - Length (feet) | 0 | 0 | 0 | 0
0 | - Amount of use reported by Consortium member (ac-ft/yr) | 0 | 0 | 0 | 0
0 | - Amount of use reported in eWRIMS (ac-ft/yr) | 0 | 0 | 0 | 0
Primary Irrigation Method | Primary Irrigation Method | 0 | 0 | 0 | 0
0 | Peculiarities or other information | 0 | 0 | 0 | 0
0 | Year of Reported Use | 0 | 0 | 0 | 0
0 | 1) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side and/or Land Side of Levee | 0 | 0 | 0 | 0
Data Recorder Information | Data Recorder Information | 0 | 0 | 0 | 0
M18. Type of device/method | Type of device/method | 0 | 0 | 0 | 0
M19. Device make | Device make/Manufacturer | 0 | 0 | 0 | 0
M20. Serial number | Serial number | 0 | 0 | 0 | 0
M21. Model number | Model number | 0 | 0 | 0 | 0
0 | Telemetry Enabled (Y/N) | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 2) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 3) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 4) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 | Brief Description of Test Plan | Brief Description of Test Plan | 0 | 0 | 0
0 |  | The Alternative Compliance Plan (ACP or “Plan”) consists of data collection at the agricultural field level, analysis of estimated water use, and presentation of monthly surface water diversion estimates for each of the participating water rights to the SWRCB on an annual basis (as is required by SB-88). In order to assess and effectively refine the estimation methodology, a series of scientific studies will be designed and executed by TFT’s science team. Those studies will be ongoing during the 5-year ACP period, and progress will be reported out to the SWRCB through an annual summary of findings, as well as a final study compilation. The Plan’s water use estimation analysis consists of four parts: (1) Collection, aggregation, and processing of data needed to facilitate the automation, refinement, and comparison of water use estimations (2) Automation of existing consumptive use calculation methods (3) Refinement of water use estimations using additional factors that increase accuracy beyond consumptive use modeling. (4) Cross-referencing and comparing selected field and modeled water use data | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
Next Step | 0 | 0 | 0 | 0 | 0
M9. Approximate date the measuring device was last calibrated or the measurement method was updated. | 0 | 0 | 0 | 0 | 0
M10. Estimated Accuracy of measurement | 0 | 0 | 0 | 0 | 0
M11. Description of calibration mehod | 0 | 0 | 0 | 0 | 0
M12 Describe the maintenance schedule for the device/method | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0

## Environmental Defense Fund
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | Environmental Defense Fund | 0 |  | 0
0 | Contact information | Name | Email | Office Phone | Cell Phone
0 | Primary Contact | Robyn Grimm | rgrimm@edf.org | 916-492-7171
0 | Primary Contact | Trey Steinhart (McDonald Island) | steinhart4@sbcglobal.net | 209-469-7979
0 | Engineering Contact | Open ET Technical Leads Forrest Melton (NASA) | Forrest.S.Smelton@nasa.gov | 650-604-2787 | 0
0 |  | Justin Huntington | Justin.huntington@dri.edu | 775-673-7670 | 0
0 |  | 0 | 0 | 0 | 0
eWRIMS | 0 | 2018 Test Plan Summary | 0 | 0 | 0
0 | 0 | Date Submitted: March 20, 2018 | 0 | 0 | 0
0 | 0 | Submitted by: Robyn Grimm The Nature Conservancy (TNC) | 0 | 0 | 0
0 | 0 | Total number of Statements and Licenses participating in the experimentation plan: | N/A |  | 0
0 |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 | 0 | 0
0 | 0 | Environmental Defense Fund | 0 | 0 | 0
0 | Statement number | 0 | 0 | 0 | 0
0 | Test Site Name | McDonald Island | 0 | 0 | 0
0 | Address | An island in Central Delta bounded by Turner Cut, San Joaquin River, Columbia Cut, Middle River, Latham Slough and Empire Cut. | 0 | 0 | 0
0 | Latitude | 0 | 0 | 0 | 0
0 | Longitude | 0 | 0 | 0 | 0
0 | Location Owner | 0 | 0 | 0 | 0
0 | Tenant/Operator (if different from owner) | 0 | 0 | 0 | 0
0 | Type of Diversion | 0 | 0 | 0 | 0
0 | - Age | 0 | 0 | 0 | 0
0 | - Diameter (inches) | 0 | 0 | 0 | 0
0 | - Length (feet) | 0 | 0 | 0 | 0
0 | - Amount of use reported by Consortium member (ac-ft/yr) | 0 | 0 | 0 | 0
0 | - Amount of use reported in eWRIMS (ac-ft/yr) | 0 | 0 | 0 | 0
Primary Irrigation Method | Primary Irrigation Method | 0 | 0 | 0 | 0
0 | Peculiarities or other information | 0 | 0 | 0 | 0
0 | Year of Reported Use | 0 | 0 | 0 | 0
0 | 1) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side and/or Land Side of Levee | 0 | 0 | 0 | 0
Data Recorder Information | Data Recorder Information | 0 | 0 | 0 | 0
M18. Type of device/method | Type of device/method | 0 | 0 | 0 | 0
M19. Device make | Device make/Manufacturer | 0 | 0 | 0 | 0
M20. Serial number | Serial number | 0 | 0 | 0 | 0
M21. Model number | Model number | 0 | 0 | 0 | 0
0 | Telemetry Enabled (Y/N) | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 2) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 3) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 4) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make |  | 0 | 0 | 0 | 0
M6. Model number |  | 0 | 0 | 0 | 0
M5. Serial number |  | 0 | 0 | 0 | 0
M3. Type of Device / method |  | 0 | 0 | 0 | 0
M7. Approximate date of installation |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
M8. Additional Info |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 |  | Brief Description of Test Plan | 0 | 0 | 0
0 |  | Diversions via 50+ syphons located around the Island; drainage through a centralized system with excess water pumped back to Delta channels; not all syphons, which vary in size, age and condition, are in routine use, but all are maintained for use as conditions and needs warrant. There are currently no measuring devices on any of the syphons. The Island’s agricultural operator has opted into experiments being conducted by the Delta Area Measurement Method Plan and enjoys an extension of time to comply with the regulations implementing SB88 pending the outcome of those experiments. Test the use of satellite-based measurement of evapotranspiration (ET) as an alternative to measuring diversions at each of the syphons. Policy hypothesis: that remote sensing of actual ET will eventually provide superior water use/water management insight (compared to measuring diversions through each syphon) within the Delta because of (a) improved comparability of data; (b) reduced incidence of mechanical failure and human error; (c) dramatically lower cost (both initially and over equipment life cycles); (d) closer to real time reporting; (e) improved systemic QA/QC; and (f) better acceptance/use by all parties interested in the actual consumptive use of water. Technical hypothesis: that the OpenET platform will provide comparably accurate consumptive use measurements compared to field level measuring devices (eddy covariance, pan evaporation, CIMIS, etc.), but at a reduced up-front and long-term cost to Delta landowners and growers. | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
Next Step |  | 0 | 0 | 0 | 0
M9. Approximate date the measuring device was last calibrated or the measurement method was updated. |  | 0 | 0 | 0 | 0
M10. Estimated Accuracy of measurement |  | 0 | 0 | 0 | 0
M11. Description of calibration mehod |  | 0 | 0 | 0 | 0
M12 Describe the maintenance schedule for the device/method

## Water Quality Consultants
Note: Because of multiple links within this spreadsheet, edits should be made only to the "Combined Plans" worksheet. | Consortium Member: | Water Quality (WQ) Consultants | 0 |  | 0
0 | Contact information | Name | Email | Office Phone | Cell Phone
0 | Primary Contact | Robert Pincus | rpincus@wqconsultants.com | 707-624-6679 | 0
0 | Primary Contact
0 | Engineering Contact | Watermark Engineering Patrick Stiehr, PE | pstiehr@wtrmark.com | 916-774-1111 | 916-715-1167
0 |  | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
eWRIMS | 0 | 2018 Test Plan Summary | 0 | 0 | 0
0 | 0 | Date Submitted: March 16, 2018 | 0 | 0 | 0
0 | 0 | Submitted by: Bob Pincus Water Quality Consultants | 0 | 0 | 0
0 | 0 | Total number of Statements and Licenses participating in the experimentation plan: | N/A |  | 0
0 |  | Expiration Date of Current Extension of Time (EOT): | 2018-12-31 | 0 | 0
0 | 0 | Water Quality Consultants | 0 | 0 | 0
0 | Statement number | 0 | 0 | 0 | 0
0 | Test Site Name | Various locations around the Delta, providing testing for: CDWA/SDWA, DWR, MBK, RD999 and The Nature Conservancy. | 0 | 0 | 0
0 | Address | 0 | 0 | 0 | 0
0 | Latitude | 0 | 0 | 0 | 0
0 | Longitude | 0 | 0 | 0 | 0
0 | Location Owner | 0 | 0 | 0 | 0
0 | Tenant/Operator (if different from owner) | 0 | 0 | 0 | 0
0 | Type of Diversion | 0 | 0 | 0 | 0
0 | - Age | 0 | 0 | 0 | 0
0 | - Diameter (inches) | 0 | 0 | 0 | 0
0 | - Length (feet) | 0 | 0 | 0 | 0
0 | - Amount of use reported by Consortium member (ac-ft/yr) | 0 | 0 | 0 | 0
0 | - Amount of use reported in eWRIMS (ac-ft/yr) | 0 | 0 | 0 | 0
Primary Irrigation Method | Primary Irrigation Method | 0 | 0 | 0 | 0
0 | Peculiarities or other information | 0 | 0 | 0 | 0
0 | Year of Reported Use | 0 | 0 | 0 | 0
0 | 1) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A if not yet installed) | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side and/or Land Side of Levee | 0 | 0 | 0 | 0
Data Recorder Information | Data Recorder Information | 0 | 0 | 0 | 0
M18. Type of device/method | Type of device/method | 0 | 0 | 0 | 0
M19. Device make | Device make/Manufacturer | 0 | 0 | 0 | 0
M20. Serial number | Serial number | 0 | 0 | 0 | 0
M21. Model number | Model number | 0 | 0 | 0 | 0
0 | Telemetry Enabled (Y/N) | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 2) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model Number | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 3) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0
0 | 4) Measuring Device Deployed at Site | 0 | 0 | 0 | 0
M4. Device make | Manufacturer | 0 | 0 | 0 | 0
M6. Model number | Model | 0 | 0 | 0 | 0
M5. Serial number | Serial Number | 0 | 0 | 0 | 0
M3. Type of Device / method | General Type (acoustic, Doppler, etc.) | 0 | 0 | 0 | 0
M7. Approximate date of installation | Date Installed (Mark "N/A) if not yet installed | 0 | 0 | 0 | 0
0 | Date of Planned Installation | 0 | 0 | 0 | 0
M8. Additional Info | Water Side / Land Side of Levee | 0 | 0 | 0 | 0
0 |  | 0 | 0 | 0 | 0
0 | Brief Description of Test Plan | Brief Description of Test Plan | 0 | 0 | 0
0 |  | Water Quality Consultants will be testing the new Mark 1 Pressure Sensor Model with CDWA/SDWA, DWR, MBK, RD999 and The Nature Conservancy. A total of 11 Mark 1 units will be undergoing tests. In addition to the Pressure Sensor Model, we are also testing a weir installation application with CDWA/SDWA and siphon pump electrical consumption measurement system with RD999. Both the weir installation and the electrical consumption measurement system are standard, traditional installations and should not exceed a test period beyond September 30, 2018. We expect that they will perform withint the required accuracy standards. We have not provided the specific locations or other relevant details of the siphons involved as we believe that they wouldbest be provided by the testing agents involved who have access to that information. |  | 0 | From Watermark Engineering (Mar. 30, 2018) Description of Proposed Procedure to Determine Siphon Flow Based on Waterside Water Level and a Pressure Sensor Inside a Siphon (Adapted from report) There are two variables that define siphon flow - available head and valve setting. Available head is the difference between waterside water elevation and landside water elevation. The importance of valve setting is obvious. One water elevation sensor will be installed on the waterside and one presurre sensor installed inside the subject siphon. When the siphon is charged and the valve is closed, the two monitoring sensors will be reading the same info, but from different reference datums and in different format (feet of water vs. psi). Both will show the tidal influence which was shown at the recent testing at the TNC site. This offset and correlation is site specific and will be established for each siphon.
0 | 0 | 0 | 0 | 0 | 0
Next Step | 0 | 0 | 0 | 0 | 0
M9. Approximate date the measuring device was last calibrated or the measurement method was updated. | 0 | 0 | 0 | 0 | 0
M10. Estimated Accuracy of measurement | 0 | 0 | 0 | 0 | 0
M11. Description of calibration mehod | 0 | 0 | 0 | 0 | 0
M12 Describe the maintenance schedule for the device/method | 0 |  | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0
0 | 0 |  | 0 | 0 | 0
0 | 0
0 | 0