	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	FORM

2A

NPDES
	NPDES FORM 2A APPLICATION OVERVIEW

	APPLICATION OVERVIEW
	

	Form 2A has been developed in a modular format and consists of a “Basic Application Information” packet and a “Supplemental Application Information” packet.  The Basic Application Information packet is divided into two parts.  All applicants must complete Parts A and C.  Applicants with a design flow greater than or equal to 0.1 mgd must also complete Part B.  Some applicants must also complete the Supplemental Application Information packet.  The following items explain which parts of Form 2A you must complete.

	BASIC APPLICATION INFORMATION:

A. Basic Application Information for all Applicants.  All applicants must complete questions A.1 through A.8.  A treatment works that discharges effluent to surface waters of the United States must also answer questions A.9 through A.12.

B. Additional Application Information for Applicants with a Design Flow ( 0.1 mgd.  All treatment works that have design flows greater than or equal to 0.1 million gallons per day must complete questions B.1 through B.6.

C. Certification.  All applicants must complete Part C (Certification).

SUPPLEMENTAL APPLICATION INFORMATION:

D. Expanded Effluent Testing Data.  A treatment works that discharges effluent to surface waters of the United States and meets one or more of the following criteria must complete Part D (Expanded Effluent Testing Data):

1. Has a design flow rate greater than or equal to 1mgd,

2. Is required to have a pretreatment program (or has one in place), or

3. Is otherwise required by the permitting authority to provide the information.

E. Toxicity Testing Data.  A treatment works that meets one or more of the following criteria must complete Part E (Toxicity Testing Data):

1. Has a design flow rate greater than or equal to 1 mgd,

2. Is required to have a pretreatment program (or has one in place), or

3. Is otherwise required by the permitting authority to submit results of toxicity testing.

F. Industrial User Discharges and RCRA/CERCLA Wastes.  A treatment works that accepts process wastewater from any significant industrial users (SIUs) or receives RCRA or CERCLA wastes must complete Part F (Industrial User Discharges 
and RCRA/CERCLA Wastes).  SIUs are defined as:

1. All industrial users subject to Categorical Pretreatment Standards under 40 Code of Federal Regulations (CFR) 403.6 and 40 CFR Chapter I, Subchapter N (see instructions); and

2. Any other industrial user that:

a. Discharges an average of 25,000 gallons per day or more of process wastewater to the treatment works (with certain exclusions); or

b. Contributes a process wastestream that makes up 5 percent or more of the average dry weather hydraulic or organic capacity of the treatment plant; or

c. Is designated as an SIU by the control authority.

G.
Combined Sewer Systems.  A treatment works that has a combined sewer system must complete Part G (Combined Sewer Systems).

	ALL APPLICANTS MUST COMPLETE PART C (CERTIFICATION)


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	BASIC APPLICATION INFORMATION


	

	PART A. BASIC APPLICATION INFORMATION FOR ALL APPLICANTS:

	All treatment works must complete questions A.1 through A.8 of this Basic Application Information Packet.

	A.1.
Facility Information

Facility Name
     

Mailing Address
     



     

Contact Person
     

Title
     


Telephone Number
(     )      


Facility Address
     


       (Not P.O. Box)
     

A.2.
Applicant Information If the applicant is different from the above, provide the following:
Applicant Name
     

Mailing Address
     



     

Contact Person
     

Title
     


Telephone Number
(     )      


Is the applicant the owner or operator (or both) of the treatment works?


 FORMCHECKBOX 
  Owner
 FORMCHECKBOX 
 Operator

Indicate whether correspondence regarding this permit should be directed to the facility or the applicant.


 FORMCHECKBOX 
  Facility
 FORMCHECKBOX 
 Applicant

A.3.
Existing Environmental Permits.  Provide the permit number of any existing environmental permits that have been issued to the treatment works (include state-issued permits).

NPDES
     

PSD
     

UIC
     

Other
     

RCRA
     

Other
     

A.4.
Collection System Information.  Provide information on municipalities and areas served by the facility.  Provide the name and population of each entity and, if known, provide information on the type of collection system (combined vs. separate) and its ownership (municipal, private, etc.).

Name

Population Served

Type of Collection System

Ownership

     

     

     

     


     

     

     

     


     

     

     

     


Total population served
     



	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	A.5.
Indian Country

a. Is the treatment works located in Indian Country?

 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No

b. Does the treatment works discharge to a receiving water that is either in Indian Country or that is upstream from (and eventually flows through) Indian Country?

 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No

A.6.
Flow.  Indicate the design flow rate of the treatment plant (i.e., the wastewater flow rate that the plant was built to handle).  Also provide the average daily flow rate and maximum daily flow rate for each of the last three years.  Each year’s data must be based on a 12-month time period with the 12th month of “this year” occurring no more than three months prior to this application submittal.

a.
Design flow rate      
 mgd



Two Years Ago

Last Year

This Year
b.
Annual average daily flow rate
     

     

     


c.
Maximum daily flow rate
     

     

     

A.7.
Collection System Indicate the type(s) of collection system(s) used by the treatment plant.  Check all that apply.  Also estimate the percent contribution (by miles) of each.


 FORMCHECKBOX 
  Separate sanitary sewer
     
 %


 FORMCHECKBOX 
  Combined storm and sanitary sewer
     
 %

A.8.
Discharges and Other Disposal Methods

a.
Does the treatment works discharge effluent to waters of the U.S.?

 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
  No


If yes, list how many of each of the following types of discharge points the treatment works uses:

i. Discharges of treated effluent
     

ii. Discharges of untreated or partially treated effluent
     

iii. Combined sewer overflow points
     

iv. Constructed emergency overflows (prior to the headworks)
     

v. Other
     

     

b.
Does the treatment works discharge effluent to basins, ponds, or other surface impoundments
that do not have outlets for discharge to waters of the U.S.?


 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
  No

If yes, provide the following for each surface impoundment:

Location:
     

Annual average daily volume discharge to surface impoundment(s)
     

mgd

Is discharge
 FORMCHECKBOX 
 continuous or
 FORMCHECKBOX 
 intermittent?

c.
Does the treatment works land-apply treated wastewater?
 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No


If yes, provide the following for each land application site:

Location:
     

Number of acres:
     

Annual average daily volume applied to site:
     

mgd

Is land application
 FORMCHECKBOX 
 continuous or
 FORMCHECKBOX 
 intermittent?

d.
Does the treatment works discharge or transport treated or untreated wastewater to another
treatment works?
 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	If yes, describe the mean(s) by which the wastewater from the treatment works is discharged or transported to the other treatment works (e.g., tank truck, pipe).

     

If transport is by a party other than the applicant, provide:

Transporter Name
     

Mailing Address
     



     

Contact Person
     

Title
     


Telephone Number
(     )      


For each treatment works that receives this discharge, provide the following:

Name
     

Mailing Address
     



     

Contact Person
     

Title
     


Telephone Number
(     )      


If known, provide the NPDES permit number of the treatment works that receives this discharge
     

Provide the average daily flow rate from the treatment works into the receiving facility.
     

mgd

e.
Does the treatment works discharge or dispose of its wastewater in a manner not included
in A.8. through A.8.d above (e.g., underground percolation, well injection):


 FORMCHECKBOX 
 Yes

 FORMCHECKBOX 
  No

If yes, provide the following for each disposal method:

Description of method (including location and size of site(s) if applicable):

     

Annual daily volume disposed by this method:
     

Is disposal through this method
 FORMCHECKBOX 
 continuous
or
 FORMCHECKBOX 
 intermittent?




	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	WASTEWATER DISCHARGES:

If you answered “Yes” to question A.8.a, complete questions A.9 through A.12 once for each outfall (including bypass points) through which effluent is discharged.  Do not include information on combined sewer overflows in this section.  If you answered “No” to question A.8.a, go to Part B, “Additional Application Information for Applicants with a Design Flow Greater than or Equal to 0.1 mgd.”

	A.9.
Description of Outfall

a. Outfall number
     

b. Location
     
     


   (City or town, if applicable)
(Zip Code)

     
     



   (County)
(State)

     
     




   (Latitude)
(Longitude)
c.
Distance from shore (if applicable)
     

ft.

d.
Depth below surface (if applicable)
     

ft.

e.
Average daily flow rate
     

mgd

f.
Does this outfall have either an intermittent or a periodic discharge?
 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
 No   (go to A.9.g.)


If yes, provide the following information:

Number f times per year discharge occurs:
     

Average duration of each discharge:
     

Average flow per discharge:
     

mgd

Months in which discharge occurs:
     

g.
Is outfall equipped with a diffuser?
 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
 No

A.10.
Description of Receiving Waters

a. Name of receiving water
     

b. Name of watershed (if known)
     


United States Soil Conservation Service 14-digit watershed code (if known):
     

c. Name of State Management/River Basin (if known):
     


United States Geological Survey 8-digit hydrologic cataloging unit code (if known):
     

d.
Critical low flow of receiving stream (if applicable) 

acute 
     
  cfs
chronic      

cfs

e.
Total hardness of receiving stream at critical low flow (if applicable):       

mg/l of CaCO3


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	A.11.
Description of Treatment

a. What level of treatment is provided?  Check all that apply.

 FORMCHECKBOX 
  Primary
 FORMCHECKBOX 
 Secondary

 FORMCHECKBOX 
  Advanced
 FORMCHECKBOX 
 Other.    Describe:
     

b. Indicate the following removal rates (as applicable):

Design BOD5 removal or Design CBOD5 removal
     

%

Design SS removal
     

%

Design P removal
     

%

Design N removal
     

%

Other
     

     

%

c. What type of disinfection is used for the effluent from this outfall?  If disinfection varies by season, please describe:

     

If disinfection is by chlorination is dechlorination used for this outfall?

 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No

Does the treatment plant have post aeration?



 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No






	A.12.
Effluent Testing Information

 
All Applicants that discharge to waters of the US must provide effluent testing data for the following parameters.  Provide the indicated effluent testing required by the permitting authority for each outfall through which effluent is discharged.  Do not include information on combined sewer overflows in this section.  All information reported must be based on data collected through analysis conducted using 40 CFR Part 136 methods.  In addition, this data must comply with QA/QC requirements of 40 CFR Part 136 and other appropriate QA/QC requirements for standard methods for analytes not addressed by 40 CFR Part 136.  At a minimum, effluent testing data must be based on at least three samples and must be no more than four and one-half years apart.

Outfall number:
     


	PARAMETER
	MAXIMUM DAILY VALUE
	AVERAGE DAILY VALUE

	
	Value
	Units
	Value
	Units
	Number of Samples

	pH (Minimum)
	     
	s.u.
	
	
	

	pH (Maximum)
	     
	s.u.
	
	
	

	Flow Rate
	     
	     
	     
	     
	     

	Temperature (Winter)
	     
	     
	     
	     
	     

	Temperature (Summer)
	     
	     
	     
	     
	     

	* For pH please report a minimum and a maximum daily value

	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Conc.
	Units
	Number of Samples
	
	

	CONVENTIONAL AND NON CONVENTIONAL COMPOUNDS

	BIOCHEMICAL OXYGEN DEMAND (Report one)
	BOD5
	     
	     
	     
	     
	     
	     
	     

	
	CBOD5
	     
	     
	     
	     
	     
	     
	     

	FECAL COLIFORM
	     
	     
	     
	     
	     
	     
	     

	TOTAL SUSPENDED SOLIDS (TSS)
	     
	     
	     
	     
	     
	     
	     

	END OF PART A.
REFER TO THE APPLICATION OVERVIEW (PAGE 1) TO DETERMINE WHICH OTHER PARTS 
OF FORM 2A YOU MUST COMPLETE


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	BASIC APPLICATION INFORMATION


	

	PART B.
ADDITIONAL APPLICATION INFORMATION FOR APPLICANTS WITH A DESIGN FLOW GREATER THAN OR EQUAL TO 0.1 MGD (100,000 gallons per day).

	All applicants with a design flow rate ( 0.1 mgd must answer questions B.1 through B.6.  All others go to Part C (Certification).

	B.1.
Inflow and Infiltration.  Estimate the average number of gallons per day that flow into the treatment works from inflow and/or infiltration.
     

gpd

Briefly explain any steps underway or planned to minimize inflow and infiltration.

     


     

B.2.
Topographic Map.  Attach to this application a topographic map of the area extending at least one mile beyond facility property boundaries.  This map must show the outline of the facility and the following information.  (You may submit more than one map if one map does not show the entire area.)

a. The area surrounding the treatment plant, including all unit processes.

b. The major pipes or other structures through which wastewater enters the treatment works and the pipes or other structures through which treated wastewater is discharged from the treatment plant.  Include outfalls from bypass piping, if applicable.

c. Each well where wastewater from the treatment plant is injected underground.

d. Wells, springs, other surface water bodies, and drinking water wells that are:  1) within ¼ mile of the property boundaries of the treatment works, and 2) listed in public record or otherwise known to the applicant.

e. Any areas where the sewage sludge produced by the treatment works is stored, treated, or disposed.

f. If the treatment works receives waste that is classified as hazardous under the Resource Conservation and Recovery Act (RCRA) by truck, rail, or special pipe, show on the map where the hazardous waste enters the treatment works and where it is treated, stored, and/or disposed.

B.3.
Process Flow Diagram or Schematic.  Provide a diagram showing the processes of the treatment plant, including all bypass piping and all backup power sources or redunancy in the system.  Also provide a water balance showing all treatment units, including disinfection (e.g., chlorination and dechlorination).  The water balance must show daily average flow rates at influent and discharge points and approximate daily flow rates between treatment units.  Include a brief narrative description of the diagram.

B.4.
Operation/Maintenance Performed by Contractor(s).

Are any operational or maintenance aspects (related to wastewater treatment and effluent quality) of the treatment works the responsibility of a contractor?

 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No

If yes, list the name, address, telephone number, and status of each contractor and describe the contractor’s responsibilities (attach additional pages if necessary).

Name:
     

Mailing Address:
     



     

Telephone Number:
(     )      

Responsibilities of Contractor:
     

B.5.
Scheduled improvements and Schedules of Implementation.  Provide information on any uncompleted implementation schedule or uncompleted plans for improvements that will affect the wastewater treatment, effluent quality, or design capacity of the treatment works.  If the treatment works has several different implementation schedules or is planning several improvements, submit separate responses to question B.5 for each.  (If none, go to question B.6.)

a. List the outfall number (assigned in question A.9) for each outfall that is covered by this implementation schedule.

     

b. Indicate whether the planned improvements or implementation schedule are required by local, State, or Federal agencies.

 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
 No


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	c. If the answer to B.5.b is “Yes,” briefly describe, including new maximum daily inflow rate (if applicable).

     

d. Provide dates imposed by any compliance schedule or any actual dates of completion for the implementation steps listed below, as applicable.  For improvements planned independently of local, State, or Federal agencies, indicate planned or actual completion dates, as applicable.  Indicate dates as accurately as possible.


Schedule
Actual Completion

Implementation Stage
MM/DD/YYYY
MM/DD/YYYY
‑ Begin Construction
     /     /     
     /     /     
‑ End Construction
     /     /     
     /     /     
‑ Begin Discharge
     /     /     
     /     /     
‑ Attain Operational Level
     /     /     
     /     /     
e.
Have appropriate permits/clearances concerning other Federal/State requirements been obtained?

 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
  No

Describe briefly:
     


     


	B.6.
EFFLUENT TESTING DATA (GREATER THAN 0.1 MGD ONLY)

Applicants that discharge to waters of the US must provide effluent testing data for the following parameters.  Provide the indicated effluent testing required by the permitting authority for each outfall through which effluent is discharged.  Do not include information on combine sewer overflows in this section.  All information reported must be based on data collected through analysis conducted using 40 CFR Part 136 methods.  In addition, this data must comply with QA/QC requirements of 40 CFR Part 136 and other appropriate QA/QC requirements for standard methods for analytes not addressed by 40 CFR Part 136.  At a minimum effluent testing data must be based on at least three pollutant scans and must be no more than four and on-half years old.

Outfall Number:
     


	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Conc.
	Units
	Number of Samples
	
	

	CONVENTIONAL AND NON CONVENTIONAL COMPOUNDS

	AMMONIA (as N)
	     
	     
	     
	     
	     
	     
	     

	CHLORINE (TOTAL RESIDUAL, TRC)
	     
	     
	     
	     
	     
	     
	     

	DISSOLVED OXYGEN
	     
	     
	     
	     
	     
	     
	     

	TOTAL KJELDAHL NITROGEN (TKN)
	     
	     
	     
	     
	     
	     
	     

	NITRATE PLUS NITRITE NITROGEN
	     
	     
	     
	     
	     
	     
	     

	OIL and GREASE
	     
	     
	     
	     
	     
	     
	     

	PHOSPHORUS (Total)
	     
	     
	     
	     
	     
	     
	     

	TOTAL DISSOLVED SOLIDS (TDS)
	     
	     
	     
	     
	     
	     
	     

	OTHER       
	     
	     
	     
	     
	     
	     
	     

	END OF PART B.
REFER TO THE APPLICATION OVERVIEW (PAGE 1) TO DETERMINE WHICH OTHER PARTS 
OF FORM 2A YOU MUST COMPLETE


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	BASIC APPLICATION INFORMATION

	

	PART C.   CERTIFICATION

	All applicants must complete the Certification Section.  Refer to instructions to determine who is an officer for the purposes of this certification.  All applicants must complete all applicable sections of Form 2A, as explained in the Application Overview.  Indicate below which parts of Form 2A you have completed and are submitting.  By signing this certification statement, applicants confirm that they have reviewed Form 2A and have completed all sections that apply to the facility for which this application is submitted.

	Indicate which parts of Form 2A you have completed and are submitting:

 FORMCHECKBOX 
  Basic Application Information packet
Supplemental Application Information packet:

 FORMCHECKBOX 
  Part D (Expanded Effluent Testing Data)

 FORMCHECKBOX 
  Part E (Toxicity Testing:  Biomonitoring Data)

 FORMCHECKBOX 
  Part F (Industrial User Discharges and RCRA/CERCLA Wastes)

 FORMCHECKBOX 
  Part G (Combined Sewer Systems)

	ALL APPLICANTS MUST COMPLETE THE FOLLOWING CERTIFICATION.

	I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted.  Based on my inquiry of the person or persons who manage the system or those persons directly responsible for gathering the information, the information is, to the best of my knowledge and belief, true, accurate, and complete.  I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations.

Name and official title
     

Signature


Telephone number
(     )      

Date signed
     

Upon request of the permitting authority, you must submit any other information necessary to assure wastewater treatment practices at the treatment works or identify appropriate permitting requirements.


SEND COMPLETED FORMS TO:

NCDENR/ DWQ

Attn:  NPDES Unit

1617 Mail Service Center

Raleigh, North Carolina     27699-1617

	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	SUPPLEMENTAL APPLICATION INFORMATION


	

	PART D.  EXPANDED EFFLUENT TESTING DATA

	Refer to the directions on the cover page to determine whether this section applies to the treatment works.

	Effluent Testing:  1.0 mgd and Pretreatment Works.  If the treatment works has a design flow greater than or equal to 1.0 mgd or it has (or is required to have) a pretreatment program, or is otherwise required by the permitting authority to provide the data, then provide effluent testing data for the following pollutants.  Provide the indicated effluent testing information and any other information required by the permitting authority for each outfall through which effluent is discharged.  Do not include information on combined sewer overflows in this section.  All information reported must be based on data collected through analyses conducted using 40 CFR Part 136 methods.  In addition, these data must comply with QA/QC requirements of 40 CFR Part 136 and other appropriate QA/QC requirements for standard methods for analytes not addressed by 40 CFR Part 136.  Indicate in the blank rows provided below any data you may have on pollutants not specifically listed in this form.  At a minimum, effluent testing data must be based on at least three pollutant scans and must be no more than four and one-half years old.

Outfall number:
     

(Complete once for each outfall discharging effluent to waters of the United States.)

	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Mass
	Units
	Conc.
	Units
	Mass
	Units
	Number of Samples
	
	

	METALS (TOTAL RECOVERABLE), CYANIDE, PHENOLS, AND HARDNESS.

	ANTIMONY
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ARSENIC
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BERYLLIUM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CADMIUM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CHROMIUM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	COPPER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	LEAD
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	MERCURY
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	NICKEL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	SELENIUM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	SILVER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	THALLIUM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ZINC
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CYANIDE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	TOTAL PHENOLIC COMPOUNDS
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	HARDNESS (as CaCO3)
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	Use this space (or a separate sheet) to provide information on other metals requested by the permit writer

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	Outfall number:
     

(Complete once for each outfall discharging effluent to waters of the United States.)

	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Mass
	Units
	Conc.
	Units
	Mass
	Units
	Number of Samples
	
	

	VOLATILE ORGANIC COMPOUNDS

	ACROLEIN
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ACRYLONITRILE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BROMOFORM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CARBON TETRACHLORIDE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CHLOROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CHLORODIBROMO-METHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2-CHLOROETHYLVINYL ETHER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CHLOROFORM
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	DICHLOROBROMO-METHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,1-DICHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,2-DICHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	TRANS-1,2-DICHLORO-ETHYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,1-DICHLORO-ETHYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,2-DICHLOROPROPANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,3-DICHLORO-PROPYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ETHYLBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	METHYL BROMIDE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	METHYL CHLORIDE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	METHYLENE CHLORIDE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,1,2,2-TETRA-CHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	TETRACHLORO-ETHYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	TOLUENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	Outfall number:
     

(Complete once for each outfall discharging effluent to waters of the United States.)

	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Mass
	Units
	Conc.
	Units
	Mass
	Units
	Number of Samples
	
	

	1,1,1-TRICHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,1,2-TRICHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	TRICHLOROETHYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	VINYL CHLORIDE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	Use this space (or a separate sheet) to provide information on other volatile organic compounds requested by the permit writer

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ACID-EXTRACTABLE COMPOUNDS

	P-CHLORO-M-CRESOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2-CHLOROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2,4-DICHLOROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2,4-DIMETHYLPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	4,6-DINITRO-O-CRESOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2,4-DINITROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2-NITROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	4-NITROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	PENTACHLOROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	PHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2,4,6-TRICHLOROPHENOL
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	Use this space (or a separate sheet) to provide information on other acid-extractable compounds requested by the permit writer

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BASE-NEUTRAL COMPOUNDS

	ACENAPHTHENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ACENAPHTHYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ANTHRACENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BENZIDINE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BENZO(A)ANTHRACENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     


	BENZO(A)PYRENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     



	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	Outfall number:
     

(Complete once for each outfall discharging effluent to waters of the United States.)

	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Mass
	Units
	Conc.
	Units
	Mass
	Units
	Number of Samples
	
	

	3,4 BENZO-FLUORANTHENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BENZO(GHI)PERYLENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BENZO(K)
FLUORANTHENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BIS (2-CHLOROETHOXY) METHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BIS (2-CHLOROETHYL)-ETHER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BIS (2-CHLOROISO-PROPYL) ETHER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BIS (2-ETHYLHEXYL) PHTHALATE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	4-BROMOPHENYL PHENYL ETHER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	BUTYL BENZYL PHTHALATE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2-CHLORO-NAPHTHALENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	4-CHLORPHENYL PHENYL ETHER
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	CHRYSENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	DI-N-BUTYL PHTHALATE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	DI-N-OCTYL PHTHALATE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	DIBENZO(A,H) ANTHRACENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,2-DICHLOROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,3-DICHLOROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,4-DICHLOROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	3,3-DICHLORO-BENZIDINE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	DIETHYL PHTHALATE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	DIMETHYL PHTHALATE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2,4-DINITROTOLUENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	2,6-DINITROTOLUENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,2-DIPHENYL-HYDRAZINE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	Outfall number:
     

(Complete once for each outfall discharging effluent to waters of the United States.)

	POLLUTANT
	MAXIMUM DAILY DISCHARGE
	AVERAGE DAILY DISCHARGE
	ANALYTICAL METHOD
	ML/MDL

	
	Conc.
	Units
	Mass
	Units
	Conc.
	Units
	Mass
	Units
	Number of Samples
	
	

	FLUORANTHENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	FLUORENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	HEXACHLOROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	HEXACHLORO-BUTADIENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	HEXACHLOROCYCLO-PENTADIENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	HEXACHLOROETHANE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	INDENO(1,2,3-CD) PYRENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	ISOPHORONE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	NAPHTHALENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	NITROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	N-NITROSODI-N-PROPYLAMINE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	N-NITROSODI-METHYLAMINE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	N-NITROSODI-PHENYLAMINE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	PHENANTHRENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	PYRENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	1,2,4-TRICHLOROBENZENE
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	Use this space (or a separate sheet) to provide information on other base-neutral compounds requested by the permit writer

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	Use this space (or a separate sheet) to provide information on other pollutants (e.g., pesticides) requested by the permit writer

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	END OF PART D.
REFER TO THE APPLICATION OVERVIEW (PAGE 1) TO DETERMINE WHICH OTHER PARTS 
OF FORM 2A YOU MUST COMPLETE


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	SUPPLEMENTAL APPLICATION INFORMATION


	

	PART E.  TOXICITY TESTING DATA

	POTWs meeting one or more of the following criteria must provide the results of whole effluent toxicity tests for acute or chronic toxicity for each of the facility’s discharge points:  1) POTWs with a design flow rate greater than or equal to 1.0 mgd; 2) POTWs with a pretreatment program (or those that are required to have one under 40 CFR Part 403); or 3) POTWs required by the permitting authority to submit data for these parameters.

(
At a minimum, these results must include quarterly testing for a 12-month period within the past 1 year using multiple species (minimum of two species), or the results from four tests performed at least annually in the four and one-half years prior to the application, provided the results show no appreciable toxicity, and testing for acute and/or chronic toxicity, depending on the range of receiving water dilution.  Do not include information on combined sewer overflows in this section.  All information reported must be based on data collected through analysis conducted using 40 CFR Part 136 methods.  In addition, this data must comply with QA/QC requirements of 40 CFR Part 136 and other appropriate QA/QC requirements for standard methods for analytes not addressed by 40 CFR Part 136.

(
In addition, submit the results of any other whole effluent toxicity tests from the past four and one-half years.  If a whole effluent toxicity test conducted during the past four and one-half years revealed toxicity, provide any information on the cause of the toxicity or any results of a toxicity reduction evaluation, if one was conducted.

(
If you have already submitted any of the information requested in Part E, you need not submit it again.  Rather, provide the information requested in question E.4 for previously submitted information.  If EPA methods were not used, report the reasons for using alternate methods.  If test summaries are available that contain all of the information requested below, they may be submitted in place of Part E.

If no biomonitoring data is required, do not complete Part E.  Refer to the Application Overview for directions on which other sections of the form to complete.

	E.1.
Required Tests.

Indicate the number of whole effluent toxicity tests conducted in the past four and one-half years.

 FORMCHECKBOX 
 Chronic
 FORMCHECKBOX 
 Acute
E.2.
Individual Test Data  


Complete the following chart for each whole effluent toxicity test conducted in the last four and one-half years.  Allow one column per test (where each species constitutes a test).  Copy this page if more than three tests are being reported.



Test number:       
Test number:       
Test number:       

	a.
Test information.

	Test Species & test method number
	     
	     
	     

	Age at initiation of test
	     
	     
	     

	Outfall number
	     
	     
	     

	Dates sample collected
	     
	     
	     

	Date test started
	     
	     
	     

	Duration
	     
	     
	     

	b.
Give toxicity test methods followed.

	Manual title
	     
	     
	     

	Edition number and year of publication
	     
	     
	     

	Page number(s)
	     
	     
	     

	c.
Give the sample collection method(s) used.  For multiple grab samples, indicate the number of grab samples used.

	24-Hour composite
	     
	     
	     

	Grab
	     
	     
	     

	d.
Indicate where the sample was taken in relation to disinfection.  (Check all that apply for each.

	Before disinfection
	     
	     
	     

	After disinfection
	     
	     
	     

	After dechlorination
	     
	     
	     


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	

Test number: 

	e.
Describe the point in the treatment process at which the sample was collected.

	Sample was collected:
	     
	     
	     

	f.
For each test, include whether the test was intended to assess chronic toxicity, acute toxicity, or both

	Chronic toxicity
	     
	     
	     

	Acute toxicity
	     
	     
	     

	g.
Provide the type of test performed.

	Static
	     
	     
	     

	Static-renewal
	     
	     
	     

	Flow-through
	     
	     
	     

	h.
Source of dilution water.  If laboratory water, specify type; if receiving water, specify source.

	Laboratory water
	     
	     
	     

	Receiving water
	     
	     
	     

	i.
Type of dilution water.  If salt water, specify “natural” or type of artificial sea salts or brine used.

	Fresh water
	     
	     
	     

	Salt water
	     
	     
	     

	j.
Give the percentage effluent used for all concentrations in the test series.

	
	     
	     
	     

	
	     
	     
	     

	
	     
	     
	     

	k.
Parameters measured during the test.  (State whether parameter meets test method specifications)

	pH
	
     
	
     
	
     

	Salinity
	
     
	
     
	
     

	Temperature
	
     
	
     
	
     

	Ammonia
	
     
	
     
	
     

	Dissolved oxygen
	
     
	
     
	
     

	l.
Test Results.

	Acute:

	Percent survival in 100% effluent
	
      %
	
      %
	
      %

	LC50
	
     
	
     
	
     

	95% C.I.
	
      %
	
      %
	
      %

	Control percent survival
	
      %
	
      %
	
      %

	Other (describe)      
	
     
	
     
	
     


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	Chronic:

	NOEC
	
      %
	
      %
	
      %

	IC25
	
      %
	
      %
	
      %

	Control percent survival
	
      %
	
      %
	
      %

	Other (describe)      
	
     
	
     
	
     

	m.
Quality Control/Quality Assurance

	Is reference toxicant data available?
	
     
	
     
	
     

	Was reference toxicant test within acceptable bounds?
	
     
	
     
	
     

	What date was reference toxicant test run (MM/DD/YYYY)?
	     /     /     
	     /     /     
	     /     /     

	Other (describe)      
	
     
	
     
	
     

	E.3.
Toxicity Reduction Evaluation 


Is the treatment works involved in a Toxicity Reduction Evaluation?

 FORMCHECKBOX 
  Yes    FORMCHECKBOX 
 No
If yes, describe:      


E.4.
Summary of Submitted Biomonitoring Test Information


If you have submitted biomonitoring test information, or information regarding the cause of toxicity, within the past four and one-half years, provide the dates the information was submitted to the permitting authority and a summary of the results.

Date submitted:
     /     /     

(MM/DD/YYYY)

Summary of results:  (see instructions)

     





	END OF PART E.

REFER TO THE APPLICATION OVERVIEW (PAGE 1) TO DETERMINE WHICH OTHER PARTS 
OF FORM 2A YOU MUST COMPLETE.


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	SUPPLEMENTAL APPLICATION INFORMATION


	

	PART F.
INDUSTRIAL USER DISCHARGES AND RCRA/CERCLA WASTES

	All treatment works receiving discharges from significant industrial users or which receive RCRA, CERCLA, or other remedial wastes must complete part F.

	GENERAL INFORMATION:
	

	F.1.
Pretreatment program


Does the treatment works have, or is subject to, an approved pretreatment program?
 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
 No

F.2.
Number of Significant Industrial Users (SIUs) and Categorical Industrial Users (CIUs)


Provide the number of each of the following types of industrial users that discharge to the treatment works.

a. Number of non-categorical SIUs.
     

b. Number of CIUs.
     



	SIGNIFICANT INDUSTRIAL USER INFORMATION:
	

	Supply the following information for each SIU.  If more than one SIU discharges to the treatment works, copy questions F.3 through F.8 and provide the information requested for each SIU.

	F.3.
Significant Industrial User Information


Provide the name and address of each SIU discharging to the treatment works.  Submit additional pages as necessary.

Name:
     

Mailing Address:
     


     

F.4.
Industrial Processes


Describe all the industrial processes that affect or contribute to the SIU’s discharge.

     

F.5.
Principal Product(s) and Raw Material(s)


Describe all of the principal processes and raw materials that affect or contribute to the SIU’s discharge.

Principal product(s):
     

Raw material(s):
     

F.6.
Flow Rate

a. Process wastewater flow rate.  Indicate the average daily volume of process wastewater discharge into the collection system in gallons per day (gpd) and whether the discharge is continuous or intermittent.

     

gpd
(     

continuous or
     

intermittent)

b. Non-process wastewater flow rate.  Indicate the average daily volume of non-process wastewater flow discharged into the collection system in gallons per day (gpd) and whether the discharge is continuous or intermittent.

     

gpd
(     

continuous or
     

intermittent)

F.7.
Pretreatment Standards


Indicate whether the SIU is subject to the following:

a.
Local limits
 FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No

b.
Categorical pretreatment standards
 FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No

If subject to categorical pretreatment standards, which category and subcategory?

     



	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	F.8.
Problems at the Treatment Works Attributed to Waste Discharge by the SIU


Has the SIU caused or contributed to any problems (e.g., upsets, interference) at the treatment works in the past three years?

 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
 No

If yes, describe each episode.

     




	RCRA HAZARDOUS WASTE RECEIVED BY TRUCK, RAIL, OR DEDICATED PIPELINE:
	

	F.9.
RCRA Waste.  Does the treatment works receive or has it in the past three years received RCRA hazardous waste by truck, rail or dedicated pipe?

 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
 No (go to F.12)

F.10.
Waste transport.  Method by which RCRA waste is received (check all that apply):

 FORMCHECKBOX 
  Truck

 FORMCHECKBOX 
 Rail

 FORMCHECKBOX 
 Dedicated Pipe

F.11.
Waste Description.  Give EPA hazardous waste number and amount (volume or mass, specify units).

EPA Hazardous Waste Number

Amount

Units
     

     

     


     

     

     


     

     

     


	CERCLA (SUPERFUND) WASTEWATER, RCRA REMEDIATION/CORRECTIVE ACTION WASTEWATER, AND OTHER REMEDIAL ACTIVITY WASTEWATER:
	

	F.12.
Remediation Waste.  Does the treatment works currently (or has it been notified that it will) receive waste from remedial activities?

 FORMCHECKBOX 
  Yes (complete F.13 through F.15.)

 FORMCHECKBOX 
  No

F.13.
Waste Origin.  Describe the site and type of facility at which the CERCLA/RCRA/or other remedial waste originates (or is excepted to origniate in the next five years).

     






F.14.
Pollutants.  List the hazardous constituents that are received (or are expected to be received).  Include data on volume and concentration, if known.  (Attach additional sheets if necessary.)

     



a. F.15.
Waste Treatment.

b. Is this waste treated (or will be treated) prior to entering the treatment works?

 FORMCHECKBOX 
  Yes
 FORMCHECKBOX 
 No

If yes, describe the treatment (provide information about the removal efficiency):

     



c. Is the discharge (or will the discharge be) continuous or intermittent?

 FORMCHECKBOX 
  Continuous

 FORMCHECKBOX 
 Intermittent

If intermittent, describe discharge schedule.

     


	END OF PART F.
REFER TO THE APPLICATION OVERVIEW (PAGE 1) TO DETERMINE WHICH OTHER PARTS 
OF FORM 2A YOU MUST COMPLETE


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	SUPPLEMENTAL APPLICATION INFORMATION


	

	PART G.  COMBINED SEWER SYSTEMS

	If the treatment works has a combined sewer system, complete Part G.

	G.1.
System Map.  Provide a map indicating the following:  (may be included with Basic Application Information)

a. All CSO discharge points.

b. Sensitive use areas potentially affected by CSOs (e.g., beaches, drinking water supplies, shellfish beds, sensitive aquatic ecosystems, and outstanding natural resource waters).

c. Waters that support threatened and endangered species potentially affected by CSOs.

G.2.
System Diagram.  Provide a diagram, either in the map provided in G.1 or on a separate drawing, of the combined sewer collection system that includes the following information.

a. Location of major sewer trunk lines, both combined and separate sanitary.

b. Locations of points where separate sanitary sewers feed into the combined sewer system.

c. Locations of in-line and off-line storage structures.

d. Locations of flow-regulating devices.

e. Locations of pump stations.

	CSO OUTFALLS:
	

	Complete questions G.3 through G.6 once for each CSO discharge point.

	G.3.
Description of Outfall.

a. Outfall number
     

b. Location
     

     



(City or town, if applicable)
(Zip Code)



     

     




(County)
(State)



     

     




(Latitude)
(Longitude)

c.
Distance from shore (if applicable)
     

ft.

d.
Depth below surface (if applicable)
     

ft.

e.
Which of the following were monitored during the last year for this CSO?



 FORMCHECKBOX 
  Rainfall
 FORMCHECKBOX 
 CSO pollutant concentrations
 FORMCHECKBOX 
 CSO frequency



 FORMCHECKBOX 
  CSO flow volume
 FORMCHECKBOX 
 Receiving water quality

f. How many storm events were monitored during the last year?
     

G.4.
CSO Events.

a. Give the number of CSO events in the last year.


     

events 
( FORMCHECKBOX 
 actual or  FORMCHECKBOX 
 approx.)

b. Give the average duration per CSO event.


     

hours 
( FORMCHECKBOX 
 actual or  FORMCHECKBOX 
 approx.)


	FACILITY NAME AND PERMIT NUMBER:

     ,      
	PERMIT ACTION REQUESTED:


	RIVER BASIN:

     

	c. Give the average volume per CSO event.

     

million gallons ( FORMCHECKBOX 
 actual or  FORMCHECKBOX 
 approx.)

d. Give the minimum rainfall that caused a CSO event in the last year

     

Inches of rainfall

G.5.
Description of Receiving Waters.
a. Name of receiving water:
     

b. Name of watershed/river/stream system:
     

United State Soil Conservation Service 14-digit watershed code (if known):
     

c. Name of State Management/River Basin:
     

United States Geological Survey 8-digit hydrologic cataloging unit code (if known):
     

G.6.
CSO Operations.
Describe any known water quality impacts on the receiving water caused by this CSO (e.g., permanent or intermittent beach closings, permanent or intermittent shell fish bed closings, fish kills, fish advisories, other recreational loss, or violation of any applicable State water quality standard).

     




	END OF PART G.
REFER TO THE APPLICATION OVERVIEW (PAGE 1) TO DETERMINE WHICH OTHER PARTS 
OF FORM 2A YOU MUST COMPLETE.


Additional information, if provided, will appear on the following pages.

     






EPA Form 3510-2A (Rev. 1-99).  Replaces EPA forms 7550-6 & 7550-22.
Page 21 of 22

