## naming conventions
DQM* NAMING CONVENTION FOR THE STRUCTURE OF INSTRUMENT ID
Note: Underlined words have definitions in the Glossary (attached).
Instruments and kits for one parameter.
1 | Step 1: Choose Parameter&Method code from the list provided. If you have to create a new code, think about 2-4 characters that will convey that parameter and a principle of the method, or the function, or the device; please inform CWT of the new code ASAP.
2 | Step 2: Choose a domain code from the list provided or use the list as a set of examples when creating your own domain code in a similar way. Domain can represent an agency, a group, or an individual. Try to limit the code to 2-3 characters.
3 | Step 3: Assign an Instrument ID that is a combination of Parameter&Method code (e.g., NH3, PHEL, PHST) and domain (e.g., SLC, RK, 3NET, STB); for example, PHST-3NET, or PHEL-SLC.
4 | Step 4: Add a sequential number after the domain, to specify a unique item, e.g., PHEL-SLC2 is the second dry electrode pH meter bought for the Friends of San Leandro Creek.
DONE!
5 | If you replace the reagents of a wet-chemistry kit, keep the same ID but add “a” after the sequential number. When you replace reagents again for the same kit, change the "a" to "b". Example: when the oxygen-fixing reagents of DOW-STB3 were replaced, it became DOW-STB3a; when replaced again it became DOW-STB3b.
Instruments with auxiliary temperature sensor
6 | Temperature information is needed for internal (automatic) calculation of (a) the % saturation of dissolved oxygen (DO), and (b) the specific conductivity. All DO meters, and all pocket conductivity meters with automatic temperature compensation (ATC) contain auxiliary temperature sensor for this purpose. These instruments are not considered multimeters.
7 | Built-in auxiliary temperature sensors in DO meters get the Parameter&Method code "TTO", and built-in auxiliary temperature sensors in the new pocket conductivity meters get the Parameter&Method code "TTE".
8 | The domain and sequential number (see points 2 and 4 above) for auxiliary sensors are the same as the "parent" instrument package. Examples: TTE-STB34 is the temperature-measuring instrument built into EC-STB34. TTO-STB02 is the temperature-measuring instrument built into DOE-STB02.
Multimeters: Instrument packages with three or more probes
9 | Multimeters have measurement devices that measure three or more parameters, including probes, electrodes, or built-in sensors. Note: In the next naming convention statements, the word "probe" will be used generically for all three types of measurement devices.
10 | Probes are normally attached to another entity (a "Body"), either a multiple display unit (often the "box" of the multimeter) or a datalogger, ie Sonde.
11 | Instrument IDs are used for two major functions: (a) inventory tracking: Each multimeter "body" is tracked as an inventory item (A package with all probes attached), and (b) Data Quality (accuracy and precision) tracking: Each probe needs an individual Instrument ID (but probes are not independent inventory items). Remember, each probe is usually calibrated, manitained and replaced individually.
12 | Function (a) - Inventory tracking: Multimeter "boxes" or Sondes should use the Parameter&Method code "MUM". Note: 2003 conventions allowed for variable Parameter&Method code options such as "MDS", "SO", "SON", or "DTLG" for different types of "boxes"; they are all equivalent to "MUM".
13 | Whether using "MUM" for all "bodies" or using the 2003 options, all types of Multimeter "bodies" in a given domain MUST have shared sequential numbers, e.g., DTLG-STB2 will be followed by MUM-STB3. There will be no two multimeter boxes with the same sequential numbers in the same domain (see why below).
14 | Function (b) - Probe QA tracking: the Parameter&Method code for each probe ends with the letter "P", e.g., DOP for dissolved oxygen probe; and all probes on the same "body" share the domain and sequential number of that specific "body". In other words, a probe is named after its "body".
15 | Each probe in a given domain needs a Unique ID: TTP-STB1 is the temperature probe of STB's first multimeter (a Sonde originally named DTLG-STB1); PHP-STB1 is the pH probe mounted on the same Sonde; PHP-STB3 is the pH probe on the third multimeter owned by STB (which is named MUM-STB3).
16 | If you replace one probe in a multi-meter or a Sonde, the new probe will get an “a” added to its ID, for example, PHP-2RB05a is the new pH electrode attached to the fifth Sonde owned by RB2.
17 | Note: multimeters named in the "old way" had the same Parameter&Method code as the code used for single-parameter meters (e.g., PHEL or DOE rather than PHP or DOP), all probes in one package had the same sequential number, but the domain code was altered (had the letters "MU" attached to it). This naming convention is not recommended for new multimeters (Sept 2004).
DQM NAMING CONVENTION FOR STANDARD SOLUTIONS
1 | Choose domain code from the list provided, or create your own for your organization or name.
2 | Assign a Standard ID that is a combo of domain (e.g., STB, SLC), a simple parameter designation (PH, EC, NH3, NO3, PO4), and a sequential number. Example: STB-EC2 is the second bottle of conductivity Standard bought by the State Board.
3 | Note that the order of domain and parameter for Standard IDs is reversed in comparison to Instrument IDs; this allows for easy distinction between Standards and Instruments.
4 | Avoid adding the value of the Standard (e.g., pH 7.0) to the Standard ID. Experience shows that it may create confusion when you buy multiple batches of standard.
* Data Quality Management

## Glossary&Notes
Glossary Term | Naming Conventions Definitions
Auxiliary temperature sensor | A Built-in sensor that captures temperature information and uses it for internal (automatic) calculation of (a) the % saturation of dissolved oxygen (DO), and (b) the specific conductivity.
Body (of a Multimeter) | A unit to which probes are attached; either a multiple display unit (the "box" of the multimeter) or a Sonde, with or without datalogging capability.
Domain | The owner or custodian of an Instrument. This can be an agency, a watershed group, an individual person, etc.
Electrode | A type of measurement device that is attached to the "Body" of an instrument. Same as (and referred to as) "Probe" in these conventions.
Instrument | A probe, electrode, reagent kit, indicator strip, or any other type of device used for field or laboratory measurements or a single characteristic (parameter). See also Measurement Device.
Measurement Device | Same as Instrument. A probe, electrode, reagent kit, indicator strip, or any other type of device used for field or laboratory measurements or a single characteristic (parameter).
Multimeter | A package of three or more measurement devices (probes) attached to a common body and display unit.
Multiple Display Unit | A display screen or window, usually digital, that shows the readings of multiple probes on the same screen.
Parameter (a.k.a. characteristic) | A property or substance to be measured within a medium such as water. Characteristics include properties such acidity (pH) or electrical conductivity, particulates such as suspended solids or bacteria, and analytes such as ammonia or heavy metals.
Probe | A type of measurement device that is attached to the "Body" of an instrument. Generic word for "electrode", "sensor" and itself ("Probe") in these conventions.
Sensor | A type of measurement device that is attached to the "Body" of an instrument. Same as ,and referred to as, "Probe" in these conventions.
Sonde | A common name for a cylindrical, watertight chamber that sometimes houses programmable data logging software inside it and provides watertight connections to an array of measurement devices (Probes).
NOTES:
Some measurements rely on two instruments, for example NH3-STB4 is the reagent kit (primary instrument), COL-STB2 is the colorimeter (secondary instrument) that was used to read the absorbance of the green color and "translate" it to ammonia concentrations.
You can simply add another field (as a placeholder for a secondary Instrument ID) to your measurement results spreadsheet if you use Primary and Secondary Instruments.
Multimeters named in the "old way" (see Naming Conventions Worksheet row 17) had the same Parameter&Method code as the code used for single-parameter meters (e.g., PHEL or DOE rather than PHP or DOP), all probes in one package had the same sequential number, but the domain code was altered (had the letters "MU" attached to it). This naming convention is not recommended for new multimeters (Sept 2004).

## Instrument&Domain-Codes
Codes for "Parameter&Method"
| Code | Description (What it is.) | Parameter (What it measures.)
| BALA | Analytical Balance | Weight
| CHL | Chlorine | Chlorine
| CHLD | Chloride | Chloride
| CLRT | Colilert (E. coli and total Coliform) | Bacteria
| CLW | Calibrated line and weight | Depth
| COL | Colorimeter | Various constituents
| COM | Compass (other: CMPS) | Direction
| CTK | Coliform test kit | Coliforms
| CU | Copper (other: COP) | Copper
| DEP | Depth sensor w pressure transducer | Depth
| DET | Detergent | Detergent
| DIS | Dispenser | (not applicable)
| DKN | D shaped kick net | Collection of Benthic Macro Invertebrates
| DOC | Dissolved oxygen colorimetric | Dissolved Oxygen
| DOE | Dissolved oxygen electrode (other: DOM for meter) | Dissolved Oxygen
| DOL | Dissolved oxygen Luminescene Probe (immobilized pigment) | Dissolved Oxygen
| DOP | Dissolved oxygen probe (attached to Sonde) | Dissolved Oxygen
| DOW | Dissolved oxygen Winkler | Dissolved Oxygen
x | DTLG | Data logger (also SO, SON if it is a Sonde) | (not applicable)
| EC | Electrical Conductivity (single) | Electrical conductivity
| ECP | Electrical conductivity probe (attached to Multimeter or Sonde) | Electrical conductivity
| FLO | Flow Meter (other: FLOW) | Current velocity
| GFF | Glass Fiber Filter (for suspended solids) | (not applicable)
| GPS | Geographic Positioning | Lat-long coordinates
| HES | Headset | (not applicable)
| HYD | Hydrometer | Salinity
| IC | Imhoff cone | Settleable solids
| LVL | Hand level | (not applicable)
x | MDS | Multiple-parameter Display System | (not applicable)
x | MUM | Multimeter (also replaces MDS, SO, SON, and DTLG) | (not applicable)
| MES | Measuring Tape (other: MEAS) | Length
| NH3 | Ammonia reagent kit (Nessler, salicylate, etc.) | Ammonia (total)
| NO2 | Nitrite Reagent Kit | Nitrite (NO2)
| NO3 | Nitrate reagent kit (Cadmium, Zinc) | Nitrate (NO3)
| PHEL | pH electrode | pH
| PHLQ | pH liquid indicator (other: PHCW for color wheel) | pH
| PHP | pH probe (attached to Sonde) | pH
| PHST | pH strip | pH
| PIP | Pipetor ( adjustable) | (not applicable)
| PNL | Phenol (other: PHNL) | Phenol
| PO4 | Orthophosphates | Phosphate
| REF | Refractometer | Salinity
| RNGG | Rain Gauge | Rainfall
| ROD | Stadia Rod | Length
| RQM | Reflectoquant meter (for reading color intensity on strips) | (not applicable)
| SAL | Salinity (e.g., SCT meter) | Salinity
| SAM | Sampling bottle | (not applicable)
| SD | Spherical Densiometer | Canopy cover
| SDK | Storm Drain Kit | Various constituents
| SEC | Secchi disc | Transparency
| SNR | Sonar for bathymetric measurements from boats | Water depth
x | SO | Sonde (body) (other: SON), also DTLG (datalogger) | (not applicable)
x | SON | Sonde (body) (other: SO), also DTLG (datalogger) | (not applicable)
| SPC | Spectrophotometer | Absorbance at given wavelength
| STGG | Staff Gauge | Depth (water level)
| STIR | Magnetic stirrer | (not applicable)
| SVE | Sieve | (not applicable)
| TB | Thermometer - bulb (spirit, mercury) | Temperature
| TD | Standalone digital thermometer (other: TTD) | Temperature
| TH | Temperature hobo | Temperature
| TM | Thermometer - mechanical (bimetal) | Temperature
| TR | Thermometer old code (Hg, spirit, or bimetal) (other: TRA for alcohol-filled) | Temperature
| TRM | Thermometer min-max | Temperature
| TRT | Transparency tube | Transparency
| TT | Thermistor probe in a multi-meter | Temperature
| TTE | Auxiliary Thermistor sensor of an EC meter (not a multi-meter). | Temperature
| TTO | Auxiliary Thermistor sensor of a DO meter (not a multi-meter). | Temperature
| TTP | Thermistor probe (attached to Multimeter or Sonde) | Temperature
| TUF | Turbidity Formasin (equivalent to TUN), results read in NTU or FTU | Turbidity
| TUJ | Turbidity Jackson, results read in JTU | Turbidity
| TUN | Turbidity Nephelometric, results read in NTU | Turbidity
| TUP | turbidity probe (attached to Sonde) | Turbidity
| VOR | Vortex mixer | (not applicable)
| WND | Wind meter | Wind speed
| WQK | water quality lab or multi-test kit | Various
x | all these hold probes. See convention # 13 /re: sequential numbering in one domain
Codes for Domains (note - "Regions" refer to Regional Water Quality Control Boards)
These examples are currently being used.
| 2RB | Regional Board Region 2
| 2VC | Vince Christian at Region 2
| 3NET | Monterey Bay Sanctuary citizen Monitoring Network at Region 3
| 4FB | Farm Bureau Area 4 (Santa Cruz area)
| AFCD | Alameda Flood Control District
| AYF | Arleen Y. Feng
| CCWI | Community Clean Water Institute
| CWC | Coastal Watershed Council
| ENST | Environmental Studies Dept. at Merritt College, Oakland
| FOE | Friend of the Estuary
| RK | Revital Katznelson
| SLC | San Leandro Creek
| SLZ | San Lorenzo watershed
| STB | State Board, used for all Clean Water Team library
[[add more]]