## Notes_Information
SWAMP Online LookUp Lists
https://swamp.waterboards.ca.gov/swamp_checker/LookUpLists.aspx
SWAMP Online Data Checker
http://swamp.waterboards.ca.gov/swamp_checker/
SOP for Laboratory Processing, Identification, and Enumeration of Stream Algae
https://www.waterboards.ca.gov/water_issues/programs/swamp/bioassessment/docs/sop_algae_lab_101315.pdf
SOP for Internal and External Quality Control of Laboratory Processing, Identification and Enumeration of Stream Algae in California (2019)
https://www.waterboards.ca.gov/water_issues/programs/swamp/swamp_iq/docs/algae-internal-external-qc-sop-2019.pdf
KEY
Bold text | Taxa with discrepancy
Grey cells | Taxa with discrepancy
Green cells | Taxa and quantification changed after reconcilitaion
Orange cells | See comments attached to cells
Blue column heading | Information to be populated by OR taxonomist/OR lab
Yellow column heading | Information to be populated by QC taxonomist/QC lab
Red text | Examples
INSTRUCTIONS
The aim of SBA QC is the validation of the taxonomic prevision of all ORT SBA identifications in accordance with STE, based on algal photomicrographic documentation review and/or direct re-identification of the sample by the QCT. Only samples that have failed MQOs will have their taxonomic discrepancies discussed between the ORT and QCT during sample reconciliation. Any remaining problematic taxa and taxonomic discrepancies from samples with passing MQOs (i.e., those that did not undergo reconciliation by the ORT and QCT) will be further examined and discussed during the annual algal taxonomic workshops.
For QUALS and MACRO, the same macroalgal fraction and qualitative voucher for each sample are available to both ORT and QCT. Thus, the taxonomic completeness of both will be verified and any macroalgal taxa omitted by the ORT will be reported. Macroalgae are being defined as large macroscopic filamentous, colonial, tuft-forming, crustose, tissue-like or coenocytis eukaryotic algae and cyanobacteria that have forms recognizable with the naked eye. **Please do not include microscopic forms, such as Heteroleibleinia, most Geitlerinema species (except G. amphibium and G. splendidum), all Aphanothece species (except for A. stagnina), all Aphanocapsa. Microalgal exceptions (i.e., microalgae that form macro-sized colonies) include Homoeothrix, Chamaesiphon, Calothrix, Gloeocapsa, if common in the macroalgal fractions etc.
For MICRO and EPIPHYTES, ORT and QCT analyze two different subsamples of the same microalgal fraction and epiphytes on macroalgal substratum with potentially variable content of microscopic algal cells. Thus, QCT only confirms the ORT identification for the top 5 microalgal taxa and epiphytes reported. No additional microalgal taxa and epiphytes omitted by the ORT will be reported. **QCT should not add any new species to the micro and epiphyte lists.
The SBA identification precision for a given sample will be measured by Sørensen similarity (SS, Sørensen, 1948), comparing the total number of SBA taxa IDs reported by ORT and QCT. The MQOs and the thresholds for internal and external SBA QC are the same.
Sørensen similarity measures the inter-taxonomists variability and taxonomic precision for SBA for a certain sample using the following formula:
SS = 2 NCOM / (NOR+NQC) x 100
Where:
NCOM = number of taxa common for both taxonomists;
NOR = total number of taxa reported by ORT;
NQC = total number of taxa reported by QCT.
SS ranges from 0% to 100% (identical SBA taxa recorded). The SS threshold is > 80%, and should be achieved individually for each SBA sample type, i.e. qualitative - macroalgae; quantitative - macroalgae; quantitative – epiphytes; quantitative - microalgae as indicated in Table 1.
Samples with SS below 80% are subject to reconciliation

## Definitions
From SWAMP SOP | Macroalgae are large macroscopic filamentous, colonial, tuft-forming, crustose, tissue-like or coenocytic eukaryotic algae and cyanobacteria that have forms recognizable with the naked eye (e.g., Nostoc, Rivularia, Batrachospermum, Lemanea, Cladophora, Draparnaldia, Oedogonium, Rhizoclonium, Spirogyra, Zygnema, Mougeotia, Vaucheria) [see Sheath and Cole (1992) for definitions of forms].
From QC SOP | For QUALS and MACRO, the same macroalgal fraction and qualitative voucher for each sample are available to both ORT and QCT. Thus, the taxonomic completeness of both will be verified and any macroalgal taxa omitted by the ORT will be reported. Macroalgae are being defined as large macroscopic filamentous, colonial, tuft-forming, crustose, tissue-like or coenocytis eukaryotic algae and cyanobacteria that have forms recognizable with the naked eye. **Please do not include microscopic forms, such as Heteroleibleinia, most Geitlerinema species (except G. amphibium and G. splendidum), all Aphanothece species (except for A. stagnina), all Aphanocapsa. Microalgal exceptions (i.e., microalgae that form macro-sized colonies) include Homoeothrix, Chamaesiphon, Calothrix, Gloeocapsa, if common in the macroalgal fractions etc.
Qualitative | Include all macroalgae, which may form large masses in the field. Both epiphytes and large solitary cells are optional and will not be considered in QC.
Quantitative-Macroalgae | Include all macroalgae, which may form large masses in the field. Both epiphytes and large solitary cells are optional and will not be considered in QC.
Quantitative-Microalgae | Include all macroalgae, already recorded in macroalgal fraction, if fragments were observed within 300 NCEs in microalgal fraction.
Quantitative-Epiphytes | Include only epiphytic species (i.e., attached to plant substratum, either algae or vascular plants).

## QC Reconciliation
SWAMP StationCode | SampleDate | SampleTypeCode | Taxa reporded by ORT (number) NOR | Taxa confirmed by QCT (number) NQC pro parte | Taxa added by QCT (number) NQC pro parte | Taxa added by QRT (names) | Taxa not confirmed by QCT (names) | Reconciliation corrections in OR names | Reconciliation corrections in QC names | New names to be added to OR list approved during reconciliation | NOR | NQC | NOR+NQC | NCOM | SS (>80%) | QCT Notes | ORT First Response
Note on A1: SWAMP DMT: see StationLookUp
Note on B1: SWAMP DMT: Format is dd/mmm/yyyy
Note on C1: SWAMP DMT: see SampleTypeLookUp
Note on D1: Kim Conklin: NOR = total number of SBA IDs reported by ORT
Note on M1: Kim Conklin: NQC = total number of SBA IDs confirmed by QCT minus number of taxa omitted by ORT
Note on P1: Kim Conklin: SS = 2 NCOM / (NOR+NQC) x 100 Where: NCOM = number of taxa common for both taxonomists; NOR = total number of taxa reported by ORT; NQC = total number of taxa reported by QCT.

## QC Summary
SWAMP StationCode | SampleDate | SampleTypeCode | Taxa reporded by ORT (number) NOR | Taxa confirmed by QCT (number) NQC pro parte | Taxa added by QCT (number) NQC pro parte | Taxa added by QRT (names) | Taxa not confirmed by QCT (names) | NOR | NQC | NOR+NQC | NCOM | SS (>80%) | QCT Notes | ORT First Response | QCT Second Response
105PS0540 | 2017-08-15 | Qualitative | 5 | 5 | 0 |  |  | 5 | 5 | 10 | 5 | 100
105PS0540 | 2017-08-15 | Macroalgae | 14 | 14 | 1 | Gloeocapsa |  | 14 | 15 | 29 | 14 | 96.5517 | Gloeocapsa sp - forms macroscopic colonies; cannot ID to SWAMP species images on website | Gloeocapsa sp - cell d=4; close to Gloeocapsa sp 2 on website though forming macroscopic colonies and not at base of Homoeothrix or Calothrix (both of which are present in sample). | row 3: OK = Gloeocapsa 2. It is not a named species, so works for now.
105PS0540 | 2017-08-15 | Epiphytes | 1 | 1 | 0 |  |  | 1 | 1 | 2 | 1 | 100
105PS0540 | 2017-08-15 | Microalgae | 5 | 5 | 0 |  |  | 5 | 5 | 10 | 5 | 100
518RCNAPC | 2017-08-07 | Qualitative | 9 | 8 | 0 |  | Nostoc paludosum | 9 | 8 | 17 | 8 | 94.1176 | Nostoc paludosum - Image from ORT vague; Qual specimen cells similar to those in Macro sample (see below), which is closer to N. microscopicum; cells short or +/- spherical, not barrel shape; see my image) | Nostoc paludosum - colony d=450-600, cell d=3.5 (smaller width than noted for Nostoc microscopicum on website and by Komarek) - maybe N. verrucosum? | row 6: OK, I can agree with N.verrucosum. But this is still problematic making OD based only at the microscopic stage
518RCNAPC | 2017-08-07 | Macroalgae | 13 | 11 | 2 | Leptolyngbya foveolarum, Calothrix cf kossinskajae | Nostoc paludosum, Stigeoclonium subsecundum | 13 | 14 | 27 | 11 | 81.4815 | Leptolyngbya foveolarum - relatively common amongst Phormidium mat; Calothrix_cf_kossinskajae - one small cluster seen; Nostoc paludosum - ORT Image (and my images) closer to N. microscopicum: spherical colony; sheath (periderm) distinct; densely arranged trichomes; cells +/- spherical; website defines N. sp. 1 as "Single filaments observed; sheath indistinct" - not the case in this specimen; Stigeoclonium subsecundum - Image from ORT inconclusive; features not diagnostic to species ID: Suggest "Stigeoclonium sp. 1" (new); not seen by JDW in macro sample | Leptolyngbya foveolarum - agree to add; Calothrix_cf_kossinskajae - agree to add; Nostoc paludosum - colony d=450-600, cell d=3.5 (smaller width than noted for Nostoc microscopicum on website and by Komarek) - maybe N. verrucosum?; Stigeoclonium subsecundum - agree that there are not enough diagnostic characters and will go with "Stigeoclonium sp. 1" | row 7: Good to add those. I was surprised Chaetophora was not seen in your sample; there was a colony in my samples about 1 cm long. OK to all, and my same comment regarding N.verrucosum.
518RCNAPC | 2017-08-07 | Epiphytes | 2 | 2 | 0 |  |  | 2 | 2 | 4 | 2 | 100
518RCNAPC | 2017-08-07 | Microalgae | 5 | 5 | 0 |  |  | 5 | 5 | 10 | 5 | 100
634MKCBLG | 2017-09-20 | Qualitative | 10 | 10 | 2 | Chaetophora elegans, Microcoleus californicus | Geitlerinema ionicum | 10 | 12 | 22 | 10 | 90.9091 | Chaetophora elegans - Forms macroscopic, soft-gelatinous colonies; large enough to be visible in a petri dish; Microcoleus cf. californicus - relatively common within the gelationous matrix of Chaetophora; Geitlerinema ionicum - agrees fairly well with SWAMP website, but not with Komarek, esp. regard tapered ends. | Chaetophora elegans - agree to add; Microcoleus cf. californicus - agree to add (sheath not colorless, smooth surface, d=20, trichome d=3, no constrictions at cell walls); Geitlerinema ionicum - should we change this on website? | row 10: OK. Good to add those. Maybe consider checking website vs. Komarek description; wider range of traits, perhaps?
634MKCBLG | 2017-09-20 | Macroalgae | 11 | 10 | 1 | Closterium cf ralfsii var hybridum | Geminella ordinata | 11 | 11 | 22 | 10 | 90.9091 | Closterium cf ralfsii var hybridum - cells ca. 450-4780 um long; Geminella ordinata - image from ORT closer to G. interrupta: clearly shows cells in pairs, separated by longer distance | Closterium cf ralfsii var hybridum - agree to add (d=35, though no inflated mid-region); Geminella ordinata - agree to change to G. interrupta.
634MKCBLG | 2017-09-20 | Epiphytes | 1 | 1 | 0 |  |  | 1 | 1 | 2 | 1 | 100
634MKCBLG | 2017-09-20 | Microalgae | 5 | 5 | 0 |  |  | 5 | 5 | 10 | 5 | 100 | Tychonema cf sp 1 - few trichomes seen in sample porvided | Closterium cf littorale - d=20x245 (max width for C. littorale but longer than recorded max length of 200 in John et al., p.628 - what is possibility that it is smaller C. ralfsii var hybridum since it is present in Macro?); Tychonema cf sp 1 - agree to add. | row 11: I don't think this = C. ralfsii var hybridum: much shorter than min-length (350 um), narrower, less curve, and no inflation. I checked a few other keys and couldn't find a better fit.Maybe another variety? I will OK whatever decision you make - it is unlikely to be important in the analysi, regardless.
Note on A1: SWAMP DMT: see StationLookUp
Note on B1: SWAMP DMT: Format is dd/mmm/yyyy
Note on C1: SWAMP DMT: see SampleTypeLookUp
Note on D1: Kim Conklin: NOR = total number of SBA IDs reported by ORT
Note on J1: Kim Conklin: NQC = total number of SBA IDs confirmed by QCT minus number of taxa omitted by ORT
Note on M1: Kim Conklin: SS = 2 NCOM / (NOR+NQC) x 100 Where: NCOM = number of taxa common for both taxonomists; NOR = total number of taxa reported by ORT; NQC = total number of taxa reported by QCT.
Note on N13: Kim Conklin: Not adding since top five microalgal species already confirmed.

## Macroalgae QC Results
ProjectCode (ORT) | StationCode (ORT) | SampleDate (ORT) | SampleTypeCode | FinalID (ORT) | LifeStageCode (ORT) | Microphotograph file name (ORT) | Description and size range (ORT) | OR AgencyCode (ORT) | OR Taxonomist (ORT) | OR EnterDate (ORT) | OR Comments (ORT) | Original ID corect (YES) or not (NO) (QCT) | Ommited taxa (YES) or not (NO) (QCT) | QC Microphotograph file name (QCT | QCT comments (QCT) | QC BenthicResult AgencyCode (QC) | QCTaxonomist (QC) | QC EnterDate (QC)
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Qualitative | Prasiola mexicana | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  | ORT image OK; Not seen in QC sample |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Qualitative | Nostoc verrucosum | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 105PS0540_Qual_Nostoc cf verrucosum_JDW_v1.tif; 105PS0540_Qual_Nostoc cf verrucosum_JDW_v2.tif |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Qualitative | Cladophora glomerata | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 105PS0540_Qual_Phormidium autumnale_JDW_v1.tif |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Qualitative | Phormidium autumnale | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 105PS0540_Qual_Cladophora glomerata_JDW_v1.tif; 105PS0540_Qual_Cladophora glomerata_JDW_v2.tif | Abundant in sample |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Qualitative | Tolypothrix distorta | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  | ORT image OK; Not seen in QC sample |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Calothrix kossinskajae | NR | 105PS0540_08152017_macro_Calothrix_kossinskajae_40X;105PS0540_08152017_macro_Calothrix_kossinskajae_40X_d;105PS0540_08152017_macro_Calothrix_kossinskajae_40X_e | w=3.31-3.73 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Calothrix linearis | NR | 105PS0540_08152017_macro_Calothrix_linearis_40X | w=6.25 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Chamaesiphon incrustans | NR | 105PS0540_08152017_macro_Chamaesiphon_incrustans_40X; 105PS0540_08152017_macro_Chamaesiphon_incrustans_40X_b; 105PS0540_08152017_macro_Chamaesiphon_incrustans_40X_c | w=3.25, l=8.72 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Chamaesiphon minutus | NR | 105PS0540_08152017_macro_Chamaesiphon_minutus_40X; 105PS0540_08152017_macro_Chamaesiphon_minutus_40X_b | w=2.61, l=3.26 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Chantransia sp 1 | NR | 105PS0540_08152017_macro_Chantransia_sp1_40X | w=7.18, l=10.41 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Cladophora glomerata | NR | 105PS0540_08152017_macro_Cladophora_glomerata_10X | d=47.7 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
| 105PS0540 | 2017-08-15 | Macroalgae | [8 empty] | - | YES | 105PS0540_Macro_Gloeocapsa_sp_unident_JDW_v1.tif | JDW ID: Gloeocapsa sp._Forms macroscopic colonies; cannot ID to SWAMP species images on website |  | JDW | 2018-07-26
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Homoeothrix varians | NR | 105PS0540_08152017_macro_Homoeothrix_varians_40X; 105PS0540_08152017_macro_Homoeothrix_varians_40X_c | w=1.44 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Nostoc verrucosum | NR | 105PS0540_08152017_macro_Nostoc_verrucosum_10X;105PS0540_08152017_macro_Nostoc_verrucosum_20X;105PS0540_08152017_macro_Nostoc_verrucosum_40X;105PS0540_08152017_macro_Nostoc_verrucosum_40X_b | w=3.22, l=2.86; heterocyst=4.5x5 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 105PS0540_Macro_Nostoc_verrucosum_JDW_v1.tif |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Oedogonium sp 13 | NR | 105PS0540_08152017_macro_Oedogonium_sp13_20X; 105PS0540_08152017_macro_Oedogonium_sp13_40X | w=18.87, l=46.04 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Phormidium autumnale | NR | 105PS0540_08152017_macro_Phormidium_autumnale_10X |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 105PS0540_Macro_Phormidium_autumnale_JDW_v1.tif | Checks out OK in QCsample, but Image trichomes not attenuated; ends not curved; apical cells not capitate, elongate, or calyptrate; no scale for size; closer to Ph. ambiguum? |  | JDW | 2018-07-26
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Phormidium incrustatum | NR | 105PS0540_08152017_macro_Phormidium_incrustatum_40X;105PS0540_08152017_macro_Phormidium_incrustatum_40X_d;105PS0540_08152017_macro_Phormidium_incrustatum_40X_f | w=6.5, l=6.96; Grayish purple, cells sometimes longer than wide, conical apical cell with no attenuation | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 105PS0540_Macro_Phormidium_cf_incrustatum_JDW_v1.tif | In dense mats |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Phormidium sp 3 | NR | 105PS0540_08152017_macro_Phormidium_sp3_40X | w=7.48, l=4.28; Green, straight to apices (blunt apical cell), slightly constricted at | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  | Scale on ORT image would have been useful here |  | JDW | 2018-07-26
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Tolypothrix distorta | NR | 105PS0540_08152017_macro_Tolypothrix_distorta_20X;105PS0540_08152017_macro_Tolypothrix_distorta_20X_b;105PS0540_08152017_macro_Tolypothrix_distorta_40X |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 105PS0540_Macro_Tolypothrix_distorta_JDW_v1.tif |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Macroalgae | Tychonema sp 4 | NR | 105PS0540_08152017_macro_Tychonema_sp4_40X | w=2.15 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Epiphytes | Heteroleibleinia sp 1 | NR | Not available. |  | CSUSM | Conklin, K. | 2018-07-06 | See Heteroleibleinia sp 1 photo in Micro section | YES | no |  |  |  | JDW | 2018-07-24
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Anabaena sp 1 | NR | 518RCNAPC_08072017_Anabaena_sp1_40X; 518RCNAPC_08072017_Anabaena_sp1_40X_b |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Nostoc paludosum | NR | 518RCNAPC_08072017_Nostoc_paludosum_20X;518RCNAPC_08072017_Nostoc_paludosum_40X;518RCNAPC_08072017_Nostoc_paludosum_40X_b |  | CSUSM | Conklin, K. | 2018-07-06 |  | NO | no | 518RCNAPC_Qual_Nostoc_cf_unident_JDW_v1.tif | Image from ORT vague; Qual specimenicells similar to those in Macro sample (see below), which is closer to N. microscopicum; cells short or +/- spherical, not barrel shape; see my image) |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Nostoc sp. 1 | AK | 518RCNAPC_08072017_Nostoc_sp1_40X |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Phormidium autumnale | NR | 518RCNAPC_08072017_Phormidium_autumnale_20X; 518RCNAPC_08072017_Phormidium_autumnale_20X_b;518RCNAPC_08072017_Phormidium_autumnale_20X_c;518RCNAPC_08072017_Phormidium_autumnale_40X;518RCNAPC_08072017_Phormidium_autumnale_40X_b |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 518RCNAPC_Qual_Phormidium_autumnale_JDW_v1.tif; 518RCNAPC_Qual_Phormidium_autumnale_JDW_v2.tif |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Prasiola mexicana | NR | 518RCNAPC_08072017_Prasiola_mexicana_40X_b;518RCNAPC_08072017_Prasiola_mexicana_40X_e;518RCNAPC_08072017_Prasiola_mexicana_40X_f;518RCNAPC_08072017_Prasiola_mexicana_40X_h |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 518RCNAPC_Qual_Prasiola_mexicana_JDW_v1.tif; 518RCNAPC_Qual_Chamaesiphon_incrustans_JDW_v1.tif | Also Chamaesiphon incrustans on Prasiola. |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Spirogyra sp.1 | NR | 518RCNAPC_08072017_Spirogyra_sp1_20X_d;518RCNAPC_08072017_Spirogyra_sp1_20X_e |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  | ORT Image OK?: no obvious pyrenoids; transverse walls plane; size OK? |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Tolypothrix distorta | NR | 518RCNAPC_08072017_Toplypothrix_distorta_40X;518RCNAPC_08072017_Toplypothrix_distorta_40X_c;518RCNAPC_08072017_Toplypothrix_distorta_40X_d |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 518RCNAPC_Qual_Tolypothrix_cf_distorta_JDW_v2.tif | Typos in genus name, ID (col. F: "Tolpothrix") and 3 typos on image files (col. H: "Toplypothrix"); correct all to "Tolypothrix" |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Ulothrix zonata | NR | 518RCNAPC_08072017_Ulothrix_zonata_4X;518RCNAPC_08072017_Ulothrix_zonata_10X;518RCNAPC_08072017_Ulothrix_zonata_10X_b |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Qualitative | Zygnema sp.1 | NR | 518RCNAPC_08072017_Zygnema_sp1_20X;518RCNAPC_08072017_Zygnema_sp1_20X_e |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 518RCNAPC_Qual_Zygnema_sp.1_JDW_v1.tif |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Chamaesiphon incrustans | NR | 518CNAPC_08072017_macro_Chamaesiphon_incrustans_40X | w=3.97 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Chantransia sp 1 | NR | 518CNAPC_08072017_macro_Chantransia_sp1_40X | w=7.41 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Homoeothrix varians | NR | 518CNAPC_08072017_macro_Homoeothrix_varians_40X | w=1.3-1.7 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 518RCNAPC_Macro_Homeothrix_cf_varians_JDW_v1.tif; 518RCNAPC_Macro_Homeothrix_cf_varians_JDW_v2.tif; | Common |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Hydrurus foetidus | NR | 518CNAPC_08072017_macro_Hydrurus_foetidus_20X;518CNAPC_08072017_macro_Hydrurus_foetidus_40X | w=6.86-7.24, l=9.86 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Klebsorbmidium crenulatum | NR | 518CNAPC_08072017_macro_Klebsormidium_crenulatum_40X;518CNAPC_08072017_macro_Klebsormidium_crenulatum_40X_b | w=11.56-13.38 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Microspora pachyderma | NR | 518CNAPC_08072017_macro_Microspora_pachyderma_20X;518CNAPC_08072017_macro_Microspora_pachyderma_20X_b | w=11.36 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 518RCNAPC_Macro_Microspora_pachyderma_JDW_v1.tif; |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Nostoc sp 1 | NR | 518CNAPC_08072017_macro_Nostoc_sp1_40X;518CNAPC_08072017_macro_Nostoc_sp1_40X_b |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Nostoc paludosum | AK | 518CNAPC_08072017_macro_Nostoc_paludosum_10X;518CNAPC_08072017_macro_Nostoc_paludosum_40X;518CNAPC_08072017_macro_Nostoc_paludosum_40X_b | w=3.5-3.59, l=4.93-5.73 (more elongate);heterocyst=5.77-6.78x6.50-6.62; colony=482.43 | CSUSM | Conklin, K. | 2018-07-06 |  | NO | no | 518RCNAPC_Macro_Nostoc_sp_unident_JDW_v1.tif; 518RCNAPC_Macro_Nostoc_sp_unident_JDW_v2.tif; 518RCNAPC_Macro_Nostoc_sp_unident_JDW_v3.tif | ORT Image (and my images) closer to N. microscopicum: spherical colony; sheath (periderm) distinct; densely arranged trichomes; cells +/- spherical; website defines N. sp. 1 as "Single filaments observed; sheath indistinct" - not the case in this specimen |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Phormidium autumnale | NR | 518CNAPC_08072017_macro_Phormidium_autumnale_40X;518CNAPC_08072017_macro_Phormidium_autumnale_40X_b | w=4.24-4.94 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Spirogyra sp 1 | NR | 518CNAPC_08072017_macro_Spirogyra_sp1_40X;518CNAPC_08072017_macro_Spirogyra_sp1_40X_b | w=37.78, l chloroplast, plane walls | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Stigeoclonium subsecundum | NR | 518CNAPC_08072017_macro_Stigeoclonium_subsecundum_20X;518CNAPC_08072017_macro_Stigeoclonium_subsecundum_40X | w=8.07 | CSUSM | Conklin, K. | 2018-07-06 |  | NO | no |  | Image from ORT inconclusive; features not diagnostic to species ID: Suggest "Stigeoclonium sp. 1" (new); not seen by JDW in macro sample |  | JDW | 2018-07-25
| 518RCNAPC | 2017-08-07 | Macroalgae | [9 empty] | YES | 518RCNAPC_Macro_Leptolyngbya_cf_foveolarum_JDW_v1.tif; 518RCNAPC_Macro_Leptolyngbya_cf_foveolarum_JDW_v2.tif; | JDW ID: Leptolyngbya foveolarum; Relatively common amongst Phormidium mat |  |  | 2018-07-30
| 518RCNAPC | 2017-08-07 | Macroalgae | [9 empty] | YES | 518RCNAPC_Macro_Calothrix_cf_kossinskajae_JDW_v1.tif; | JDW ID: Calothrix_cf_kossinskajae; One small cluster seen |  |  | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Ulothrix zonata | NR | 518CNAPC_08072017_macro_Ulothrix_zonata_40X;518CNAPC_08072017_macro_Ulothrix_zonata_40X_b | w=22.34 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Macroalgae | Zygnema sp 1 | NR | 518CNAPC_08072017_macro_Zygnema_sp1_20X;518CNAPC_08072017_macro_Zygnema_sp1_40X | w=28.81, l=31.96 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Epiphytes | Heteroleibleinia sp 1 | NR | Not available. |  | CSUSM | Conklin, K. | 2018-07-06 | See Heteroleiblenia sp 1 photos in Micro section | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Epiphytes | Chamaesiphon minutus | NR | 518CNAPC_08072017_epiphytes_Chamaesiphon_minutus_40X |  | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Lemanea fluviatilis | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Phormidium autumnale | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 634MKCBLG_Qual_Phormidium_autumnale_JDW_v1.tif |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Schizochlamys gelatinosa | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 634MKCBLG_Qual_Schizochlamys_gelatinosa_JDW_v1.tif |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Zygnema sp 2 | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Calothrix fusca | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Chantransia sp 1 | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Phormidium cf setchellianum | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 634MKCBLG_Qual_tentative_Phormidium_cf_setchellianum_JDW_v1.tif | Tentative ID: Specimens tapered and size range OK; but no caliptera seen |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Geitlerinema acutissimum | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no | 634MKCBLG_Qual_Geitlerinema_sp_unident_JDW_v1.tif | Tentative ID: Agrees fairly well with SWAMP website, but not with Komarek, esp. regard taprered ends. |  | JDW | 2018-07-26
| 634MKCBLG | 2017-09-20 | Qualitative | Chaetophora cf. elegans | [7 empty] | - | YES | 634MKCBLG_Qual_Chaetophora_cf_elegans_JDW_v1.tif; 634MKCBLG_Qual_Chaetophora_cf_elegans_JDW_v3.tif | JDW ID: Chaetophra elegans; Forms macroscopic, soft-gelatinous colonies; large enough to be visible in a petri dish |  | JDW | 2018-07-26
| 634MKCBLG | 2017-09-20 | Qualitative | Microcoleus californicus | [7 empty] | - | YES | 634MKCBLG_Qual_Microcoleus cf. californicus_JDW_v1.tif | JDW ID: Microcoleus cf. californicus; relatively common within the gelationous matrix of Chaetophora |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Geitlerinema ionicum | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | NO? | no | 634MKCBLG_Qual_Geitlerinema_cf_ionicum_JDW_v2.tif | Tentative ID: Agrees fairly well with SWAMP website, but not with Komarek, esp. regard tapered ends. |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Qualitative | Phormidium irriguum | NR | Not available. |  | CSUSM | Fuller, C. | 2018-07-06 | Not treated as QC when received. | YES | no |  |  |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Bulbochaete sp 3 | NR | 634MKCBLG_09202017_macro_Bulbochaete_sp3_40X_b | w=11.1-14.41, l=39.69 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Calothrix fusca | NR | 634MKCBLG_09202017_macro_Calothrix_fusca_40X;634MKCBLG_09202017_macro_Calothrix_fusca_40X_b;634MKCBLG_09202017_macro_Calothrix_fusca_40X_c | w=11.89 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
| 634MKCBLG | 2017-09-20 | [11 empty] | 634MKCBLG_Macro_Closterium)cf_ralfsii_var_hybridum_JDW_v1.tif | Cells ca. 450-4780 um long |  | JDW | 2018-07-30
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Draparnaldia mutabilis | NR | 634MKCBLG_09202017_macro_Draparnaldia_10X;634MKCBLG_09202017_macro_Draparnaldia_20X;634MKCBLG_09202017_macro_Draparnaldia_20X_b | w=34.22 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Geminella ordinata | NR | 634MKCBLG_09202017_micro_Geminella_40X;634MKCBLG_09202017_micro_Geminella_40X_b | w=2.58-2.65, l=4.23-6.66 | CSUSM | Conklin, K. | 2018-07-06 |  | NO | no |  | Image from ORT closer to G. interrupta: clearly shows cells in pairs, separated by longer distance |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Hyalotheca mucosa | NR | 634MKCBLG_09202017_macro_Hyalotheca_mucosa_20X_b;634MKCBLG_09202017_macro_Hyalotheca_mucosa_40X;634MKCBLG_09202017_macro_Hyalotheca_mucosa_40X_b;634MKCBLG_09202017_macro_Hyalotheca_mucosa_40X_c | w=23.91, l=15.6 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 634MKCBLG_Macro_Hyalotheca_mucosa_JDW_v1.tif |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Microspora pachyderma | NR | 634MKCBLG_09202017_macro_Microspora_pachyderma_40X | w=9.03 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Oedogonium sp 10 | NR | 634MKCBLG_09202017_macro_Oedogonium_sp10_20X | w=18.01-19.31, 8X | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 634MKCBLG_Oedogonium_sp_10_JDW_v1.tif |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Oedogonium sp 6 | NR | 634MKCBLG_09202017_macro_Oedogonium_sp6_20X_b;634MKCBLG_09202017_macro_Oedogonium_sp6_20X_d | w=6.19-8.05, l=22.25, 3X | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Phormidium autumnale | NR | 634MKCBLG_09202017_macro_Phormidium_40X;634MKCBLG_09202017_macro_Phormidium_40X_c | w=5.49 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Spirogyra sp 5 | NR | 634MKCBLG_09202017_macro_Spirogyra_sp5_20X | w=27.73, 1 chloroplast, replicate walls | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no |  |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Macroalgae | Tychonema sp 5 | NR | 634MKCBLG_09202017_macro_Tychonema_40X_b;634MKCBLG_09202017_macro_Tychonema_40X_c;634MKCBLG_09202017_macro_Tychonema_40X_d | w=3.86-4.39 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | no | 634MKCBLG_Tychonema_sp_5_JDW_v1.tif; 634MKCBLG_Tychonema_sp_5_JDW_v2.tif |  |  | JDW | 2018-07-25
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Epiphytes | Heteroleibleinia sp 1 | NR | Not available. |  | CSUSM | Conklin, K. | 2018-07-06 | See Heteroleibleinia sp 1 photo in Micro section | YES | no |  |  |  | JDW | 2018-07-25
Note on A1: SWAMP DMT: see ProjectLookUp
Note on B1: SWAMP DMT: see StationLookUp
Note on C1: SWAMP DMT: Format is dd/mmm/yyyy
Note on D1: SWAMP DMT: see SampleTypeLookUp
Note on F1: SWAMP DMT: see LifeStageLookUp
Note on M1: SWAMP DMT: see LifeStageLookUp
Note on N1: SWAMP DMT: see LifeStageLookUp

## Microalgae QC Results
ProjectCode (ORT) | StationCode (ORT) | SampleDate (ORT) | SampleTypeCode (ORT) | FinalID (ORT) | TargetOrganismCount (ORT) | ActualOrganismCount (ORT) | BAResult (ORT) | Unit (ORT) | Microphotograph file name (ORT) | Description and size range (ORT) | OR AgencyCode (ORT) | OR Taxonomist (ORT) | OR EnterDate (ORT) | OR Comments (ORT) | Original ID corect (YES) or not (NO) (QCT) | QC Microphotograph file name (QCT | QCT comments (QCT) | QC BenthicResult AgencyCode (QC) | QCTaxonomist (QC) | QC EnterDate (QC)
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Microalgae | Aphanothece minutissima | 300 | 325 | 23 | count | 105PS0540_08152017_micro_Aphanothece_minutissima_40X;105PS0540_08152017_micro_Aphanothece_minutissima_40X_b | w=0.672, l=1.488 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future image; not seen in micro sample provided |  | JDW | 2018-07-24
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Microalgae | Heteroleibleinia sp 1 | 300 | 325 | 56 | count | 105PS0540_08152017_micro_Heteroleibleinia_40X_b;105PS0540_08152017_micro_Heteroleibleinia_40X_c | w=0.77 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future image; not seen in micro sample provided |  | JDW | 2018-07-30
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Microalgae | Homoeothrix varians | 300 | 325 | 61 | count | 105PS0540_08152017_micro_Homoeothrix_varians_40X_b;105PS0540_08152017_micro_Homoeothrix_varians_40X_c | w=1.57 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | Not seen in micro sample provided |  | JDW | 2018-07-30
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Microalgae | Nostoc cf paludosum | 300 | 325 | 18 | count | 105PS0540_08152017_micro_Nostoc_paludosum_10X;105PS0540_08152017_micro_Nostoc_paludosum_10X_b;105PS0540_08152017_micro_Nostoc_paludosum_40X_c;105PS0540_08152017_micro_Nostoc_paludosum_40X_e | w=2.89, l=4.55; heterocyst d=4.04 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | Only single Nostoc trichomes seen in sample provided |  | JDW | 2018-07-30
SWB_RCMP_2017 | 105PS0540 | 2017-08-15 | Microalgae | Phormidium sp 1 | 300 | 325 | 13 | count | 105PS0540_08152017_micro_Phormidium_sp1_40X;105PS0540_08152017_micro_Phormidium_sp1_40X_b;105PS0540_08152017_micro_Phormidium_sp1_40X_c | w=4.97 | CSUSM | Conklin, K. | 2018-07-06 |  | YES | 105PS0540_Micro_Phormidium_cf_sp1_JDW_v1.tif |  |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Microalgae | Aphanothece minutissima | 300 | 309 | 39 | count | 518CNAPC_08072017_micro_Aphanothece_minutissima_40X;518CNAPC_08072017_micro_Aphanothece_minutissima_40X_b | w=0.61, l=2.42 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future images; sample very thin |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Microalgae | Chamaesiphon minimus | 300 | 309 | 43 | count | 518CNAPC_08072017_micro_Chamaesiphon_minimus_40X | w=1.615, l=4.135 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | Not seen in micro sample provided; sample very thin |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Microalgae | Chamaesiphon minutus | 300 | 309 | 31 | count | 518CNAPC_08072017_micro_Chamaesiphon_minutus_40X_b;518CNAPC_08072017_micro_Chamaesiphon_minutus_40X_c | w=2.39, l=3.8175 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | Not seen in micro sample provided; sample very thin |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Microalgae | Heteroleibleinia sp 1 | 300 | 309 | 56 | count | 518CNAPC_08072017_micro_Heteroleibleinia_sp1_40X;518CNAPC_08072017_micro_Heteroleibleinia_sp1_40X_b | w=0.90 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | One fragment seen in sample provided |  | JDW | 2018-07-30
SWB_RCMP_2017 | 518RCNAPC | 2017-08-07 | Microalgae | Homeothrix varians | 300 | 309 | 39 | count | 518CNAPC_08072017_micro_Homeothrix_varians_40X;518CNAPC_08072017_micro_Homeothrix_varians_40X_b | w=1.546 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | Not seen in micro sample provided; sample very thin |  | JDW | 2018-07-30
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Microalgae | Aphanocapsa elachista | 300 | 316 | 17 | count | 634MKCBLG_09202017_micro_Aphanocapsa_elasticha_40X | w=1.71, l=1.88; cells not dense. | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future images; not seen in sample provided |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Microalgae | Aphanocapsa hyalina | 300 | 316 | 32 | count | 634MKCBLG_09202017_micro_Aphanocapsa_hyalina_40X;634MKCBLG_09202017_micro_Aphanocapsa_hyalina_40X_c;634MKCBLG_09202017_micro_Aphanocapsa_hyalina_40X_e | w=2.036, l= 1.7575; cells dense | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future images; not seen in sample provided |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Microalgae | Aphanothece minutissima | 300 | 316 | 42 | count | 634MKCBLG_09202017_micro_Aphanothece_minutissima_40X;634MKCBLG_09202017_micro_Aphanothece_minutissima_40X_b | w=0.74, l=1.525 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future images; not seen in sample provided |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Microalgae | Heteroleibleinia sp 1 | 300 | 316 | 53 | count | 634MKCBLG_09202017_micro_Heteroleibleinia_sp1_40X | w=0.705 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | A few trichomes seen in sample; ORT image OK |  | JDW | 2018-07-26
SWB_RCMP_2017 | 634MKCBLG | 2017-09-20 | Microalgae | Leptolyngbya tenuis | 300 | 316 | 19 | count | 634MKCBLG_09202017_micro_Leptolyngbya_tenuis_40X | w=1.0075 | CSUSM | Conklin, K. | 2018-07-06 |  | YES |  | ORT image OK; scale bars would be helpfiul for future images; not seen in sample provided |  | JDW | 2018-07-26
Note on A1: SWAMP DMT: see ProjectLookUp
Note on B1: SWAMP DMT: see StationLookUp
Note on C1: SWAMP DMT: Format is dd/mmm/yyyy
Note on D1: SWAMP DMT: see SampleTypeLookUp
Note on F1: SWAMP DMT: Number of organisms at which subsampling will cease
Note on G1: SWAMP DMT: Total number of organisms recovered in all grids analyzed, including the count above and beyond the target total for the subsample
Note on H1: IITS: # entities per species
Note on P1: SWAMP DMT: see LifeStageLookUp

## SBA QC COC
ProjectCode (ORT) | OR AgencyCode (ORT) | StationCode (ORT) | SampleDate (ORT) | Qualitative sample vial label (20 mL scintillation vial) label (ORT) | Quantitative - macroalgal fraction vial label (15mL centrifuge tube) label (ORT) | Quantitative - macroalgal fraction sample volume (mL) (ORT) | Quantitative - microalgal fraction sample volume (mL) (i.e. diluted or concentrated from 1 mL) (ORT) | Quantitative - microalgal fraction vial label (15mL centrifuge tube) label (ORT) | Quantitative - microalgal fraction sample volume analyzed (mL) (ORT) | DateSent (ORT) | QC AgencyCode (QCT) | DateReceived (QCT | Samples condition upon arrival (QCT)
SWB_RCMP_2017 | CSUSM | 518RCNAPC | 2017-08-07 | 518RCNAPC 8/7/2017 QC | 518RCNAPC 8/7/2017 Macro | 0.4 | 0.2 concentrated | 518RCNAPC 8/7/2017 Micro | 1 | 2018-07-10 | Fordham | 2018-07-14 | Macro qualitive sample partial leak of liquid; materials seemed intact.
SWB_RCMP_2018 | CSUSM | 105PS0540 | 2017-08-15 | 105PS0540 8/15/2017 QC | 105PS0540 8/15/2017 Macro | 0.2 | 0.2 concentrated | 105PS0540 8/15/2017 Micro | 1 | 2018-07-10 | Fordham | 2018-07-14 | Macro qualitive sample leaked most of its liquid; materials seemed intact.
SWB_RCMP_2018 | CSUSM | 634MKCBLG | 2017-09-20 | 634MKCBLG 9/20/2017 QC | 634MKCBLG 9/20/2017 Macro | 0.1 | 1 | 634MKCBLG 9/20/2017 Micro | 1 | 2018-07-10 | Fordham | 2018-07-14 | Macro qualitive sample partial leak of liquid; materials seemed intact.
Note on A1: SWAMP DMT: see ProjectLookUp
Note on C1: SWAMP DMT: see StationLookUp
Note on D1: SWAMP DMT: Format is dd/mmm/yyyy
Note on E1: SWAMP DMT: see SampleTypeLookUp
Note on I1: SWAMP DMT: see SampleTypeLookUp
Note on J1: SWAMP DMT: see SampleTypeLookUp
Note on K1: SWAMP DMT: Format is dd/mmm/yyyy

## Macroalgae genera
Legend
Y - Mandatory reporting of each species in the genus in Qualitative sample, Mandatory listing and quantification in both macroalgal and microlagal fractions of quantitative fractions, Subject of QC verification
Y* - Mandatory reporting of indicated species only in Qualitative sample, Mandatory listing and quantification in both macroalgal and microlagal fractions of quantitative fractions, Subject of QC verification
N - Optional reporting of each species in the genus in Qualitative sample, optional listing and quantification in both macroalgal and microlagal fractions of quantitative fractions, NOT Subject of QC verification
Genus | Reporting | Macroscopic species exceptions | Epiphytic growth, at least intitially | Large mass forming in the field
Anabaena | Y |  | no | yes
Aphanizomenon | Y |  | no | yes
Aphanothece | Y* | *A. stagnina | no | yes
Audouinella | Y |  | yes | yes
Batrachospermum | Y |  | no | yes
Binuclearia | Y |  | yes | no
Blidingia | Y |  | no | yes
Bulbochaete | Y |  | yes | yes
Bumilleria | Y |  | yes | no
Calothrix | Y |  | yes | yes
Capsosira | Y |  | no | yes
Chadefaudiothrix | Y |  | no | yes
Chaetophora | Y |  | yes | yes
Chamaesiphon | Y |  | yes | yes
Chantransia | Y |  | yes | yes
Chara | Y |  | no | yes
Chlorella | Y* | *C. vulgaris | yes | yes
Chlorogloea | Y |  | yes | yes
Chlorosaccus | Y |  | yes | yes
Chroodactylon | Y |  | yes | yes
Cladophora | Y |  | no | yes
Cloniophora | Y |  | no | yes
Coleochaete | Y |  | yes | yes
Coleodesmium | Y |  | yes | yes
Compsopogon | Y |  | yes | yes
Cyanostylon | Y |  | no | yes
Cylindrocapsa | Y |  | yes | yes
Cylindrospermum | Y |  | yes | yes
Dermatochrysis | Y |  | no | yes
Desmidium | Y |  | no | yes
Dichothrix | Y |  | yes | yes
Dolichospermum | Y |  | no | yes
Draparnaldia | Y |  | no | yes
Draparnaldiopsis | Y |  | no | yes
Geitlerinema | Y* | *G. amphibium, G. spledidum | no | yes
Geminella | Y |  | yes | yes
Gloeocapsa | Y |  | no | yes
Gloeocapsopsis | Y |  | no | yes
Gloeocystis | Y |  | no | yes
Gloeotila | Y |  | yes | yes
Gloeotrichia | Y |  | yes | yes
Gongrosira | Y |  | yes | yes
Hapalosiphon | Y |  | no | yes
Hassallia | Y |  | no | yes
Heterococcus | Y |  | no | yes
Homoeothrix | Y |  | yes | yes
Hyalotheca | Y |  | no | yes
Hydrocoleum | Y |  | no | yes
Hydrodictyon | Y |  | no | yes
Hydrurus | Y |  | no | yes
Klebsormidium | Y |  | no | yes
Komvophoron | Y |  | no | yes
Lemanea | Y |  | no | yes
Leptolyngbya | Y |  | yes | yes
Lyngbya | Y |  | yes | yes
Microchaete | Y |  | yes | yes
Microcoleus | Y |  | no | yes
Microspora | Y |  | no | yes
Microthamnion | Y |  | yes | no
Monostroma | Y |  | no | yes
Mougeotia | Y |  | yes | yes
Nitella | Y |  | no | yes
Nodularia | Y |  | no | yes
Nostoc | Y |  | yes | yes
Nostochopsis | Y |  | no | yes
Ochlochaete | Y |  | yes | yes
Oedogonium | Y |  | yes | yes
Onychonema | Y |  | no | yes
Oocardium | Y |  | no | Ca+ tubes and stalks are rare
Oscillatoria | Y |  | no | yes
Palmella | Y |  | no | yes
Paralemanea | Y |  | no | yes
Phaeothamnion | Y |  | yes | no
Phormidium | Y |  | no | yes
Pithophora | Y |  | no | yes
Pleurocapsa | Y |  | no | yes
Pleurocladia | Y |  | yes | yes
Prasiola | Y |  | no | yes
Protoderma | Y |  | yes | yes
Radiofilum | Y |  | no | yes
Rhizoclonium | Y |  | no | yes
Rivularia | Y |  | yes | yes
Schizochlamys | Y |  | yes | yes
Schizomeris | Y |  | no | yes
Schizothrix | Y |  | no | yes
Scytonema | Y |  | no | yes
Sheathia | Y |  | no | yes
Siphononema | Y |  | no | yes
Sirodotia | Y |  | no | yes
Sphaerobotrys | Y |  | no | yes
Sphaeroplea | Y |  | no | yes
Spirogyra | Y |  | no | yes
Spondylosium | Y |  | no | yes
Stigeoclonium | Y |  | yes | yes
Stigonema | Y |  | no | yes
Symploca | Y |  | no | yes
Symplocastrum | Y |  | no | yes
Teilingia | Y |  | no | yes
Tetraspora | Y |  | no | yes
Tetrasporidium | Y |  | no | yes
Tetrasporopsis | Y |  | no | yes
Tolypothrix | Y |  | yes | yes
Tribonema | Y |  | yes | yes
Trichormus | Y |  | no | yes
Tychonema | Y |  | no | yes
Ulothrix | Y |  | no | yes
Ulva | Y |  | no | yes
Uronema | Y |  | yes | no
Vaucheria | Y |  | no | yes
Xanthidium | Y |  | no | yes
Xanthonema | Y |  | no | yes
Zygnema | Y |  | no | yes
Zygnemopsis | Y |  | no | yes
Netrium | N |  | no | no
Cylindrocystis | N |  | no | no
Closterium | N |  | no | no
Gonatozygon | N |  | no | no
Actinastrum | N |  | no | no
Actinotaenium | N |  | no | no
Anabaenopsis | N |  | no | no
Ankistrodesmus | N |  | no | no
Apatococcus | N |  | no | no
Aphanocapsa | N |  | no | yes
Aphanochaete | N |  | yes | no
Apiocystis | N |  | yes | no
Arthrospira | N |  | no | no
Asterococcus | N |  | no | no
Bacularia | N |  | yes | no
Balbiania | N |  | yes | no
Botryococcus | N |  | no | yes
Botryosphaerella | N |  | no | no
Carteria | N |  | no | no
Ceratium | N |  | no | no
Chaetosphaeridium | N |  | no | no
Characiopsis | N |  | yes | no
Characium | N |  | yes | no
Chlamydocapsa | N |  | no | no
Chlamydomonadopsis | N |  | no | no
Chlamydomonas | N |  | no | no
Chlorotetraëdron | N |  | no | no
Chroococcidiopsis | N |  | no | no
Chroococcopsis | N |  | yes | no
Chroococcus | N |  | no | yes
Chroomonas | N |  | no | no
Chrysocapsa | N |  | yes | no
Chrysopyxis | N |  | yes | no
Chrysosphaera | N |  | yes | no
Chytridiochloris | N |  | no | no
Clastidium | N |  | no | no
Closteriopsis | N |  | no | no
Closteriospira | N |  | no | no
Coelastrum | N |  | no | no
Coelomoron | N |  | no | no
Comasiella | N |  | no | no
Cosmarium | N |  | no | no
Crucigenia | N |  | no | no
Crucigeniella | N |  | no | no
Cryptomonas | N |  | no | no
Cyanobacterium | N |  | no | no
Cyanobium | N |  | no | no
Cyanodermatium | N |  | no | no
Cyanophanon | N |  | no | no
Cyanothece | N |  | no | no
Dictyosphaerium | N |  | no | no
Dinobryon | N |  | no | no
Discoplastis | N |  | no | no
Elakatothrix | N |  | no | no
Epipyxis | N |  | yes | no
Ercegovicia | N |  | no | no
Euastrum | N |  | no | no
Eucapsis | N |  | no | no
Eudorina | N |  | no | no
Euglena | N |  | no | no
Euglenaria | N |  | no | no
Geitleribactron | N |  | no | no
Glaucospira | N |  | no | no
Gloeobotrys | N |  | no | no
Gloeothece | N |  | no | no
Golenkinia | N |  | no | no
Gomphosphaeria | N |  | no | no
Gonium | N |  | no | no
Haematococcus | N |  | no | no
Heteroleibleinia | N |  | yes | no
Hormidiopsis | N |  | no | no
Hydrococcus | N |  | yes | no
Jaaginema | N |  | no | no
Kirchneriella | N |  | no | no
Lacunastrum | N |  | no | no
Leibleinia | N |  | yes | no
Lepocinclis | N |  | no | no
Limnococcus | N |  | no | no
Limnothrix | N |  | no | no
Lobomonas | N |  | no | no
Mallomonas | N |  | no | no
Merismopedia | N |  | no | no
Messastrum | N |  | no | no
Micractinium | N |  | no | no
Microcrocis | N |  | yes | no
Microcystis | N |  | no | yes
Mischococcus | N |  | yes | no
Monomorphina | N |  | no | no
Monoraphidium | N |  | no | no
Muriella | N |  | no | no
Nephrocytium | N |  | no | no
Oocystis | N |  | no | no
Ophiocytium | N |  | no | no
Palmellopsis | N |  | no | no
Pandorina | N |  | no | no
Paulschulzia | N |  | no | no
Pectodictyon | N |  | no | no
Pediastrum | N |  | no | no
Peridinium | N |  | no | no
Phacus | N |  | no | no
Phaeogloea | N |  | no | no
Phaeoschizochlamys | N |  | no | no
Planktolyngbya | N |  | no | no
Planktothrix | N |  | no | no
Planotaenium | N |  | no | no
Pleurotaenium | N |  | no | no
Polylepidomonas | N |  | no | no
Pseudanabaena | N |  | no | no
Pseudocharaciopsis | N |  | yes | no
Pteromonas | N |  | no | no
Quadrigula | N |  | no | no
Radiococcus | N |  | no | no
Rhabdoderma | N |  | yes | no
Rhabdogloea | N |  | no | no
Rhodomonas | N |  | no | no
Rhodostichus | N |  | no | no
Roya | N |  | no | no
Scenedesmus | N |  | no | yes
Selenastrum | N |  | no | no
Snowella | N |  | no | no
Sorastrum | N |  | no | no
Sphaerocystis | N |  | no | no
Spirotaenia | N |  | no | no
Spirulina | N |  | no | no
Sporotetras | N |  | no | no
Staurastrum | N |  | no | no
Stauridium | N |  | no | no
Staurodesmus | N |  | no | no
Stipitococcus | N |  | yes | no
Strombomonas | N |  | no | no
Stylochrysalis | N |  | yes | no
Stylococcus | N |  | yes | no
Synechococcus | N |  | no | no
Synura | N |  | no | no
Tetrachrysis | N |  | no | no
Tetraedron | N |  | no | no
Tetraselmis | N |  | no | no
Tetrastrum | N |  | no | no
Trachelomonas | N |  | no | no
Trebouxia | N |  | no | no
Trochiscia | N |  | no | no
Woronichinia | N |  | no | no
Xenococcus | N |  | yes | no
Xenotholos | N |  | yes | no