The intent of the sampling in the Santa Clara Watershed is to provide a broad baseline of the overall health of the watershed.  Existing data is inconsistent for both parameters and sampling locations.  The monitoring performed in SWAMP will fill in many of the data gaps and provide data where none exists at all.  A broad suite of parameters will be tested at the various stations including toxicity, bioassessment, nutrients (phosphate, nitrate, chloride, nitrite, and sulfate), boron, TDS, ammonia, chlorophyll a, DO, pH, depth, temperature, conductivity, turbidity, bioaccumulation, metals chemistry in the water column and sediment, sediment grain size analysis, ELISA for Chlorpyrifos and Diazinon, and trace organic chemistry.

| River Segment | Parameter/Indicator | Rationale |
| --- | --- | --- |
| # 30 Random Stations & One Directed Station @ Blue Cut | Toxicity | - To provide baseline toxicity data for this watershed; - To define the extent of the problem toxicity may pose. |
|  | Bioassessment | - To provide baseline bioassessment data for this watershed; - To indicate the health and biological integrity of the aquatic invertebrate community. |
|  | Conventional Water Chemistry ([Nutrients: Phosphate, Nitrate, Chloride, Nitrite, & Sulfate], Boron & TDS) | - To provide baseline nutrient data for this watershed; - To define the extent of the problems nutrient enrichment & chloride may pose; - Various reaches of this watershed are 303(d) listed for chloride, nitrogen, and eutrophication. |
|  | Ammonia | - To provide baseline ammonia data for this watershed; - To define the extent of the problem ammonia may pose; - Various reaches of this watershed are 303(d) listed for nitrogen. |
|  | Chlorophyll a | - To provide baseline chlorophyll a data for this watershed; - Chlorophyll a data may be correlated to nutrient enrichment; - Various reaches of this watershed are 303(d) listed for nitrogen and eutrophication. |
|  | DO, pH, depth, temp, conductivity, turbidity & flow | - To provide baseline data for this watershed; - Potential impacts on aquatic life. |
| 6 Subwatershed Stations | Toxicity | - To provide baseline toxicity data for this subwatershed; - To define the extent of the problem toxicity may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Bioassessment | - To provide baseline bioassessment data for this subwatershed; - To indicate the health and biological integrity of the aquatic invertebrate community; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Conventional Water Chemistry ([Nutrients: Phosphate, Nitrate, Chloride, Nitrite, & Sulfate], Boron & TDS) | - To provide baseline nutrient data for this watershed; - To define the extent of the problems nutrient enrichment & chloride may pose; - Various reaches of this watershed are 303(d) listed for chloride, nitrogen, and eutrophication. |
|  | Ammonia | - To provide baseline ammonia data for this subwatershed; - To define the extent of the problem ammonia may pose; - Various reaches of this watershed are 303(d) listed for nitrogen; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Chlorophyll a | - To provide baseline chlorophyll a data for this subwatershed; - Chlorophyll a data may be correlated to nutrient enrichment; - Various reaches of this watershed are 303(d) listed for nitrogen and eutrophication; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | DO, pH, depth, temp, conductivity, turbidity & flow | - To provide baseline data for this subwatershed; - To define the extent of the problem these parameters may pose; potential impacts on aquatic life; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Bioaccumulation | - To provide baseline bioaccumulation data for this subwatershed; - To address possible human health concerns (contaminants in edible fish tissue) and ecologic concerns (benthic community impacts) which could result if the contaminants at a site were bioavailable for uptake by organisms; - To demonstrate the bioavailability of contaminants at these stations and the extent of the problem this poses; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Metals Chemistry – Water | - To provide baseline water column metals chemistry for this subwatershed; - To define the extent of the problem metals contamination may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Metals Chemistry – Sediment (& Grain Size Analysis) | - To provide baseline sediment metals chemistry for this subwatershed; - To define the extent of the problem sediment metals chemistry may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | ELISA for Chlorpyrifos & Diazinon | - To provide baseline chlorpyrifos and diazinon data for this subwatershed; - To define the extent of the problem chlorpyrifos and diazinon may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
| # Estuary Station # (This station represents the cumulative inputs into the watershed.) | Toxicity | - To provide baseline toxicity data for this watershed; - To define the extent of the problem toxicity poses. |
|  | Bioassessment | - To provide baseline bioassessment data for this watershed; - To indicate the health and biological integrity of the aquatic invertebrate community. |
|  | Conventional Water Chemistry ([Nutrients: Phosphate, Nitrate, Chloride, Nitrite, & Sulfate], Boron & TDS) | - To provide baseline nutrient data for this watershed; - To define the extent of the problems nutrient enrichment & chloride may pose; - Various reaches of this watershed are 303(d) listed for chloride, nitrogen, and eutrophication. |
|  | Ammonia | - To provide baseline ammonia data for this watershed; - To define the extent of the problem ammonia may pose; - Various reaches of this watershed are 303(d) listed for nitrogen. |
|  | Chlorophyll a | - To provide baseline chlorophyll a data for this watershed; - Chlorophyll a data may be correlated to nutrient enrichment; - Various reaches of this watershed are 303(d) listed for nitrogen and eutrophication. |
|  | DO, pH, depth, temp, conductivity, turbidity & flow | - To provide baseline data for this watershed; - To define the extent of the problem these parameters may pose; potential impacts on aquatic life; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Bioaccumulation | - To provide baseline bioaccumulation data for this watershed; - To address possible human health concerns (contaminants in edible fish tissue) and ecologic concerns (benthic community impacts) which could result if the contaminants at a site were bioavailable for uptake by organisms; - To demonstrate the bioavailability of contaminants at these stations and the extent of the problem this poses; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Metals Chemistry – Water | - To provide baseline water column metals chemistry for this watershed; - To define the extent of the problem metals contamination may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Metals Chemistry – Sediment (& Grain Size Analysis) | - To provide baseline sediment metals chemistry for this watershed; - To define the extent of the problem sediment metals chemistry may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | ELISA for Chlorpyrifos & Diazinon | - To provide baseline chlorpyrifos and diazinon data for this watershed; - To define the extent of the problem chlorpyrifos and diazinon may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Trace Organic Chem | - To provide baseline data of trace organic chemistry for this watershed; - To define the extent of the problem these parameters may pose; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |

Toxicity is a known impairment of the Calleguas Creek watershed.  Toxicity has severe consequences for the aquatic life of the area and is therefore a high priority for additional monitoring.  Calleguas Creek and the surrounding areas also have other identified impairments such as nutrients and chloride.  Monitoring to determine the extent of these parameters and their associated problems is included in this ambient monitoring plan.  Current efforts are underway at the Regional Board to address these constituents through TMDL development.  However, the main focus in the Calleguas Creek Watershed in relation to the SWAMP will be toxicity.  Chlorpyrifos and diazinon are suspected causes of the toxicity.  Sampling will be focused around toxicity testing, chlorpyrifos and diazinon testing, and metals chemistry.  Bioassessment will also be conducted to supplement information previously gathered in the region.  Furthermore, a directed approach has been utilized in the development of the Calleguas Creek study design because the size of the watershed is so much smaller than the Santa Clara River watershed and because a large data set already exists for this watershed.  The directed study will provide answers to questions regarding specific sites.

| River Segment | Parameter/Indicator | Rationale |
| --- | --- | --- |
| # 12 Directed Stations | Toxicity | - Previous studies indicate toxicity is a known problem; - To further define the extent of the toxicity problem and identify the causes of toxicity within this watershed; - If impaired at this station, further testing may be conducted upstream to potentially identify the source. |
|  | Bioassessment | - To provide baseline bioassessment data for this watershed; - Current data focuses on the effects of the POTWs in the area; goal is to expand sampling to provide information on ambient conditions; - To indicate the health and biological integrity of the aquatic invertebrate community. |
|  | Metals Chemistry | - To determine if metals concentrations are a potential cause of known toxicity problems within the watershed; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. - Various reaches of this watershed are 303(d) listed for metals. |
|  | Conventional Water Chemistry ([Nutrients: Phosphate, Nitrate, Chloride, Nitrite, & Sulfate], Boron & TDS) | - To provide baseline nutrient data for this watershed; - To define the extent of the problems nutrient enrichment & chloride may pose; - Various reaches of this watershed are 303(d) listed for chloride, nitrogen, and eutrophication. |
|  | Organophosphate Chemistry (including diazinon and chlorpyrifos) | - To determine if organophosphates are a potential cause of known toxicity problems within this watershed. - To provide baseline chlorpyrifos and diazinon data for this watershed; - To define the extent of the problem chlorpyrifos and diazinon may pose; they are suspected causes of known toxicity impairment; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Chlorophyll a | - To provide baseline chlorophyll a data for this watershed; - Chlorophyll a data may be correlated to nutrient enrichment; - Various reaches of this watershed are 303(d) listed for nitrogen. |
|  | Ammonia | - To provide baseline ammonia data for this watershed; - To define the extent of the problem ammonia may pose; - Various reaches of this watershed are 303(d) listed for nitrogen. |
|  | DO, pH, temperature, depth, conductivity, turbidity & flow | - To provide baseline data for this watershed; - To define the extent of the problem these parameters may pose; potential impacts on aquatic life; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Phase II TIE (At 2 stations TBD) | - Previous studies indicate toxicity is a known problem. - Phase II TIEs will further define sources of toxicity. |
| # Estuary Station | Bioaccumulation | - To provide baseline bioaccumulation data for this watershed; - To address possible human health concerns (contaminants in edible fish tissue) and ecologic concerns (benthic community impacts) which could result if the contaminants at a site were bioavailable for uptake by organisms; - To demonstrate the bioavailability of contaminants at these stations and the extent of the problem this poses; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Metals Chemistry | - To determine if metals concentrations are a potential cause of known toxicity problems within the watershed; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. - Various reaches of this watershed are 303(d) listed for metals. |
|  | Conventional Water Chemistry ([Nutrients: Phosphate, Nitrate, Chloride, Nitrite, & Sulfate], Boron & TDS) | - To provide baseline nutrient data for this watershed; - To define the extent of the problems nutrient enrichment & chloride may pose; - Various reaches of this watershed are 303(d) listed for chloride, nitrogen, and eutrophication. |
|  | Organophosphate Chemistry (including diazinon and chlorpyrifos) | - To determine if organophosphates are a potential cause of known toxicity problems within this watershed. - To provide baseline chlorpyrifos and diazinon data for this watershed; - To define the extent of the problem chlorpyrifos and diazinon may pose; they are suspected causes of known toxicity impairment; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |
|  | Bioassessment | - To provide baseline bioassessment data for this watershed; - Current data focuses on the effects of the POTWs in the area; goal is to expand sampling to provide information on ambient conditions; - To indicate the health and biological integrity of the aquatic invertebrate community. |
|  | Toxicity | - Previous studies indicate toxicity is a known problem; - To define the extent of the toxicity problem and identify the causes of toxicity within this watershed; - If impaired at this station, further testing may be conducted upstream to potentially identify the source. |
|  | Chlorophyll a | - To provide baseline chlorophyll a data for this watershed; - Chlorophyll a data may be correlated to nutrient enrichment; - Various reaches of this watershed are 303(d) listed for nitrogen. |
|  | Ammonia | - To provide baseline ammonia data for this watershed; - To define the extent of the problem ammonia may pose; - Various reaches of this watershed are 303(d) listed for nitrogen. |
|  | DO, pH, temperature, depth, conductivity, turbidity & flow | - To provide baseline data for this watershed; - To define the extent of the problem these parameters may pose; potential impacts on aquatic life; - If impaired at this station, further testing will be conducted upstream to potentially identify the source. |