*NOTE REGARDING SUGGESTED METHODS

All analytical methods listed above are suggested.  Other methods may be employed, and modifications of standard methods are encouraged, as long as the methods used:  1) meet the sensitivity requirements of the TRL's, and 2) are contained in 40CFR36, the most current version of Standard Methods, or another reliable procedure as documented to produce results that are equal to or more stringent than the method being modified (modifications made according to CFR (Title 40, Part 136.4).

Any changes in procedures due to equipment changes or to improved precision and accuracy will be documented.  Analyses and determinations must be performed by qualified personnel in conformance with the United States Environmental Protection Agency (EPA) or DHS approved test procedures described in the current Code of Federal Regulations (CFR) (Title 40, Part 136); "Test Methods for Evaluating Solid Waste," SW?846; or Title 22, CFR, Article 11, as appropriate. The test procedures may be modified subject to the application and approval of alternate test procedures under the CFR (Title 40, Part 136.4).  The SWAMP Program strongly encourages the use of "performance-based methodology" (PBM) for conducting analytical procedures and therefore recognized the use of modified standard procedures, as appropriately documented following CFR 40, Part 136.4.  The use of PBM allows for approved procedures to be modified according to these guidelines, which provide results that are equal to or better than (more stringent than) the standard protocol which was modified.

REFERENCES (Only the methods of analysis are listed in tables)

1.  US EPA.  Methods for Chemical Analysis of Water and Waste, revised March 1983, Manual #EPA-600/4-79-020.  Washington, D.C.

2.  US EPA.  Test methods for Evaluating Solid Waste. SW846 3rd edition. Update III (1997).

3.  American Public Health Association, et al.  Standard Methods for the Examination of Water and Wastewater. 18th Edition, 1996; 19th Edition, 1997; 20th Edition 1998.  Washington, D.C.

4.  American Society for Testing and Materials (ASTM).  Annual Book of Standards, Vol 11.02.