Data corrections HHB06 - Jack Lewis

Observer record corrections – Jack Lewis

Changed

2006,01,18,1640,12,3.72

to

2006,01,18,1640,12,5.72

Rating equation

Stage corrections - Jack Lewis

plot.or("hhb",06)

No explanation for Dec17 outlier.  I interpret this as an observer error.

Also remove last OR which was a month after the station was shut down.

hhb06.or <- hhb06.or[-c(13,37), ]

plot.or("hhb",06,linear=T)

No time trend and most errors are pretty small.  It might make

sense to shift the whole record down by about 0.01.

plot.or("hhb",06,x="stage",span=1)

Not much of a pattern to work with.

mean(hhb06.or$staff - hhb06.or$rawstg)

[1] -0.01294286

Shifted the whole year by -0.013 in TTS Adjuster.

A cluster of negative errors (-.058, -0.040, -0.043) remains in late December.

I adjusted these 3 hydrographs (Dec. 18-25) to match the ORS.

plot.or("hhb",06,linear=T,cor=T)

The remaining errors are random and the larger ones isolated.  There

is little or no bias remaining.

Turbidity corrections - Jack Lewis

HHB06 turbidity is generally very good.  I removed a few obviously erroneous

spikes.

26Dec2005:0430 to 27Dec2005:0020 very noisy: freehanded to bottom of noise pattern

Coded a few sections as questionable in Oct and Mar