## Q_HHB070222cfs657
WATERSHED WATCH DISCHARGE MEASUREMENT COMPUTATION SHEET
[5 empty] | Price AA meter - 1999 Equations | [12 empty] | Interval averagegage height | Interval average GH -base GH |  |  | Interval Q(Interval average GH-Base GH)
[13 empty] | Time |  | GH |  |  | Int. GH | Av.-Base |  | Interval Q
Personnel: | J.Noell |  |  |  | Begin Time: |  | 15:15 | Method: | .2/.8 |  |  | 1st Time | 15:15 | 1st G H | 6.36
Date: | 2007-02-27 |  |  |  | End Time: |  | 17:36 | Rev per click | aqua count |  |  | 2nd Time | 16:05 | 2nd G H | 6.2 | 1st interval average GH |  | 6.28 | 0.33 | 1st interval Q | 143.9442 | 47.5016
Location: | Freshwater Creek |  |  |  | Begin Gage Height: |  | 6.36 | ft |  |  |  | 3rd Time | 16:44 | 3rd G H | 6.18 | 2nd interval average GH |  | 6.19 | 0.24 | 2nd interval Q | 248.943 | 59.7463
Site: | Howard Heights |  |  |  | End Gage Height: |  | 5.95 | ft |  |  |  | 4th Time | 17:02 | 4th G H | 6.05 | 3rd |  | 6.115 | 0.165 | 3rd interval Q | 128.2234 | 21.1569
Meter # : | SF | Type: | AA |  | Accuracy Rating: |  | ideal |  |  |  |  | 5th Time | 17:36 | 5th G H | 5.95 | 4th |  | 6 | 0.05 | 4th interval Q | 135.6644 | 6.7832
Spin Test (pre-Q): | 90+ |  |  |  | Water Temperature: | [6 empty] | 6th Time |  | 6th G H |  | 5th |  |  |  | 5th interval Q |  | 135.188
Spin Test (post-Q): | 90+ |  |  |  | Air Temperature: | [11 empty] | Base GH | 5.95
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff: | [10 empty] | MGH | 6.1558
[16 empty] | tot Q |  | 656.7751
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter |  | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water |  |  | 96
Dead Left Edge of Water |  |  | 98
1 | 40 | 0.76604 | 99 | 2 | 1.4 | 3.3106 |  | 15 |  |  | 40.4 |  | 0 | 0.83641 | 0 | 0 | 0.64073 | 2.8 | 1.794 | 0.2732% | 15:15 stage 6.36
2 | 15 | 0.96593 | 101 | 2 | 1.5 | 2.0025 |  | 22 |  |  | 41.9 |  | 0 | 1.1755 | 0 | 0 | 1.1354 | 3 | 3.4062 | 0.5186%
3 | 5 | 0.99619 | 103 | 2.75 | 2.5 | 2.2361 | 34 |  | 28 | 40.9 |  | 40 | 1.8506 | 0 | 1.5612 | 1.7059 | 1.6994 | 6.875 | 11.6834 | 1.779%
4 |  | 1 | 106.5 | 5 |  | 4.3012 |  | 0 |  |  | 40 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | Slack water 104' to 109'
5 | 35 | 0.81915 | 110 | 2 | 2.2 | 4.134 | 17 |  | 19 | 40.3 |  | 40.3 | 0.94786 | 0 | 1.0573 | 1.0026 | 0.82126 | 4.4 | 3.6135 | 0.5502%
6 | 30 | 0.86603 | 112 | 2 | 2.8 | 2.0881 | 32 |  | 43 | 40.5 |  | 40.2 | 1.7599 | 0 | 2.3762 | 2.068 | 1.791 | 5.6 | 10.0293 | 1.527%
7 | 15 | 0.96593 | 114 | 2 | 3.1 | 2.0224 | 45 |  | 54 | 40 |  | 40.8 | 2.4982 | 0 | 2.9359 | 2.7171 | 2.6245 | 6.2 | 16.2718 | 2.478%
8 | 5 | 0.99619 | 116 | 2 | 3.5 | 2.0396 | 62 |  | 65 | 40 |  | 40.4 | 3.4352 | 0 | 3.5651 | 3.5002 | 3.4869 | 7 | 24.408 | 3.716%
9 | 15 | 0.96593 | 118 | 1.75 | 4.2 | 2.119 | 72 |  | 79 | 40.1 |  | 40.2 | 3.9765 | 0 | 4.3506 | 4.1636 | 4.0217 | 7.35 | 29.5596 | 4.501%
10 | 15 | 0.96593 | 119.5 | 1.25 | 4.2 | 1.5 | 80 |  | 82 | 40.2 |  | 40.3 | 4.4055 | 0 | 4.504 | 4.4547 | 4.3029 | 5.25 | 22.5904 | 3.44%
11 | 15 | 0.96593 | 120.5 | 1 | 4.4 | 1.0198 | 87 |  | 89 | 40.1 |  | 40.3 | 4.8013 | 0 | 4.887 | 4.8441 | 4.6791 | 4.4 | 20.5879 | 3.135%
12 | 10 | 0.98481 | 121.5 | 1 | 4.4 | 1 | 86 |  | 89 | 40 |  | 40.1 | 4.7581 | 0 | 4.9112 | 4.8347 | 4.7612 | 4.4 | 20.9494 | 3.19% | 16:05 stage 6.2
13 | 10 | 0.98481 | 122.5 | 1 | 4.4 | 1 | 91 |  | 88 | 40.1 |  | 40.1 | 5.0212 | 0 | 4.8563 | 4.9387 | 4.8637 | 4.4 | 21.4003 | 3.258%
14 | 10 | 0.98481 | 123.5 | 1 | 4.6 | 1.0198 | 94 |  | 93 | 40.4 |  | 40 | 5.1478 | 0 | 5.144 | 5.1459 | 5.0677 | 4.6 | 23.3114 | 3.549%
15 | 15 | 0.96593 | 124.5 | 1 | 4.7 | 1.005 | 97 |  | 98 | 40.1 |  | 40.4 | 5.3511 | 0 | 5.3661 | 5.3586 | 5.176 | 4.7 | 24.3272 | 3.704%
16 | 10 | 0.98481 | 125.5 | 1 | 4.7 | 1 | 101 |  | 90 | 40.2 |  | 40 | 5.5572 | 0 | 4.9786 | 5.2679 | 5.1879 | 4.7 | 24.383 | 3.713%
17 | 10 | 0.98481 | 126.5 | 1 | 4.8 | 1.005 | 107 |  | 91 | 40.2 |  | 40 | 5.8863 | 0 | 5.0337 | 5.46 | 5.3771 | 4.8 | 25.8099 | 3.93%
18 | 10 | 0.98481 | 127.5 | 1 | 5 | 1.0198 | 112 |  | 89 | 40.2 |  | 40 | 6.1605 | 0 | 4.9235 | 5.542 | 5.4578 | 5 | 27.289 | 4.155%
19 | 15 | 0.96593 | 128.5 | 1 | 5 | 1 | 112 |  | 83 | 40.2 |  | 40 | 6.1605 | 0 | 4.5928 | 5.3766 | 5.1934 | 5 | 25.9672 | 3.954%
20 | 15 | 0.96593 | 129.5 | 1 | 5.1 | 1.005 | 113 |  | 85 | 40 |  | 40.3 | 6.2464 | 0 | 4.6681 | 5.4572 | 5.2713 | 5.1 | 26.8836 | 4.093%
21 | 15 | 0.96593 | 130.5 | 1 | 5.3 | 1.0198 | 112 |  | 91 | 40.2 |  | 40.1 | 6.1605 | 0 | 5.0212 | 5.5909 | 5.4004 | 5.3 | 28.6219 | 4.358%
22 | 15 | 0.96593 | 131.5 | 1 | 5.7 | 1.077 | 106 |  | 85 | 40.3 |  | 40 | 5.817 | 0 | 4.703 | 5.26 | 5.0808 | 5.7 | 28.9605 | 4.409% | 16:44 stage 6.18
23 | 20 | 0.93969 | 132.5 | 1 | 5.7 | 1 | 104 |  | 75 | 40.2 |  | 40 | 5.7218 | 0 | 4.1518 | 4.9368 | 4.6391 | 5.7 | 26.4426 | 4.026%
24 | 25 | 0.90631 | 133.5 | 1 | 5.7 | 1 | 106 |  | 73 | 40.3 |  | 40 | 5.817 | 0 | 4.0416 | 4.9293 | 4.4675 | 5.7 | 25.4645 | 3.877%
25 | 25 | 0.90631 | 134.5 | 1 | 6.1 | 1.077 | 106 |  | 54 | 40 |  | 40.1 | 5.8605 | 0 | 2.9869 | 4.4237 | 4.0092 | 6.1 | 24.4563 | 3.724%
26 | 15 | 0.96593 | 135.5 | 1 | 6.3 | 1.0198 | 103 |  | 34 | 40.4 |  | 40.1 | 5.6389 |  | 1.8872 | 3.7631 | 3.6349 | 6.3 | 22.8996 | 3.487%
27 | 15 | 0.96593 | 136.5 | 1 | 6.3 | 1 | 93 |  | 31 | 40.2 |  | 40.9 | 5.1185 |  | 1.6889 | 3.4037 | 3.2877 | 6.3 | 20.7126 | 3.154% | 17:02 stage 6.05
28 | 20 | 0.93969 | 137.5 | 1 | 6.4 | 1.005 | 86 |  | 33 | 40.3 |  | 40.8 | 4.7228 |  | 1.8011 | 3.262 | 3.0652 | 6.4 | 19.6176 | 2.987%
29 | 10 | 0.98481 | 138.5 | 1 | 7 | 1.1662 | 88 |  | 38 | 40 |  | 41.8 | 4.8684 |  | 2.0222 | 3.4453 | 3.3929 | 7 | 23.7504 | 3.616%
30 | 10 | 0.98481 | 139.5 | 1 | 7 | 1 | 77 |  | 46 | 40.6 |  | 40.2 | 4.1993 |  | 2.5407 | 3.37 | 3.3188 | 7 | 23.2317 | 3.537%
31 | 10 | 0.98481 | 140.5 | 1 | 7.1 | 1.005 | 77 |  | 45 | 40.1 |  | 40.1 | 4.2515 |  | 2.492 | 3.3717 | 3.3205 | 7.1 | 23.5756 | 3.59%
32 | 10 | 0.98481 | 141.5 | 1 | 7 | 1.005 | 69 |  | 30 | 40 |  | 40.8 | 3.8211 |  | 1.639 | 2.73 | 2.6886 | 7 | 18.8199 | 2.865%
33 | 0 | 1 | 142 | 1 |  | 7.0178 | [6 empty] | 0 |  | 0 | 0 | 0 | 0 | 0 | 0% | concrete abutment
34 | 10 | 0.98481 | 144 | 2 | 4.6 | 5.016 | 11 |  | 3 | 41.5 |  | 45.6 | 0.6022 |  | 0.16285 | 0.38253 | 0.37672 | 9.2 | 3.4658 | 0.5277%
35 | 10 | 0.98481 | 146 | 5 | 4.5 | 2.0025 | 0 |  | 4 | 0 |  | 42.6 | 0 |  | 0.22482 | 0.11241 | 0.1107 | 22.5 | 2.4908 | 0.3793% | 17:36 stage 5.95
Dead Right Edge of Water |  |  | 150 | 0 |  | 6.0208 | [13 empty] | 21.92%
Right Edge of Water
[5 empty] | Totals: | 68.2596 | [11 empty] | 202.875 | 656.7751
Summary: |  |  | Notes: | Section:
Discharge: | 656.7751 | cfs |  | Flow Conditions: |  | falling limb, peak was yesterday? at 10.5 +-
Width: | 96 | ft
Area: | 202.875 | ft2 |  | Weather:
Mean Depth: | 2.1133 | ft |  | Control:
Mean Velocity: | 3.2373 | fps |  | Remarks: | Downstream side of bridge, 75lb columbus
Max % Flow: | 4.501%
Wetted Perimeter | 68.2596 | ft

## Q_HHB
SALMON FOREVER DISCHARGE MEASUREMENT COMPUTATION SHEET
Pygmy meter
Personnel: | C.Fenton, K.Bromley |  |  |  | Begin Time: |  | 13:10
Date: | 2006-09-10 |  |  |  | End Time: |  | 13:40
Location: | Howard Heights Bridge |  |  |  | Begin Gage Height: |  | 1.21 | ft
Site: | Freshwater Creek |  |  |  | End Gage Height: |  | 1.21 | ft
Meter: | 6 | Type: | Pygmy |  | Accuracy Rating:
Spin Test (pre-Q): |  | 94 sec |  |  | Water Temperature:
Spin Test (post-Q): |  |  |  |  | Air Temperature:
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff:
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter |  | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water |  |  | 4.8
Dead Left Edge of Water |  |  | 6
1 | 0 | 1 | 6.4 | 0 | 0.3 | 0 |  | 3 |  |  | 42.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
2 |  | 1 | 6.7 | 0 | 0.3 | 0 |  | 3 |  |  | 44 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
3 |  | 1 | 7 | 0 | 0.38 | 0 |  | 4 |  |  | 40.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
4 |  | 1 | 7.3 | 0 | 0.4 | 0 |  | 4 |  |  | 45.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
5 |  | 1 | 7.6 | 0 | 0.43 | 0 |  | 5 |  |  | 48.7 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
6 |  | 1 | 7.9 | 0 | 0.49 | 0 |  | 6 |  |  | 47.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
7 |  | 1 | 8.2 | 0 | 0.5 | 0 |  | 6 |  |  | 41.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
8 |  | 1 | 8.5 | 0 | 0.5 | 0 |  | 5 |  |  | 43.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
9 |  | 1 | 8.8 | 0 | 0.52 | 0 |  | 6 |  |  | 44.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
10 |  | 1 | 9.1 | 0 | 6 | 0 |  | 5 |  |  | 44.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
11 |  | 1 | 9.4 | 0 | 0.55 | 0 |  | 4 |  |  | 41.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
12 |  | 1 | 9.7 | 0 | 0.6 | 0 |  | 5 |  |  | 46.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
13 |  | 1 | 10 | 0 | 0.5 | 0 |  | 5 |  |  | 49 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
14 |  | 1 | 10.3 | 0 | 0.5 | 0 |  | 4 |  |  | 41.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
15 |  | 1 | 10.6 | 0 | 0.53 | 0 |  | 5 |  |  | 47.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
16 |  | 1 | 10.9 | 0 | 0.53 | 0 |  | 5 |  |  | 45.5 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
17 |  | 1 | 11.2 | 0 | 0.5 | 0 |  | 5 |  |  | 42.3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
18 |  | 1 | 11.5 | 0 | 0.5 | 0 |  | 6 |  |  | 42.1 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
19 |  | 1 | 11.8 | 0 | 0.55 | 0 |  | 6 |  |  | 42.6 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
20 |  | 1 | 12.1 | 0 | 0.53 | 0 |  | 6 |  |  | 41.4 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
21 |  | 1 | 12.4 | 0 | 0.5 | 0 |  | 7 |  |  | 45.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
22 |  | 1 | 12.7 | 0 | 0.4 | 0 |  | 6 |  |  | 42.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
23 |  | 1 | 13 | 0 | 0.35 | 0 |  | 5 |  |  | 43.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
24 |  | 1 | 13.3 | 0 | 0.3 | 0 |  | 5 |  |  | 40.9 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
25 |  | 1 | 13.6 | 0 | 0.3 | 0 |  | 4 |  |  | 42.8 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
26 |  | 1 | 13.9 | 0 | 0.2 | 0 |  | 4 |  |  | 46 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
27 |  | 1 | 15 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
28 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
29 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
30 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
31 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
32 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
33 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
34 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
35 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0!
Dead Right Edge of Water |  |  | 15
Right Edge of Water |  |  | 16
[5 empty] | Totals: | 0 | [11 empty] | 0 | 0
Summary: |  |  | Notes: | Section:
Discharge: | 0 | cfs |  | Flow Conditions:
Width: | 0 | ft
Area: | 0 | ft2 |  | Weather:
Mean Depth: | #DIV/0! | ft |  | Control:
Mean Velocity: | #DIV/0! | fps |  | Remarks:
Max % Flow: | #DIV/0!
Wetted Perimeter | 0 | ft

## Q_HHB061118cfs8.78
WATERSHED WATCH DISCHARGE MEASUREMENT COMPUTATION SHEET
Price AA meter - 1999 Equations
Personnel: | C.Fenton, M.Amelin |  |  |  | Begin Time: |  | 14:30 |  | Method: | 0.6 |  |  | Rev per click |  | 1
Date: | 2006-11-18 |  |  |  | End Time: |  | 15:08
Location: | Freshwater Creek |  |  |  | Begin Gage Height: |  | 1.6 | ft
Site: | Howard Heights Bridge |  |  |  | End Gage Height: |  | 1.6 | ft
Meter # : | 6006 | Type: | AA |  | Accuracy Rating: |  | fair
Spin Test (pre-Q): | 90+ |  |  |  | Water Temperature:
Spin Test (post-Q): | 90+ |  |  |  | Air Temperature:
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff:
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter |  | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water |  |  | 8.1
Dead Left Edge of Water
1 |  | 1 | 11 | 2 | 0.5 | 2.9428 |  | 16 |  |  | 43.2 |  | 0 | 0.83439 | 0 | 0 | 0.83439 | 1 | 0.83439 | 9.504% | too shallow till 11.0'
2 |  | 1 | 12 | 1 | 0.7 | 1.0198 |  | 23 |  |  | 42.9 |  | 0 | 1.1999 | 0 | 0 | 1.1999 | 0.7 | 0.8399 | 9.567%
3 |  | 1 | 13 | 1 | 0.95 | 1.0308 |  | 21 |  |  | 43.1 |  | 0 | 1.0921 | 0 | 0 | 1.0921 | 0.95 | 1.0375 | 11.82% | small log jam up stream
4 |  | 1 | 14 | 1 | 1.1 | 1.0112 |  | 9 |  |  | 47.8 |  | 0 | 0.43293 | 0 | 0 | 0.43293 | 1.1 | 0.47622 | 5.424%
5 |  | 1 | 15 | 1 | 1.3 | 1.0198 |  | 9 |  |  | 46.6 |  | 0 | 0.44362 | 0 | 0 | 0.44362 | 1.3 | 0.57671 | 6.569%
6 |  | 1 | 16 | 0.75 | 1.2 | 1.005 |  | 12 |  |  | 42.2 |  | 0 | 0.64476 | 0 | 0 | 0.64476 | 0.9 | 0.58028 | 6.61%
7 |  | 1 | 16.5 | 0.5 | 1.1 | 0.5099 |  | 17 |  |  | 45.2 |  | 0 | 0.84704 | 0 | 0 | 0.84704 | 0.55 | 0.46587 | 5.306%
8 |  | 1 | 17 | 0.5 | 1 | 0.5099 |  | 22 |  |  | 43.6 |  | 0 | 1.1303 | 0 | 0 | 1.1303 | 0.5 | 0.56516 | 6.437%
9 |  | 1 | 17.5 | 0.5 | 1 | 0.5 |  | 27 |  |  | 44.9 |  | 0 | 1.3436 | 0 | 0 | 1.3436 | 0.5 | 0.67181 | 7.652%
10 |  | 1 | 18 | 0.5 | 0.9 | 0.5099 |  | 28 |  |  | 42.3 |  | 0 | 1.4772 | 0 | 0 | 1.4772 | 0.45 | 0.66476 | 7.572%
11 |  | 1 | 18.5 | 0.5 | 0.85 | 0.50249 |  | 28 |  |  | 44.7 |  | 0 | 1.3989 | 0 | 0 | 1.3989 | 0.425 | 0.59453 | 6.772%
12 |  | 1 | 19 | 0.5 | 0.76 | 0.50804 |  | 24 |  |  | 42.5 |  | 0 | 1.2629 | 0 | 0 | 1.2629 | 0.38 | 0.47989 | 5.466%
13 |  | 1 | 19.5 | 0.5 | 0.72 | 0.5016 |  | 27 |  |  | 44.6 |  | 0 | 1.3525 | 0 | 0 | 1.3525 | 0.36 | 0.48692 | 5.546%
14 |  | 1 | 20 | 0.5 | 0.6 | 0.5142 |  | 26 |  |  | 42.3 |  | 0 | 1.373 | 0 | 0 | 1.373 | 0.3 | 0.4119 | 4.692%
15 |  | 1 | 20.5 | 1 | 0.5 | 0.5099 |  | 4 |  |  | 52.1 |  | 0 | 0.18707 | 0 | 0 | 0.18707 | 0.5 | 0.093537 | 1.065% | branch in water
16 |  | 1 |  | 0 |  | 20.5061 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
17 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
18 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
19 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
20 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
21 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
22 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
23 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
24 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
25 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Dead Right Edge of Water
Right Edge of Water |  |  |  | 26
[5 empty] | Totals: | 33.1014 | [11 empty] | 9.915 | 8.7793
Summary: |  |  | Notes: | Section:
Discharge: | 8.7793 | cfs |  | Flow Conditions: |  | steady, receding
Width: | 8.1 | ft
Area: | 9.915 | ft2 |  | Weather:
Mean Depth: | 1.2241 | ft |  | Control:
Mean Velocity: | 0.88546 | fps |  | Remarks: | wading, upstream side of bridge 80' above staff plates
Max % Flow: | 11.82%
Wetted Perimeter | 33.1014 | ft

## Q_HHB061229cfs70
WATERSHED WATCH DISCHARGE MEASUREMENT COMPUTATION SHEET
Price AA meter - 1999 Equations
Personnel: | C.Fenton |  |  |  | Begin Time: |  | 9:02 |  | Method: | 0.6 |  |  | Rev per click |  | 1
Date: | 2006-12-29 |  |  |  | End Time: |  | 10:05
Location: | HHB |  |  |  | Begin Gage Height: |  | 2.67 | ft
Site: | Freshwater Creek |  |  |  | End Gage Height: |  | 2.65 | ft
Meter # : | 6006 | Type: | AA |  | Accuracy Rating: |  | fair
Spin Test (pre-Q): | 90+ |  |  |  | Water Temperature:
Spin Test (post-Q): | 90+ |  |  |  | Air Temperature:
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff:
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter |  | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water |  |  | 2.5
Dead Left Edge of Water |  |  | 3.5
1 |  | 1 | 5 | 1.25 | 1.33 | 2.8318 |  | 9 |  |  | 41.88 |  | 0 | 0.49161 | 0 | 0 | 0.49161 | 1.6625 | 0.8173 | 1.164%
2 |  | 1 | 6 | 1.5 | 1.35 | 1.0002 |  | 18 |  |  | 41.39 |  | 0 | 0.97664 | 0 | 0 | 0.97664 | 2.025 | 1.9777 | 2.816%
3 |  | 1 | 8 | 2 | 1.3 | 2.0006 |  | 23 |  |  | 41.47 |  | 0 | 1.2406 | 0 | 0 | 1.2406 | 2.6 | 3.2256 | 4.592%
4 |  | 1 | 10 | 2 | 1.35 | 2.0006 |  | 28 |  |  | 40.72 |  | 0 | 1.5339 | 0 | 0 | 1.5339 | 2.7 | 4.1415 | 5.896%
5 |  | 1 | 12 | 1.5 | 1.45 | 2.0025 |  | 32 |  |  | 40.81 |  | 0 | 1.7466 | 0 | 0 | 1.7466 | 2.175 | 3.7989 | 5.409%
6 |  | 1 | 13 | 1 | 1.45 | 1 |  | 32 |  |  | 40.66 |  | 0 | 1.753 | 0 | 0 | 1.753 | 1.45 | 2.5419 | 3.619%
7 |  | 1 | 14 | 1 | 1.5 | 1.0012 |  | 35 |  |  | 40.72 |  | 0 | 1.9129 | 0 | 0 | 1.9129 | 1.5 | 2.8693 | 4.085%
8 |  | 1 | 15 | 1 | 1.5 | 1 |  | 33 |  |  | 41.44 |  | 0 | 1.7736 | 0 | 0 | 1.7736 | 1.5 | 2.6603 | 3.788%
9 |  | 1 | 16 | 1 | 1.6 | 1.005 |  | 33 |  |  | 40.69 |  | 0 | 1.8059 | 0 | 0 | 1.8059 | 1.6 | 2.8895 | 4.114%
10 |  | 1 | 17 | 1 | 1.71 | 1.006 |  | 43 |  |  | 40.28 |  | 0 | 2.3715 | 0 | 0 | 2.3715 | 1.71 | 4.0552 | 5.774%
11 |  | 1 | 18 | 1 | 1.8 | 1.004 |  | 50 |  |  | 40.78 |  | 0 | 2.7211 | 0 | 0 | 2.7211 | 1.8 | 4.898 | 6.973%
12 |  | 1 | 19 | 1 | 1.85 | 1.0012 |  | 43 |  |  | 40.91 |  | 0 | 2.3352 | 0 | 0 | 2.3352 | 1.85 | 4.3202 | 6.151%
13 |  | 1 | 20 | 1 | 2 | 1.0112 |  | 33 |  |  | 41.25 |  | 0 | 1.7816 | 0 | 0 | 1.7816 | 2 | 3.5633 | 5.073%
14 |  | 1 | 21 | 1 | 2.05 | 1.0012 |  | 36 |  |  | 40.38 |  | 0 | 1.9834 | 0 | 0 | 1.9834 | 2.05 | 4.0661 | 5.789%
15 |  | 1 | 22 | 1 | 2.15 | 1.005 |  | 39 |  |  | 40.4 |  | 0 | 2.1462 | 0 | 0 | 2.1462 | 2.15 | 4.6143 | 6.57% | small branch at bridge
16 |  | 1 | 23 | 1 | 2.25 | 1.005 |  | 37 |  |  | 41.38 |  | 0 | 1.9892 | 0 | 0 | 1.9892 | 2.25 | 4.4758 | 6.372%
17 |  | 1 | 24 | 1 | 2.3 | 1.0012 |  | 36 |  |  | 40.85 |  | 0 | 1.9608 | 0 | 0 | 1.9608 | 2.3 | 4.5099 | 6.421%
18 |  | 1 | 25 | 1 | 2.5 | 1.0198 |  | 26 |  |  | 41.14 |  | 0 | 1.4112 | 0 | 0 | 1.4112 | 2.5 | 3.528 | 5.023%
19 |  | 1 | 26 | 1 | 2.7 | 1.0198 |  | 15 |  |  | 43.22 |  | 0 | 0.783 | 0 | 0 | 0.783 | 2.7 | 2.1141 | 3.01%
20 |  | 1 | 27 | 1 | 3 | 1.044 |  | 10 |  |  | 44.88 |  | 0 | 0.50907 | 0 | 0 | 0.50907 | 3 | 1.5272 | 2.174%
21 |  | 1 | 28 | 1 | 3 | 1 |  | 6 |  |  | 43.47 |  | 0 | 0.32212 | 0 | 0 | 0.32212 | 3 | 0.96636 | 1.376%
22 |  | 1 | 29 | 1 | 3 | 1 |  | 8 |  |  | 43.43 |  | 0 | 0.42393 | 0 | 0 | 0.42393 | 3 | 1.2718 | 1.811%
23 |  | 1 | 30 | 1 | 2.9 | 1.005 |  | 6 |  |  | 44.15 |  | 0 | 0.31743 | 0 | 0 | 0.31743 | 2.9 | 0.92056 | 1.311%
24 |  | 1 | 31 | 1 | 2.8 | 1.005 |  | 3 |  |  | 42.6 |  | 0 | 0.17307 | 0 | 0 | 0.17307 | 2.8 | 0.48459 | 0.6899%
25 |  | 1 | 32 | 1 |  | 2.9732 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Dead Right Edge of Water |  |  | 33
Right Edge of Water |  |  | 34
[5 empty] | Totals: | 31.9438 | [11 empty] | 53.2225 | 70.2373
Summary: |  |  | Notes: | Section:
MGH | 2.66 | ft
Discharge: | 70.2373 | cfs |  | Flow Conditions: |  | receeding limb
Width: | 31.5 | ft
Area: | 53.2225 | ft2 |  | Weather: | clear cold
Mean Depth: | 1.6896 | ft |  | Control:
Mean Velocity: | 1.3197 | fps |  | Remarks: | wading downstream of bridge 30 feet
Max % Flow: | 6.973%
Wetted Perimeter | 31.9438 | ft

## Q_HHB080131cfs1444
WATERSHED WATCH DISCHARGE MEASUREMENT COMPUTATION SHEET
[5 empty] | Price AA meter - 1999 Equations | [12 empty] | Interval averagegage height | Interval average GH -base GH |  |  | Interval Q(Interval average GH-Base GH)
[13 empty] | Time |  | GH |  |  | Int. GH | Av.-Base |  | Interval Q
Personnel: | J.Noell |  |  |  | Begin Time: |  | 15:21 |  | Method: | .2/.8 |  | 1st Time | 15:21 | 1st G H | 11.38
Date: | 2008-01-31 |  |  |  | End Time: |  | 18:20 |  | Rev per click |  | 1 and 5 | 2nd Time | 15:35 | 2nd G H | 11.44 | 1st interval average GH |  | 11.41 | 0.68 | 1st interval Q | 364.3532 | 247.7602
Location: | Howard Heights Bridge |  |  |  | Begin Gage Height: |  | 11.38 | ft |  |  |  | 3rd Time | 16:26 | 3rd G H | 11.35 | 2nd interval average GH |  | 11.395 | 0.665 | 2nd interval Q | 496.3413 | 330.067
Site: | Freshwater Creek |  |  |  | End Gage Height: |  | 10.6 | ft |  |  |  | 4th Time | 16:53 | 4th G H | 11.2 | 3rd |  | 11.275 | 0.545 | 3rd interval Q | 459.3688 | 250.356
Meter # : | 6006 | Type: | AA |  | Accuracy Rating: |  | good |  |  |  |  | 5th Time | 17:45 | 5th G H | 10.85 | 4th |  | 11.025 | 0.295 | 4th interval Q | 123.4734 | 36.4247
Spin Test (pre-Q): | 120+ |  |  |  | Water Temperature: | [6 empty] | 6th Time | 18:20 | 6th G H | 10.6 | 5th |  | 10.73 | 0 | 5th interval Q |  | 864.6078
Spin Test (post-Q): | 100+ |  |  |  | Air Temperature: | [11 empty] | Base GH | 10.73
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff: | [10 empty] | MGH | 11.329
[16 empty] | tot Q |  | 1443.5367
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter | ;2 | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water
Dead Left Edge of Water |  |  | 26.5
1 | 45 | 0.70711 | 28 | 3 | 7.7 | 29.0395 | 48 |  | 21 | 45.1 |  | 40.2 | 2.3644 | 0 | 1.1696 | 1.767 | 1.2494 | 23.1 | 28.8619 | 1.999% | one click
2 | 45 | 0.70711 | 31 | 3 | 7.1 | 3.0594 | 27 |  | 15 | 40 |  | 40 | 1.506 | 0 | 0.8446 | 1.1753 | 0.83108 | 21.3 | 17.7019 | 1.226% | one click
3 | 90 | 6.1232e-17 | 34 | 3 | 7.8 | 3.0806 | 32 |  | 5 | 40 |  | 40 | 1.7816 | 0 | 0.2934 | 1.0375 | 6.353e-17 | 23.4 | 1.4866e-15 | 1.03e-16% | Boil, 90+ degrees,one click
4 | 45 | 0.70711 | 37 | 3 | 7.8 | 3 | 50 |  | 45 | 40 |  | 40 | 2.7738 | 0 | 2.4982 | 2.636 | 1.8639 | 23.4 | 43.616 | 3.021% | edge of flow, 5 click
5 | 20 | 0.93969 | 40 | 3 | 8.3 | 3.0414 | 65 |  | 35 | 42.6 |  | 43.1 | 3.3819 | 0 | 1.8082 | 2.5951 | 2.4386 | 24.9 | 60.7207 | 4.206% | 5 click
6 | 20 | 0.93969 | 43 | 3 | 8.6 | 3.015 | 85 |  | 70 | 40 |  | 40 | 4.703 | 0 | 3.8762 | 4.2896 | 4.0309 | 25.8 | 103.9974 | 7.204% | 5 click
7 | 35 | 0.81915 | 46 | 3 | 9.3 | 3.0806 | 90 |  | 85 | 40 |  | 40.9 | 4.9786 | 0 | 4.5999 | 4.7893 | 3.9231 | 27.9 | 109.4552 | 7.582% | Begin center flow strand
8 | 20 | 0.93969 | 49 | 2.5 | 9.6 | 3.015 | 85 |  | 95 | 40 |  | 40.1 | 4.703 | 0 | 5.2411 | 4.9721 | 4.6722 | 24 | 112.1332 | 7.768% | 16:26 stage 11.35
9 | 20 | 0.93969 | 51 | 1.5 | 9.8 | 2.01 | 85 |  | 115 | 40.5 |  | 40.6 | 4.6452 | 0 | 6.2629 | 5.454 | 5.1251 | 14.7 | 75.3393 | 5.219% | 5 click
10 | 20 | 0.93969 | 52 | 1 | 10 | 1.0198 | 95 |  | 105 | 40.3 |  | 40.3 | 5.2152 | 0 | 5.7623 | 5.4888 | 5.1578 | 10 | 51.5775 | 3.573% | 5 click
11 | 15 | 0.96593 | 53 | 1 | 10.2 | 1.0198 | 90 |  | 100 | 40 |  | 40.5 | 4.9786 | 0 | 5.4618 | 5.2202 | 5.0423 | 10.2 | 51.4315 | 3.563% | 5 click
12 | 15 | 0.96593 | 54 | 1 | 10.2 | 1 | 90 |  | 100 | 40 |  | 40 | 4.9786 | 0 | 5.5298 | 5.2542 | 5.0752 | 10.2 | 51.7667 | 3.586% | 5 click
13 | 15 | 0.96593 | 55 | 1 | 10.4 | 1.0198 | 75 |  | 100 | 41.1 |  | 40.1 | 4.0412 | 0 | 5.5161 | 4.7786 | 4.6158 | 10.4 | 48.0041 | 3.325% | 5 click
14 | 10 | 0.98481 | 56 | 1 | 10.3 | 1.005 | 75 |  | 115 | 40.7 |  | 41 | 4.0807 | 0 | 6.202 | 5.1413 | 5.0632 | 10.3 | 52.1514 | 3.613% | 5 click
15 | 10 | 0.98481 | 57 | 1 | 10.8 | 1.118 | 80 |  | 105 | 40.7 |  | 40.1 | 4.3516 | 0 | 5.791 | 5.0713 | 4.9942 | 10.8 | 53.9376 | 3.736% | 5 click
16 | 0 | 1 | 58 | 1 | 11.1 | 1.044 | 55 |  | 110 | 40.4 |  | 40 | 3.0194 | 0 | 6.081 | 4.5502 | 4.5502 | 11.1 | 50.5071 | 3.499% | 16:53 stage 11.2
17 | 0 | 1 | 59 | 1 | 11.3 | 1.0198 | 60 |  | 110 | 42.2 |  | 41.1 | 3.1526 | 0 | 5.9187 | 4.5357 | 4.5357 | 11.3 | 51.2529 | 3.551% | 5 click
18 | 5 | 0.99619 | 60 | 1 | 11.2 | 1.005 | 60 |  | 95 | 40 |  | 40 | 3.325 | 0 | 5.2542 | 4.2896 | 4.2733 | 11.2 | 47.8607 | 3.316% | 5 click
19 | 5 | 0.99619 | 61 | 1 | 11.1 | 1.005 | 60 |  | 100 | 44.1 |  | 40.4 | 3.0175 | 0 | 5.4752 | 4.2464 | 4.2302 | 11.1 | 46.9554 | 3.253% | wire broken, one click
20 | 5 | 0.99619 | 62 | 1 | 11.4 | 1.044 | 62 |  | 86 | 40 |  | 40.2 | 3.4352 | 0 | 4.7345 | 4.0849 | 4.0693 | 11.4 | 46.3905 | 3.214% | one click
21 | 5 | 0.99619 | 63 | 1 | 11.7 | 1.044 | 49 |  | 87 | 40.4 |  | 40.1 | 2.6919 | 0 | 4.8013 | 3.7466 | 3.7324 | 11.7 | 43.6685 | 3.025% | one click
22 | 10 | 0.98481 | 64 | 1 | 12.5 | 1.2806 | 55 |  | 82 | 40.4 |  | 40 | 3.0194 | 0 | 4.5376 | 3.7785 | 3.7211 | 12.5 | 46.5138 | 3.222% | one click
23 | 0 | 1 | 65 | 1 | 12.1 | 1.077 | 65 |  | 77 | 40 |  | 40 | 3.6006 | 0 | 4.262 | 3.9313 | 3.9313 | 12.1 | 47.569 | 3.295% | one click
24 | 0 | 1 | 66 | 1 | 11.9 | 1.0198 | 64 |  | 73 | 40 |  | 40 | 3.5455 | 0 | 4.0416 | 3.7935 | 3.7935 | 11.9 | 45.1429 | 3.127% | one click
25 | 5 | 0.99619 | 67 | 1.5 | 10.9 | 1.4142 | 46 |  | 28 | 40 |  | 40 | 2.5533 | 0 | 1.5612 | 2.0572 | 2.0494 | 16.35 | 33.5079 | 2.321% | Eddy at abuttment
26 |  | 1 | 69 | 2.5 | 9.5 | 2.4413 | 7 |  | 24 | 40 |  | 41.7 | 0.40364 | 0 | 1.2867 | 0.84519 | 0.84519 | 23.75 | 20.0734 | 1.391% | 17:45 stage 10.85
27 | 20 | 0.93969 | 72 | 3 | 8.9 | 3.0594 | 32 |  | 22 | 42.4 |  | 41.7 | 1.6818 | 0 | 1.181 | 1.4314 | 1.3451 | 26.7 | 35.9136 | 2.488% | one click
28 | 20 | 0.93969 | 75 | 3 | 6 | 4.1725 | 34 |  | 27 | 41.7 |  | 40 | 1.8155 | 0 | 1.506 | 1.6608 | 1.5606 | 18 | 28.0909 | 1.946% | one click
29 | 20 | 0.93969 | 78 | 6.5 | 3.5 | 3.9051 | 30 |  | 38 | 41.3 |  | 40.9 | 1.6193 | 0 | 2.0663 | 1.8428 | 1.7317 | 22.75 | 39.3956 | 2.729% | 18:20 stage 10.60
30 |  |  | 83 | [16 empty] | 0%
Dead Right Edge of Water |  |  | 83
Right Edge of Water
[5 empty] | Totals: | 83.0557 | [11 empty] | 482.25 | 1443.5367
Summary: |  |  | Notes: | Section:
MGH= | 11.329 | ft
Discharge: | 1443.5367 | cfs |  | Flow Conditions: |  | close to peak
Width: | 0 | ft
Area: | 482.25 | ft2 |  | Weather: | scattered rain showers
Mean Depth: | #DIV/0! | ft |  | Control:
Mean Velocity: | 2.9933 | fps |  | Remarks: | 50 lb columbus weight, debris moving through,
Max % Flow: | 7.768%
Wetted Perimeter | 83.0557 | ft

## Q_HHB080104cfs883
14:28
WATERSHED WATCH DISCHARGE MEASUREMENT COMPUTATION SHEET
[5 empty] | Price AA meter - 1999 Equations | [12 empty] | Interval averagegage height | Interval average GH -base GH
[13 empty] | Time |  | GH |  |  | Int. GH | Av.-Base
Personnel: | J.Noell |  |  |  | Begin Time: |  | 13:57 |  | Method: | .2/.8 |  | 1st Time | 13:57 | 1st G H | 9.08
Date: | 2008-01-04 |  |  |  | End Time: |  | 15:31 |  | Rev per click |  | 5 | 2nd Time |  | 2nd G H | 8.6 | 1st interval average GH |  | 8.84 | 1.14
Location: | Howard Heights Bridge |  |  |  | Begin Gage Height: |  | 9.08 | ft |  |  |  | 3rd Time | 15:31 | 3rd G H | 7.7 | 2nd interval average GH |  | 8.15 | 0.45
Site: | HHB Freshwater Creek |  |  |  | End Gage Height: |  | 7.7 | ft |  |  |  | 4th Time |  | 4th G H
Meter # : | 6006 | Type: | AA |  | Accuracy Rating: |  | good |  |  |  |  | 5th Time |  | 5th G H
Spin Test (pre-Q): | 100+ |  |  |  | Water Temperature: | [11 empty] | Base GH | 7.7
Spin Test (post-Q): | 90+ |  |  |  | Air Temperature: | [10 empty] | 1st interval Q |  | 621.5881
[16 empty] | 2nd interval Q |  | 261.4829
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff: | [10 empty] | MGH | 8.6357
[16 empty] | tot Q |  | 883.0709
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter |  | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water |  |  | 25
Dead Left Edge of Water |  |  | 31
1 | 30 | 0.86603 | 33 | 4 | 2.6 | 8.4119 | 25 |  | 20 | 40 |  | 49.1 | 1.3958 | 0 | 0.91589 | 1.1558 | 1.001 | 10.4 | 10.4103 | 1.179% | 15:31 stage 7.70'
2 | 60 | 0.5 | 37 | 4 | 3.9 | 4.2059 | 25 |  | 30 | 46.5 |  | 40.1 | 1.2032 | 0 | 1.6673 | 1.4352 | 0.71761 | 15.6 | 11.1948 | 1.268% | Flow is a boil
3 | 90 | 6.1232e-17 | 41 | 4 | 4.3 | 4.02 | 20 |  | 25 | 46.9 |  | 48.3 | 0.95801 | 0 | 1.159 | 1.0585 | 6.4815e-17 | 17.2 | 1.1148e-15 | 1.262e-16% | Flow is a boil
4 | 40 | 0.76604 | 45 | 3.5 | 4.4 | 4.0012 | 25 |  | 20 | 49.3 |  | 41.5 | 1.1359 | 0 | 1.0804 | 1.1081 | 0.84886 | 15.4 | 13.0724 | 1.48% | Flow is a boil
5 | 40 | 0.76604 | 48 | 2.5 | 5 | 3.0594 | 45 |  | 40 | 43.4 |  | 40 | 2.3039 | 0 | 2.2226 | 2.2632 | 1.7337 | 12.5 | 21.6718 | 2.454% | Flow is a boil
6 | 30 | 0.86603 | 50 | 2 | 5.7 | 2.119 | 60 |  | 35 | 40.8 |  | 43.4 | 3.2602 | 0 | 1.7959 | 2.528 | 2.1893 | 11.4 | 24.9582 | 2.826% | Flow is a boil
7 | 20 | 0.93969 | 52 | 2 | 5.8 | 2.0025 | 60 |  | 60 | 40 |  | 43.4 | 3.325 | 0 | 3.0659 | 3.1955 | 3.0027 | 11.6 | 34.8319 | 3.944%
8 | 30 | 0.86603 | 54 | 2 | 6.1 | 2.0224 | 80 |  | 65 | 41.3 |  | 42.5 | 4.2886 | 0 | 3.3898 | 3.8392 | 3.3249 | 12.2 | 40.5633 | 4.593%
9 | 30 | 0.86603 | 56 | 2 | 6.5 | 2.0396 | 85 |  | 85 | 41.8 |  | 42.1 | 4.5012 | 0 | 4.4693 | 4.4853 | 3.8844 | 13 | 50.4967 | 5.718%
10 | 30 | 0.86603 | 58 | 2 | 6.7 | 2.01 | 85 |  | 90 | 41.4 |  | 41.4 | 4.5446 | 0 | 4.8108 | 4.6777 | 4.051 | 13.4 | 54.2835 | 6.147%
11 | 30 | 0.86603 | 60 | 2 | 7.3 | 2.0881 | 85 |  | 100 | 40 |  | 41.4 | 4.703 | 0 | 5.3434 | 5.0232 | 4.3502 | 14.6 | 63.5132 | 7.192% | 14:28 stage 8.60
12 | 30 | 0.86603 | 62 | 2 | 7.4 | 2.0025 | 60 |  | 110 | 40.1 |  | 40 | 3.3168 | 0 | 6.081 | 4.6989 | 4.0693 | 14.8 | 60.2263 | 6.82%
13 | 30 | 0.86603 | 64 | 2 | 7.8 | 2.0396 | 80 |  | 105 | 40.2 |  | 40 | 4.4055 | 0 | 5.8054 | 5.1054 | 4.4214 | 15.6 | 68.9744 | 7.811%
14 | 20 | 0.93969 | 66 | 2 | 8.2 | 2.0396 | 65 |  | 110 | 43.8 |  | 41.3 | 3.2898 | 0 | 5.8901 | 4.59 | 4.3131 | 16.4 | 70.7356 | 8.01%
15 | 10 | 0.98481 | 68 | 2 | 8.8 | 2.0881 | 50 |  | 95 | 42.1 |  | 40.2 | 2.6363 | 0 | 5.2281 | 3.9322 | 3.8725 | 17.6 | 68.156 | 7.718%
16 | 20 | 0.93969 | 70 | 1.5 | 8.9 | 2.0025 | 45 |  | 105 | 41.4 |  | 40.2 | 2.4143 | 0 | 5.7766 | 4.0955 | 3.8485 | 13.35 | 51.3772 | 5.818%
17 | 15 | 0.96593 | 71 | 1 | 9 | 1.005 | 50 |  | 105 | 40 |  | 40.8 | 2.7738 | 0 | 5.6919 | 4.2329 | 4.0886 | 9 | 36.7976 | 4.167%
18 | 15 | 0.96593 | 72 | 1 | 9.4 | 1.077 | 50 |  | 90 | 41.3 |  | 41.5 | 2.687 | 0 | 4.7993 | 3.7432 | 3.6156 | 9.4 | 33.9869 | 3.849% | obstruction at 5.7'
19 | 0 | 1 | 73 | 1 | 9.9 | 1.118 | 70 |  | 95 | 40 |  | 40.2 | 3.8762 | 0 | 5.2281 | 4.5522 | 4.5522 | 9.9 | 45.0665 | 5.103%
20 | 0 | 1 | 74 | 1 | 10.1 | 1.0198 | 70 |  | 85 | 42.5 |  | 40 | 3.6492 | 0 | 4.703 | 4.1761 | 4.1761 | 10.1 | 42.1788 | 4.776%
21 | 0 | 1 | 75 | 1 | 9.9 | 1.0198 | 80 |  | 80 | 41.5 |  | 40.6 | 4.268 | 0 | 4.3622 | 4.3151 | 4.3151 | 9.9 | 42.7197 | 4.838% | 13:58 stage 9.08
22 | 0 | 1 | 76 | 3.25 | 0 | 9.9504 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | concrete abuttment
23 | 45 | 0.70711 | 81.5 | 15.5 | 3 | 6.265 | 20 |  | 25 | 49.6 |  | 40 | 0.90683 | 0 | 1.3958 | 1.1513 | 0.8141 | 46.5 | 37.8558 | 4.287%
24 |  | 1 |  | 0 |  | 81.5552 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
25 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Dead Right Edge of Water |  |  | 93 | [16 empty] | 0%
Right Edge of Water |  |  | 93
[5 empty] | Totals: | 149.1624 | [11 empty] | 319.85 | 883.0709
Summary: |  |  | Notes: | Section: | My notes do not relfect the point in time or stage when overbank flow around the bridge ceased. Perhaps I can determine this from a photographs.
MGH usgs shortcut | 8.6357 | ft
Discharge: | 883.0709 | cfs |  | Flow Conditions: |  | Falling Limb near peak. Flow is augmented by overbank storage returning to channel. Measured fastest and deepest flow cells first. These are located towards the right bank abutment.
Width: | 68 | ft
Area: | 319.85 | ft2 |  | Weather:
Mean Depth: | 4.7037 | ft |  | Control:
Mean Velocity: | 2.7609 | fps |  | Remarks: | The effect of the Boil (upward angle) is not accounted for between sta 37 to sta 50 in the flow angle.
Max % Flow: | 8.01%
Wetted Perimeter | 149.1624 | ft

## Q_HHB080226cfs114
WATERSHED WATCH DISCHARGE MEASUREMENT COMPUTATION SHEET
Price AA meter - 1999 Equations
Personnel: | J.Noell |  |  |  | Begin Time: |  | 17:00 |  | Method: | .2/.8 |  |  | Rev per click |  | 5
Date: | 2008-02-26 |  |  |  | End Time: |  | 18:39
Location: | Howard Heights Bridge |  |  |  | Begin Gage Height: |  | 2.8 | ft
Site: | HHB Freshwater Creek |  |  |  | End Gage Height: |  | 2.75 | ft
Meter # : | 6006 | Type: | AA |  | Accuracy Rating: |  | good
Spin Test (pre-Q): | 110+ |  |  |  | Water Temperature:
Spin Test (post-Q): | 90+ |  |  |  | Air Temperature:
Measurement No: |  |  | Rating No: |  |  | Shift Adj: |  |  | Percent Diff:
Vertical | Flow Angle | Angle Coefficent | Station | Width | Depth | Wetted Perimeter |  | Revolutions |  | 0.2 Time | 0.6 Time | 0.8 Time | Velocity (fps) |  |  |  | Horizontal Angle Adjusment | Area | Flow | % Flow | Notes
| Q | Cosine Q | (ft) | (ft) | (ft) | (ft) | 0.2 | 0.6 | 0.8 | (sec) | (sec) | (sec) | At Point 0.2 | At point 0.6 | At Point 0.8 | Mean in Vertical | Vel * Cos(Q) | (ft2) | (cfs)
Left Edge of Water |  |  | 38
Dead Left Edge of Water |  |  | 41
1 | 25 | 1 | 47 | 4 | 1 | 9.0554 |  | 35 |  |  | 40.8 |  | 0 | 1.9092 | 0 | 0 | 1.9092 | 4 | 7.6367 | 6.686% | 17:10 2.80'
2 | 25 | 1 | 49 | 2 | 1.3 | 2.0224 |  | 55 |  |  | 43.8 |  | 0 | 2.7864 | 0 | 0 | 2.7864 | 2.6 | 7.2446 | 6.343%
3 | 20 | 1 | 51 | 2 | 1.5 | 2.01 |  | 55 |  |  | 39.9 |  | 0 | 3.057 | 0 | 0 | 3.057 | 3 | 9.171 | 8.029%
4 | 20 | 1 | 53 | 2 | 1.9 | 2.0396 |  | 60 |  |  | 40.6 |  | 0 | 3.2761 | 0 | 0 | 3.2761 | 3.8 | 12.4493 | 10.9%
5 | 15 | 1 | 55 | 1.5 | 1.9 | 2 |  | 65 |  |  | 42.3 |  | 0 | 3.4058 | 0 | 0 | 3.4058 | 2.85 | 9.7065 | 8.498%
6 | 20 | 1 | 56 | 1 | 2.2 | 1.044 | 60 |  | 60 | 42 |  | 40.7 | 3.1675 | 0 | 3.2681 | 3.2178 | 3.2178 | 2.2 | 7.0792 | 6.198%
7 | 15 | 1 | 57 | 1 | 2.6 | 1.077 | 55 |  | 55 | 42.7 |  | 42 | 2.8577 | 0 | 2.905 | 2.8814 | 2.8814 | 2.6 | 7.4916 | 6.559%
8 | 20 | 1 | 58 | 1 | 3 | 1.077 | 50 |  | 60 | 42.7 |  | 43.8 | 2.5995 | 0 | 3.0381 | 2.8188 | 2.8188 | 3 | 8.4564 | 7.404%
9 | 15 | 1 | 59 | 1 | 2.7 | 1.044 | 50 |  | 60 | 42.4 |  | 42.3 | 2.6178 | 0 | 3.1452 | 2.8815 | 2.8815 | 2.7 | 7.78 | 6.811%
10 | 20 | 1 | 60 | 1 | 2.9 | 1.0198 | 45 |  | 60 | 45.4 |  | 43.7 | 2.2032 | 0 | 3.045 | 2.6241 | 2.6241 | 2.9 | 7.6098 | 6.662%
11 | 20 | 1 | 61 | 1 | 3.2 | 1.044 | 30 |  | 60 | 44.2 |  | 44.8 | 1.5143 | 0 | 2.9707 | 2.2425 | 2.2425 | 3.2 | 7.1759 | 6.282%
12 | 10 | 1 | 62 | 1 | 3.5 | 1.044 | 15 |  | 50 | 49 |  | 42.7 | 0.69274 | 0 | 2.5995 | 1.6461 | 1.6461 | 3.5 | 5.7615 | 5.044%
13 | 20 | 1 | 63 | 1 | 3.7 | 1.0198 | 15 |  | 50 | 55.2 |  | 43.2 | 0.61693 | 0 | 2.5697 | 1.5933 | 1.5933 | 3.7 | 5.8952 | 5.161%
14 | 20 | 1 | 64 | 1 | 4.1 | 1.077 | 10 |  | 40 | 39.8 |  | 51.6 | 0.57177 | 0 | 1.7269 | 1.1494 | 1.1494 | 4.1 | 4.7124 | 4.126%
15 | 10 | 1 | 65 | 1 | 3.7 | 1.077 | 30 |  | 35 | 50.1 |  | 40.3 | 1.338 | 0 | 1.9326 | 1.6353 | 1.6353 | 3.7 | 6.0508 | 5.297% | 18:39 2.75'
16 |  | 1 |  | 0 |  | 65.1052 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | Station 66' is concrete abutment
17 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
18 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
19 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
20 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
21 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
22 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
23 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
24 |  | 1 |  | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
25 |  | 1 |  | 33 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0%
Dead Right Edge of Water |  |  | 66
Right Edge of Water |  |  | 69
[5 empty] | Totals: | 92.7564 | [11 empty] | 47.85 | 114.2207
Summary: |  |  | Notes: | Section:
Discharge: | 114.2207 | cfs |  | Flow Conditions: |  | Falling limb
Width: | 31 | ft
Area: | 47.85 | ft2 |  | Weather: | overcast
Mean Depth: | 1.5435 | ft |  | Control:
Mean Velocity: | 2.3871 | fps |  | Remarks:
Max % Flow: | 10.9%
Wetted Perimeter | 92.7564 | ft