## Map
Lake Merced Sample Sites
LMN-C
LMNE-C
LAKE MERCED NORTH EAST
LMNE-B
LAKE MERCED NORTH
LAKE MERCED
PISTOL RANGE
LAKE MERCED
PUMP STATION
LMN-B
LMN-C

## Additional Data
Lake Merced - Pistol Range
Depth | Chl-a | % Sat. DO | Lake Merced South
Ft. | RFU* |  | Invasive Mussel Artificial Substrate
0 | 3.48 | 110.8
5 | 6.04 | 103.7 | Checked? | N
10 | 6.46 | 81.7 | Present or Absent
15 | 6.5 | 67.2 | Comments
20 | 12.72 | 65.7
20.8 | 0.04 | 6.9 | Lake Merced North
*Relative Fluoresence Unit from Hydrolab |  |  | Invasive Mussel Artificial Substrate
|  |  | Checked? | N
Present or Absent
Comments
Lake Merced - Pump Station
Depth | Chl-a | % Sat. DO
Ft. | RFU*
0 | 2.81 | 116.7
5 | 6.46 | 114.5
10 | 7.14 | 79.8
15 | 6.66 | 52.7
20 | 6.83 | 36.3
21.5 | 0 | 4.2
*Relative Fluoresence Unit from Hydrolab
Lake Merced North
Depth | Chl-a | % Sat. DO
Ft. | RFU*
0 | 5.91 | 145.5
5 | 8.18 | 133.2
10 | 8.22 | 68.4
15 | 8.03 | 50.2
20 | 11.75 | 24
*Relative Fluoresence Unit from Hydrolab
Lake Merced North East
Depth | Chl-a | % Sat. DO
Ft. | RFU*
0 | 5.38 | 121.6
5 | 6.8 | 94.2
10 | 7.09 | 83.7
15 | 11.11 | 30.2
*Relative Fluoresence Unit from Hydrolab

## LM North
San Francisco Public Utilities Commission
Land and Natural Resources - Limnology
|  |  |  | Reservoir: | Lake Merced - North
|  |  |  | Date: | 2009-06-04 | [7 empty] | Limnologist: | CA-ST
Limnological Profile
Depth | Temp | pH | Cond | TDS | DO | ORP | Turb | Hard | NO3-N | NH3-N | TKN | PO4-P | Tot P | Mn | Secchi Disc (ft): | 1.25'
ft. | oC | pH units | mS/cm | mg/L | mg/L | mV | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | Air Temp (°C): | 16.45
0 | 19.11 | 8.66 | 773.7 | 495.2 | 13.47 | 305 | 15.4 | 250 | <0.01 | 0.06 | 3.22 | 0.26 | 0.37 | 0.13 | Weather: | partly cloudy, mild
5 | 18.47 | 8.62 | 774 | 495.4 | 12.49 | 298 | 18.1 | 246 | <0.01 | 0.05 | 3.16 | 0.26 | 0.32 |  | Wind: | W 0-5mph
10 | 16.79 | 8.3 | 779.5 | 498.9 | 6.64 | 274 |  | 258 | <0.01 | 0.05 | 2.72 | 0.28 | 0.33
15 | 16.48 | 8.19 | 781.1 | 499.9 | 4.91 | 255 |  | 252 | <0.01 | 0.05 | 2.91 | 0.26 | 0.32
19.9 | 16.44 | 8.15 | 782 | 500.5 | 2.35 | 199 |  | 252 | <0.01 | 0.04 | 2.74 | 0.21 | 0.29 | 0.18
Depth | Chlorophyll-a |  | Algal |  |  | Bacteriological Data (MPN) | [5 empty] | Station | pH | DO
|  |  | Biomass |  |  | Total Coliform |  | 961 |  |  |  |  | pH units | mg/L
ft. | mg/L |  | mg/L |  |  | E. Coli |  | 17 |  |  |  | LMN-B | 8.64 | 13
0 | 50.4 |  | 3376.8 | [8 empty] | LMN-C | 8.65 | 13.11
5 | 49.14 |  | 3292.38
Phytoplankton Count (>98% of total population)
Phytoplankter |  |  | 1 | 2 | 3 | 4 | Total |  | Natural Unit/m3 |  |  | Natural Unit/mL
Oscillatoria |  |  | 7950 | 6850 | 8150 | 8350 | 31300 |  | 990000000 |  |  | 990
Summary
|  |  |  | Reservoir: | Lake Merced - North East
|  |  |  | Date: | 2009-06-04 | [7 empty] | Limnologist: | CA-ST
Limnological Profile
Depth | Temp | pH | Cond | TDS | DO | ORP | Turb | Hard | NO3-N | NH3-N | TKN | PO4-P | Tot P | Mn | Secchi Disc (ft): | 1.5'
ft. | oC | pH units | mS/cm | mg/L | mg/L | mV | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | Air Temp (°C): | 17
0 | 18.13 | 8.44 | 769.9 | 492.7 | 11.48 | 333 | 19.3 | 256 | <0.01 | 0.04 | 2.97 | 0.26 | 0.3 | 0.07 | Weather: | mostly sunny, mild
5 | 17.27 | 8.28 | 772.7 | 494.5 | 9.05 | 331 | 18.4 | 250 | <0.01 | 0.03 | 2.44 | 0.22 | 0.27 |  | Wind: | W, 0-5 mph
10 | 16.79 | 8.23 | 773.4 | 495 | 8.12 | 323 |  | 256 | <0.01 | 0.04 | 2.32 | 0.18 | 0.21
15 | 16.31 | 7.92 | 776.5 | 496.9 | 2.96 | 319 |  | 254 | <0.01 | 0.03 | 2.27 | 0.12 | 0.19 | 0.1
Depth | Chlorophyll-a |  | Algal |  |  | Bacteriological Data (MPN) | [5 empty] | Station | pH | DO
|  |  | Biomass |  |  | Total Coliform |  | >2420 |  |  |  |  | pH units | mg/L
ft. | mg/L |  | mg/L |  |  | E. Coli |  | 7 |  |  |  | LMNE-B | 8.55 | 12.5
0 | 36.44 |  | 2441.5 | [8 empty] | LMNE-C | 8.61 | 12.72
5 | 38.84 |  | 2602.3
Phytoplankton Count (>98% of total population)
Phytoplankter |  |  | 1 | 2 | 3 | 4 | Total |  | Natural Unit/m3 |  |  | Natural Unit/mL
Oscillatoria |  |  | 5600 | 5500 | 5750 | 6950 | 23800 |  | 1200000000 |  |  | 1200
Summary

## LM South
San Francisco Public Utilities Commission
Land and Natural Resources - Limnology
|  |  |  | Reservoir: | Lake Merced - Pistol Range
|  |  |  | Date: | 2009-06-04 | [7 empty] | Limnologist: | CA-ST
Limnological Profile
Depth | Temp | pH | Cond | TDS | DO | ORP | Turb | Hard | NO3-N | NH3-N | TKN | PO4-P | Tot P | Mn | Secchi Disc (ft): | 2
ft. | oC | pH units | mS/cm | mg/L | mg/L | mV | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | Air Temp (°C): | 16.8
0 | 18.06 | 8.4 | 681.5 | 436.2 | 10.48 | 322 | 10.4 | 200 | <0.01 | 0.03 | 2.6 | 0.18 | 0.21 | 0.11 | Weather: | partly cloudy, mild
5 | 17.45 | 8.36 | 680.9 | 435.7 | 9.93 | 315 | 9.62 | 202 | <0.01 | 0.03 | 1.79 | 0.16 | 0.19 |  | Wind: | W, 0-5mph
10 | 16.74 | 8.18 | 682.1 | 436.5 | 7.95 | 305 |  | 204 | <0.01 | 0.02 | 1.85 | 0.19 | 0.19
15 | 16.28 | 8.03 | 682.8 | 437 | 6.59 | 298 |  | 204 | <0.01 | 0.03 | 1.9 | 0.15 | 0.21
20 | 16.28 | 8.05 | 682.7 | 437 | 6.45 | 273
20.8 | 16.29 | 7.95 | 683.3 | 437.3 | 0.68 | 198 |  | 200 | <0.01 | 0.02 | 1.85 | 0.18 | 0.19 | 0.04
Depth | Chlorophyll-a |  | Algal |  |  | Bacteriological Data (MPN)
|  |  | Biomass |  |  | Total Coliform |  | 530
ft. | mg/L |  | mg/L |  |  | E. Coli |  | 11
0 | 19.04 |  | 1275.7
5 | 18.88 |  | 1264.9
Phytoplankton Count (>98% of total population)
Phytoplankter |  |  | 1 | 2 | 3 | 4 | Total |  | Natural Unit/m3 |  |  | Natural Unit/mL
Oscillatoria |  |  | 4625 | 4750 | 4925 | 4300 | 18600 |  | 630000000 |  |  | 630
Summary
|  |  |  | Reservoir: | Lake Merced - Pump Station
|  |  |  | Date: | 2009-06-04 | [7 empty] | Limnologist: | CA-ST
Limnological Profile
Depth | Temp | pH | Cond | TDS | DO | ORP | Turb | Hard | NO3-N | NH3-N | TKN | PO4-P | Tot P | Mn | Secchi Disc (ft): | 2
ft. | oC | pH units | mS/cm | mg/L | mg/L | mV | NTU | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | Air Temp (°C): | 16.49
0 | 18.74 | 8.49 | 681.9 | 436.4 | 10.89 | 306 | 9.52 | 200 | <0.01 | 0.04 | 3.11 | 0.13 | 0.21 | 0.03 | Weather: | partly cloudy, mild
5 | 18 | 8.49 | 680.6 | 435.6 | 10.84 | 296 | 9.08 | 206 | <0.01 | 0.04 | 2.1 | 0.17 | 0.18 |  | Wind: | W, 0-5mph
10 | 16.8 | 8.2 | 682.5 | 436.8 | 7.75 | 286 |  | 204 | <0.01 | 0.02 | 1.88 | 0.14 | 0.14
15 | 16.34 | 7.99 | 683.5 | 437.4 | 5.16 | 265 |  | 204 | <0.01 | 0.03 | 1.88 | 0.16 | 0.16
20 | 16.29 | 7.9 | 684.1 | 437.8 | 3.56 | 241
21.5 | 16.26 | 7.89 | 684.9 | 438.3 | 0.4 | 195 |  | 204 | <0.01 | 0.01 | 1.9 | 0.2 | 0.2 | 0.06
Depth | Chlorophyll-a |  | Algal |  |  | Bacteriological Data (MPN)
|  |  | Biomass |  |  | Total Coliform |  | 173
ft. | mg/L |  | mg/L |  |  | E. Coli |  | 4
0 | 18.8 |  | 1259.6
5 | 19.2 |  | 1283.7
Phytoplankton Count (>98% of total population)
Phytoplankter |  |  | 1 | 2 | 3 | 4 | Total |  | Natural Unit/m3 |  |  | Natural Unit/mL
Oscillatoria |  |  | 5625 | 6125 | 6175 | 5925 | 23850 |  | 750000000 |  |  | 750
Summary