###### Region 3 – Regional Water Quality Control Board

###### Data Submissions and Corrections for the 2004 303(d) list

1) Describe the reason(s) the listing is inappropriate.

The Salinas Reclamation Canal is currently listed on the 303(d) list as impaired for nitrate.  Staff propose delisting this waterbody for nitrate.  The Salinas Reclamation Canal is located in the lower Salinas River watershed.  It was placed on the 303(d) list in 2002.  The Salinas Reclamation Canal was listed as impaired for nitrate because data indicated that the nitrate water quality objective protecting the MUN beneficial use was being exceeded.  The nitrate water quality objective protecting the MUN beneficial use is 10 mg/L-N.  The Salinas Reclamation Canal was erroneously listed as impaired for nitrate because it was assumed that this waterbody is designated to support the MUN beneficial use.  However, the Salinas Reclamation Canal is not designated to support the MUN beneficial use, and the nitrate water quality objective therefore does not apply.

2) Provide the data and information necessary to enable SWRCB to conduct a complete reassessment.

- a.   Name of the person or organization providing the information;

### Regional Water Quality Control Board, Region 3

- Mailing address, phone number, and email address of a contact responsible for answering questions about the information submitted;

895 Aerovista Place, Ste. 101

San Luis Obispo, CA  93401

805-542-4770

skeeling@rb3.swrcb.ca.gov

Staff person: Shanta Keeling

- Bibliographic citations for all published information provided;

### none

- To the extent possible, all information should be submitted in electronic format (e.g., Microsoft [MS] Word, Access database, Excel spreadsheet, ASCII, or Adobe Acrobat files);

File attached in: Data attached in Microsoft Excel spreadsheet.

“Salinas Reclamation Canal Delist Data”

- Detailed quality assurance and quality control information about sampling and analysis of all numeric data;

### There are two sources of data: 1) Data compiled by Central Coast Watershed Studies (CCoWS), and 2) CCAMP of the Regional Water Quality Control Board Central Coast Region.

The data compilation by CCoWS does not have a formal QAQP.  This portion of the data set represents 62% of the entire dataset.

The CCAMP QAQP is shown in the attached document titled:

### QAQP for Salinas Reclamation Canal Delist

This portion of the dataset represents 38% of the entire dataset.

- Water body name and California water body identification number (available from local RWQCB).  The preferred statewide Geographic Information System (GIS) projection is the California Teale Albers, NAD27.  Please refer to the following web site for details

on the Teale Albers projection for GIS information:  http://gis.ca.gov/albers.epl;

#### Waterbody name: Salinas Reclamation Canal

#### Calwater watershed: 30911010

- Geographic extent of the potential water quality limited segment;

Monterey County

- Pollutant(s) of concern;

##### Nitrate

- Applicable water quality objective or criterion;

#### Applicable water quality objectives: the 303(d) listing is for nitrate, which is protected by the nitrate water quality objective protecting the MUN beneficial use.  Since the water body is not designated to support the MUN beneficial use, the nitrate water quality objective does not apply.

- Comparison of results against applicable water quality objective or criterion;

The objective does not apply, therefore the data should not be compared.

- Designated beneficial use(s) that may be impacted by pollutant(s);

##### No beneficial uses are impacted by the pollutant of concern.

- Complete background information (metadata) for field data (i.e., when and where      measurements were taken, number of samples, detection limits, etc.); and

CCAMP and CCoWS datasets available.

m.  Full identification of any citizen volunteer water quality monitoring efforts including:

- 1) The name of the group;

none

2) A description of any training in water quality assessment completed by members of the group.

Not applicable

- Make sure all numeric data submitted in support of new listings or changes to existing listings, can be evaluated to address the following:

- data quality assurance assessment(s); or if non-numeric, the types of observations;

- spatial representation;

- temporal representation;

- age(s) of the data;

- effects of seasonality;

- effects of any events that might influence data evaluation (e.g., storm events, flow conditions, laboratory data qualifiers, etc.);

- the total number of samples;

- the number of samples exceeding standards;

- the source or reference for samples;

- the potential sources of pollutants; and

- any program that might address the water quality problem in lieu of a TMDL.

(Data submitted as part of no. 3 can be attached electronically in whatever format you have it in as long as it provides all the information listed above).