From: 	"Robert Ketley" <RKETLEY@ci.watsonville.ca.us>

To:	"Mary Adams" <madams@waterboards.ca.gov>

Date: 	4/25/2007 10:10:34 AM

Subject: 	Re: BG Algae in Pinto Lake

Mary:

We did not have a specific QAPP for this monitoring. However, the city lab (where all tests were run) is ELAP certified for all of the analyses except the microcystin toxin ELISA tests. In addition, very experienced staff conducted the sampling using the collection and handling protocols described by "Standard Methods".

Hope this helps,

Rob

>>> "Mary Adams" <madams@waterboards.ca.gov> 4/25/2007 9:49 AM >>>

Hi Rob, thank you so very much for providing this information.  I need to ask a few standard questions for the preparation of the fact sheets that are part of the 303(d) assessment report.

Is there a Quality Assurance Program Plan (QAPP) for this monitoring?

Is the data (or part of the data) analyzed at a laboratory that has a QAPP?

We do not discount any data or information we receive, we do however cite any Quality assurance plans that are associated with the monitoring program.

Thanks again and I will be in touch if I have additional questions or need clarification of any of the data or information

Have a good afternoon

Mary :)

Mary S. Adams

Central Coast Ambient Monitoring Program (CCAMP)

Regional Water Quality Control Board

895 Aerovista Place, Suite 101

San Luis Obispo, CA 93401

(805) 542-4768

Fax    788-3502

madams@waterboards.ca.gov

http://www.ccamp.org ( http://www.ccamp.org/ )

If you have a comment you would like to share regarding the customer service of any state employee please visit the following site:

http://www.calepa.ca.gov/customer/CSForm.asp

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Please note my new email address as of November 5th.

madams@waterboards.ca.gov

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

>>> "Robert Ketley" <RKETLEY@ci.watsonville.ca.us> 4/25/2007 8:16 AM >>>

Mary:

I was delighted to hear that Pinto is on your radar. I really hope that by listing this 10,000 year old lake we can do something to help reduce the astounding B-G algal blooms. As our lab staff has noted, at times this lake is basically algae contaminated with water.....

Attached are the following documents:

1. Spreadsheet showing all analyses conducted during the period June 2005- May 2006.

2. Powerpoint presentation ( shown to local water quality experts) with an overview of our sample results and a map of sample locations.

3. A copy (pdf) of the SCRCD newsletter featuring the article on Pinto.

Hopefully, this gives you something to work with. If you have any questions or want more details, please do not hesitate to call me (831) 768 3137 or e-mail me.

Very best wishes,

Rob

>>> "Mary Adams" <madams@waterboards.ca.gov> 4/24/2007 9:35 AM >>>

Hi Rob,

I am going through my stack of information to review for the upcoming 303(d) assessment and I found your message regarding algal blooms and the high levels of microcystin toxin in Pinto lake.  In your message you mentioned a SCRCD newsletter that describes the situation at the lake last year.  Could you forward a copy of that to me for my records along with any additional information you would like us to consider in the upcoming 303(d) assessment (i.e your data showing the sample dates and cell densities or concentrations of the microcystin) .

If you have questions about the process or need additional information feel free to call me anytime, I will be here in the office all week.

Thanks so much and have a good afternoon

Mary :)

Mary S. Adams

Central Coast Ambient Monitoring Program (CCAMP)

Regional Water Quality Control Board

895 Aerovista Place, Suite 101

San Luis Obispo, CA 93401

(805) 542-4768

Fax    788-3502

madams@waterboards.ca.gov

http://www.ccamp.org ( http://www.ccamp.org/ ) ( http://www.ccamp.org/ )

If you have a comment you would like to share regarding the customer service of any state employee please visit the following site:

http://www.calepa.ca.gov/customer/CSForm.asp

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Please note my new email address as of November 5th.

madams@waterboards.ca.gov

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

CC:	"Barbara Pierson" <BPIERSON@ci.watsonville.ca.us>, "Michael Crane" <MCRANE@ci.watsonville.ca.us>