Below is a summary of the Data Qualifying Flags (DQFs) FGL uses when reporting data.  These flags appear in the DQF column of the hard copy report or the Excel generated file.  The colon, “:”, separates the Analytical DQFs on the left from the Preparation DQFs on the right of the colon.

DQF  	Description

A	Aldol Condensation (Organics-GCMS only)

B/b	Analyte Found in Blank   b => Below IRL/PQL

C	Confirmed by GC/MS

E	Estimated Value:

IRL/10 ≤ Res < IRL

PQL/10 ≤ Res < PQL

MDL  ≤ Res < PQL

F	QA/QC Frequency Failed to meet Criteria

H/h	% Rec Failed DQO – High, H => Sample from SDG (Sample Delivery Group)

J/j	RPD Failed DQO; J => Sample from SDG

L/l	% Rec Failed DQO - Low

O	Carry Over Interference

P	Post Digestion Spike; Failed DQO

Q	Estimated Value (ICP Serial Dilutions)

R	Data Rejected

S	Method of Standard Additions (MSA) used

T	Holding Time exceeded

U	Undetected <= IDL/MDL

i^	Internal Standard Failure (^ goes on top of the “i”).

#	Diluted Result

Ф	Average Result

<	Data ≤ -PQL/IRL

>	Exceeds Calibration Range or LDR

φ	Unconfirmed Result

#	Date Sampled Missing or Less than Prep Date