From: 	"Stacey Swenson" <sswenson@mlml.calstate.edu>

To:	"'Mary Adams'" <madams@waterboards.ca.gov>

Date: 	4/24/2007 11:38:58 AM

Subject: 	RE: Lookups

The "MD" is applied by the laboratory, it's just to alert the user that

there were minor deviations. These deviations may or may not be flagged

estimated, compliant, or rejected. The determination of the compliance code

is based on the all of the batchqual, batchval, and qacodes together in a

hierarchal scheme.

The QN code typically results in an estimated compliance code, however if

there are more severe qacode applied those would take precedence.

In regards to the QACode but no compliance code would apply to batches that

were not verified. If the batch was verified then every result should have a

compliance code.

H and VH are holding time issues, these are estimated.

TW and VTW are deviations in recommended ranges for water quality

parameters, they are coded compliant unless there was a batchqual or

batchval code applied that was estimated.

X is okay, these normally are compliant but could be estimated if there was

a batchqual or batchval code applied that was estimated.

-----Original Message-----

From: Mary Adams [mailto:madams@waterboards.ca.gov]

Sent: Tuesday, April 24, 2007 11:27 AM

To: sswenson@mlml.calstate.edu

Cc: Pranger@mlml.calstate.edu; dave_paradies@thegrid.net

Subject: Re: Lookups

Thanks Stacey,

Could you just clarify for me that I am interpreting this correctly?

The data contains the following Batch Qual Codes

A

A,MD

A,VMD

CN

Are any of these rejected from use in my assessment? - I would guess that

the CN code would result in disqualification of the data but the minor

deviations are not -  right?

Also the data contains some QA codes but no Compliance codes (I don't think)

Are any of the estimated?  Can toxicity data be considered estimated?

H

TW

VH

VTW

X

I though all holding time exceedances were considered estimated but that is

based on our previous discussions for conventional parameters so perhaps it

doesn't apply to toxicity data.

I just want to make sure I am not using any data that is not acceptable in

my analysis

Thanks

Mary :)

Mary S. Adams

Central Coast Ambient Monitoring Program (CCAMP)

Regional Water Quality Control Board

895 Aerovista Place, Suite 101

San Luis Obispo, CA 93401

(805) 542-4768

Fax    788-3502

madams@waterboards.ca.gov

http://www.ccamp.org

If you have a comment you would like to share regarding the customer service

of any state employee please visit the following site:

http://www.calepa.ca.gov/customer/CSForm.asp

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

Please note my new email address as of November 5th.

madams@waterboards.ca.gov

* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

>>> "Stacey Swenson" <sswenson@mlml.calstate.edu> 4/24/2007 11:13 AM >>>

Hi Mary

Here's the batchqualcode lookup and the batchvalcode lookup lists. I also

included the QALookup list, we just updated the Tox QACode definitions.

Let me know if you need anything else.

Stacey Swenson

Marine Pollution Studies Laboratory/

Moss Landing Marine Laboratories

Data Management Team/QA Specialist

7544 Sandholdt Road

Moss Landing, Ca 95039

Phone: 831-633-7276

FAX: 831-633-0805

CC:	<Pranger@mlml.calstate.edu>, <dave_paradies@thegrid.net>